## Report-1995-10-25
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1995-10-25 | Drugs | II | d-007/008-6 | (a) Dexamethasone Sodium Phosphate Injection, Usp, 5 Ml Multiple Dose Vial, 4 Mg/ml, A Sterile Injectable Glucocorticoid; (b) Hydroxyzine Hcl Injection, Usp, 10 Ml Multiple Dose Vial, A Sterile, Aqueous Solution Intended For Intramuscular Administration, Indicated For Use In The Relief Of Anxiety And Tension | Manufacturer | Elkins-sinn, Cherry Hill, New Jersey | August 21, 1995 | A Vial Of Dexamethasone Injection Was Packaged In A Carton Labeled Hydroxyzine Injection. | 1,886 boxes of dexamethasone were distributed | Nationwide, The Netherlands, The Bahamas
1995-10-25 | Drugs | III | d-006-6 | Bumex 2 Mg Tablets, In 5,000 Tablet Bottles, Rx Diuretic | Manufacturer | Hoffman-la Roche, Inc | August 15, 1995 | Product Does Not Meet Content Uniformity Specifications | 357 bottles were distributed | Nationwide And Puerto Rico
1995-10-25 | Drugs | III | d-009-6 | Cope Analgesic Tablets, Packed In 36 And 60-tablet Bottles, Otc Promoted For Pain Relief For Tension Headaches | The Mentholatum Company | Custom Pharmaceuticals, Fort Erie, Ontario, Canada | October 4, 1995 | The Bilayer Tablets Are Exhibiting Separation | 15,552 36-tablet bottles and 83,808 60-tablet bottles were distributed | Nationwide
1995-10-25 | Drugs | III | d-010-6 | Neomycin 15%, Polymyxin B Sulfates (15%), And Dexamethasone Ophthalmic Ointment (3%) Usp, All 3 | Manufacturer | Bausch And Lomb Pharmaceuticals Division, Tampa, Florida | September 18, 1995 | Subpotency Of The Polymyxin B Sulfate Ingredient | 23,900 units were distributed; firm estimated that 10,000 units remained on market at time of recall initiation | Nationwide
1995-10-25 | Devices | II | z-860/862-5 | Medical Breathing Kits: (a) Adult Circle Breathing Circuit, 4"/101 Cm Hose, Non- Conductive Single Use; (b) Piggyback Breathing Circuit, Non-conductive Single Use; (c) General Anesthesia System, Non-conductive Single Use | Manufacturer | Vital Signs, Inc | March 14, 1995 | The Corrugated Hose Component Packaged In The Medical Breathing Kits May Contain Pinholes That Could Cause A Circuit To Leak | (a) 745 cases (20 bags per case); (b) 3 cases (20 bags per case); (c) 90 cases (15 bags per case) were distributed | Nationwide
1995-10-25 | Devices | II | z-931/932-5 | Sl-series Liner Accelerators And Vericord S3 Computer Verification And Record System: (a) Sl-series (15, 18, 20, And 25) Linear Accelerators, With Version 2 | Philips Medical Systems | Philips Medical Systems, Crawley, West Sussex, England | March 3, 1995 | Software | (a) 87 units; (b) 12 units were distributed | Nationwide And Canada
1995-10-25 | Devices | II | z-1039/1040-5 | Unprotected Lead Wires And Patient Cables Distributed As Components Of The Following Products: Tumistore Monitors For Nocturnal Tumescence, Myoman Biofeedback On Incontinence, Emg Diagnosis Module, Pressure/emg Diagnosis Module, Tumi/emg Tumescence Diagnosis Module Janus Iii Tumescence Diagnosis Module, Microphor Electronystagmography Analysis System, Ear Electrode Connector Cable For Iontophoresis Ear Canal Deadening, Tray Clip To Attach To Dental Tray, Cable Empiiop Electrode Cable For Iontophoresis Using Empi Electrodes, Cable Eartrode Connector For Iontophoresis Ear Canal Deadening, Ground Plate Electrode Used During Emg Testing, Eng Electrode Sets, Dual Treatment Lead Wire For Iontophoresis, Tumisensors Expansion Sensors To Measure Tumescence, Emg Module And Audio Monitor, Janus Iii Emg Module And Audio Monitor For Measuring Emg, Spectrum:emg Module And Audio Center For Measuring Emg, Ground Reference Electrode Needle, Monopolor Electrode Needles, Dentaphor, Dentaphor Ii, Iontophor And Iontophor Ii Containing Leads For Active And Reference Electrodes; Surface Return Electrode For Iontophoresis Reference; Electrodes For Ear Canal Deadening; Gold Cup Electrodes For Monitoring Electrode And Lead -4- Banana Plug To Tip Jack Connector Converter Lead From Banana Plug To | Manufacturer | Life-tech, Inc | August 4, 1995 | Labels Fail To Provide Adequate Directions For Use, And The Cables And Lead Wires Pose An Unwarranted Risk Of Injury To Patients Because They Are Not Labeled To Contraindicate Use With Apnea Monitors | 65,737 units were distributed; as of july 31, 1995, firm estimated that 47,215 units remained on the market | Nationwide
1995-10-25 | Devices | II | z-1072/1075-5 | Clamp And Slide Screws Components Of The 35000 Pennig Dynamic Wrist Fixator (non Sterile) And The 35001 Pennig Dynamic Wrist Fixator With Distractor Module (non Sterile), External Fracture Fixation Devices That Are Used To Align Distal Radius Fractures And Maintain Their Fixation Throughout The Healing Process: (a) Pennig Dynamic Wrist Fixator (non-sterile), 35000; (b) Pennig Dynamic Wrist Fixator With Distractor Module (non-sterile), 35001; (c) Pennig Dynamic Wrist Fixator Clamp Screw (non-sterile), 35080; (d) Pennig Dynamic Wrist Fixator Slide Screw (non-sterile), 35081 | Ebi Medical Systems | Orthofix Srl, Verona, Italy | August 18, 1992 | In Some Instances, Conditions Have Led To Stress Corrosion Cracking | firm estimates none remains on the market | Nationwide, Canada, Puerto Rico
1995-10-25 | Devices | II | z-038/043-6 | Omni Switchtip System, Model Hp Series: (a) Model No | Manufacturer | Trimedyne, Inc | April 6, 1995 | The Disposable Fiber Tips And Handpieces Have The Potential To Heat Excessively, Causing Melting And Possible Skin Burns | 555 units were distributed | Nationwide, Austria, United Kingdom
1995-10-25 | Devices | II | z-045-6 | Rfx And Sfx X-ray Tables, Model #46-262751g5 | Manufacturer | General Electric Medical Systems (gems), Waukesha, Wisconsin | May 10, 1058 | The Table Top Becomes Free Floating When The Chain Fails, Which May Allow It To Drop Suddenly When In The Vertical Position | 332 tables were distributed | Nationwide And International
1995-10-25 | Devices | II | z-053-6 | The Check Your Airway, A Non-continuous Manual Ventilator | J & I International Trading Group | Heining Cherr Rui Bi Lok, China | September 18, 1995 | Product Was Distributed Without An Approved 510(k), And Is Marketed As "sterile" Without Adequate Documentation To Verify Sterility | 400 units were distributed | Arizona, Texas
1995-10-25 | Devices | II | z-055-6 | Intelijet Disposable Tubing Set, Inflow Only, Catalog #7204727, Used In Conjunction With The Intelijet Fluid Management System Which Is A Microprocessor Controlled System Designed For Controlled Delivery Of Irrigation Fluid To Control Intra-articular Pressure During Athroscopic Surgery | Manufacturer | Smith & Nephew Endoscopy Dyonics, Inc | September 13, 1995 | The Packaging Of The Product Had Visible Evidence Of Cracks, Therefore Compromising The Sterility Of The Product | 2,613 units | Nationwide, France, Belgium, United Arab Emerites
1995-10-25 | Devices | II | z-056-6 | Esi Laser Product, Model #4210 With Cantilevered Custom Shroud, Used For Laser Trimming | Manufacturer. Fda Approved The Firm's Corrective Action Plan September 15 | Electro Scientific Industries, Portland, Oregon | September 15, 1995 | The Laser Product Failed To Comply In That Gaps May Exist In The Cantilevered Custom Shroud (protective Housing) That Allow Human Access To Direct Or Scattered Laser Radiation Above Class I | 24 units | Nationwide
1995-10-25 | Devices | III | z-921-5 | Cournand Quadpolar 6 Fr Electrode Catheter | Usci Division | Bard Glen Falls Manufacturing Operation, Glen Falls, New York | March 9, 1995 | The Product Label Which States "cournand" Curve Style Differs From The Actual"damato" Curve Style Of The Catheter Contained In The Package | 113 units were distributed | Nationwide
1995-10-25 | Devices | III | z-001/004-6 | Verifuse Disposable Administration Sets, For Intravenous, Intra-arterial And Subcutaneous Infusions Of Patients Receiving Infusion Therapy: (a) Model V021007; (b) Model V021013; (c) Model V021014; (d) V021015 | Manufacturer | Block Medical, Inc | June 9, 1995 | The Sets Leak Infusion Fluids, Due To A Faulty Weld | approximately 36,000 units were distributed; firm estimated that 10,000 units remained on market at time of recall initiation | Nationwide, Australia, Japan, The Netherlands
1995-10-25 | Devices | III | z-052-6 | Stockert Aortic Arch Cannula, Product #a211-65, Indicated For Cannulating The Major Arterial Vessels During Heart Bypass Operations | Sorin Biomedical | Stockert Instrumente Gmbh, Munich, Germany | June 5, 1995 | The Product Is Labeled "connector A 3/8" Straight Ll Up" | 223 units; firm estimates none remains on the market | Kansas, Minnesota, Wisconsin