## Report-1996-12-06
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-12-06 | Drugs | II | d-027-6 | Caverject Sterile Powder (alprostadil) For Injection, 20 Micrograms, Rx Drug For Intracavernosal Use Only | Manufacturer | The Upjohn Company, Kalamazoo, Michigan | November 7, 1995 | Some Cartons Holding 6 Injection Systems Declare Strength As 10 Micrograms | 2,736 cartons of 6 injection systems each were distributed | Nationwide And Puerto Rico
1996-12-06 | Drugs | II | d-028-6 | Pyrazinamide Tablets, Usp, 500 Mg, Rx Drug Used To Treat Active Tuberculosis | Repacker | Pharmaceutical Corporation Of America (pca), Carmel, Indiana (repacker) | June 6, 1995 | Part Of The Lot Bore Expiration Date Of 3/96 | 603 bottles were distributed | New Jersey
1996-12-06 | Drugs | II | d-029-6 | Aquaphyllin (theophylline Anhydrous Usp 80 Mg/15ml) Syrup, In 16 Ounce Plastic Bottles, Rx Product Indicated For The Relief And/or Prevention Of Symptoms From Asthma And Reversible Bronchospasm | Manufacturer | Ferndale Laboratories, Inc | August 2, 1995 | Crystallization Of The Active Ingredient Due To Shipment Without Temperature Controls | 9,410 units were distributed | Nationwide And International
1996-12-06 | Drugs | III | d-026-6 | Methenamine Mandelate Tablets, Usp, 1 | Manufacturer | Amide Pharmaceutical, Inc | August 10, 1995 | Product Packaged With An Incorrect Package Insert | 763 bottles were distributed | Maryland, Florida, Texas, Georgia, North Carolina, Texas, Belarus
1996-12-06 | Drugs | III | d-030-6 | Mephyton (phytonadione) 5 Mg Tablets, Rx Anticoagulant | Manufacturer | Merck And Company, West Point, Pennsylvania | September 11, 1995 | Potency Not Assured Through Expiration Date | approximately 43,816 market packages were distributed | Nationwide, Canada, Bermuda, Israel
1996-12-06 | Drugs | III | d-031-6 | Neodecadron (neomycin Sulfate & Dexamethasone Phosphate) 0 | Manufacturer | Merck And Company, West Point, Pennsylvania | September 29, 1995 | Superpotenc | approximately 60,764 packages were distributed | Nationwide
1996-12-06 | Drugs | III | d-032-6 | Edecrin (ethacrynate Sodium), 50 Mg Tablets, Rx Diuretic | Manufacturer | Merck And Company, West Point, Pennsylvania | October 23, 1995 | Some Tablets Were Embossed With Code "65" Instead Of "90" | approximately 6,391 market packages were distributed | Nationwide
1996-12-06 | Biologics | II | b-124-6 | Red Blood Cells | Manufacturer | Topeka Blood Bank, Inc | September 28, 1994 | Blood Product, Collected From A Donor Taking The Drug Proscar, Was Distributed. | 1 unit | Massachusetts
1996-12-06 | Biologics | III | b-118-6 | Red Blood Cells | Manufacturer | Central Indiana Regional Blood Center, Inc | December 28, 1994 | Blood Product, Containing Anti-e Antibodies, But Labeled As Negative For The Unexpected Antibodies, Was Distributed | 1 unit | Indiana
1996-12-06 | Biologics | III | b-119-6 | Red Blood Cells | Manufacturer | Marquette General Hospital, Inc | February 1, 1994 | Blood Product, Labeled With An Incorrect Expiration Date, Was Distributed | 1 unit | Michigan
1996-12-06 | Devices | II | z-166/167-6 | Abbott Imx And Axsym System Controls, Used For The Verification Of The Calibration Of The Imx System And The Axsym System When Used For The Quantitative Determination Of Prostate Specific Antigen (psa) In Human Serum Used As An Aid In The Management Of Prostate Cancer Patients: (a) Catalog #2245-10; (b) Catalog 7a49-10 | Abbott Laboratories | Abbott Health Products, Inc | October 24, 1995 | The Controls Yield Low Values Which May Lead To Invalid Runs | 819 imx and 323 axsym controls were distributed; firm estimated that 25 percent of the product remained on market at time of recall initiation | Nationwide And International
1996-12-06 | Devices | II | z-168-6 | Software Version 1 | Manufacturer | Johnson & Johnson Clinical Diagnostics, Rochester, New York | July 28, 1995 | A Software Indexing Error Can Occur Following A Specific Sequence Of Operational Events During The Recovery From A Mechanical Shutdown Of The Sampling Module | 85 analyzers were distributed | Nationwide And International
1996-12-06 | Devices | II | z-169-6 | Concha 1500, Sterile Water, 1650 Ml Reservoir, Used With The Concha Column Heated Humidification System | Hudson Rci | Hudson Rci, Arlington Heights, Illinois | August 24, 1995 | Product's Sterility May Be Compromised | 360 bottles were distributed; firm estimates none remains on the market | Pennsylvania
1996-12-06 | Devices | II | z-170-6 | Sps 550 Single Patient Dialysis System | Manufacturer | Baxter Healthcare Corporation, Largo, Florida | October 25, 1995 | The Blood Pump Relay May Fail Which Could Disable Critical Instrument Alarms | 155 units were distributed | Nationwide And International
1996-12-06 | Devices | II | z-171/182-6 | Ecg Monitors With Software Versions 1 | Spacelabs Medical | Spacelabs Medical, Inc | July 20, 1995 | Devices Contain Defective Software, Causing Incorrect Waveform Display | 12,601 were distributed | Nationwide And International
1996-12-06 | Devices | II | z-189-6 | Lambda Photometrics Q-switched Ruby Laser System, Used In Dermatology | Manufacturer. Fda Approved The Firm's Corrective Action Plan November 17 | Polytec Pi, Inc | November 17, 1995 | Noncompliance With Performance For Laser Products In That The Operator's Manual Lacked Adequate Calibration Procedures | 79 units reason noncompliance with performance for laser products in that the operator's manual lacked adequate calibration procedure | Nationwide And International
1996-12-06 | Devices | III | z-161/162-6 | Stratus Ii Prolactin Fluorometric Enzyme Immunoassay: (a) Catalog #b5700-53; (b) Catalog #b5700-53s | Manufacturer | Dade International, Inc | August 29, 1995 | The Labeling Contains An Incorrect Code 09 For The Metric Assay Parameters, The Correct Code Is 0 | 270 kits were distributed | Nationwide And International
1996-12-06 | Devices | III | z-163/165-6 | Abbott Axsym System Ck-mb Standard Calibrators, Master Calibrators And Controls Used For Calibration And Verification Of Calibration Of The Axsym System When Used For The Microparticle Enzyme Immunoassay Quantitative Measurement Of The Mb Isoenzyme Of Creatine Kinase (ck-mb) In Human Serum Or Plasma To Assist In The Diagnosis Of Acute Myocardial Infarction: (a) Catalog #7a57-01; (b) Catalog #7a57-30; (c) Catalog #7a57-10 | Manufacturer | Abbott Laboratories, Abbott Park, Illinois | October 6, 1995 | The Calibrators And Controls Were Shipped Under Ambient Temperature Conditions Instead Of On Dry Ice, Possibly Resulting In A Decrease In Potency And An Increase In The Reported Ck-mb Value | 194 standard calibrators, 104 master calibrators and 496 controls were distributed; firm estimated that 50 percent of the product remained on the market at time of recall initiation | Nationwide And International
1996-12-06 | Devices | III | z-183/187-6 | Amplatz "goose Neck" Snare Kit, Including Catheter: (a) Catalog #gn500; (b) Gn1000; (c) Gn1500; (d) Gn2500; (e) Gn3500 | Microvena Corporation | Angion Corporation (now B | October 2, 1995 | The Catheters Within These Snare Kits Degrade Over Time, Becoming Brittle | 3,869 units/kits were distributed | Nationwide And International
1996-12-06 | Devices | III | z-190-6 | Alko Type 1 Buffer For Avl Ph/blood Gas Analyzers, Serves As A Calibrator For Ph | Manufacturer | Alko Diagnostic Corporation, Holliston, Massachusetts | January 26, 1995 | The Ph Value Of The Lot Is Outside The Label Declared Value, Which May Cause Measured Ph Values To Be Falsely Depressed | 846 units were distributed | Nationwide And International
1996-12-06 | Devices | III | z-191-6 | Alko 7 | Manufacturer | Alko Diagnostic Corporation, Holliston, Massachusetts | December 2, 1993 | The Ph Value Of The Lot Is Outside The Label Declared Value, Which May Cause Measured Ph Values To Be Falsely Depressed | 686 units were distributed | Nationwide And International
1996-12-06 | Devices | III | z-193-6 | Alko 7 | Manufacturer | Alko Diagnostic Corporation, Holliston, Massachusetts | February 24, 1995 | Bacteria Caused The Ph Value To Be Outside The Label Declared Value, Which May Cause Measured Ph Values To Be Raised | 1,706 units were distributed | Nationwide And International