## 1993-01-13
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1993-01-13 | Drugs | II | d-093-3 | Lortab 7.5/500 Tablets Ciii (7.5 Mg Hydrocodone Bitartrate And 500 Mg Acetaminophen). Recalld-093-3. Co 920409d Exp 4/94. Manufacturer Mikart Inc. Atlanta Georgia. Recalled By Whitby Pharmaceuticals Inc. Richmond Virginia (responsible Firm) By Letter December 4 1992. Firm-initiated Recall Ongoing Distribution Nationwide. Quantity 4 696 100-tablet Unit Dose Packages (each Containing 4 25-tablet Packages) Were Distributed. Reason A Carton Labeled As 5 Mg Lortab Contained Correctly Labeled Labeled Unit Dose 7 | Whitby Pharmaceuticals Inc. Richmond Virginia (responsible Firm) | Mikart Inc. Atlanta Georgia. | December 4, 1992 | A carton labeled as 5 mg lortab contained correctly labeled labeled unit dose 7 | 4 696 100-tablet Unit Dose Packages (each Containing 4 25-tablet Packages) Were Distributed. | Nationwide.
1993-01-13 | Drugs | II | d-099-3 | Medical Oxygen Cylinders Usp In D E And F (f Same As C) Sized Metal Cylinders. Recalld-099-3. | Manufacturer | Mountain Airgas Medical Division Salt Lake City Utah. | December 23, 1992 | One cylinder contained trace quantities of chlorine | 149 Cylinders Were Distributed; Firm Estimates That 40% Of The Lot May Still Remain On Market. | Utah.
1993-01-13 | Drugs | III | d-094-3 | Lasix (furosemide) Oral Solution 60 Ml In Brown Glass Bottle 10 Mg/ml A Rx Diuretic Used In Treatment Of Edema. Recalld-094-3. | Manufacturer | Hoechst-roussel Pharmaceuticals Inc. Somerville New Jersey. | April 27, 1992 | Presence of cardboard particles | 28 225 Bottles Were Distributed. Firm Estimates None Remains On The Market. | Nationwide.
1993-01-13 | Drugs | III | d-095-3 | Ventolin (albuterol Usp) Inhalation Aerosol 6.8 G 80 Metered Inhalations A Professional Sample For Use With The Blue Ventolin Inhalation Aerosol Actuator. Recalld-095-3. | Manufacturer | Glaxo Inc. Zebulon North Carolina. | November 24, 1992 | Some units were packaged with a beclovent actuator | 87 503 Cans Of Lot Z31572ks And 87 452 Cans Of Lot Z31582ks Were Distributed. | Nationwide.
1993-01-13 | Drugs | III | d-096-3 | Cortisone Acetate 25 Mg Packaged Under The Following Labels: Richlyn In Bottles Of 100; Rugby In Bottles Of 100 And 500; And Url In Bottles Of 100. Recalld-096-3. | Manufacturer | Richlyn Laboratories Inc. Philadelphia Pennsylvania. | September 28, 1992 | Some tablets are debossed with an incorrect ndc number | 448 300 Tablets Of Lot 44783 And 468 500 Tablets Of Lot 44784 Were Distributed; Firm Estimates That Very Little Of This Product Remains On Market. | New York Florida New Jersey Connecticut Illinois California Ohio Pennsylvania Georgia.
1993-01-13 | Drugs | III | d-097-3 | Ibuprofen 200 Mg In 1000 Tablet Containers An Analgesic Drug. Recalld-097-3. | Manufacturer | Interpharm Inc. Plainview New York. | November 17, 1992 | Label declares an incorrect lot number | 200 Bottles Were Distributed. | Texas Ohio.
1993-01-13 | Drugs | III | d-098-3 | Ibuprofen 600 Mg In 500 Tablet Bottles An Analgesic Drug. Recalld-098-3. | Manufacturer | Interpharm Inc. Plainview New York. | November 17, 1992 | Product exceeds anda specifications for degradation product | 989 Bottles Were Distributed. | Nationwide.
1993-01-13 | Biologics | II | b-050/051-3 | (a) Red Blood Cells; (b) Plasma. Recallb-050/051-3. | Manufacturer | American Red Cross Boise Idaho. | September 14, 1992 | Blood products which tested initially reactive for the hepatitis b surface antigen (hbsag) were distributed | 2 Units Of Each Component. | Idaho California.
1993-01-13 | Biologics | III | b-052/053-3 | (a) Red Blood Cells; (b) Plasma. Recallb-052/053-3. | Manufacturer | American Red Cross Boise Idaho. | September 14, 1992 | Blood products which tested initially reactive for the hepatitis b surface antigen (hbsag) were distributed | (a) 8 Units; (b) 7 Units. | Idaho California.
1993-01-13 | Biologics | III | b-102/103-3 | (a) Whole Blood; (b) Recovered Plasma. Recallb-102/103-3. | Manufacturer (a) | Houchin Community Blood Bank Bakersfield California. -3- | July 21, 1992 | Blood products labeled with the incorrect expiration date, or collected from an augologous donor who did not meet the criteria for homologous donation, were distributed | 1 Unit Of Each Component. | (a) California; (b) Delaware.
1993-01-13 | Devices | II | z-178-3 | Dermabrader Centrifugal Chuck Part1360-4 Used To "sand Or Plane" The Elevated Surface Of The Skin In Order To Minimize The Effects Of A Scar Or Blemish. Recallz-178-3. | Manufacturer | Stryker Corporation Kalamazoo Michigan. | September 23, 1992 | The device may not be packaged with the correct warning insert | 10 Units Were Distributed. | Nationwide Ecuador The Netherlands United Kingdom.
1993-01-13 | Devices | II | z-179-3 | Lorad M-iii Breast Imaging System -- Mammography System Device A Radiological Device Intended For Diagnostic Breast Imaging. Recallz-179-3. | Manufacturer | Lorad Medical Systems Danbury Connecticut. | 9/23/91 | The breast compression device continues to drive downward after failure of a device fuse | 137 Units Were Distributed. | Nationwide Canada Australia Sweden.
1993-01-13 | Devices | II | z-185-3 | Atrium - Water Seal Chest Drainage Unit (multiple Purpose System) A Sterile Rx Medical Device Intended To Help Drain Fluids And Air From The Pleural Cavity Or Mediastinum During Or After Thoracic Surgery. Recallz-185-3. | Manufacturer | Atrium Medical Corporation Hollis New York. | October 28, 1992 | Some units were assembled with a body with two openings for patient drain tubes instead of one | 132 Units Were Distributed. | South Carolina Kentucky Minnesota.
1993-01-13 | Devices | II | z-187/189-3 | Transcutaneous Electrical Nerve Stimulators (tens Devices) Promoted For Auriculotherapy: (a) Stim Flex Model 400; (b) Stem Flex Model 200; (c) Stem Flex Model 80. Recallz-187/189-3. | Manufacturer | Electro Medical Inc. Tulsa Oklahoma. | October 28, 1992 | Products are prescription devices which were distributed without prescription legends | Approximately 950 Units Were Distributed. | Nationwide.
1993-01-13 | Devices | II | z-190-3 | Cm5000 Airway Pressure Monitor Also Referred To As Cm5000 Apm Intended To Monitor Pressurized Breathing Circuits As In Lung Ventilator Systems. Recallz-190-3. | Monaghan Medical Corporation Plattsburgh New York | Canadian Monaghan Ltd. London Ontario Canada. | June 3, 1992 | Incorrect wiring may cause the remote alarm not to function | 20 Units Were Distributed; Firm Estimates None Remains On Market. | Pennsylvania Ohio New York Massachusetts North Carolina.
1993-01-13 | Devices | II | z-196/197-3 | Ritter Examination Tables: (a) Model 98; (b) Model 99. Recallz-196/197-3. | Manufacturer | Midmark Corporation Versailles Ohio. | August 31, 1992 | Table may not be able to safely support a heavy patient | 400 Tables Were Distributed; 374 Of The Tables Are Still In Use. | Nationwide.