## 1993-03-24
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1993-03-24 | Drugs | II | d-176-3 | Rimactane 300 Mg Capsules (rifampin Usp) In 30 60 And 100 Capsule Bottles An Orally Administered Antibiotic. Recall #d-176-3. | Manufacturer | Ciba-geigy Pharmaceutical Corporation Suffern New York. | February 28, 1993 | Product does not meet dissolution specifications through expiration date | Lot Number Bottles Distributed 1t122983 3 614 *1t139950 2 648 *2t139950 1 656 1t143940 3 054 1t119827 1 754 1t130680 1 666 1t143881 1 434 1t143933 11 030 1t002330 2 609 1t143999 48 156 1t142879 14 983 1t142884 6 856 1t126600 3 446 1t130678 1 228 1t142876 1 756. | Nationwide And Puerto Rico.
1993-03-24 | Drugs | III | d-175-3 | Polycitra Lc In 16 Fluid Ounce Bottles A Rx Drug Used For Long Term Maintenance Of An Alkaline Urine And As A Neutralizing Buffer. Recall #d-175-3. | Baker Norton Pharmaceuticals Inc. Miami Florida | Willen Drug Company Baltimore Maryland. | February 18, 1993 | A color additive, fd&c; green #3, was omitted from this lot | 3 360 Bottles Were Distributed. | Nationwide.
1993-03-24 | Drugs | III | d-177-3 | Dallergy Capsules (nasal Decongestant Antihistaminic Antisecretory A Rx Drug Packaged In Bottles Of 4 (physician Samples) 100 And 1 000 Capsules. Recall #d-177-3. | Manufacturer | Central Pharmaceuticals Inc. Seymour Indiana. | August 6, 1992 | Product does not meet content uniformity specifications | 19 442 Bottles Of 4 Each 8 628 Bottles Of 100 Each And 30 Bottles Of 1 000 Each Were Distributed. | Nationwide.
1993-03-24 | Drugs | III | d-178-3 | Prozac Liquid Fluoxetine Hydrochloride Oral Solution In 120 Ml Bottles A Mint Flavored Liquid Antidepressant. Recall #d-178-3. | Manufacturer | Eli Lilly And Company Indianapolis Indiana. | November 23, 1992 | Leaking containers. | Lot No. Bottles Distributed 4pl60c 65 906 4pl61c 65 762 4pl62c 66 782 5ar23a 65 873 5ar24a 24 855 5ar24c 9 000 6la78a 78 6la78c 19 478. Firm Estimates 5 Percent Of The Product Remains On The Market. | Nationwide And Canada.
1993-03-24 | Drugs | III | d-179-3 | Ephedrine Hydrochloride (mini Thin Bronchodilator) In 25 Mg Tablets In Bottles And Vials Of 100 250 500. Recall #d-179-3. | Bdi Pharmaceutical Division Of Body Dynamics Inc. Indianapolis Indiana | Ion Labs Inc. Pinellas Park Florida. | July 10, 1992 | The tablets did not contain the imprint provided in the label trp statement, i | Undetermined. | Indiana Texas.
1993-03-24 | Biologics | II | b-157-3 | Recovered Plasma. Recall #b-157-3. | Manufacturer | Community Blood Bank Of Erie County Erie Pennsylvania. | September 10, 1992 | Recovered plasma, collected from autologous donors who either: 1) reported histories of hepatitis; 2) reported recent tattoos; 3) exhibited signs or symptoms of aids; or 4) were not asked the aids questions designed to illicit a history of high risk behavior | 11 Units. | Delaware New Jersey.
1993-03-24 | Biologics | II | b-193-3 | Source Plasma. Recall #b-193-3. | Sera-tec Biologicals Inc. North Brunswick New Jersey | Sera-tec Biologicals Inc. Pittsburgh Pennsylvania. | June 1, 1992 | Source plasma, which tested repeatedly reactive for the antibody to hepatitis c virus encoded antigen (anti-hcv), was distributed | 1 Unit. | California.
1993-03-24 | Biologics | II | b-194-3 | Red Blood Cells. Recall #b-194-3. | Manufacturer | American Red Cross Blood Services Philadelphia Pennsylvania. | February 7, 1992 | Red blood cells previously shipped under improper temperatures were distributed | 3 Units. | Pennsylvania. -5-
1993-03-24 | Biologics | III | b-158-3 | Recovered Plasma. Recall #b-158-3. | Manufacturer | Community Blood Bank Of Erie County Erie Pennsylvania. | September 10, 1992 | Recovered plasma, collected from autologous donors who either: 1) reported histories of hepatitis; 2) reported recent tattoos; 3) exhibited signs or symptoms of aids; 4) were not asked the aids questions designed to illicit a history of high risk behavior or 5) did not or were presumed to not meet the suitability criteria for allogenic use, were distributed | 295 Units Were Distributed. | Delaware New Jersey.
1993-03-24 | Biologics | III | b-145-3 | Recovered Plasma. Recall #b-145-3. | Manufacturer | Rex Hospital Inc. Raleigh North Carolina. | October 7, 1992 | Blood products, which tested initially reactive for hepatitis b surface antigen (hbsag) or initially reactive for the antibody to human t lymphotropic virus type i (anti-htlv-i), were distributed | 2 Units. | Maryland.
1993-03-24 | Biologics | III | b-182-3 | Platelets Pheresis. Recall #b-182-3. | Manufacturer | United Blood Services Blood Systems Inc. El Paso Texas. | August 3, 1992 | Unlicensed blood products were distributed interstate | 2 Units. | Illinois And Texas.
1993-03-24 | Biologics | III | b-195-3 | Red Blood Cells. Recall #b-195-3. | Manufacturer | American Red Cross Blood Services Philadelphia Pennsylvania. | July 24, 1992 | Red blood cells labeled with the incorrect expiration date were distributed | 1 Unit. | New Jersey.
1993-03-24 | Devices | II | z-359/364-3 | Central Telemetry Systems Designed To Detect Arrhythmia: (a) Accucore Model Mpc1000; (b) Accucore Model Ccm-1000; (c) Accucore Model Rvs-1000; (d) Datascope Visa; (e) Quinton Instrument Q-tel; (f) Non-invasive Monitoring Systems (nims) Central Telemetry System. Recall #z-359/364-3. | Manufacturer | Pacific Communications Inc. Santa Ana California. | April 9, 1992 | Software defect may result in the telemetry system failing to alarm during ventricular fibrillation or ventricular tachycardia | 336 Units Were Distributed. | Alabama Arizona California Delaware Florida Iowa Louisiana Louisiana Massachusetts Maryland Michigan New Hampshire New Jersey Oregon Pennsylvania Texas Washington State.
1993-03-24 | Devices | II | z-367/368-3 | Olympus Flexible Sigmodioscope Examining Device (a) Model Osf; (b) Osf-35 Used For Examining The Rectum And Sigmoid For Colorectal Cancer. Recall #z-367/368-3. | Olympus Corporation Lake Success New York | Olympus Opto - Electronics Company Ltd. Fukushima Japan. | December 7, 1992 | Devices were incorrectly re-assembled during a repair procedure | (a) 8 Units; (b) 1 Unit Were Distributed. | Georgia Florida South Carolina Illinois Michigan New Jersey Washington State Texas.
1993-03-24 | Devices | II | z-383-3 | Ohmeda Modulus Cd Anesthesia System A Computer-based Integrated Anesthesia System With Central Display. Stock Numbers: 0397-2012-043 0397-2080-000 0397-2080-001 0397-2080-002 0397-2112-112 1202-8173-000 1202-9000-000 1202-9001-000 1202-9002-000 1202-9003-000 1202-9004-000 1202-9005-000 1202-9007-000 1202-9008-000 1202-9009-000 1202-9016-000 1202-9017-000 1202-9018-000 1202-9019-000 1202-9021-000. Recall #z-383-3. | Manufacturer | Ohmeda Madison Wisconsin. | 12/8/92 | Certain display pod disturbances in pod operation have resulted in an instability of displayed data, a loss of display, or, in a few cases, an odor or presence of smoke emanating from the display pod area | 1 461 Units Were Distributed. | Nationwide And International.
1993-03-24 | Devices | II | z-384/385-3 | Imager Torque Selective Angiographic Catheters Catalog Nos. 35-xxx 90-xxx Special Order Used In Angiography Imaging Procedures. Recall #z-384/385-3. | Boston Scientific Corporation Watertown Massachusetts | Boston Scientific Corporation Milford Massachusetts. | January 18, 1993 | Devices may leak at the hub at the proximal end of the catheter | Approximately 153 000 Units Were Distributed. | Nationwide And International.
1993-03-24 | Devices | II | z-386/396-3 | Ceiling Suspension Systems For One Or Two Monitors For Fluoroscopic X-ray Systems. Recall #z-386/396-3. -9- | Philips Medical Systems Shelton Connecticut | Philips Medical Systems Nederland B.v. Best Netherlands. | January 45, 4522 | The rotary adapter between the arm and the u-shaped monitor holder can break after a certain lifetime | Approximately 2 800. | Nationwide.
1993-03-24 | Devices | III | z-297-3 | Cards Hcg Urine Pregnancy (100 Test) Kit An In-vitro Diagnostic Device Used To Detect Human Chorionic Gonadotropin (hcg) In Urine. Recall #z-297-3. | Manufacturer | Pacific Biotech Inc. San Diego California. | December 30, 1992 | Some mono reaction units are mixed with the hcg reaction units | 254 Kits Were Distributed. | Alaska Alabama Arkansas California Florida Iowa Illinois Indiana Louisiana Michigan Minnesota Maryland North Carolina New Jersey New York Ohio Pennsylvania Texas Washington State Canada.
1993-03-24 | Devices | III | z-338/340-3 | (a) 3m Silux Plus Light Cure Restorative Material In Capsule Assortment Product #5708e; (b) 3m Silux Plus Light Cure Restorative Material In Capsules Product #5706sp; (c) Silux Plus Gray Paste In Capsules Product #5706g Used For Tooth Restorations. Recall #z-338/340-3. | 3m Dental Products Division St. Paul Minnesota | 3m Dental Products Division Irvine California. | October 3, 1992 | The kits containing the batch silux plus gray ad contain some capsules that have been filled with an alternate shade believed to be light ad | (a) 470 Kits; (b) 30 Boxes; (c) 2 151 Boxes Were Distributed. | Nationwide And Canada.
1993-03-24 | Devices | III | z-374-3 | Systemate Bicarbonate (bic) R2 Reagent An In-vitro Diagnostic. Recall #z-374-3. | Manufacturer | Em Diagnostic Systems Inc. Gibbstown New Jersey. | December 7, 1992 | The reagent can become turbid with a precipitate, causing unrealistic, out-of-range data | 725 Units Were Distributed. | Nationwide.
1993-03-24 | Devices | III | z-375-3 | Clinistat Uric Acid Reagent Discs. Recall #z-375-3. | Miles Inc. Diagnostics Division Mishawaka Indiana | Konica Corporation Tokyo Japan. | September 3, 1992 | The "b" calibration values printed on the product carton were incorrect | 47 Cartons (24 Tests Per Carton) Were Distributed; Firm Estimates None Remains On The Market. | Nationwide.
1993-03-24 | Devices | III | z-376-3 | Space Labs Medical Supplies Anesthesia Calibration Gas. Recall #z-376-3. | Manufacturer | Scott Specialty Gases Inc. Scott Medical Products Division Plumsteadville Pennsylvania. | November 6, 1992 | The lots failed to meet the product specification due to high oxygen concentration | 54 Units Were Distributed. | California.
1993-03-24 | Devices | III | z-382-3 | Synchron Uric Acid Reagent Intended For Use On Synchron Cx Systems For Quantitative Determination Of Uric Acid In Serum Or Plasma. Recall #z-382-3. | Beckman Instruments Brea California | Beckman Instruments Inc. Diagnostic Systems Group Carlsbad California. | January 25, 1993 | The reagent is exhibiting some discoloration of enzyme component, resulting in falsely elevated results most noticeable at the lower end of the measuring range | 2 246 Units Were Distributed. | Nationwide And International.
1993-03-24 | Devices | III | z-353-3 | Ames Multistix Brand Reagent Strips For Urinalysis. Recall #z-353-3. | Miles Inc. Diagnostics Division Mishawaka Indiana | Miles Inc. Diagnostics Division Elkhart Indiana. -11- | June 26, 1992 | Some bottles of the product were mislabeled as another product, multistix 10sg | 7 956 Units Were Distributed; Firm Estimates None Remains On The Market. | Nationwide.