## 1993-08-25
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1993-08-25 | Drugs | III | d-319/320-3 | (a) Ether Usp; (b) Ether For Anesthesia Usp. Recall #d-319/320-3. | J.t. Baker Inc. Phillipsburg New Jersey | J.t. Baker Inc. Jackson Tennessee (repacker/responsible Firm). | August 6, 1993 | Products do not meet usp peroxide specification | (a) 415 Packages (all Sizes); (b) 7 566 Packags (all Sizes) Remained In Commerce At The Time Of Recall Initiation. | Nationwide International.
1993-08-25 | Drugs | III | d-321-3 | Enteric Coated Aspirin Tablets 325 Mg (5 Gr) In 100 200 And 1000 Size Bottles Under The Following Labels: J.j. Balan C.s. Ruckstuhl Co. Inc. Reyman Drug Co. Inc. Recall #d-321-3. | Manufacturer | Royce Laboratories Inc. Miami Florida. | February 23, 1993 | Product does not meet dissolution specification | 2 000 000 Tablets From Each Lot Were Distributed. | Nationwide And Puerto Rico.
1993-08-25 | Biologics | II | b-361/369-3 | (a) Whole Blood; (b) Red Blood Cells; (c) Platelets; (d) Cryoprecipitated Ahf; (e) Fresh Frozen Plasma; (f) Red Blood Cells For Further Manufacture; (g) Platelets For Further Manufacture; (h) Source Leukocytes For Further Manufacture; (i) Recovered Plasma. Recall #b-361/369-3. | Manufacturer | American Red Cross Blood Services Buffalo New York. | November 19, 1992 | Blood products, which either: 1) tested repeatedly reactive for the antibody to the human immunodeficiency virus type 1 (anti-hi-1); or 2) tested negative for anti-hi-1, but were collected from donors who previously tested repeatedly reactive for anti-hi-1, were distributed | (a) 2 Units; (b) 424 Units; (c) 172 Units; (d) 141 Units; (e) 56 Units; (f) 19 Units; (g) 15 Units; (h) 12 Units; (i) 404 Units. -8- | Nationwide And Switzerland.
1993-08-25 | Biologics | II | b-372-3 | Recovered Plasma. Recall #b-372-3. | Manufacturer | Fairfax Hospital System Inc. Doing Business As Fair Oaks Hospital Fairfax Virginia. | July 9, 1993 | Blood product which tested initially reactive for hepatitis b surface antigen was distributed | 1 Unit. | Maryland.
1993-08-25 | Biologics | II | b-373/377-3 | (a) Red Blood Cells; (b) Fresh Frozen Plasma; (c) Recovered Plasma; (d) Red Blood Cells For Further Manufacture; (e) Platelets For Further Manufacture. Recall #b-373/377-3. | Manufacturer | Milton S. Hershey Medical Center University Hospital Blood Bank Hershey Pennsylvania. | May 26, 1993 | Blood products, which tested negative for the antibody to the human immunodeficiency virus type i (anti-hiv-1) but were collected from a donor who previously tested reactive for anti-hiv-1, were distributed | (a) 1 Unit; (b) 1 Unit; (c) 1 Unit; (d) 2 Units; (e) 1 Unit. | Pennsylvania New Jersey Maryland.
1993-08-25 | Biologics | III | b-370/371-3 | (a) Red Blood Cells; (b) Recovered Plasma. Recall #b-370/371-3. | Manufacturer | American Red Cross Blood Services Buffalo New York. | April 20, 1993 | Blood products, which tested repeatedly reactive for anti- hiv-1, were distributed | 1 Unit Of Each Component. | (a) New York (b) California Switzerland The Netherlands.
1993-08-25 | Devices | II | z-647-3 | Mevatron Linear Accelerators Digital Controlled For X-ray And Electron Beam Therapy. Recall #z-647-3. | Manufacturer | Siemens Medical Laboratories Inc. Concord California. | NOT-FOUND | Products were distributed without adequate software verification | 20 Units Were Distributed. | Nationwide And International.
1993-08-25 | Devices | II | z-649-3 | Quantum 2000 Ultrasound System Software Version 1.32. The System Projects Ultrasound Energy From A Transducer In Direct Contact With The Body For The Purpose Of Detecting Abnormalities In Soft Tissue Structures And Vessels. Recall #z-649-3. | Manufacturer | Siemens Medical Systems Inc. Issaquah Washington. | May 25, 1992 | The grey scale image quality fails to meet product requirements | 150 Systems With Software Version 1.32 That Received The 1.33 Software Version Upgrade. | Nationwide.
1993-08-25 | Devices | II | z-650-3 | Quantum 2000 Ultrasound System With Software Version 1.32 And 1.33. The System Projects Ultrasound Energy From A Transducer In Direct Contact With The Body For The Purpose Of Detecting Abnormalities In Soft Tissue Structures And Vessels. Recall #z-650-3. | Manufacturer | Siemens Medical Systems Inc. Ultrasound Group Issaquah Washington. | 4/26/93 | The software allows the transducer to exceed its 150 degree f specification | Approximately 400 Systems Were Distributed. | Nationwide And International.
1993-08-25 | Devices | II | z-661/662-3 | Endoscopic Light Sources: (a) Model Clk-4 Endoscopic Light Source; (b) Model Clv-u20 Endoscopic Light Source. Recall #z-661/662-3. | Olympus Corporation Lake Success New York | Olympus Corporation Rio Rancho New Mexico. | March 2, 1993 | The light sources models clk-4 and clv-420 did not receive the quality assurance (qa) high voltage surge test required under olympus corporation standard operating procedure | (a) 42 Units; (b) 3 Units Were Distributed. | (a) Nationwide (b) Tennessee Wisconsin Illinois.
1993-08-25 | Devices | II | z-666/667-3 | Trimedyne Taper Tip 20 And 30 Degree Laser Catheter. Recall #z-666/667-3. | Manufacturer | Trimedyne Inc. Irvine California. | May 21, 1993 | Unanticipated breakage of the laser fiber near the handle of the catheter | 455 Units Were Distributed. | Nationwide International.
1993-08-25 | Devices | II | z-701-3 | Fisher & Paykel Mounting Clamp C-clamp (19-40 Mm) Catalog #900mr085 For Use With Fisher & Paykel Respiratory And Anesthesia Humidifier Heater Bases Catalog Numbers Mr410 Mr480 Mr700 Mr720 Mr730 The Clam Mounts Heater Base To An I.v. Pole For Increased Mobility. Recall #z-701-3. | Baxter Healthcare Corporation Round Lake Illinois | Fisher & Paykel Electronics Ltd. Aukland New Zealand. | January 29, 1993 | The device could possibly break | 2 348 Units Were Distributed. | Nationwide.
1993-08-25 | Devices | II | z-703/705-3 | Mv Aerochamber Single-patient Use Rx Device Nebulizer Used To Deliver Liquid Aerosol Medication To A Mechanically Ventilated (mv) Patient: (a) 15 Mm Case Of 10 Part #82510; (b) 15 Mm Case Of 50 Part #82550; (c) 22 Mm Case Of 10 Part #87510. Recall #z-703/705-3. | Manufacturer | Monaghan Medical Corporation Plttsburgh New York. | January 21, 1993 | Device could possibly become disengaged while being placed in or being removed from the patient circuit, which could allow medication to leak from the unit | (a) 972 Cases; (b) 955 Cases; (c) 339 Cases Were Distributed. | Nationwide.
1993-08-25 | Devices | III | z-686/699-3 | Entrac Urotrieve Stone Retrievers Used For The Endoscopic Removal Of Renal And Ureteral Stones: (a) Stone Retrievers: (b) Ureteral Stent-firm; (c) Soft Stent. Recall #z-686/699-3. | American Medical Systems Inc. Minnetonka Minnesota | Angiomed Aktiengesellschaft Germany. | June 7, 1993 | Mislabeling. | 936 Units Were Distributed. | Alabama California Colorado Connecticut Florida Georgia Indiana Massachusetts Michigan New Jersey North Carolina Ohio.
1993-08-25 | Devices | III | z-702-3 | Imx System Reaction Cells For Use Only With Meia Reagents List #8397-03 A Self-contained Chambered Reaction Cell Allowing For Automated Pretreatment Or Dilution When Required. Recall #z-702-3. | Abbott Laboratories Diagnostics Division Abbott Park Illinois | Abbott Laboratories Diagnostics Division Barceloneta Puerto Rico. | May 6, 1993 | Defective cells may cause pooling on matrix | 25 551 Cartons (100 Cells Per Carton) Were Distributed. | Nationwide And International.