## 1993-12-22
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1993-12-22 | Drugs | II | d-051-4 | Slo-phyllin (theophylline) 250 Mg Extended Release Capsules Unit Dose And In Bottles Of 100 And 1 000 Used As A Bronchodilator. Recall #d-051-4. | Rhone Poulenc Rorer Inc. Collegeville Pennsylvania | Geneva Pharmaceuticals (formerly Cord) Broomfield Colorado. | December 12, 1993 | Product does not meet dissolution specifications | 1 446 Units Of Lot 86575; 1 350 Units Of Lot 91977; 12 200 Units Of Lot 91606 Were Distributed; Firm Estimates 72 Units Of Lot 86575; 610 Units Lot 91606; And 135 Units Of Lot 91977 Remain On The Market. | Nationwide Puerto Rico.
1993-12-22 | Drugs | II | d-054-4 | Amoxicillin For Oral Suspension Usp 250 Mg/5 Ml 150 Ml When Mixed Rx Antibiotic. Recall #d-054-4. | Manufacturer | Biocraft Laboratories Inc. Elmwood Park New Jersey. | July 2, 1993 | Product does not meet potency specifications through expiration date | 6 540 Bottles Were Distributed; Firm Estimates 300 Bottles Remain On The Market. | California Louisiana Oklahoma Oregon Pennsylvania South Carolina Texas.
1993-12-22 | Drugs | II | d-055-4 | Kaolin Pectin Suspension An Oral Suspension In 12 Ounce And 16 Ounce Bottles Used As Anti-diarrheal Treatment Nonprescription. Recall #d-055-4. | Manufacturer | Ambix Laboratories Division Of Organics Of America East Rutherford New Jersey. | June 25, 1993 | Microbiological contamination | Fda Estimates None Remains On The Market. | Michigan New York.
1993-12-22 | Drugs | II | d-056-4 | Isosorbide Tablets 10 Mg Solid Dosage Form 100 Tablets Unit Dose 10 X 10 Rx Used For Maintenance Therapy For Angina Pectoris. Recall #d-056-4. | Medirex Inc. Pine Brook New Jersey | Danbury Pharmacal Inc. Danbury Connecticut. | May 19, 1993 | Packages labeled as 10 mg contain 5 mg tablets | 104 100-tablets Units Were Distributed. | New Jersey New York Virginia Indiana.
1993-12-22 | Drugs | II | d-057/058-4 | Oral Contraceptives: (a) Loestrin Fe (norethindrone Acetate And Ethinyl Estradiol Tablet Usp And Ferrous Fumarate Tablets Usp) 1.5 Mg/30 Mcg Institutional Package; (b) Loestrin 21 (norethindrone Acetate And Ethinyl Estradiol Tablets Usp) Package Of 5 Dispensers. Recall #d-057/058-4. | Parke-davis Division Of Warner Lambert Morris Plains New Jersey | Warner Lambert Fajardo Puerto Rico. | September 28, 1993 | Products may not meet content uniformity specifications | Lot 01502fa -- 6 226 Units Of 21's (pkg Of 5); 18 218 Units Of Ferrous Fumarate (pkg Of 5); 100 760 Cycles As 33 552 Canadian Units Of Physician Samples. Lot 035d2fa -- 23 177 Units Of 21s (pkg Of 5) 1 122 Units Of Ferrour Fumarate (inst. Pkg 3 X 30 Carton); 6 600 Cycles Packaged As 1 315 Canadian Units Were Distributed. | Nationwide And Canada.
1993-12-22 | Drugs | III | d-052-4 | Compazine Injection Mdv (prochlorperazine As The Edisylate Injection) 10 Ml Vial/5 Mg/ml Indicated For Control Of Severe Nausea And Vomiting And For Management Of The Manifestations Of Psychotic Disorders. Recall #d-052-4. | Manufacturer | Smithkline Beecham Pharmaceuticals Company Cidra Puerto. | December 6, 1993 | Product bears an extended expiration date of 12/96 instead of 12/95 | 15 336 Vials Were Distributed. | Nationwide.
1993-12-22 | Drugs | III | d- 053-4 | Semicid Vaginal Contraceptive Inserts A Nonprescription Drug Indicated For The Prevention Of Pregnancy. Recall #d- 053-4. | Manufacturer | Whitehall Laboratories Inc. Hammonton New Jersey. | July 1, 1993 | Superpotency. | Approximately 14 000 Dozen Units Were Distributed. | Nationwide.
1993-12-22 | Devices | II | z-100-4 | Erbium-doped Fiber Amplifier Model 1702 Used In Telecommunications. Recall #z-100-4. | Manufacturer. Fda Approved The Firm's Corrective Action Plan November 20 1993. Firm-initiated Field Correction Ongoing. | At&t; Bell Laboratories Murray Hill New Jersey. | November 20, 1993 | Noncompliance with performance standards for laser products in that it did not incorporate a beam attenuator and display all the required labels | 4 Units. | Maryland New York.
1993-12-22 | Devices | II | z-119-4 | Davol Laparoscopic Suction Irrigation Probe Trumpet Valve Probe With Preattached 5 Mm Irrigation Tip With Side Eyes. Recall #z-119-4. | Manufacturer | Davol Inc. Subsidiary Of C.r. Bard Inc. Cranston Rhode Island. -4- | June 4, 1993 | The laparoscopic probe is fitted with a handle which will connect with an electrosurgical connector | 1 793 Units Were Distributed. | Nationwide.
1993-12-22 | Devices | II | z-123-4 | Lens Holder Tray For Intraocular Lens: Model No. Gl55a Distributed By Dgr; Model No. Sl550 Distributed By Cirrus; Model No. Ph550 Distributed By Acuity; Model No. U515a Distributed By Isotech; And Model No. P152a/ Distributed By Mdr; Model No. Gl55b Distributed By Dgr; Model No. Sl550-2 Distributed By Cirrus; Model No. Pl55b Distributed By Acuity; Model No. U515b/ Distributed By Isotech; Model No. Pl52b Distributed By Mdr; Model No. Gl65b Distributed By Dgr; Gl650-2/ Distributed By Cirrus; Ph650 Distributed By Acuity; U615b/ Distributed By Isotech; Pn55c Distributed By Mdr; Model No. Gl65c Distributed By Dgr; Pn55c/ Distributed By Mdr; Model No. Pl52a Distributed By Dgr; Pn148a/ Distributed By Mdr; Model No. Pl52b Distributed By Dgr; Pn148b/ Distributed By Mdr. Recall #z-123-4. | Manufacturer | Dgr Inc. St. Petersburg Florida. | September 10, 1993 | Packaging design defect may subject the lens to damage when lens is removed from the holder tray | Fda Estimates Little Product Remains On The Market. | Florida Louisiana Georgia Arizona Michigan Ohio Tennessee Alabama South Carolina Iowa Illinois.
1993-12-22 | Devices | II | z-127-4 | Vision Image Intensifiers (a) Model T3c-2; (b) Model T3c-3. Recall #z-127-4. | Jnl Trading Company Inc. New York New York (importer). Fda Approved The Firm's Corrective Action Plan October 18 1993. Firm-initiated Field Correction Ongoing. | Novosibirsk Instrument Making Plant Russian Federation. | October 18, 1993 | The night vision equipment contained a radiation defect, in that the products emitted x-radiation that is unnecessary to the accomplishment of the purpose of the product, and creates a risk of injury to users | 486 Units. -5- | Nationwide.
1993-12-22 | Devices | II | z-141-4 | Xluhp-c Series Ultrasonic Handpiece Part #52-0017-70 For Use With Model Phaco-xl A Phacoemulsification Unit To Be Inserted Into The Eye To Break Up And Aspirate A Cataractous Lens And Also Provides Irrigation To Maintain The Anterior Chamber. Recall #z-141-4. | Manufacturer | Zevex Inc. Monrovia California. | September 30, 1993 | Device may cause electrical shock to patient or physician while using instrument | 55 Units Were Distributed. | Arizona California Connecticut Florida Georgia Indiana Minnesota North Carolina Nevada Oklahoma Utah.
1993-12-22 | Devices | II | z-150/151-4 | Retractable Laparoscope Electrodes Series E2787r And E2788r Used In Conjunction With Valleylab Disposable Pistol Grip Laparoscopic Handsets For Use In Laparoscopic Surgery. Recall #z-150/151-4. | Manufacturer | Valleylab Inc. Pfizer Hospital Products Group Boulder Colorado. | October 21, 1993 | Devices are labeled as sterile, but the packaging enclosing the electrodes may be perforated, thereby, compromising the sterility | 7 Units Of Lot #17191 1 Case (10 Units Per Case) Of Lot 17 839 1 Case (10 Units Per Case) Of Lot 17806. | Nevada Switzerland Bolivia.
1993-12-22 | Devices | II | z-152-4 | Adult Rem Polyhesive Ii Disposable Patient Return Electrode Used In Electrosurgery In Conjunction With A Generator To Return Electrical Current From The Patient Back To The Generator. Recall #z-152-4. | Manufacturer | Valleylab Inc. Pfizer Hospital Products Group Boulder Colorado. | October 29, 1993 | The packaging label reads model e7507 while the electrode contained within may be model e5706 | 568 Cases (50 Units Per Case) Were Distributed. | Eastern Coast Of The United States.
1993-12-22 | Devices | II | z-153/156-4 | One Touch Foil-wrapped Blood Glucose Test Strips For Use With The One Touch Or One Touch Ii Blood Glucose Meters. (a) One Touch Foil Wrapped Test Strips (consumer) 010-340 010-368 010-262; (b) One Touch Wrapped Test Strips (hospital) 010-342 010-296; (c) One Touch Ii System 010- 270; (d) One Touch/one Touch Ii Patient Starter Kits 010- 299. Recall #z-153/156-4. | Manufacturer | Lifescan Inc. A Johnson & Johnson Company Cabo Rojo Puerto Rico. | October 13, 1993 | The test strips may be exposed to moisture and may give inaccurate low test results | Approximately 51.9 Million Test Strips Were Distributed. | Nationwide And International.
1993-12-22 | Devices | III | z-074/077-4 | Diascan Strips Used In Conjunction With The Home Diagnostics Diascan Glucose Meter To Determine Glucose Levels In Fresh Whole Blood | Home Diagnostics Inc. Eatontown New Jersey | Behringwerke Diagnostics Division Of Hoechst A.g. Marburg Germany. | March 22, 1993 | Devices could provide erroneously low glucose readings | 268 015 Units Were Distributed; Firm Estimates Less Than 1 Percent Of Product Remains On The Market. -7- | Nationwide And International.
1993-12-22 | Devices | III | z-078-4 | Urease + Tda (urtda) For In-vitro Diagnostic Use Only In Bottles Containing 50 Tablets. Recall #z-078-4. | Pro-lab Diagnostic Inc. Austin Texas | Rosco Diagnostica Taastrup Denmark. | February 10, 1993 | Fourteen bottles of urease, lot 57-52112 was repacked and 10 bottles were mislabeled as urease + tda, lot 57-52112 | 12 Bottles Were Distributed; Firm Estimates None Remains On The Market. | Maryland.
1993-12-22 | Devices | III | z-097/098-4 | Hybritech Icon Immunoconcentration Assay Kits (a) Strep A Catalog Numbers: 4504 (48 Test) 4509 (24 Test) In-vitro Diagnostics For The Detection And Confirmation Of Group A Streptococcus Antigen From Throat Swab; (b) Strep B Catalog #4520 (24 Test) For The Detection Of Group B Streptococcus Antigen In Urine From Vaginal And Cervical Swabs And For The Confirmation Of Group B Streptococci From Blood Agar Culture. Recall #z-097/098-4. | Manufacturer | Hybritech Inc. San Diego California. | August 24, 1993 | The wash reagent will change color from clear to purple after prolonged exposure to light | Catalog #4504 -- 12 603 Units Distributed; Firm Estimates 2 000 Remain On Market; Catalog #4509 -- 25 770 Units Distributed; Firm Estimates 4 000 Remain On Market; Catalog #4520 -- 9 062 Units Distributed; Firm Estimates 1 300 Remain On The Market. | Nationwide And International.
1993-12-22 | Devices | III | z-138/140-4 | Pregnancy Test Hcg Urine Kit And Bulk: (a) Hcg Best Test Catalog #bhf1001; (b) Hcg One Step Catalog #bhf2201; (c) Hcg Optitec-plus Catalog #68355. Recall #z-138/140-4. | Manufacturer | Medix Biotech Inc. Foster City California. | August 31, 1993 | The loss of intensity observed in the test band could result in a false negative interpretation | 114 Kits (30 Tests Each); 36 930 Test (bulk Pouched Tests) Were Distributed; Firm Estimates Less Than 25 Percent Of The Product Remains On The Market. | Nationwide Spain Italy Portugal Israel Uk.
1993-12-22 | Devices | III | z-142-4 | Hla Dr Select Tray 72 Wells Per Tray Used For Human Lymphocyte Antigen Analysis For Tissue Typing Sold Under The Gentrak Label. Recall #z-142-4. | Manufacturer | Gen Trak Inc. Plymouth Meeting Pennsylvania. | August 19, 1993 | The trays were stamped backwards as a result of being incorrectly loaded in a processing machine | 4 Boxes Were Distributed; Firm Estimates None Remains On The Market. | Pennsylvania.
1993-12-22 | Devices | III | z-149-3 | 10/0 Ophthalmic Nylon Suture. Recall #z-149-3. | Davis & Geck Division Of American Cyanamid Company Danbury Connecticut | Davis & Geck Inc. Division Of American Cyanamid Company Manati Puerto Rico. -9- | August 24, 1993 | The outer box label incorrectly states that the product is absorbable rather than nonabsorbable | 201 Boxes (12 Dozen Per Box) Were Distributed. | New York Illinois Kansas Indiana New Jersey Pennsylvania Argentina Canada.