## 1994-01-26
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-01-26 | Drugs | II | d-109-4 | Imipramine Hydrochloride Usp 25 Mg Sugar Coated Tablets Packed In Bottles Of 100 And 1 000 Rx For Relief Of Depression Under The Rugby Label. Recall #d-109-4. | Manufacturer | Par Pharmaceutical Inc. Spring Valley New York. | December 30, 1993 | Product does not meet dissolution specifications | 10 896 Bottles Of 100 And 2 759 Bottles Of 1 000 Were Distributed. | New York.
1994-01-26 | Devices | I | z-722/724-3 | Laederal Heartstart Semi-automatic Defibrillators Portable Battery Powered Units Having An Lcd Monitor For Displaying Ecg And Use Audio And Visual Messages To Guide The Operator During Use. These Units Determine If The Patient's Condition Can Be Treated By Defibrillation. The Units Can Also Be Converted To Manual Operation: (a) Hs 3000 - This Is The Basic Unit As Described Above. Each Analysis Of The Patient Has To Be Initiated By The Operator; (b) Hs 3000ats - This Model Is Essentially The Same As The Hs 3000 Except That It Will Automatically Reanalyze The Patient After A Shock Is Delivered For A Series Of 3 Shocks. (c) Hs 3000qr - This Is A Hs 3000 Unit With A Quick Reporter (qr) Printing Option Added. This Option Provides The Ability To Print Out An Event Or Patient Ecg. The Operating Instructions For This Model Would Be Those For The Hs 3000 Model And Additional Instructions For The Hs 3000qr. Recall #z-722/724-3. | Laerdal Manufacturing Corp. (lmc) Tualatin Oregon | Siemens Electronics Malaysia Penang Malaysia (component). | May 10, 1993 | Potential for failure of the optocoupler because of its susceptibility to the effects of elevated temperature | 545 Units. | Nationwide And Canada.
1994-01-26 | Devices | II | z-175-4 | Puritan-bennett Companion Aluminum Cylinder Valve Part #231547 Designed To Act As A Safety Relief For The Pressure In The Oxygen Cylinders. Recall #z-175-4. | Manufacturer | Puritan-bennett Lenexa Kansas. | October 11, 1993 | An incorrect rupture disk, rated at 4500-5000 psig, was used in the valve | 103 Units Were Distributed. | Kansas Tennessee California.
1994-01-26 | Devices | II | z-189-4 | Software Versions 3.03.10 And 1.03.03 Used In Model 90489 Spacelabs Pulse Oximetry Modules Models 90465/66/67 Pulse Oximetry/non-invasive Blood Pressure Modules And Model 90651a-08 Monitor With 12 Pin Pulse Oximetry Input Connectors. Recall #z-189-4. | Spacelabs Medical Inc. Redmond Washington | Spacelabs Medical Inc. Hillsboro Oregon (model 90651a-08); Spacelabs Medical Inc. Chatsworth California (all Other Models). | June 23, 1993 | A software error may cause erroneous, low oxygen saturation levels to be indicated when a patient being monitored with nellcor sensors has an actual saturation level of 99-100% | 15 820 Units. | Nationwide And International.