## 1994-03-02
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-03-02 | Drugs | II | d-133-4 | Synarel (nafarelin Acetate) Nasal Solution 2 Mg/ml (as Nafarelin Base) Rx For The Treatment Of Endometriosis And Central Precocious Puberty (cpp). Recall #d-133-4. | Manufacturer | Syntex Laboratories Inc. Palo Alto California. | January 18, 1994 | Bottle label does not provide complete dosage information | 7 224 Bottles Were Distributed. | Nationwide And Belgium.
1994-03-02 | Drugs | II | d-136/145-4 | Various Rx Drugs Packaged By Allscrips Pharmaceuticals Inc. Vernon Hills Illinois: Hydroxyzine Hydrochloride Tablets For Symptomatic Relief Of Anxiety And Tension Associated With Psychoneurosis: -3- (a) 10 Mg Packaged In Bottles Of 30 100 50 20 10 And 15 Tablets; (b) 25 Mg Packaged In Bottles Of 20 30 100 21 60 10 15 12 6 40 And 30 Tablets; (c) 50 Mg Packaged In Bottles Of 100 And 30 Tablets; (d) 25 Mg; Packaged In Bottles Of 50 12 20 6 100 And 30 Capsules; Hydroxyzine Pamoate Capsules For Symptomatic Relief Of Anxiety And Tension Associated With Psychoneurosis: (e) 50 Mg Packaged In Bottles Of 12 20 100 And 50 Capsules; (f) Indomethazine Capsules 50 Mg Packaged In Bottles Of 21 30 100 15 60 20 And 24 Capsules For The Treatment Of The Active Stages Of Moderate To Severe Rheumatoid Arthritis And Osteoarthritis; (g) Methylprednisolone Tablets 4 Mg Packaged In Bottles Of 30 And 60 Tablets A Glucocorticoid Anti-inflammatory; (h) Phenylbutazone Tablets 100 Mg Packaged In Bottles Of 15 30 And 21 Tablets An Anti-inflammatory For The Treatment Of Acute Gouty Arthritis Active Rheumatoid Arthritis And Active Ankylosing Spondylitis; (i) Spironolactone Tablets 25 Mg Packaged In Bottles Of 100 30 And 250 Tablets; A Diuretic And Antihypertensive; (j) Sulfamethoxazole & Trimethoprim Tablets 800/160 Mg Packaged In Bottles Of 10 14 20 And 28 Tablets A Synthetic Antibacterial Combination Product Used For The Treatment Of Urinary Tract Infections And Other Infections Due To Susceptible Strains Of Organisms. Recall #d-136/145-4. | Allscrips Pharmaceuticals Inc. Vernon Hills Illinois (repacker) | Chelsea Laboratories Caribe Inc. Bayamon Puerto Rico (products A-e); Chelsea Laboratories Inc. Monroe North Carolina (products F-j). | January 5, 1994 | Abbreviated new drug approval discrepancies | (a) 1 120 Bottles Of 30 145 Bottles Of 100 64 Bottles Of 50 475 Bottles Of 20 47 Bottles Of 10 247 Bottles Of 15 Were Distributed. (b) 8 893 Bottles Of 20 20 263 Bottles Of 30 84 Bottles Of 100 152 Bottles Of 21 30 Bottles Of 60 450 Bottles Of 10 1 147 Bottles Of 15 390 Bottles Of 12 452 Bottles Of 6 And 6 Bottles Of 40 Were Distributed. (c) 41 Bottles Of 100 And 201 Bottles Of 30 Were Distributed. (d) 42 Bottles Of 50 30 Bottles Of 12 145 Bottles Of 20 1 Bottle Of 6 18 Bottles Of 100 And 61 Bottles Of 30 Were Distributed. (e) 15 Bottles Of 12 100 Bottles Of 20 35 Bottles Of 100 And 32 Bottles Of 50 Were Distributed. -4- (f) 194 Bottles Of 21 693 Bottles Of 30 35 Bottles Of 100 137 Bottles Of 15 15 Bottles Of 60 32 Bottles Of 20 And 83 Bottles Of 24 Were Distributed. (g) 23 Bottles Of 30 And 5 Bottles Of 60 Were Distributed. (h) 118 Bottles Of 15 252 Bottles Of 30 And 979 Bottles Of 21 Were Distributed. (i) 96 Bottles Of 100 271 Bottles Of 30 And 8 Bottles Of 250 Were Distributed. (j) 850 Bottles Of 10 710 Bottles Of 14 2 469 Bottles Of 20 And 150 Bottles Of 28 Were Distributed. Firm Estimates That About 25% Of The Products Remain On The Market. | Nationwide.
1994-03-02 | Drugs | II | d-146-4 | Sulfasalazine Tablets Usp 500 Mg Indicated For The Treatment Of Mild To Moderate Ulcerative Colitis In Bottles Of 500 Under Lederle Schein And Goldline Labels. Recall #d-146-4. | Manufacturer | Lederle Laboratories Pearl River New York. | January 21, 1994 | Product does not meet dissolution specifications | Approximately 250 000 Bottles Were Distributed. | Nationwide Jorda Quatar United Arab Emirates.
1994-03-02 | Drugs | II | d-147-4 | Medical Oxygen Usp In Size E And K Cylinders. Recall #d-147-4. | Manufacturer | Acetylene Oxygen Company (aoc) Rosenberg Texas. | February 18, 1994 | Current good manufacturing practice discrepancies | 33 Cylinders Were Distributed. | Texas.
1994-03-02 | Drugs | III | d-135-4 | Mylanta Double Strength Liquid Antacid In 1 Ounce Units For Hospital Use. Recall #d-135-4. | Johnson & Johnson Merck Consumer Pharmaceutical Company Fort Washington Pennsylvania | Johnson & Johnson Merck Consumer Products Company Pasadena California. | February 2, 1994 | Subpotency of simethicone ingredient | Firm Estimates That Little Of The Product Remains At The Hospital Level. | Nationwide.
1994-03-02 | Drugs | III | d-148-4 | Genaton In 12 Fluid Ounce Bottles An Otc Liquid Antacid. Recall #d-148-4. | Manufacturer | Kc Pharmaceuticals Inc. Pomona California. | July 8, 1993 | Label incorrectly declares "each teaspoonful (15 ml) contains | Approximately 26 000 Bottles Were Distributed. | California Ohio.
1994-03-02 | Devices | II | z-733/734-3 | Infusion Sets: (a) Angio-set; (b) Intima Brand Infusion Sets Sterile I.v. Catheter/needle Units. Recall #z-733/734-3. | Becton Dickinson Vascular Access Sandy Utah April 1 1993. Firm-initiated Recall Ongoing. | Micropette Inc. Division Of Becton Dickinson Company Juncos Puerto Rico. | April 1, 1993 | The stylet hub glued to the intermittent infusion diaphragm could cause a needle stick injury to the patient or healthcare professional | 1.4 Million Units Were Distributed. | Nationwide Canada Australia Belgium Singapore Brazil Japan.
1994-03-02 | Devices | II | z-771/775-3 | Volume Ventilator Breathing Circuits: (a) Custom Configuration Pediatric Product | Manufacturer | Marquest Medical Products Inc. Englewood Colorado. | July 14, 1993 | The breathing circuits may contain exhalation valve caps that have cracked and/or are loose | Approximately 467 Cases (10 Units Per Case) Were Distributed; Firm Estimates That 389 Cases Remain On The Market. | Nationwide Canada Puerto Rico.
1994-03-02 | Devices | II | z-212/215-4 | National Medical Care Catheter Co-pack: (a) Catheter Adapter Co[pack Catalog #48-0122-7; (b) Dextrolyte Ii Capd Training Kit Catalog #48-0110-6; (c) Dextrolyte Ii Ccpd Training Kit Catalog #48-0120-5; (d) Dextrolyte Ii Bagless Training Kit Catalog #48-0140-3. Recall #z-212/215-4. | National Medical Care Medical Products Division Rockleigh New Jersey | National Medial Care Medical Products Division Mcallen Texas. | October 19, 1993 | Incorrect assembly of the threaded portion of the patient catheter adapter could confuse home patients who need to adapt their treatment | 1 454 Units Were Distributed. | Nationwide.
1994-03-02 | Devices | II | z-217/222-4 | Fortress "scooter" Line Of Motorized Wheelchairs For Adult And Pediatric Use: (a) Model 1700 Fs; (b) Model 1704 Fs; (c) Model 2000 Fs Model 2000 Pd Model 2000 S (variations Of The 2000fs); (d) Model 2001 Lx; (e) Model 2001 Lxs; (f) Model 2500 Fs. Recall #z-217/222-4. | Fortress Scientific Ltd. Buffalo New York | Fortress Scientific Ltd. Downsview Ontario Canada. | October 22, 1993 | The scooters contain potentiometers which may malfunction and cause unintentional movement | 2 380 Units Were Distributed. | Nationwide.
1994-03-02 | Devices | II | z-224-4 | Sensormedics Model 3100a High Frequency Oscillatory Ventilator Intended For Normal And Emergency Treatment Of Respiratory Failure And Barotrauma In Neonates. Recall #z-224-4. | Manufacturer | Sensormedics Corporation Yorba Linda California. | September 7, 1993 | The product has incorrectly soldered electronic components causing the piston centering voltage to float resulting in the delivery piston periodically exceeding its normal range of operation, i | 60 Units Were Distributed. | Alaska Arizona Colorado Florida Georgia Hawaii Illinois Louisiana Massachusetts Michigan Minnesota Missouri New Mexico Nevada Texas Virginia Wisconsin Canada Mexico The Netherlands Austria Germany Italy -7- Switzerland The United Kingdom.
1994-03-02 | Devices | II | z-227/246-4 | Three Wheel Scooters Motorized Self-operated Wheel Chairs For Disabled Persons: (a) Lark Front Wheel Drive Scooters Models 4302 4303 4304 (b) Lark Rear Wheel Drive Scooters Models 4350 & 4351 (c) Lark Xt Scooters Models 4370 & 4371 (d) Travelark Front Wheel Drive Scooters Model 4371 (e) Park Lark Models 4355 & 4356 (f) Pony Junior Model 4310 (g) Pony Senior Model 4311 (h) Pony Ii Junior Model 4312 (i) Pony Ii Senior Model 4313 (j) Dart Model 4320 & 4330 (k) Spirit Model 433 (l) Bravo Model 434 (m) Sierra Front Wheel Drive Model 440 & 441 (n) Sierra Rear Wheel Drive Model 445 & 446 (o) Colt Front Wheel Drive Model 4360 (p) Colt Rear Wheel Drive Model 4365 (q) Encore Model 4380 (r) Triumph Model 4390 (s) E-z Shopper/lark E-z Shopper Model 4700 (t) Mini-shopper/mall Lark 4710. Recall #z-227/246-4. | Manufacturer | Ortho-kinetics Inc. Waukesha Wisconsin. | September 24, 1993 | The scooter seats may break away from the scooter | Approximately 64 000 Units Were Distributed. | Nationwide And International.
1994-03-02 | Devices | II | z-248/251-4 | Podiatry X-ray Systems Mobile And Wall Mounted Used In Podiatric Studies: (a) Model Pw200; (b) Model Pw300; (c) Model Pm200; (d) Model Pm300. Recall #z-248/251-4. | Minxray Inc. Northbrook Illinois. Fda Approved The Firm's Corrective Action Plan February 16 1994. Firm- Initiated Field Correction Ongoing. | Mikasa X-ray Company Ltd. Tokyo Japan. | February 16, 1994 | Units failed to met light illuminance requirement at a source to image distance (sid) of 40 inches and failed to meet edge contrast ratio requirement at an sid of 40 inches | More Than 200 Units. | Nationwide
1994-03-02 | Devices | II | z-308/312-4 | Accu-sorb Sterile Laparotomy Sponges Single Use X-ray Detectable: (a) 4" X 18" Lap Sponges Part Numbers: Mds 22-1104 Mds 22-1104nl Mds 23-1104 Mds 23-1104r Mds 23-1304 Mds 23-1504 Mds 23-2104 Mds 24-1504; (b) 8" X 36" Lap Sponges Part Numbers: Mds 22-1136r Mds 23-1136 Mds 23-1136r Mds 23-1336 Mds 23-1536 Mds 24-1536; (c) 8" X 108" Lap Sponges Part Number: Mds 22-11108; (d) 12" X 12" Lap Sponges Part Numbers: Mds 22-1112 Mds 23-1112 Mds 23-1112r Mds 23-1312 Mds 23-1512 Mds 23-2112 Mds 24-1512 Mds 24-1512r Mds 23-4612; (e) 18" X 18" Lap Sponges Part Numbers: Mds 22-1118 Mds 23-1118 Mds 23-1118r Mds 23-1118nl Mds 23-1318 Mds 23-1318nl Mds 23-1518 Mds 23-1518r Mds 23-1518nl Mds 23-2118 Mds 24-1518 Mds 24-1518r. Recall #z-308/312-4. | Manufacturer | Medline Industries Inc. Mundelein Illinois. | January 18, 1994 | The lap sponges may be nonsterile due to possible contamination with mold and/or bacteria | Approximately 133 900 Cases Were Distributed; Firm Estimates 30 Percent Of The Product Remains On The Market. | Nationwide And Canada.
1994-03-02 | Devices | III | z-730-3 | Baxter "smart Label" Catalog #6461610 Designed For Attachment To The Bard Infuso.r Pump. Microprocessors In The Pump De | Baxter Healthcare Corporation N. Reading Massachusetts | Labels Inc. Amesbury Massachusetts. | April 15, 1993 | The smart label illustrations contain an error which may result in incorrect volume infusion of a drug | 86 Labels Were Distributed. | Nationwide.
1994-03-02 | Devices | III | z-804-3 | Volumetric Infusion Pump Ivac Model 599 Used For The Delivery Of Drugs. Recall #z-804-3. | Ivac Corporation San Diego California | Ivac Corporation Creedmor North Carolina. | June 8, 1993 | Design defect. | 1 359 631 Sets Were Distributed; Firm Estimates None Remains On The Market. | Nationwide And International.
1994-03-02 | Devices | III | z-255-4 | Hcl Bi-layer Blood Agar 4% Horse Blood Prepared Culture Media Plates For In-vitro Diagnostic Use To Differentiate Hemolytic Bacteria From Non-hemolytic Bacteria Product #s1170. Recall #z-255-4. | Manufacturer | Micro Diagnostics Inc. Lombard Illinois. | December 15, 1993 | The media started to hemolyze the plates prior to their expiration date | 40 Plates Were Distributed. | Iowa Maryland.
1994-03-02 | Devices | III | z-256/257-4 | Safecrit-heparinized Micro-hct Tubes Used To Measure Packed Red Cell Volume Via Capillary (fingerstick) Blood Sampling By The Microhematocrit Method: (a) Safe-crit-heparinized Micro-hematocrit Tube 75 Mm Length Catalog #hp4h; (b) Safe-crit-heparinized Microhematocrit Tube 40 Mm Length Catalog #hp8h. Recall #z-256/257-4. | Statspin Technologies Norwood Massachusetts | Kabe Labortechnik Gmbh Nuembrecht Elsentotz Germany. | November 11, 1993 | Product results in falsely high hematocrit readings associated with variation in the heparin anticoagulant coating | 2 428 600 Units Were Distributed. | Nationwide England Portugal Thailand Japan Canada.
1994-03-02 | Devices | III | z-313-4 | Coulter Dacos Glucose Reagent In 24 Ml Vials For The Quantitative Determination Of Glucose. Recall #z-313-4. | Coulter Corporation Miami Florida | Trace America Inc. Australia. | October 5, 1993 | The reagent bottle states that the reagent should be reconstituted with 24 ml of diluent and the package insert states 20 ml | Undetermined. | Florida Georgia Illinois Indiana Kansas Michigan New York Ohio Pennsylvania Texas Turkey United Kingdom Canada.
1994-03-02 | Devices | III | z-314-4 | Coulter 5c Abnormal Ii Cell Control A Vial Of Liquid Control Material Designed To Represent Defined Abnormal Human Blood And Intended For Use In Specific Coulter Instruments/systems Which Are Named In The Labeling. Recall #z-314-4. | Coulter Corporation Miami Florida | Coulter Corporation Hialeah Florida. | May 20, 1992 | The white blood cell parameters sometimes exceed the labeled range | Firm Estimates None Remains On The Market. | Nationwide Canada.
1994-03-02 | Devices | III | z-315-4 | Dacos Cuvettes For Use With The Dacos Chemistry Analyzer For In-vitro Diagnostic Use Part #1016508. Recall #z-315-4. | Coulter Corporation Miami Florida | Tech Plastics Tempe Arizona. | February 25, 1994 | Undersized cuvettes are pulled out of the wheel by the wash station causing the wheel to jam and the analyzer to stop | Firm Estimates None Remains On The Market. | Nationwide And International.
1994-03-02 | Devices | III | z-316/317-4 | Coulter Isovial White And Red Capillary Pipets: (a) Part #7546971 Coulter Isovial White Intended For Counting Leukocytes And Measuring Hemoglobin; (b) Part #7546970 Red Capillary Pipets Intended For Counting And Sizing Erythrocytes. Recall #z-316/317-4. | Coulter Corporation Miami Florida | Coulter Corporation Hialeah Florida. | July 28, 1992 | Pipets may leak. | 41 Lots Of Isovial Red And White (approximately 142 000 Individual Units Of Sale) Covered On Recall Letter Dated 7/28/92. Recall Of Isovial White Lot 107999k Involved 4 920 Individual Units. An Individual Unit Of Sale Consists Of 1 Package Of 30 Vials. | Nationwide.
1994-03-02 | Devices | III | z-318/320-4 | Coulter 5c Cell Controls 3.3ml For In-vitro Diagnostic Use: (a) Normal; (b) Abnormal I; (c) Abnormal Ii. Recall #z-318/320-4. | Coulter Corporation Miami Florida | Coulter Corporation Hialeah Florida. | February 15, 1993 | Reported low eosinophil percent and numbers | Firm Estimates None Remains On The Market. | Nationwide And International.
1994-03-02 | Devices | III | z-321/328-4 | Dacos And Dacos 2 Chemistry Software With Revisions 1.74 1.75 And 1.76. Recall #z-321/328-4. | Coulter Corporation Miami Florida | Coulter Corporation Hialeah Florida. | June 4, 1992 | While programming samples, if the cursor is moved into the year section of the field, the year 1992 and all subsequent years cannot be entered in the appropriate field | Undetermined. | South Carolina California Australia Canada France Germany United Kingdom Japan Hong Kong.
1994-03-02 | Devices | III | z-329/340-4 | Coulter Epic Dna Software Version 2.1 Designed For Use On The Customer's Own Computers I.e. Not Internally In Coulter's Line Of Flow Cytometers Some Of Which Are Computer-equipped. Recall #z-329/340-4. | Coulter Corporation Miami Florida | Coulter Corporation Miami Lakes Florida. | October 15, 1991 | Some of the computer disks which were labeled as version 2 | Firm Estimates None Remains On The Market. | Maryland Louisiana Texas Kentucky Arkansas Illinois Massachusetts Wisconsin Washington D.c. New Jersey Connecticut Minnesota North Carolina Missouri Virginia Michigan Georgia Florida Belgium Canada The United Kingdom France Germany India Italy The Netherlands Norway South Africa Spain.