## 1994-03-09
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-03-09 | Drugs | I | d-121-4 | Alupent (metaproterenol Sulfate Usp) Inhalation Aerosol With Mouth Piece Used As A Bronchodilator. Recall #d-121-4. | Boehringer-ingelheim Pharmaceuticals Inc. Ridgefield Connecticut | 3-m Pharmaceuticals Inc. Northridge California. | January 26, 1994 | Product does not meet particle size distribution specification | 218 843 Canisters Were Distributed; Firm Estimates 98 000 Canisters Remain On The Market. | Nationwide.
1994-03-09 | Drugs | II | d-150/158-4 | Various Drug Products: (a) Folic Acid Usp 1 Mg In High Density Polyethylene (hdpe) Bottles Of 100 500 And 1 000 Tablets Rx Anti-anemic Under The Following Labels: Pioneer Major Goldline And Url: (b&c;) Dicyclomine Hydrochloride Tablets 10 Mg And 20 Mg Rx Anti-spasmodic And Anti-cholinergic Agent Used To Relieve Smooth Muscle Spasm Of The Gi Tract Under The Following Labels: Pioneer Par-med Best Major Qualitest H.l. Moore Schein Bentu Harber Url Goldline Genetco And Geneva; (d&e;) Chlorzoxazone (chlorzoxazone 250 Mg And Chlorzoxazone 500 Mg Usp In Hdpe Bottles Of 100 500 And 1000 Tablets Rx Muscle Relaxant Under The Following Labels: Pioneer Goldline And Qrp; (f) Carisoprodol 350 Mg Usp In Hdpe Bottles Of 100 500 And 1000 Tablets Rx Muscle Relaxant Under The Following Labels: Pioneer Par-med Major Qualitest Ide Harber Goldline Url Genetco; (g&h;) Methocarbamol (usp 500 Mg And Usp 750 Mg) In Hdpe Bottles Of 100 500 And 100 Tablets Rx Muscle Relaxant Under The Following Labels: Pioneer Par-med Major -3- Goldline Qualitest Ide And Url; (i) Cryproheptadine 4 Mg In Hdpe Bottles Of 100 Capsules Rx Decongestant Under The Pioneer Label. Recall #d-150/158-4. | Manufacturer | Pioneer Pharmaceuticals Irvington New Jersey. | May 18, 1993 | Abbreviated new drug application discrepancies | Firm Estimates None Remains On The Market. | Nationwide.
1994-03-09 | Drugs | II | d-180-4 | Sulfasalazine Tablets Usp 500 Mg In 100 Tablet Boxes Rx Oral Anti-inflammatory For The Treatment Of Mild To Moderate Ulcerative Colitis. Recall #d-180-4. | Udl Laboratories Inc. Rockford Illinois (repacker) | Lederle Laboratories Inc. Pearl River New York. | January 28, 1994 | Product does not meet dissolution specifications | 34 300 Cartons Of 100 Unit Dose Tablets Were Distributed; Firm Estimates That 35-40 Percent Of The Product Remains On The Market. | Nationwide.
1994-03-09 | Drugs | II | d-181-4 | Sulfasalazine Tablets 500 Mg In Bottles Of 100 Rx Oral Anti-inflammatory For Treatment Of Mild To Moderate Ulcerative Colitis. Recall #d-181-4. | Allscrips Pharmaceuticals Inc. Vernon Hills Illinois (repacker) | Lederle Laboratories Inc. Pearl River New York. | January 31, 1994 | Product does not meet dissolution specifications | 410 Bottles Were Distributed; Firm Estimates 25 Percent Of The Product Remains On The Market. | California New Mexico Pennsylvania Missouri Indiana Florida New Hampshire West Virginia Ohio South Dakota.
1994-03-09 | Drugs | II | d-182-4 | Hydrocodone Bitartrate 5 Mg /acetaminophen 500 Mg Tablets In Bottles Of 15 20 30 40 100 50 10 6 24 12 25 And 16 Rx Product For Use As A Pain Reliever. Recall #d-182-4. | Allscrips Pharmaceuticals Inc. Vernon Hills Illinois (repacker) | Halsey Drug Company Inc. Brooklyn New York. | February 9, 1994 | Abbreviated new drug application discrepancies | 2 898 Bottles Of 15 6 483 Bottles Of 20 2 168 Bottles Of 30 116 Bottles Of 40 62 Bottles Of 100 40 Bottles Of 50 2 482 Bottles Of 10 302 Bottles Of 6 663 Bottles Of 24 766 Bottles Of 12 20 Bottles Of 25 And 6 Bottles Of 16 Tablets Were Distributed; Firm Estimates That 35 Percent Of The Product Remains On The Market. | Nationwide.
1994-03-09 | Drugs | II | d-183-4 | Oxygen Home Use Tanks. Recall #d-183-4. | Diversified Medical Equipment Services Fitchburg Massachusetts | Northeast Airgas Fitchburg Massachusetts. | December 21, 1993 | Recalling firm mistakenly transfilled liquid argon into several home use liquid oxygen tanks | 190 Pounds. | Massachusetts.
1994-03-09 | Drugs | II | d-184-4 | Ergoloid Mesylates 1 Mg Oral Tablets Used For Symptomatic Relief Of Decline In Mental Capacity. Recall #d-184-4. | Vangard Labs Inc. Glasgow Kentucky (repacker) | Danbury Pharmacal Inc. Carmel New York. | January 24, 1994 | Product does not meet usp content uniformity specifications | 10 335 Boxes Of 100 Tablets Were Distributed. | Nationwide.
1994-03-09 | Drugs | III | d-149-4 | Demerol Hydrochloride (meperidine Hydrochloride Injection Usp) 100 Mg/1 Ml 100 Mg Per Ml. Recall #d-149-4. | Corporate Headquarters New York New York | Sanofi Winthrop Pharmaceuticals Mcpherson Kansas. | December 31, 1993 | The cii drug enforcement administration symbol was omitted from the unit carton | 19 661 Units Of Lot M420kj 2 788 Units Of Lot M120kl. | Undetermined.
1994-03-09 | Drugs | III | d-159/179-4 | Various Drug Products: (a) Anti-tussive (caramiphen Edisylate 40 Mg/phenylpropanolamine 75 Mg) In Hdpe Bottles Of 50 100 500 And 1000 Immediate Release Capsules Rx Cough Suppressant Under The Following Labels: Pioneer Best Par-med And Quality Research Pharmaceuticals; (b) Papaverine (papaverine Hcl 150 Mg) In Hdpe Bottles Of 100 And 1000 Extended Release Capsules Rx Intracovernosal Under The Following Labels: Pioneer Harber Goldline And Richie; (c) Decongestabs (phenylpropanolamine Hcl 40 Mg Phenylephrine Hcl 10 Mg Phenyltoloxamine Citrate 15 Mg Chlorpheniramine Maleate 5 Mg) In Hdpe Bottles Of 100 500 And 100 Tablets Rx Decongestant Under The Following Labels: Pioneer Par-med Major Best And Url; (d) Pioten (brompheniramine Maleate Usp 12 Mg Phenlyephrine Hdyrochloride Usp 15 Mg Phenylpropanolamine Hcl 15 Mg) In Hdpe Bottles Of 100 500 And 1000 Extended Release Tablets Rx Decongestant Under The Following Labels: Pioneer Par-med Major Best Harber G.s. Ruckstuhl And Genetco; (e&f;) Cyclandelate (cyclandelate 200 Mg) And Cyclandelate 400 Mg) In Hdpe Bottles Of 100 400 And 1000 Capsules Rx Vasodilator Under The Following Labels: Pioneer Par-med Best Major Rugby H.l. Moore Schein Ide Goldline Genetco And Qualitest; (g) Chlordiazepoxide/clidinium Usp 10 Mg And 25 Mg In Hdpe Bottles Of 100 500 1000 Immediate Release Capsules Rx Drug With Anti-anxiety And Sedative Actions Under The Following Labels: Pioneer Ide Goldline Url Par-med And Major; (h) Nuvites (vitamins C B1 B2 B6 B12) In Hdpe Bottles Of 100 And 500 Tablets Rx Vitamin Supplement Under The Following Labels: Pioneer Everett Laboratories And Qualitest; (i) Therax Theophylline 130 Mg Hydroxyzine Hcl 10 Mg Ephedrine Sulfate 25 Mg In Hdpe Bottles Of 100 500 And 100 Tablets Rx Bronchodilator Under The Following Labels: Pioneer Best Ide Schein Genetco Qualitest And Rugby; (j) Chlorzoxazone (chlorzoxazone 250 Mg W/apap) In Hdpe Bottles Of 100 500 And 1000 Tablets Rx Muscle Relaxant Under The Following Labels: Pioneer Goldline And Qrp; (k) Dimenhydrinate 50 Mg In Packages Of 100's And Hdpe Bottles Of 1000 Tablets Nonprescription Antiemetic Under The Following Labels: Pioneer Goldline And H.l. Moore; (l) Brinogeburanube Nakeatem 4 Mg And Usp 750 Mg) In Hdpe Bottles Of 100 500 And 1000 Tablets Rx Muscle Relaxant Under The Following Labels: Pioneer Par-med Major Goldline Qualitest Ide And Url; (m) Ferrous Fumarate W/dss In Hdpe Bottles Of 100 And 1000 Timed Release Capsules Nonprescription Iron Supplement Under The Following Labels: Pioneer Ide Url And Genetco; -6- (n) Chlorpheniramine Maleate 4 Mg In Hdpe Bottles Of 100 And 1000 Tablets Nonprescription Antihistamine Under The Following Labels: Pioneer Goldline Harber And Genetco; (o) Iodoquinol 650 Mg In Bottles Of 100 Only Rx Anti- Amebiasis Exclusively Under The Consolidated Midland Corporation Label; (p) Fumatrin Forte In Hdpe Bottles Of 60 Tablets Rx Therapeutic Hematinic With Vitamins Exclusively Under The Reid-provident Label; (q) Ferrous Fumarate In Bulk Only Nonprescription Iron Supplement; (r) Yohimbine In Bulk Tablets Nonprescription Dietary Supplement Contract Manufactured Exclusively For Consolidated Midland Corporation; (s) Diphenhydramine 25 Mg In Hdpe Bottles Of 100 Capsules Rx Anti-histaminic Under The Pioneer Label; (t) Diphenhydramine 50 Mg In Hdpe Bottles Of 100 Capsules Rx Anti-histaminic Under The Pioneer Label; (u) Paindrin In Hdpe Bottles Of 60 And 100 Tablets Nonprescription Analgesic Under The Pioneer Label. Recall #d-159/179-4. | Manufacturer | Pioneer Pharmaceuticals Irvington New Jersey. | May 18, 1993 | Current good manufacturing practice deficiencies | Firm Estimates None Remains On The Market. | Nationwide.
1994-03-09 | Biologics | II | b-142/148-4 | (a) Red Blood Cells: (b) Red Blood Cells Leukocytes Removed; (c) Whole Blood Mod Platelets Removed; (d) Platelets; (e) Cryoprecipitated Ahf; (f) Fresh Frozen Plasma; (g) Recovered Plasma. Recall #b-142/148-4. | Manufacturer | Mid-south Regional Blood Center Memphis Tennessee. | June 19, 1993 | Blood products tested negative for the antibody to human immunodeficiency virus type 1 (anti-hiv-1), but were collected from donors who previously tested repeatedly reactive for anti-hiv-1 | (a) 16 Units; (b) 2 Units; (c) 2 Units; (d) 17 Units; (e) 2 Units; (f) 5 Units; (g) 13 Units. | Florida Illinois Missouri Texas. -7-
1994-03-09 | Biologics | II | b-160-4 | Recovered Plasma. Recall #b-160-4. | Manufacturer | Mississippi Blood Services Inc. Jackson Mississippi. | April 1, 1993 | Blood products tested negative for the antibody to the human immunodeficiency virus type 1 (anti-hiv-1), but were collected from donors who previously tested repeatedly reactive for anti-hiv-1 | 4 Units. | California New York North Carolina.
1994-03-09 | Biologics | III | b-149/154-4 | (a) Red Blood Cells; (b) Whole Blood Mod Plt Removed; (c) Platelets; (d) Cryoprecipitated Ahf; (e) Fresh Frozen Plasma; (f) Recovered Plasma. Recall #b-149/154-4. | Manufacturer | Mid-south Regional Blood Center Memphis Tennessee. | June 19, 1993 | Blood products tested negative for the antibody to human immunodeficiency virus type 1 (anti-hiv-1), but were collected from donors who previously tested repeatedly reactive for anti-hiv-1 | (a) 4 Units; (b) 4 Units; (c) 8 Units; (d) 1 Unit; (e) 1 Unit; (f) 3 Units. | Tennessee Missouri.
1994-03-09 | Biologics | III | b-155-4 | Red Blood Cells. Recall #b-155-4. | Manufacturer | The New York Blood Center New York New York. | August 8, 1990 | Blood product, untested for viral markers, was distributed for transfusion | 1 Unit. | New York.
1994-03-09 | Biologics | III | b-156-4 | Recovered Plasma. Recall #b-156-4. | Manufacturer | Timken Mercy Medical Center Canton Ohio. | August 22, 1990 | Blood products tested negative for the antibody to human immunodeficiency virus type 1 (anti-hiv-1), but were collected from a donor who previously tested repeatedly reactive for anti-hiv-1 | 3 Units. | Maryland.
1994-03-09 | Devices | II | z-261/278-4 | Diala-kits Restricted Disposable Sterile Devices Bearing The Rx Legend Containing Supplies Used By Dialysis Centers And Hospitals During Dialysis Procedures: Catalog Numbers: (a) 46-5010-7; (b) 46-5050-3; (c) 46-5072-7; (d) 46-5100-6; (e) 46-5210-3; (f) 46-5231-9; (g) 46-5020-6; (h) 46-5070-1; (i) 46-5080-0; (j) 46-5110-5; (k) 46-5220-2; (l) 46-5240-0; (m) 46-5021-4; (n) 46-5071-9; (o) 46-5090-9; (p) 46-5200-4; (q) 46-5230-1; (r) 46-5250-9. Recall #z-261/278-4. | National Medical Care Rockleigh New Jersey | National Medical Care Mcallen Texas. | October 19, 1993 | Lack of an approved 510(k) | 3 043 Cases (24 Kits Per Case) Were Distributed; Firm Estimates That 75 Cases Remain On The Market. | Nationwide.
1994-03-09 | Devices | II | z-279/283-4 | Chin Bone Plate Components Of Osteomed M3 Rigid Fixation System Designed To Fixate Genioplsties. Recall #z-279/283-4. | Osteomed Corporation (oc). Irving Texas | Enterprise Industries North Hollywood California. | June 19, 1993 | Plates are potentially subject to cracking and breaking before/and after implantation due to insufficient pre-bend radius | 557 Plates Were Distributed; Firm Estimates None Remains On The Market. | Nationwide And International.
1994-03-09 | Devices | II | z-307-4 | Profect Grand Medical Brand Laparotomy Sponges Disposable Sterile Radiopaque 18" X 18" Packed In Cases Containing 20 Pouches 5 Sponges Each Used During Surgical Procedures. Recall #z-307-4. | Manufacturer | Network Trading Corporation Doing Business As Grand Medical Products Houston Texas. | January 20, 1994 | Products have the potential to be nonsterile | 200 Cases Of Lot 202890 177 Cases Of Lot 202891 10 Cases Of Lot 2022892 Were Distributed. | Nationwide.
1994-03-09 | Devices | II | z-342/343-4 | Ics Profile And Profile Ii With Software Revision Levels 2.2 And 2.4 Used For Research And Clinical Applications: (a) Profile; (b) Profile Ii. Recall #z-342/343-4. | Coulter Corporation Miami Florida | Coulter Epics Miami Lakes Florida. | June 5, 1992 | It is possible for the number of events (counts) in the histograms obtained during run-time and from listmode data to differ | 491 Units Were Distributed. | Nationwide Argentina Australia Japan Puerto Rico Mexico.
1994-03-09 | Devices | II | z-344-4 | Fonar Ultimate 3000 And B-3000m Magnetic Resonance Imaging Scanners Used In Production Of Images Of Multiple Planes In The Head And Body. Recall #z-344-4. | Manufacturer. As Of December 3 1993 All Units Were Retrofired Except Serial #1186 And #1187. Firm-initiated Field Correction Ongoing. | Fonar Corporation Melville New York. | December 3, 1993 | Defective electrical insulation in the gradient amplifier may cause a short resulting in the overheating and melting of the wires | 13 Units Were Distributed. | Nationwide Korea Mexico.
1994-03-09 | Devices | II | z-347/350-4 | Introducer Catheters Contained In The Vena Cava Filter Systems Permanently Implanted Devices Designed To Protect The Patient Against Pulmonary Embolism: (a) Catalog #50-100 24f Stainless Steel Greenfield Filter System; (b) Catalog #50-300 12f Titanium Greenfield Filter System- Jugular; (c) Catalog #50-301 12f Titanium Greenfield Filter System- Femoral; (d) Catalog #50-525 24f Stainless Steel Greenfield Introducer Catheter. Recall #z-347/350-4. | Manufacturer | Medi-tech Division Boston Scientific Corporation Watertown Massachusetts. | September 2, 1993 | A defective inner sheath of the introducer catheter may become brittle, crack and embolize within the patient | Approximately 23 000 Units. | Nationwide And International.
1994-03-09 | Devices | III | z-252-4 | Fresh Lens 04 -1.75 Power Rx Extended Wear Contact Lens. Recall #z-252-4. | Bausch & Lomb Inc. Rochester New York | Bausch & Lomb Inc. Waterford Ireland. | December 23, 1993 | Blister packs containing the lenses were labeled with an incorrect lot number and lens power, while the carton was labeled with the correct lot number and lens power | 29 Cartons Were Distributed. | Nationwide.
1994-03-09 | Devices | III | z-259/260-4 | Premier Deluxe Hot Bead Sterilizer (a) Model 110; (b) 220 Volt Models Used In The Sterilization Of Small Hand Held Metallic Instruments. Recall #z-259/260-4. | Permier Dental Products Company Inc. Norristown Pennsylvania | Premier Medical Division Of Premier Dental Products Company Philadelphia Pennsylvania. | June 25, 1993 | Overheating caused by the insulation board pressing against the thermostat contacts causing the circuit to remain closed after they reach 435 degrees fahrenheit | Firm Estimates 900 Uncorrected Units Remain On The Market. | Nationwide And International.
1994-03-09 | Devices | III | z-284/285-4 | Coulter 4c Plus Normal Cell Control And Tripack Kits For In-vitro Diagnostic Use: (a) 4c Plus Normal 9x3.3ml; (b) 4c Plus Tripak 9x3.3ml. Recall #z-284/285-4. | Coulter Corporation Miami Florida | Coulter Corporation Hialeah Florida. | February 22, 1993 | The assigned red blood cell (rbc) value for the stks system was incorrectly typed under the table of expected results | Firm Estimates None Remains On The Market. | Nationwide And International.
1994-03-09 | Devices | III | z-286-4 | Coulter Software Included With The 4c Plus Coulter Cell Control For In-vitro Diagnostic Use. Recall #z-286-4. | Coulter Corporation Miami Florida | Coulter Corporation Diagnostics Group Hialeah Florida. | July 13, 1993 | A change in the lot numbering system caused a diskette/instrument interface incompatibility | 219 Kits Were Distributed; Firm Estimates None Remains On The Market. | Nationwide Germany Turkey.
1994-03-09 | Devices | III | z-287-4 | Coulter Gamma-gt Reagent For The Quantitative Determination Of Gamma-glutamyl Transpeptidase Activity In Serum. Recall #z-287-4. | Coulter Corporation Miami Florida | Trace America Inc. Clayton Victoria Australia. | July 14, 1993 | Incorrect directions for use were provided to customers | Firm Estimates All Units Have Been Corrected. | Nationwide And International.
1994-03-09 | Devices | III | z-288-4 | Coulter Chemistry Control Level I For In-vitro Diagnostic Use. Recall #z-288-4. | Coulter Corporation Miami Florida | Ciba-corning Diagnostics Corporation Irvine California. | October 6, 1993 | The sodium (na) and potassium (k) values were reversed on the table of assigned values | 286 Kits Of Lot 150006k3 And 2 Kits Of Lot 150006k4 Were Distributed. | Nationwide And International.
1994-03-09 | Devices | III | z-291/296-4 | Coulter Maxm With Software Below Level 6a An Automated Hematology Instrument. Recall #z-291/296-4. | Coulter Corporation Miami Florida | Coulter Corporation Hialeah Florida. | April 19, 1993 | Specimens containing fibrin threads, cell fragments, or other debris can cause a transient or partial blockage of the aperture and may produce an erroneously low count | Approximately 315 Machines Remain Uncorrected. | Nationwide And International.
1994-03-09 | Devices | III | z-358-4 | Sarstedt Tissue Culture Flask Sterile 25cm2/50 Ml Used To Examine Propagate Nourish Or Grow Cells And Tissue Cultures. Recall #z-358-4. | Manufacturer | Sarstedt Inc. Newton North Carolina. | November 17, 1993 | The packaging exam performed on the lot revealed two leakers | 4 Cases (500 Units Per Case) Were Distributed. | Missouri And Canada.
1994-03-09 | Devices | III | z-359/364-4 | 5 Coulter Maxm With Software Below Level 6a An Automated Hematology Instrument. Recall #z-359/364-4. | Coulter Corporation Miami Florida | Coulter Corporation Instruments Group Hialeah Florida. | May 26, 1992 | Software errors. | Approximately 315 Machines Remain Uncorrected. | Nationwide And International.