## 1994-04-27
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-04-27 | Drugs | II | d-254/255-4 | (a) Family Medic First Aid Treatment 4 Ounce Pump Spray Otc For Topical Administration; (b) Ahhh Sunburn Therapy In 6 Ounce And 1 Ounce Gel; 4 Ounce And 5 Ounce Spray. Recall #d-254/255-4. | Repacker | Tender Corporation Littleton New Hampshire (repacker). | March 17, 1994 | Presence of pseudomonas cepacia | Approximately 59 000 Units Were Distributed. | Nationwide.
1994-04-27 | Drugs | II | d-256/257-4 | Cephradine Capsules Usp 250 Mg Capsules And 500 Mg Capsules Rx Oral Antibiotic Under The Following Labels: Biocraft Aligen Biocraft Darby (rugby) Drug Guild (harber Label) Geneva Generics Geneva Pharmaceutical Goldline Lederle Major H.l. Moore Qualitest Schein Udl Uhl Warner- Chilcott. Recall #d-256/257-4. | Biocraft Laboratories Inc. Fair Lawn New Jersey | Biocraft Laboratories Inc. Elmwood Park New Jersey. | October 8, 1993 | Potency not assured through expiration date | Firm Estimates There May Have Been 2 000 Bottles For Each Recalled Lot On The Market At Time Of Recall Initiation. | Nationwide.
1994-04-27 | Drugs | II | d-259-4 | Triamcinolone Acetonide Cream Usp 0.1% In 1 Pound Jars Rx For Relief Of The Inflammatory Manifestations Of Corticosteroid-responsive Dermatoses. Recall #d-259-4. -5- | Manufacturer | Fougera Division Of Altana Inc. Melville New York. | March 29, 1994 | Superpotency. | Approximately 100 504 Jars Were Distributed. | Nationwide.
1994-04-27 | Drugs | II | d-260/261-4 | I.v. Solutions Contained In A Plastic "mini-bag Plus" Containers With Vial Adaptor Ports For Admixture Of Single Dose Powdered Drugs; Baxter Healthcare Corporation Deerfield Il 60015 The Following Products Are Subject To The Recall: (a) 5% Dextrose Injection Usp Packaged In Mini-bag Plus 50 Ml And 100 Ml Viaflex Single Dose Plastic Containers; (b) 0.9% Sodium Chloride Injection Usp Packaged In Mini-bag Plus 50 Ml And 100 Ml Viaflex Single Dose Plastic Containers. Recall #d-260/261-4. | Baxter Healthcare Corp. I.v. Systems Division Round Lake Illinois | (a) Baxter Healthcare Corp. North Cleveland Mississippi. (manufacturer Of Vial Adaptor Foil Cover Sub-assembly) (b) Baxter Healthcare Corp. Jayuya Puerto Rico (manufacturer Of Solutions. | April 12, 1994 | Delamination of the foil seal located on the vial adaptor cap which may result in difficulty removing the blue support disc | 257 133 Units Were Distributed; Firm Estimates That 15% Of The Product Remains On The Market. | Nationwide.
1994-04-27 | Drugs | II | d-262-4 | Percogesic Aspirin-free Analgesic For Enhanced Relief Of Pain 325 Mg In Bottles Of 90 50 And 24 Tablets. Recall #d-262-4. | The Procter & Gamble Company Cincinnati Ohio | The Procter & Gamble Company Cayey Puerto Rico. | April 11, 1994 | Incomplete warning statement regarding antihistamine ingredient | 14 646 Cases (36 24-tablet Bottles Per Case); 15 682 Cases (36 50-tablet Bottles Per Case); 20 176 Cases (24 90-tablet Bottles Per Case) Were Distributed. -6- | Nationwide.
1994-04-27 | Drugs | III | d-258-4 | Ibuprofen Usp 200 Mg Film Coated Tablets In Bottles Of 50 And 100 Non-prescription Pain Reliever. Recall #d-258-4. | Manufacturer | H.n. Norton Company Shreveport Louisiana. | March 1, 1994 | Bottles of 50 tablets were packaged in containers labeled 100 tablets | 2 381 50-tablet Bottles And 2 001 100-tablet Bottles Were Distributed. | Alabama Arizona California Florida Georgia Indiana Kentucky Louisiana Maryland Michigan New York Oklahoma Texas Virginia.
1994-04-27 | HUMAN TISSUE MANDATORY RECALLS |  | b-202-4 | Allograft Human Banked Tissue Dehydrated And Frozen Human Bone. Recall #b-202-4. | Transplant Technology Inc. San Antonio Texas | SUPPLIER: Skilosovsky Research Institute, Moscow, Russia. | March 10, 1994 | This is a fda ordered recall under 21 cfr 1270 | Approximately 400 Pieces. | Alabama Arizona California Florida Georgia Oklahoma Ohio Oregon Massachusetts Maryland Michigan Minnesota North Carolina South Carolina Texas West Virginia.
1994-04-27 | HUMAN TISSUE MANDATORY RECALLS |  | b-203-4 | Allograft Human Banked Tissue Dehydrated And Frozen Human Bone. Recall #b-203-4. -7- | International Tissue Service Ltd. San Antonio Texas | SUPPLIER: Skilosovsky Research Institute, Moscow, Russia. | March 9, 1994 | This is a fda ordered recall under 21 cfr 1270 | Approximately 2 277 Pieces. | Texas.
1994-04-27 | HUMAN TISSUE MANDATORY RECALLS |  | b-204-4 | Allograft Human Banked Tissue Dehydrated And Frozen Human Bone. Recall #b-204-4. | Allotech Inc. El Paso Texas | SUPPLIER: Skilosovsky Research Institute, Moscow, Russia. | February 22, 1994 | This is a fda ordered recall under 21 cfr 1270 | Approximately 3 000 Pieces Were Distributed Between December 23 1992 And February 16 1994. | Connecticut Florida Georgia Kentucky Mississippi New Mexico Ohio Oklahoma Texas Wyoming Mexico.
1994-04-27 | Biologics | II | b-183-4 | Red Blood Cells. Recall #b-183-4. | Manufacturer | American Red Cross Services Cleveland Ohio. | April 19, 1993 | Autologous red blood cells, which tested repeatedly reactive for the antibody to hepatitis b core antigen (anti-hbc), was distributed without biohazard labeling | 1 Unit. | Ohio.
1994-04-27 | Biologics | II | b-194-4 | Source Plasma. Recall #b-194-4. | Manufacturer | Serologicals Inc. Charlotte North Carolina. | September 27, 1993 | Blood products, which were collected from a donor who had a history of intravenous drug (iv) use, were distributed | 19 Units. | North Carolina
1994-04-27 | Biologics | II | b-201-4 | Recovered Plasma. Recall #b-201-4. | Manufacturer | Scott And White Memorial Hospital And Scott Sherwood And Brindley Foundation Temple Texas. | January 7, 1993 | Blood product, that tested negative for the antibody to the human immunodeficiency virus type 1 (anti-hiv-1), but was collected from a donor who previously tested repeatedly reactive for anti-hiv-1, was distributed | 1 Unit. -9- | Florida.
1994-04-27 | Biologics | II | b-205-4 | Red Blood Cells. Recall #b-205-4. | Manufacturer | American National Red Cross Dedham Massachusetts. | January 19, 1993 | Red blood cells, stored under improper temperatures, were distributed | 20 Units. | Massachusetts Maine.
1994-04-27 | Biologics | II | b-206-4 | Source Plasma. Recall#b-206-4. | Manufacturer | American Biomedical Systems Boise Idaho. | August 4, 1993 | Blood product, collected from an ineligible donor due to the application of a tattoo less than 12 months prior to donation, was distributed | 1 Unit. | Florida.
1994-04-27 | Biologics | II | b-207/208-4 | (a) Red Blood Cells; (b) Recovered Plasma. Recall #b-207/208-4. | Manufacturer (a) | The American National Red Cross Louisville Kentucky. | April 19, 1993 | Blood products, collected from an ineligible donor due to the application of a tattoo less than 12 months prior to donation, were distributed | 1 Unit Of Each Component. | (a) Kentucky; (b) California.
1994-04-27 | Biologics | II | b-209/210-4 | (a) Red Blood Cells; (b) Recovered Plasma. Recall #b-209/210-4. | Manufacturer | Topeka Blood Bank Inc. Topeka Kansas. -10- | March 23, 1993 | Blood products, collected from a donor who reported a history of intravenous (iv) drug use, were distributed | 1 Unit Of Each Component. | (a) Kansas; (b) Florida New York.
1994-04-27 | Biologics | II | b-211/212-4 | (a) Red Blood Cells; (b) Recovered Plasma. Recall #b-211/212-4. | Manufacturer | Mississippi Blood Services Jackson Mississippi. | February 2, 1993 | Blood products which tested reactive for syphilis by rapid plasma reagin (rpr) and confirmed positive by fluorescent treponemal antibody (fta), were distributed | 1 Unit Of Each Component. | New York Mississippi.
1994-04-27 | Biologics | II | b-227/228-4 | (a) Red Blood Cells; (b) Platelets. Recall #b-227/228-4. | Manufacturer | Bloodcare Dallas Texas. | March 25, 1993 | Blood products, collected from ineligible donors due to travel in areas endemic for malaria, were distributed | (a) 3 Units; (b) 1 Unit. | Texas Maryland.
1994-04-27 | Biologics | III | b-184-4 | Platelets. Recall #b-184-4. | Manufacturer | American Red Cross Services Cleveland Ohio. | August 10, 1992 | Blood products which tested initially reactive for the antibody to hepatitis b core antigen (anti-hbc) were not retested in duplicate and were distributed for transfusion | 7 Units. | Ohio.
1994-04-27 | Biologics | III | b-200-4 | Source Plasma. Recall #b-200-4. | Premier Bioresources Inc. Fort Worth Texas | Premier Bioresources (plasmapheresis Center) Gulfport Mississippi. | October 21, 1993 | Source plasma exposed to unacceptable temperatures was distributed | 468 Units. | Michigan.
1994-04-27 | Devices | II | z-535-4 | Mouth-to-mask Personal Resuscitator A Non-sterile Single- Use Device. Recall #z-535-4. | Manufacturer | King Systems Corporation Noblesville Indiana. | August 14, 1992 | The isolation valve was installed backwards | 10 Cases (20 Units Per Case) Were Distributed. | Utah California.
1994-04-27 | Devices | II | z-539/540-4 | Electrode Lead Wires And Patient Cables Multiple Models Used For Used With Ecg Monitors And Other Similar Devices: (a) All Models Of Unprotected Cables; (b) All Models Of Unprotected Electrode Lead Wires. Recall #z-539/540-4. | Manufacturer | 3m Healthcare St. Paul Minnesota. | March 2, 1994 | Product labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the products are not labeled to contraindicate use with apnea monitors | Undetermined. | Nationwide.
1994-04-27 | Devices | II | z-541-4 | Aequitron Apnea Monitors With Unprotected (exposed Pin Style) Lead Wires And Unprotected Patient Cables: Models 8200 9200 9216 9500 And 9550. Recall #z-541-4. -14- | Manufacturer | Aequitron Medical Inc. Minneapolis Minnesota. | November 10, 1993 | Devices lacked labels warning against the use of unprotected lead wires | Approximately 65 000 Monitors Were Distributed; Firm Estimates 25 000 Units Are Still In Use. | Nationwide.
1994-04-27 | Devices | II | z-542/543-4 | All Unprotected Patient Cables And Leadwires Including Monitoring Electrodes With Pre-attached Unprotected Leadwires Under The Conmed Medtronic/andover And Conmed/andover Labels: (a) Patinet Cables - 345 Model Numbers With The Following Item Numbers Or Item Number Series: Blh42-05; All "m" Series (andover Products) "cm" Series; "fs" Series; "ht" Series; S218p And S219p-36 (conmed Products); (b) Leadwires 191 Model Numbers Identified With The Following Item Number Or Item Number Series: "fa" Series; "fp" Series "la" Series; "lp" Series; And Item #vs-2mm #vs-3mm And Vs-4mm (conmed Products). "s" Series - (andover Products); Leadwire Attached Electrodes - 3 Model Numbers: Item #s 1730-003 And 1740-003 - (andover Products) Item #178-3333 - (conmed Product) Leadwire Attached Electrodes Are For Use With Neonatal And Pediatric Children In Monitoring Heart Activity. These Are Packaged Individually In Heat-sealed Peelable Pouches And Have An Expiration Date Of One Year From Manufacturer. | Conmed Corporation Utica New York | . Leadwire Sets (contain Multiple Color Coded Leadwires) -- Andover Products As Follows: G24-02 G24-03 And G24-04; "ma" Series; "mb" Series; "mca" Series; "mcl" Series; "ml" Series "mp" Series; "mt" Series; Nsm-002; "p" Series; "rtg" Series; "sl" Series; "t" Series; And Ta24-002ii Ta24-03ii Conmed Product: Pp3-04. Recall #z-542/543-4. Code All Models Of Unprotected Electrode Lead Wires Marketed Since April 1991. Manufacturer Conmed Corporatioan Utica New York And Andover Medical Haverhill Massachusetts. | November 15, 1993 | Labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the products are not labeled to contraindicate use with apnea monitors | 1 550 374 Leadwires Were Distributed From April 1991 To November 1993; Firm Estimates 250 268 Remain On The Market. 368 984 Leadwires Attached Electrodes Were Distributed From -15- September 1992 Through November 1993; Firm Estimates 50 Percent Remains On The Markte. Approximately 11 715 Patient Cables Were Distributed From April 1991 To November; Firm Estimates 50 Percent Remain On The Market. | Nationwide And International.
1994-04-27 | Devices | II | z-545-4 | Apnea Monitors With Unprotected Leads: Model 2000w Option H Heart/respiration Monitors And Assurance 2000 Heart/respiration Monitors. Recall #z-545-4. | Manufacturer | Edentec A Nellcor Company Eden Prairie Minnesota. | September 20, 1993 | Device labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the product is not labeled to warn connected to electrical power sources | Approximately 3 000 Monitors Were Distributed. | Nationwide And International.
1994-04-27 | Devices | II | z-549-4 | Hewlett-packard Apnea Monitors (multiple Models). Recall #z-549-4. | Manufacturer | Hewlett-packard Company Andover Massachusetts. | April 11, 1994 | Device labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the product is not labeled to warn against the hazards of unprotected electrode lead wires being connected to electrical power sources | Undetermined. | Nationwide.
1994-04-27 | Devices | II | z-550-4 | Maguire Enterprises Ecg Electrode Lead Wires Model K2150 And K2356 Used By Emergency Medical Service Squads. Recall #z-550-4. | Manufacturer | Maguire Enterprises Inc. Fort Lauderdale Florida. | February 28, 1994 | Their labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the products are not labeled to contraindicate use with apnea monitors | Undetermined. -16- | Nationwide.
1994-04-27 | Devices | II | z-551/552-4 | New Dimensions In Medicine Electrode Lead Wires And Patient Cables (multiple Models) Used With Ecg Monitors And Other Similar Devices. Recall #z-551/552-4. | Manufacturer | New Dimensions In Medicine Dayton Ohio. | January 28, 1994 | Device labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the products are not labeled to contraindicate use with apnea monitors | Undetermined. | Nationwide.
1994-04-27 | Devices | II | z-553-4 | Novametrix Medical Systems Apnea Monitors Models 902 903 And 910 Used To Monitor Respiration. Recall #z-553-4. | Manufacturer | Novametrix Medical Systems Wallingford Connecticut. | February 24, 1994 | Device labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the product is not labeled to warn against the hazards of unprotected electrode lead wires being connected to electrical power sources | Undetermined. | Nationwide.
1994-04-27 | Devices | II | z-554-4 | Rochester Electro-medical Electrode Lead Wires Used With Electroencephalograph Electromyograph And Electrophysiology Monitors And Other Similar Devices. Recall #z-554-4. | Manufacturer | Rochester Electro-medical Tampa Florida. | November 15, 1993 | Device labeling fails to provide adequate directions for use and the devices pose a unwarranted risk of injury to patients, because the products are not labeled to contraindicate use with apnea monitors | Undetermined. | Nationwide.
1994-04-27 | Devices | II | z-555-4 | Spacelabs Medical Apnea Monitors (multiple Models) Used To Monitor Respiration. Recall #z-555-4. -17- | Manufacturer | Spacelabs Medical Redmond Washington. | October 20, 1993 | Device labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the product is not labeled to warn against the hazards of unprotected electrode lead wires being connected to electrical power sources | Undetermined. | Nationwide.
1994-04-27 | Devices | II | z-556/557-4 | Tronomed Medical Interconnect Systems Consisting Of More Than 2 000 Different Cable Wire And Connector Devices Which Have Unprotected Exposed Leads Intended For Use In Conjunction With Various Medical Electronic Monitoring Devices And In Custom Applications. Recall #z-556/557-4. | Manufacturer | Tronomed Inc. San Juan Capistrano California. | January 19, 1994 | Device labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the products are not labeled to contraindicate use with apnea monitors | Undetermined. | Nationwide Puerto Rico Canada Mexico.
1994-04-27 | Devices | II | z-558/559-4 | Vital Connections Electrode Lead Wires And Patient Cables Multiple Models With Unprotected Exposed Metal Pins Used With Ecg Monitors. Recall #z-558/559-4. | Manufacturer | Vital Connections Tipp City Ohio. | February 28, 1994 | Device labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the products are not labeled to contraindicate use with apnea monitors | Undetermined. | Nationwide.
1994-04-27 | Devices | II | z-565-4 | Night Vision Image Intensifiers Model T3c-3 Used For Viewing Objects And Persons In Subdued Lighting. Recall #z-565-4. | Manufacturer. Fda Approved The Firm's Corrective Action Plan March 25 1994. Firm-initialed Field Correction Ongoing. | Manufacturing Networks Inc. San Francisco California. -18- | March 25, 1994 | Products emitted x-radiation that is unnecessary to the accomplishment of the purpose of the product, and creates a risk of injury to users | 125 Units. | Nationwide.
1994-04-27 | Devices | II | z-571/572-4 | Ultramark 9 High Definition Imaging (hdi) Diagnostic Ultrasound System With Software Versions 12.06 And 12.06a Transmits Ultrasound Waves Receives The Echoes And Generates Images Based On Information Contained In The Echos. Recall #z-571/572-4. | Manufacturer | Advanced Technology Laboratories (atl) Bothell Washington. | September 1, 1993 | The m-mode time markers may be incorrect resulting in subsequent errors by off-line analysis of data recorded with the incorrect time markers | 124 Units. | Nationwide And International.
1994-04-27 | Devices | II | z-573-4 | Ultramark 9 High Definition Imaging (hdi) Diagnostic Ultrasound System With Frame Grabber Transmits Ultrasound Waves Receives The Echoes And Generates Images Based On Information Contained In The Echoes. Recall #z-573-4. | Manufacturer | Advanced Technology Laboratories Bothell Washington. | July 22, 1993 | The 5 mhz equivalent calculation can be in error when performed on previously recorded data under certain conditions | 519 Units. | Nationwide And International.
1994-04-27 | Devices | II | z-594/595-4 | Fluid Aspiration/irrigation Peristaltic Pump And Accompanying Tubing Rx For Use In Fluid Irrigation Or Aspiration During Laparoscopic And Endoscopic Procedures: (a) Fluid Irrigation And Aspiration Pump Under The Following Labels: Nortech Hydropump 150 Part #4-150-00; Olympus Model Sp-2 Part #8104041; (b) Aspiration Tubing Kit Under The Northgate Catalog #7- 510-22 And Olympus Catalog #8313035 Labels. Recall #z-594/595-4. | Northgate Sent Letters Dated February 24 1994 And Olympus America Inc. Lake Success New York Sent Letters Dated February 28 1994. Firm-initiated Recall Ongoing. | Northgate Technologies Inc. Arlington Heights Illinois. | February 24, 1994 | The aspiration tubing may be accidentally installed upside down which may result in patient injury | 5 Nortech Hydropump 150 Pumps 58 Olympus Sp-2 Pumps And 130 Cases Of Tubing Were Distributed; Firm Estimates That All 63 Pumps And 75 Cases Of Tubing Remain On The Market. | Nationwide Mexico France.
1994-04-27 | Devices | II | z-596/607-4 | Baxter 15 Gauge A.v. Fistula Set; 10 Cartons Of 50 Sets Each Per Case Rx Single Use Sterile Fluid Pathway Device Used In Hemodialysis; Distributed By Baxter Healthcare Corporation Deerfield Il 60015 Made In Japan; A lot of products (see: http://web.archive.org/web/20020926062941/http://www.fda.gov/bbs/topics/ENFORCE/ENF00310.html) | Baxter Healthcare Corporation Renal Division Mcgaw Park Illinois | Nissho Corporation Osaka Japan. | December 10, 1993 | The needle may accidentally separate from the hub assembly | 740 518 Units Were Distributed; Firm Estimates Very Little If Any Product Remains On The Market. | Nationwide Mexico Colombia Australia Venezuela New Zealand Canada.
1994-04-27 | Devices | II | z-621-4 | Night Vision Image Intensifiers Model T3c2 Used For Viewing Objects And Persons In Subdued Lighting. Recall #z-621-4. | Manufacturer. Fda Approved The Firm's Corrective Action Plan April 8 1994. Firm-initiated Field Correction Ongoing. | Market Resourcing International Dallas Texas. | April 8, 1994 | Products emitted x-radiation that is unnecessary to the accomplishment of the purpose of the product, and creates a risk of injury to users | 11 Units. | Nationwide.
1994-04-27 | Devices | II | z-622/625-4 | Latex Examination Gloves Sizes Small Medium Large And Unisize Packaged 10 Dispenser Boxes Per Case 50 Gloves (augmentin Brand) Or 100 Gloves (protectro Brand) Per Dispenser Box. Recall #z-622/625-4. | Manufacturer | Alpha Healthcare Products Inc. Akron Ohio. | May 17, 1993 | Gloves were manufactured using a production process in which the manufacturing and testing procedures had not been validated; the sampling and testing procedures were inadequate, and only 23% of the firm's production met the firm's criteria for acceptance | Firm Estimates None Remains On The Market. | Undetermined
1994-04-27 | Devices | II | z-626/627-4 | Investigational Software And User Manual Inserts Chapters 6 And 7 For The Model 330 Otacoustic Emissions Test Instrument. This Information Relates To The Input/output Test And Spontaneous Otacoustic Emissions (soae). Recall #z-626/627-4. | Manufacturer | Virtual Corporation Portland Oregon. | October 29, 1993 | Product was distributed without an approved 510(k) for the intended use | Investigational Software Was Distributed With 82 Instruments Nationally. | Nationwide. -22-
1994-04-27 | Devices | II | z-628-4 | 3cc Medallion Syringe (piston Syringe). Recall #z-628-4. | Manufacturer | Merit Medical Systems Inc. Salt Lake City Utah. | May 24, 1993 | A manufacturing package defect | 50 Units Were Distributed; Firm Estimates None Remains On The Market. | Tennessee Minnesota.
1994-04-27 | Devices | II | z-629/631-4 | Units Arrived At A Hospital With The Pouch (primary Sterile Barrier) Unsealed. The Pouch Had Been Sealed During Manufacture But The Seal Was Insufficient To Hold The Rigors Of Sterilization And Shipping. _______________ Product Pam Pacific Enterprises/skincare Gloves Co. Latex Examination Gloves 100 Gloves In A Paperboard Box: (a) Small; (b) Medium); (c) Large. Recall #z-629/631-4. | Skin Gloves Corporation Alhambra California | Product Of Taiwan. | September 24, 1993 | Gloves contain foreign matter, pinholes, holes up to 1/4" in length, and various fungi including three known human pathogens (aspergillus nidulans, a | 2 200 Boxes Were Distributed; Firm Estimates None Remains On The Market. | California.
1994-04-27 | Devices | II | z-633/636-4 | Hewlett Packard | Manufacturer | Hewlett Packard Co. Diagnostic Cardiology Business Unit Mcminnville Oregon. | October 19, 1993 | Handling immediately after steam sterilization could result in cracking of the cable insulation near the strain relief of the paddle connection | Approximately 1 850 Paddle Sets Of Various Sizes Were Available For Distribution. | Nationwide And International.
1994-04-27 | Devices | II | z-637/642-4 | Usci Hemaquet Introducer Sheath Kit Used To Facilitate Placing A Catheter Through The Skin Into A Vein Or Artery: (a) 6f Hemaquet Excel Sheath Kit Item #010256; (b) 7f Hemaquet Excel Sheath Kit Item #010257; (c) 7f Hemaquet Excel Sheath Kit Item #009037; (d) 7f Hemaquet Excel Sheath Kit With Obturator Item #010087; (e) 8f Hemaquet Excel Sheath Kit Item #010258; (f) 10f Hemaquet Excel Sheath Kit Item #006333. Recall #z-637/642-4. Lot Numbers: (a) 09gd0918 09gd0919 09gd1639 09gd1640 09gd1641 09hd0466 09hd0633; (b) 09gd0920 09gd1643 09gd1644 09hd0467 09hd0634 09hd0468; (c) 09hd0974; (d) 09gd1650; (e) 09gd1647; (f) 09hd1603. Manufacturer Usci Division C.r. Bard Inc. Fitzwilliam New Hampshire. Recalled By Usci Division C.r. Bard Inc. Billerica Massachusetts By Letter September 22 1993 Followed By Telephone. Firm- Initiated Recall Complete. Distribution Nationwide Ireland. Quantity 9 040 Units Were Distributed. Reason Deformities In The Stopcock Component May Allow Blood And/or Gas Leakage From The Valve Section With The Possible Result Being The Development Of Thromboses And/or Emboli | Usci Division C.r. Bard Inc. Billerica Massachusetts | Usci Division C.r. Bard Inc. Fitzwilliam New Hampshire. | September 22, 1993 | Deformities in the stopcock component may allow blood and/or gas leakage from the valve section, with the possible result being the development of thromboses and/or emboli | 9 040 Units Were Distributed. | Nationwide Ireland.
1994-04-27 | Devices | II | z-644/649-4 | Teflon Coated Guide Wires - 15mm "j" Fixed Core For Percutaneous Entry Into Vessel Using The Seldinger Technique: (a) Usci Teflon Coated Guidewires 0.035" 15mm "j" Fixed Core Catalog #007471; (b) Usci Teflon Coated Guidewires 0.038" 15mm "j" Fixed Core Catalog #007472; (c) Soft Tip 6f Pro-flo Xt Ez-pak Catalog #388421; (d) Soft Tip 6f Pro-flo Xt Ez-pak Catalog #388422; (e) Soft Tip 7f Pro-flo Xt Ez-pak Catalog #388423; (f) Soft Tip 7f Pro-flo Xt Ez-pak Catalog #388424. Recall #z-644/649-4. | Usci Division C.r. Bard Inc. Billerica Massachusetts | Usci Division C.r. Bard Inc. Glen Falls New York. -24- | June 18, 1993 | Teflon particles flaking off the guide wire could possibly embolize and cause tissue necrosis and/or require surgical removal | 8 776 Units Were Distributed. | Nationwide.
1994-04-27 | Devices | II | z-650/656-4 | Snare Wire Products: (a) Wire Snare Cut Bent Size 4 (nasal Snare Wire) Catalog #n2398 4; (b) Cut Wires Size 7 (sage Cut Wire) Catalog #n6305 7; (c) Cut Wires Size 8 (sage Cut Wire) Catalog #n6305 8; (d) Wire Snare Neivert-eve No. 7 (neivert-eve Tonsil Wire) Catalog #n6372 7; (e) Wire Snare Neivert-eve No. 8 (neivert-eve Tonsil Wire) Catalog #n6372 8; (f) Tonsil Snare Wire Labeled As "wr Snr Spcl Dbl Bent Ends Sz-7" Catalog #n6394 7; (g) Tonsil Snare Wire Labeled As "wr Snr Spcl Dbl Bent Ends Sz-8" Catalog #n6394 8. Recall #z-650/656-4. | Storz Instrument Company St. Louis Missouri | Storz Instrument Company Manchester Missouri. | January 26, 1994 | Wires may break during use | (a) 1 042 Dozen; (b) 86 Dozen; (c) 1 309 Dozen; (d) 569 Dozen; (e) 630 Dozen; (f) 393 Dozen; (g) 2 547 Dozen. | Nationwide And International.
1994-04-27 | Devices | II | z-657-4 | Anamed Heated And Humidified Anesthesia Breathing Circuits Indicated For The Delivery Of Heated And Humidified Gases From The Anesthesia Machine To The Patient. Recall #z-657-4. | Manufacturer | Anamed Corporation/laser Circuits Riverside California. | February 10, 1994 | The heater wire assembly was found to contain clusters of resistance wire coils, instead of a regular series of coils wound around the wire core | 7 840 Cases (18 Per Case) Were Distributed. | Nationwide.
1994-04-27 | Devices | II | z-688-4 | Omnipulse Holmium Laser System Model 1210 For Use In Surgery. Recall #z-688-4. | Manufacturer. Fda Approved The Firm's Corrective Action Plan February 9 1994. Firm-initiated Field Correction Ongoing. | Trimedyne Inc. Irvine California. -25- | February 9, 1994 | The device fails to comply with calibration procedures; warning logotype label lacked hene output parameters, and there was a lack of adequate warning in the user manual regarding catheters | 108 Units. | Nationwide.
1994-04-27 | Devices | III | z-451-4 | Surgical Irrigator. Recall #z-451-4. | Manufacturer | Alto Dean Medical Inc. Woods Cross Utah. | October 21, 1993 | Excessive pressure could develop in the irrigator | 190 Units Were Distributed. | Nationwide.
1994-04-27 | Devices | III | z-454/455-4 | 5.6 Aggressive Meniscus Arthroscopic Cutters Preamendment Device Intended For The Excision Of Soft And Osseous Tissue: (a) Part #270-764-000; (b) Part #275-764-000. Recall #z-454/455-4. | Manufacturer | Stryker Endoscopy San Jose California. | November 29, 1993 | The cutter tips may break under some conditions of use necessitating additional procedures to retrieve fragments | 986 Boxes (5 Cutters Per Box) Were Distributed. | Nationwide And International.
1994-04-27 | Devices | III | z-567-4 | Transcend Standard Edgewise Central/lateral Ceramic Bracket Catalog #2001-901 Used In Orthodontic Treatment Of Malposed Teeth. Recall #z-567-4. | Manufacturer | Unitek Corporation/3m Monrovia California. | September 23, 1992 | The packages actually contain the cuspid/bicuspid ceramic brackets | 1 421 Units Were Distributed; Firm Estimates None Remains Ont The Market. | Arizona California Florida Iowa Illinois Massachusetts Michigan Missouri Mississippi New Jersey New York Pennsylvania Tennessee Texas Germany Italy Japan The Netherlands.
1994-04-27 | Devices | III | z-568-4 | Series 5 Facebow Catalog #328-222 An Orthodontic Product Used To Provide Extra Oral Force In The Orthodontic Treatment Of Malposed Teeth. Recall #z-568-4. | Manufacturer Contacted All Customers During March 1993 And | Unitek Corporation/3m 3m Dental Products Division Monrovia California. | March 19, 1993 | Labeling mix-up. | Approximately 324 Units Were Distributed; Firm Estimates None Remains On The Market. | Nationwide Canada Italy Nicaragua Venezuela.
1994-04-27 | Devices | III | z-577-4 | Medmetric Kt1000/s Knee Ligament Arthrometer Developed To Provide Objective Intraoperative Measurement Of Sagittal Plane Measurement Of The Tibia Relative To The Femur At The Joint Line. Recall #z-577-4. | Manufacturer | Medmetric Corporation San Diego California. | December 6, 1993 | Autoclaving the instrument causes the nylon gears to warp and the iodized plate (cover) to haze, with the possibility of chemical leaching | 25 Units Were Distributed. | Alaska California Connecticut Idaho Illinois Louisiana Michigan Minnesota Oklahoma Pennsylvania South Carolina Utah Virginia Switzerland.
1994-04-27 | Devices | III | z-587-4 | Abbott X Systems (tdxflx/tdx/adx) Rea Ethanol Calibrators For Calibration Of The Rea Ethanol Assay On The Tdxflx Tdx Or Adx Analyzer List #9545-01 In 2.5 Ml Vials. Recall #z-587-4. | Manufacturer | Abbott Laboratories Diagnostics Division Abbott Park Illinois. | December 19, 1992 | Some a calibrators were labeled as b calibrators | 2 091 Units Were Distributed. | Nationwide And International.
1994-04-27 | Devices | III | z-588-4 | Stryker Model 965 Spinal Surgibeds/wedge Turning Frames Equipped With Integrated Storage Tray. Recall #z-588-4. | Manufacturer | Stryker Corporation Kalamazoo Michigan. | March 18, 1992 | The traction weights hang low enough to be under the edge of the storage tray, and they could catch under the edge of the tray if the bed is subsequently raised | 116 Units Were Distributed. | Alabama California Iowa Indiana Kansas Massachusetts North Dakota Oklahoma Pennsylvania Tennessee Texas Washington State Wisconsin Saudi Arabia Australia France United Kingdom Venezuela Bermuda.
1994-04-27 | Devices | III | z-608-4 | Abbott Afp-eia Diagnostic Kit An Enzyme Immunoassay In- Vitro Diagnostic For The Quantitative Measurement Of Alpha- Fetoprotein In Human Serum. Recall #z-608-4. | Manufacturer | Abbott Laboratories Diagnostics Division Abbott Park Illinois. | December 31, 1991 | Confirmed microbial growth in the o standard vials | 199 Kits Were Distributed; Firm Estimates None Remains On The Market. | Alabama California Georgia Missouri New Jersey North Carolina Pennsylvania Texas.
1994-04-27 | Devices | III | z-609-4 | Abbott Cea-eia One Step Immunological Test System An In- Vitro Diagnostic For The Quantitative Measurement Of Carcinoembryonic Antigen In Serum Or Plasma. Recall #z-609-4. | Manufacturer | Abbott Laboratories Diagnostics Division Abbott Park Illinois. | November 12, 1991 | The "low" control may fall below the specified range | 357 Kits Were Distributed; Firm Estimates None Remains On The Market. | Nationwide.
1994-04-27 | Devices | III | z-675-4 | Model 5345 Technical Manuals Distributed With Medtronic Model 5346 Temporary Pulse Generators. Recall #z-675-4. | Medtronic Inc. Minneapolis Minnesota | Medtronic Milaca Inc. Milaca Minnesota. | January 21, 1994 | Product was distributed with the wrong technical manual | 7 Units. | Arizona Connecticut Illinois Kansas Ohio Oklahoma.
1994-04-27 | Devices | III | z-683/684-4 | Breakaway Introducer Needles Which May Be Either Sold Individually Or As A Component Of A Complete Tray: (a) 2fr V-cath Introducer Needle Product #350-20; (b) 2fr V-cath Complete Tray Product #350-00. Recall #z-683/684-4. | Manufacturer | Hdc Corporation San Jose California. | February 19, 1993 | The silicone gasket dislodges from the flashback chamber, thus preventing the insertion of the catheter | (a) 200 Needles; (b) 401 Trays Were Distributed; Firm Estimates 64 Percent Of The Trays And 72 Percent Of The Needles Remain On The Market. | Nationwide Canada.