## 1994-05-18
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-05-18 | Drugs | II | d-274-4 | Transfilled Compressed Medical Oxygen In D & E Size Cylinders. Recall #d-274-4. | Manufacturer | Adr Home Care Services East Setauket New York. | April 25, 1994 | Current good manufacturing practice deficiencies | 53 E And 17 D Cylinders Were Distributed. | New York.
1994-05-18 | Drugs | II | d-275/276-4 | (a) Loestrin Fe 1/20 Tablets Norethindrone Acetate And Ethinyl Estradiol Tablets Usp And Ferrous Fumarate Tablets Usp (5 Packages Of 28 Tablets); (b) Loestrin 1/20 Tablets Norethindrone Acetate And Ethinyl Estradiol Tablets Usp (5 Packages Of 21 Tablets). Recall #d-275/276-4. | Parke-davis Division Of Warner Lambert Company Morris Plains New Jersey | Warner Lambert Fajardo Puerto Rico. | January 17, 1994 | Products did not meet content uniformity specifications | Approximately 63 284 Units Were Distributed In The United States And 56 540 Units In Canada. | Nationwide And Canada.
1994-05-18 | Biologics | II | b-268-4 | Recovered Plasma. Recall #b-268-4. | Manufacturer | St. Joseph Hospital Blood Bank Reading Pennsylvania. | December 3, 1993 | Blood product, untested for viral markers, was distributed | 1 Unit. | Pennsylvania.
1994-05-18 | Biologics | II | b-269/270-4 | (a) Whole Blood; (b) Platelets. Recall #b-269/270-4. | Manufacturer | Lifesource Glenview Illinois. | February 25, 1994 | Blood products, which tested repeatedly reactive for the antibody to hepatitis b core antigen (anti-hbc), were distributed | 1 Unit Of Each Component. | Illinois.
1994-05-18 | Devices | II | z-373/377-4 | Advantx Cfm Fluoroscopic X-ray Imaging System Positioning Arm Model Numbers 45200707 45554027 45554448 45553680 And 45561622. Recall #z-373/377-4. | General Electric Company Medical Systems Division Waukesha Wisconsin | Ge Medical Systems - Europe Buc (paris) France. | February 17, 1994 | An improper weldment on the arm structure for the image intensifier may crack and fail permitting the image intensifier to separate from its support and fall | 19 Units. | California Florida Indiana Kentucky Massachusetts Michigan Ohio Pennsylvania Tennessee Texas Argentina Chile.
1994-05-18 | Devices | II | z-482/490-4 | Manometric Catheters: (a) Esophageal Catheters Catalog No. Emc-3; (b) Esophageal Catheters Catalog No. Emc-4; (c) Esophageal Catheters Catalog No. Emc-6; (d) Esophageal Catheters Catalog No. Emc-8; (e) Anorectal Catheters Catalog No. Amc-4; (f) Anorectal Catheters Catalog No. Amc-8; (g) Vector Volume Catheters Catalog No. Vmc-4; (h) Vector Volume Catheters Catalog No. Vmc-6; (i) Vector Volume Catheters Catalog No. Vmc-8. Recall #z-482/490-4. | Manufacturer | Zinetics Salt Lake City Utah. | October 26, 1993 | The depth reference markings can be partially or completely removed during reuse | 700 Units. | Texas Colorado Idaho Pennsylvania Illinois South Carolina New Mexico Washington State California Michigan New York Indiana Utah Wyoming Missouri Maryland.
1994-05-18 | Devices | II | z-512/519-4 | Sterile Nealon Surgical Gloves With 100% Lactose Powder: (a) Catalog No. 376655 Size 5-1/2 (b) Catalog No. 376660 Size 6 (c) Catalog No. 376665 Size 6-1/2 (d) Catalog No. 376670 Size 7 (e) Catalog No. 376675 Size 7-1/2 (f) Catalog No. 376680 Size 8 (g) Catalog No. 376685 Size 8-1/2 (h) Catalog No. 376690 Size 9. Recall #z-512/519-4. -3- | Becton Dickinson & Co. Franklin Lakes New Jersey | Becton Dickinson Acutecare Honed Path South Carolina; B-d Acute Care Plant El Paso Texas; Elamex Company Juarez Mexico (related Subsidiary). | November 4, 1993 | Products are being manufactured and distributed without an approved pma for the 100% lactose powder donning agent | 714 800 Pairs Were Distributed; Firm Estimates 150 000 Pairs Remain On The Market. | Nationwide And Canada.
1994-05-18 | Devices | II | z-544-4 | All Unprotected Patient Cables And Lead Wires Provided With Corometrics Medical Systems Brand Apnea Monitors. The Following Products Are Affected: Catalog No: Description: 1305aao Model 502 Patient Cable 1306aao Model 502 Lead Wires 1307aao Model 502 (iec) Lead Wires 1308aao Model 556 Patient Cable 1309aao/cao Model 556 Lead Wires 1408aao Model 505/506/515 Patient Cable 1408bao Model 505/506/515 Patient Cable 2906aao/bao Electrodes W/preattached Lead Wires 2906cao Preemie Electrodes W/preattached Lead Wires 5109aao Model 505/506/515 Lead Wires 5109bao Model 505/5-6/515 Lead Wires. Recall #z-544-4. | Manufacturer | Corometrics Medical Systems Inc. Wallingford Connecticut. | October 11, 1993 | Device labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the product is not labeled to warn against the hazards of unprotected electrode lead wires being connected to electrical power sources | Undetermined. | Nationwide.
1994-05-18 | Devices | II | z-547-4 | G4a Electrode Lead Wires Used With Model Egs 300 Portable High Voltage Galvanic Stimulator. Recall #z-547-4. | Manufacturer | Electro-med Health Industries North Miami Florida. | February 10, 1994 | Product labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the products are not labeled to contraindicate use with apnea monitors | Approximately 1500 Cable Sets. -4- | Nationwide.
1994-05-18 | Devices | II | z-711/719-4 | Cobe Spectra Apheresis System - Pump Rotor Used For The Collection Of Blood Products: (a) Catalog No. 950000-000 (b) Catalog No. 950000-001 (c) Catalog No. 950000-002 (d) Catalog No. 950000-003 (e) Catalog No. 950000-004 (f) Catalog No. 950000-005 (g) Catalog No. 950000-006 (h) Catalog No. 950000-007 (i) Catalog No. 950000-008. Recall #z-711/719-4. Manufacturer Cobe Bct Incorporated Lakewood Colorado. Recalled By Manufacturer By Letter January 19 1994. Firm-initiated Recall Ongoing. Distribution Nationwide And International. Quantity 227 Instruments. Reason The Adjustment Screw Which Provides For Proper Tubing Occlusion And Rotor Tension Was Not Assembled Correctly And May Cause Delivery Of The Anticoagulant At Levels Greater Than Expected | Manufacturer | Cobe Bct Incorporated Lakewood Colorado. | January 19, 1994 | The adjustment screw which provides for proper tubing occlusion and rotor tension was not assembled correctly and may cause delivery of the anticoagulant at levels greater than expected | 227 Instruments. | Nationwide And International.
1994-05-18 | Devices | II | z-732-4 | Hardware Trigger Board Part #0005-1030 For Console In Bvs 5000 Bi-ventricular Support System. Recall #z-732-4. | Abiomed Inc. Danvers Massachusetts | Electronic Associates Inc. (eai) West Long Branch New Jersey (hardware Trigger Board Part #0005-1030); Abiomed Inc. Danvers Massachusetts (bi-ventricular Support Console Part #0005-9007). | June 16, 1993 | Capacitors in the hardware trigger board may short causing the board to fail and the console to shut down | 15 Boards In Console And 2 In Spare Parts Kits. | California Illinois Ohio Missouri New York North Carolina Pennsylvania Wisconsin Austria.
1994-05-18 | Devices | II | z-733/739-4 | Baxter Pharmaseal Aquamatic K-modules Model K-20 Series; A Small Reservoir/heater/pump Used To Warm And Circulate Water For A Heat Therapy Pad: (a) Catalog #s64n00100 (b) Catalog #s64n02000 -5- (c) Catalog #s11185-fre (d) Catalog #s64n02500 (e) Catalog #s64n03000 (f) Catalog #s64n03500 (g) Catalog #s64n04000. Recall #z-733/739-4. | Baxter Healthcare Corporation Convertors/custom Sterile/pharmaseal Division Deerfield Illinois | (a) Baxter Healthcare Savage Maryland (plant Is Now Closed). (b) Baxter Healthcare Largo Florida. (c) Bront Machinery Dayton Ohio. (sub-assembly Manufacturer Most Responsible For Problem). | November 15, 1993 | After repeated use, the solder affixing the heating element to the reservoir could fail, and could result in the potential for the heating element to come into contact with the device's plastic housing, potentially causing smoke and/or melting of the plastic housing | 11 903 Units Were Distributed. | Nationwide And International.
1994-05-18 | Devices | II | z-745-4 | Inflation Pro Ii Model Ip 9001 Used To Inflate Cardiovascular Balloon Catheters For Pcta Procedures. Recall #z-745-4. | Manufacturer | Edwards Critical-care Interventional Cardiology Division Irvine California. | January 24, 1994 | The balloon may oversize or rupture due to a defective gauge | 86 002 Units. | Nationwide And International.
1994-05-18 | Devices | II | z-747-4 | Disposable Vinyl Examination Gloves 100 Pieces Per Carton. Recall #z-747-4. | C&k; Manufacturing And Sales Company Westlake Ohio | LCL Taiwan & Company, Taipei, Taiwan | June 28, 1993 | The gloves contain more holes than allowed by fda's compliance policy guide 7424 | 1 469 Cases Were Distributed. -6- | Nationwide.
1994-05-18 | Devices | II | z-749-4 | Tooth Conditioner Gel In 3 Ml Plastic Syringes. Recall #z-749-4. | Manufacturer | L.d. Caulk Division Of Dentsply International Milford Delaware. | May 3, 1994 | The syringe may split or explode when the user attempts to eject the contents (34% phosphoric acid gel) or the tip may clog which could cause the product to shoot out of the tip of the syringe in an uncontrolled manner when the clog is overcome | 922 Units. | Nationwide.
1994-05-18 | Devices | II | z-750-4 | Thora-seal I Plastic Underwater Chest Drainage System. Recall #z-750-4. | Manufacturer | Sherwood Medical Company St. Louis Missouri. | October 13, 1993 | When water is added to the fill line marked on the bottle, the opening at the bottom of the water seal tube may not be completely immersed in water as required, which may result in air entering the chest cavity | 19 500 Units. | Nationwide And International.
1994-05-18 | Devices | II | z-751/752-4 | Medfusion Model 2001 And 2010 Syringe Infusion Pumps. Recall #z-751/752-4. | Manufacturer | Medfusion Inc. Duluth Georgia. | November 2, 1992 | Use of incorrect inserts (screws) placed in the bottom housing of the infusion pump which may become loose completely detached, causing the pump to fail | 3 500 Units Were Distributed. | Nationwide Canada England Germany.
1994-05-18 | Devices | II | z-759/762-4 | Sci-o-tech Full Electric And Semi-electric Adjustable Hospital Beds Catalog 1000 Series And Semi-electric Adjustable Hospital Beds And The Electric Control Boxes For The Hand Controls On The Beds Which Raise And Lower Head And Foot Sections And The Entire Bed: -7- (a) Semi-foot Section Part #9541125 (b) Electric Foot Section Part #9541120 (c) 2-motor Control Box Part #5685552 (d) 3-motor Control Box Part #5685554. Recall #z-759/762-4. | Manufacturer | Sci-o-tech Inc. Lancaster Pennsylvania. | NOT-FOUND | Beds foot and head sections may raise or lower suddenly without warning | Approximately 15 000 Beds Were Distributed. | Nationwide.
1994-05-18 | Devices | II | z-763-4 | Cobe Optima Hvrf (hollow Fiber Oxygenators) Catalog #050212-000. Recall #z-763-4. | Manufacturer | Cobe Cardiovascular Inc. Arvada Colorado. | February 25, 1994 | A defect exists in the heat exchangers which may make them prone to premature failure under severe pulsatile flow conditions, resulting in small water to blood leaks | 112 Units. | Michigan New York New Jersey North Dakota Oklahoma Ohio.
1994-05-18 | Devices | II | z-790/791-4 | Shampaine Surgical Tables: (a) Model 4900b Battery Powered Surgical Tables; (b) Model 4900e Mains Operated Surgical Tables. Recall #z-790/791-4. | Manufacturer | Mdt Diagnostic Company North Charleston South Carolina. | February 4, 1994 | A potential manufacturing defect by a component supplier may result in the tables failing to function as intended | 289 Units. | Nationwide Canada Greece Hong Kong Korea.
1994-05-18 | Devices | III | z-726/729-4 | Raichem Calcium Reagent Standard Reagent Found In Raichem Calcium Reagent In-vitro Diagnostic Kits: (a) Catalog #84104; (b) Catalog #84105; (c) Catalog #85188; (d) Catalog #85210. Recall #z-726/729-4. | Manufacturer | Reagents Applications Inc. San Diego California. | June 15, 1993 | Defective closures (vial stoppers) are uncoated on the standard and may lead to leaching of contents causing inaccurate test results | 119 Vials Were Distributed. | California Idaho Illinois Massachusetts Nebraska New York Wisconsin Puerto Rico Israel Mexico.
1994-05-18 | Devices | III | z-746-4 | Versacath Introduction Trays For Introduction Of Versacath Mainline Central Venous Catheter Systems Catalog #c1-it. Recall #z-746-4. | Manufacturer | Menlo Care Inc. Menlo Park California. | June 28, 1993 | A crack may develop in the side arm of the hemostasis valve with sideport component and the mainline catheter system, which could result in back bleeding | Firm Estimates None Remains On The Market. | New York Florida.
1994-05-18 | Devices | III | z-764-4 | Promotional Materials For The Electone Brand Hearing Aids. Recall #z-764-4. | Manufacturer | Electone Inc. Longwood Florida. | May 28, 1993 | Advertising and promotional materials contain misleading statements that could result in consumers having unrealistic expectations about the products benefits | 197 Dispensers. | Nationwide And International.