## 1994-06-08
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-06-08 | Drugs | III | d-292-4 | K-dur 20 (potassium Chloride) Potassium Supplement In Bottles Of 100 An Extended Release Tablet Providing 150 Mg Kc1 Per Tablet. Recall #d-292-4. | Duramed Pharmaceuticals Inc. Cincinnati Ohio (repacker) | Key Pharmaceuticals Inc. Kenilworth New Jersey. | November 22, 1993 | Some cases of the product contained all uncapped and unsealed bottles | 503 Cases (12 Bottles Per Case) Were Distributed. | Georgia.
1994-06-08 | Drugs | III | d-293-4 | Myphetane Dc Cough Syrup; Brompheniramine Maleate 2 Mg/5 Ml Phenylpropanolamine Hydrochloride 12.5 Mg/5 Ml And | Manufacturer | Pennex Pharmaceuticals Inc. Morton Grove Illinois. | June 1, 1994 | Product exceeds microbial limits specification | 73 343 4-ounce Bottles And 944 Gallon Bottles Were Distributed; Firm Estimated That 33 Percent Of The Product Remained On The Market At Time Of Recall. | Nationwide.
1994-06-08 | Drugs | III | d-294-4 | Erythromycin Topical Solution Usp 2% (20 Mg/ml); Rx Antibiotic Lotion Used For The Topical Control Of Acne Vulgaris In 2 Fluid Ounce Bottles Under The Following Labels: Pennex Manufactured By: Pennex Pharmaceuticals Inc. Morton Grove Il; Pbi Manufactured By Pharmaceutical Basics Morton Grove Il; H.l. Moore Distributed By H.l. Moore New Britain Ct; Gg Distributed By Geneva Pharmaceuticals Inc. Broomfield Co; Aligen Distributed By Aligen Independent Laboratories Inc. Jackson Wyoming. Recall #d-294-4. | Manufacturer | Pennex Pharmaceuticals Inc. Morton Grove Illinois. | June 1, 1994 | Product was tested at an unapproved laboratory | 104 236 Bottles Were Distributed; Firm Estimated That 33 Percent Of The Product Remained On The Market At Time Of Recall. | Nationwide.
1994-06-08 | Biologics | II | b-271/274-4 | (a) Red Blood Cells; (b) Platelets; (c) Platelets Expired; (d) Recovered Plasma. Recall #b-271/274-4. | Manufacturer | American Red Cross Blood Services Dedham Massachusetts. | November 18, 1992 | Blood products, which tested non-reactive for the antibody to the human immunodeficiency virus type 1 (anti-hiv-1), but were collected from donors who previously tested repeatedly reactive for anti-hiv-1, were distributed | (a) 5 Units; (b) 3 Units; (c) 1 Unit; (d) 5 Units. | Massachusetts California.
1994-06-08 | Biologics | II | b-290/296-4 | (a) Red Blood Cells; (b) Platelets; (c) Plasma; (d) Fresh Frozen Plasma; (e) Platelets For Further Manufacture; (f) Source Leukocytes; (g) Recovered Plasma. Recall #b-290/296-4. | Manufacturer | Hunter Blood Center Inc. Clearwater Florida. | November 22, 1993 | Blood products, that either: tested negative for hepatitis b surface antigen (hbsag), but were collected from a donor who previously tested repeatedly reactive for hbsag; or tested negative for the antibody to the human immunodeficiency virus type 1 (anti-hiv-1), but were collected from donors who previously tested repeatedly reactive for anti-hiv-1, were distributed | (a) 81 Units; (b) 54 Units; (c) 4 Units; (d) 16 Units; (e) 14 Units; (f) 3 Units; (g) 62 Units. | Florida.
1994-06-08 | Biologics | II | b-311-4 | Recovered Plasma. Recall #b-311-4. | Manufacturer | Hays Community Blood Bank Hays Pathology Laboratories P.a. Hays Kansas. | October 12, 1993 | Blood product collected from a donor currently taking the drug proscar was distributed | 1 Unit. | Missouri.
1994-06-08 | Biologics | II | b-313-4 | Standardized Cat Hair (felis Domesticus) Allergenic Extract. Recall #b-313-4. | Manufacturer | Antigen Laboratories Inc. Liberty Missouri. -4- | January 19, 1994 | Product which was labeled without the appropriate warning statement was distributed | 38 Vials Were Distributed; Firm Estimates None Remains On The Market. | Wisconsin Florida Iowa Washington State Missouri Louisiana Texas Ohio.
1994-06-08 | Biologics | III | b-275/281-4 | (a) Red Blood Cells; (b) Platelets Expired; (c) Red Blood Cells For Further Manufacture; (e) Cryoprecipitated Ahf; (f) Fresh Frozen Plasma; (g) Recovered Plasma. Recall #b-275/281-4. | Manufacturer | American Red Cross Blood Services Dedham Massachusetts. | November 18, 1992 | Blood products, which tested non-reactive for the antibody to the human immunodeficiency virus type 1 (anti-hiv-1), but were collected from donors who previously tested repeatedly reactive for anti-hiv-1, were distributed | (a) 9 Units; (b) 4 Units; (c) 2 Units; (d) 1 Unit; (e) 2 Units; (f) 2 Units; (g) 7 Units. | Massachusetts New York California Switzerland.
1994-06-08 | Biologics | III | b-314-4 | Recovered Plasma Recall #b-314-4. | Manufacturer | American Red Cross Portland Oregon. | June 28, 1993 | Recovered plasma, corresponding to a unit of red blood cells contaminated with enterobacter agglomerans and pseudomonas sp | 1 Unit. | California.
1994-06-08 | Devices | II | z-885/889-4 | Various Sterile Surgical Devices: (a) Marking Pens Catalog Nos. 100 110 115 130 200 215 230; (b) Cautery Tip Cleaner Catalog No. 8101; (c) Light Shields Catalog Nos. 8001 8002 8003; (d) Needle Counters Catalog Nos. 2101 2103 2104 2105 2106 2108 2206 2210 4101 4102 4131 5101 5102 5103 5106 5107 5167 9020 9030 9040 9101 9102 9103 9105 9106 9107 9108 9910 9220 9600; (e) Convenience Kit Catalog Nos. K-2101-a K-2101-j K-2101-l K-2103-g K-2103-i K-2103-j K-2103-n K-2104-e K-2104-i K-2106-a K-2106-e K-2106-z K-4102-j K-5102-i K-5103-i K-5106-a K-5106-e K-5106-j K-9102-g K-9103-e K-9103-q K-9106-g K-9106-i K-9106-j K-9107-e. Recall #z-885/889-4. | Manufacturer | Quan Tech Inc. New Albany Indiana. | May 3, 1993 | The devices, labeled as sterile, were distributed without documentation to indicate that they were sterilized | Firm Estimates Little If Any Product Remains On The Market. | Nationwide And Canada.
1994-06-08 | Devices | II | z-898/899-4 | Deknatel Gut Absorbable Suture Usp Indicated For Use Wherever Absorbable Surgical Suture Usp Is Recommended Except Ophthalmic Surgery: (a) Gut Plain Catalog #g-504; (b) Gut Chromic Catalog Numbers G-860 G-501 G-340 G-5089 G-502 G-535 R-222. Recall #z-898/899-4. | Manufacturer | Deknatel Inc. Fall River Massachusetts. | March 18, 1994 | Primary product foil pouches were found to be leaking the alcohol mixture contained within the pouches through the foil seal, which may compromise the sterility of the device | (a) 72 Pieces; (b) 72 Pieces. | Nationwide And International.
1994-06-08 | Devices | II | z-900-4 | Silk 5-0 Neurosurgery Surgical Suture (black) | Manufacturer | Deknatel Inc. Fall River Massachusetts. | March 18, 1994 | The inner foil pack was found to intrude into the outer pouch seal, which may compromise the sterility of the device | 150 Pouches Were Distributed. | Massachusetts Arizona. -6-
1994-06-08 | Devices | II | z-901-4 | Silk 3-0 Cuticular Non-absorbable Surgical Suture (black) | Manufacturer | Deknatel Inc. Fall River Massachusetts. | March 18, 1994 | The inner foil pack was found to intrude into the outer pouch seal, which may compromise the sterility of the device | 288 Pouches Were Distributed. | California New Jersey Georgia.
1994-06-08 | Devices | III | z-754-4 | Abbott Adx Barbiturates Serum Reagent Kitpack In-vitro Diagnostic For Use For The Detection Of Barbiturates In Serum Plasma On The Adx System Analyzer. Recall #z-754-4. | Manufacturer | Abbott Laboratories Abbott Park Illinois. | December 22, 1992 | The reagent vials were packed in the wrong order in a portion of this lot | 363 Kits Were Distributed. | California Kentucky Michigan Nevada New Jersey New York Texas Canada Italy Germany.
1994-06-08 | Devices | III | z-832-4 | Ventrescreen Strep A 20 Test Kits Used For Enzyme Immunoassay For The Qualitative Detection Of Group A Streptococcal Antigen Directly From Throat Swabs Or For Confirmation Of The Antigen In Clinical Isolates From Culture Plates. Recall #z-832-4. | Manufacturer | Hycor Biomedical Inc. Garden Grove California. | January 4, 1994 | The chromogen solution and wash solution are mislabeled resulting in incorrect test results for patient samples | 138 Kits Were Distributed; Firm Estimates That Little If Any Product Remains On The Market. -7- | California Colorado Florida Illinois Indiana Kentucky Massachusetts Maryland Michigan North Carolina New Mexico Pennsylvania Tennessee Texas Virginia Washington State.