## 1994-06-15
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-06-15 | Drugs | II | d-295/296-4 | Amoxicillin Oral Suspension In 100 Ml Bottles Rx Oral Antibiotic: (a) 125 Mg/5 Ml; (b) 250 Mg/5 Ml. Recall #d-295/296-4. | Allscrips Pharmaceuticals Inc. Vernon Hills Illinois (relabeler) | Biocraft Laboratories Elmwood Park New Jersey (responsible Firm). | May 18, 1994 | Product does not meet stability specifications | (a) 723 Bottles; (b) 2 020 Bottles Were Distributed. | Nationwide.
1994-06-15 | Drugs | III | d-297/298-4 | Xenon Xe 133 Gas - Radioactive Diagnostic For Inhalation Administration: (a) 10 Millicuries (mci) Catalog #n097; (b) 20 Millicuries (mci) Catalog #n098. Recall #d-297/298-4. | Manufacturer | Mallinckrodt Medical Inc. Maryland Heights Missouri. | May 5, 1994 | Low assay of radioactive component | Approximately (a) 1 270 Vials; (b) 1 195 Vials Were Distributed. | Nationwide Puerto Rico Buenos Aires Canada Mexico.
1994-06-15 | Drugs | III | d-299-4 | Calplus Brand Of Calcium Chloride Dihyrate Usp In 110 Pound Drums A Bulk Tested Additive Chemical For Manufacturing Processing Or Repacking Food Or Drug Products. Recall #d-299-4. | Mallinckrodt Chemical Inc. St. Louis Missouri | Nichea Tokyo Japan. Repacker Clinton Universal Warehouse Newark New Jersey. | April 29, 1994 | Current good manufacturing practice deficiency by recalling firm | 97 Drums Were Distributed. | New Jersey California.
1994-06-15 | Biologics | II | b-317-4 | Fresh Frozen Plasma. Recall #b-317-4. | Manufacturer | The American National Red Cross Atlanta Georgia. | August 17, 1993 | Blood product collected from a donor with a history of cancer was distributed | 1 Unit. | Georgia.
1994-06-15 | Devices | II | z-593-4 | Ft-ramean Accessory Used To Perform Laser-excited Ramean Spectroscopy On Chemical Samples. Recall #z-593-4. | Manufacturer. Fda Approved The Firm's Corrective Action Plan March 25 1994. Firm-initiated Field Correction Ongoing. | Digilab Division Bio-rad Cambridge Massachusetts. | March 25, 1994 | The laser product failed to provide either multiple interlocks or a fail-safe design for the required safety interlocks | 10 Units. | Nationwide.
1994-06-15 | Devices | II | z-719-4 | Hycor Coated Tube Ria Hs-tsh Immunoradiometric Assay Thyroid Stimulating Hormone (tsh) Intended For Use In Immunoradiometric Assay (irma) For The Quantitative Determination Of Tsh. Recall #z-719-4. | Manufacturer March 8 1994. Firm-initiated Recall Complete. | Hycor Biomedical Inc. Garden Grove California. | March 8, 1994 | Not all tubes contain the antibody coating that is indicated on the label which may result in neonates with hypothyroidism (cretinism) being misdiagnosed as normal | 90 575 Tubes Were Distributed; Fda Estimates That Little If Any Product Remains On The Market. | United Kingdom.
1994-06-15 | Devices | II | z-742/744-4 | Ferno Washington Ambulance Transportation Cots: (a) Model 35-a; (b) Model 35-nm; (c) 35-it. Recall #z-742/744-4. | Manufacturer | Ferno Washington Inc. Wilmington Ohio. | January 10, 1994 | Products have an unsafe sliding area in which an attendant (bystander), while assisting in loading the units can position the hands near the x-frame slides in such a way as to cause serious finger injuries | Approximately 13 000 Units Were Distributed. | Nationwide.
1994-06-15 | Devices | II | z-833/840-4 | Conseal Brand Colostomy Continence Systems: (a) Part No. 1235; (b) Part No. 1245; (c) Part No. 1285; (d) Part No. 1295; (e) Part No. 1435; (f) Part No. 1445; (g) Part No. 1485; (h) Part No. 1495. Recall #z-833/840-4. | Coloplast Inc. Tampa Florida | Coloplast A/s Espergaerde Denmark. | December 3, 1993 | The foam liner may separate from the plug and remain behind in the stoma when the plug is removed | 500 To 600 Boxes Of 10 Units Each. -4- | Nationwide.
1994-06-15 | Devices | II | z-854-4 | Intraocular Lens Model 815a 11.50 And 21.50 Diopters Used To Replace The Natural Lens In The Visual Correction Of Aphakia In Patients 60 Years Of Age Or Older. Recall #z-854-4. | Manufacturer | Pharmacia Ophthalmics Inc. Monrovia California. | December 10, 1993 | Devices may be labeled with the incorrect dioptric power, which would result in a refractive error if implanted | Firm Estimates No Unimplanted Lenses Remain On The Market. | Arizona California Colorado Florida Iowa Illinois Louisiana Maryland Minnesota New York Ohio Pennsylvania South Dakota Texas Utah Vermont Australia.
1994-06-15 | Devices | II | z-861/871-4 | Disposable Laryngoscope Blades Used With The Laryngoscope For The Ocular Examination Of The Larynx Of Adults And Pediatrics: (a) Macintosh Size 2 Blades Product Nos. 9942-00 & 9982-00; (b) Macintosh Size 3 Blades Product Nos. 9943-00 & 9983-00; (c) Macintosh Size 4 Blades Product Nos. 9944-00 & 9984-00; (d) Miller Size 0 Blades Product Nos. 9960-00 & 9967-00; (e) Miller Size 1 Blades Product Nos. 9961-00 & 9968-00; (f) Miller Size 2 Blades Product Nos. 9962-00 & 9969-00; (g) Miller Size 3 Blades Product Nos. 9963-00 & 9971-00; (h) Cabinet With Macintosh Blades Product No. 9945-00; (i) Cabinet With Miller Blades Product #9946-00; (j) Laryngoscope Set With Plastic Handle Product #9939-00; (k) Laryngoscope Set With Metal Handle Product #9941-00. Recall #z-861/871-4. | Manufacturer | Anesthesia Medical Specialties Santa Fe Springs California. | March 11, 1994 | The blades in some cases have demonstrated a propensity for breakage during clinical usage | 57 526 Blades Were Distributed. | Nationwide Canada Germany.
1994-06-15 | Devices | II | z-872/876-4 | Disposable Laryngoscope Blades Used With The Laryngoscope For The Visual Examination Of The Laryngeal Orifice Of Adults And Pediatrics: (a) Macintosh Size 3; (b) Miller Size 1; (c) Miller Size 3; (d) Variety Pack; (e) Laryngoscope Set. Recall #z-872/876-4. -5- | Respiratory Support Products Irvine California | Anesthesia Medical Specialties Santa Fe Springs California. | March 14, 1994 | Blades in some cases have demonstrated a propensity for breakage during clinical usage | 16.785 Blades And 335 Sets Were Distributed. | Nationwide England France Netherlands Taiwan.
1994-06-15 | Devices | II | z-897-4 | Grice Abdominal Lift Reddick-saye Screw Modification Designed For Lifting The Abdomen For Laparoscopic Surgery Under The Navel. Recall #z-897-4. | Manufacturer | Ideas For Medicine Inc. Clearwater Florida. | June 22, 1993 | The device fails to function as intended due to lack of adequate design and quality controls | 1 077 Devices Were Distributed. | Nationwide And International.
1994-06-15 | Devices | II | z-902/922-4 | Twenty-one In Vitro Diagnostic Products As Listed Below; (a) Lyme Disease Catalog Nos. 283-390 783-390; (b) Toxo. Igg Catalog Nos. 283-300 783-300; (c) Rubella Igg Catalog Nos. 283-300 783-300; (d) Hsv 1 Catalog Nos. 283-340 783-340; (e) Vzv Catalog Nos. 283-380 783-380; (f) Cmv Igg Catalog Nos. 283-320 783-320; (g) Hsv 2 Catalog Nos. 283-350 783-350; (h) Rubella Igm Catalog Nos. 283-370 783-370; (i) Cmv Igm Catalog Nos. 283-330 783-330; (j) Scl-70 Catalog No. 283-280; (k) Rnp Catalog Nos. 283-270 783-270; (l) Ssa Catalog Nos. 283-250 783-250; (m) Sm Catalog Nos. 283-240 783-240; (n) Toxo. Igm Catalog Nos. 283-310 783-310; (o) Measles Catalog No. 283-520; (p) Dnp Catalog Nos. 283-230 783-230; (q) Ic Catalog No. 783-210; (r) Ssb Catalog No. 283-260; (s) Dna Catalog Nos. 283-200 783-200; (t) Rf Catalog Nos. 283-220 783-220; (u) Amebiasis Catalog No. 783-120. Recall #z-902/922-4. -6- | Manufacturer | Diamedix Corporation Miami Florida. | February 2, 1994 | The cal-verifier that is shipped with the device kits lacks a 510(k) approval | 8 833 Kits Were Distributed. | Nationwide And International.
1994-06-15 | Devices | II | z-923-4 | Bard 9.5 Fr 40cc Double Lumen Intra-aortic Balloon Catheter Single Use Device Intended For Temporary Cardiac Assistance Employing The Principle Of Counterpulsation. Recall #z-923-4. | Bard Cardiopulmonary Haverhill Massachusetts | Bard Cardiopulomary Division C.r. Bard Inc. Tweksbury Massachusetts. | March 23, 1994 | An unknown number of brittle (defective) "y" bifurcates could leak, resulting in a loss of helium and the inability to achieve vacuum configuration | 488 Units. | Nationwide And International.
1994-06-15 | Devices | II | z-925/926-4 | Oral Endotracheal Tube Holders Used To Anchor And Stabilize The Tube Inhibiting Extubation And Eliminating Taping Procedures: (a) Secure Easy Endotracheal Tube Holder (padded Faceplate With Bite Block Headgear And Neckstrap) Catalog Numbers 242003 242006; (b) Quickstrap Endotracheal Tube Holder (padded Faceplate With Bite Block And Non-elastic Neckstrap) Catalog Number 242007. Recall #z-925/926-4. | Manufacturer | Ipi Medical Products Chicago Illinois. | April 23, 1993 | The tube retainer strap may crack when excessive force is applied | 5 430 Units; Firm Estimates None Remains On The Market. | Nationwide France.
1994-06-15 | Devices | II | z-927/928-4 | Night Vision Image Intensifiers Models T3c-2 And T3c-3 Used In Viewing Objects And Persons In Subdued Lighting. Recall #z-927/928-4. | Intertech (advanced International Technologies) North Kingstown Rhode Island (importer). Fda Approved The Firm's Corrective Action Plan May 17 1994. Firm-initiated Field Correction Ongoing. | Novosibirsk Instrument Making Plant Novosibirsk Russian Federation. | May 17, 1994 | Products emitted x-radiation that is unnecessary to the accomplishment of the purpose of the product, and creates a risk of injury to users | 79 Units. | Nationwide.
1994-06-15 | Devices | II | z-929-4 | Polycitra K Crystals (potassium Citrate And Citric Acid For Oral Solution) With Maintenance Prophilter Urinary Ph Testing Kit (envelope) Consisting Of A One Month Diary And Urinary Ph Indicator Test Strips Packaged In A Folding Carton Containing 100 Packets Of The Polycitra Crystals And Polycitra K Crystals (potassium Citrate And Citric Acid For Oral Solution) Prophiler Urinary Ph Testing Kit (envelope Consisting Of Four Starter Samples Of Polycitra K Crystals Two Week Progress Diary Information Brochure Titled "preventing Kidney Stone Recurrence With Polycitra K And Urinary Ph Indicator Test Strips An Alkalinizing Agent For Control Of Uric Acid And Cystine Calculi Of The Urinary Tract. Recall #z-929-4. | NOT_FOUND | Baker Norton Pharmaceuticals Inc. Miami Florida | March 4 1994 | The urinary test kit component is considered to be misbranded as the ph indicator test strips included do not have 510(k) approval | Approximately 17 138 (10/100 Packet) Cases And A Small Quantity Of Physician Starter Samples. | Nationwide.
1994-06-15 | Devices | II | z-941-4 | Sorin Bcd Adv C Blood Cardioplegia Delivery Sets Designed To Mix Arterial Blood From An Oxygenator With Asanquineous Cardioplegic Solution And Deliver It To The Patient. Recall #z-941-4. | Manufacturer | Sorin Biomedical Inc. Irvine California. | April 22, 1994 | The blood lines and cardioplegia solution lines for an unknown number of devices across several device lots were reversed, resulting in an incorrect blood to cardioplegia solution configuration | Approximately 5 116 Units Were Distributed; Firm Estimated 500-700 Units Remained On Market At Time Of Recall. | Alabama California Florida Illinois Indiana Michigan Mississippi North Carolina New Mexico Ohio Oklahoma Pennsylvania Tennessee Texas Utah Washington State Wisconsin West Virginia Canada Korea.
1994-06-15 | Devices | III | z-877/884-4 | L-cath Procedural Tray For L-cath Peel Away Placement Sets With Catheter Extension Set: (a) L-cath Procedural Tray Prod. No. Pe16pic20k; -9- (b) L-cath Procedural Tray Prod. No. Pe18pic20k; (c) L-cath Procedural Tray Prod. No. Pe20pic20k; (d) L-cath Procedural Tray Prod. No. Pe16pic56k; (e) L-cath Procedural Tray Prod. No. Pe18pic56k; (f) L-cath Procedural Tray Prod. No. Pe20pic56k; (g) L-cath Procedural Tray Prod. No. Pic-03; (h) L-cath Procedural Tray Prod. No. Pic-03a. Recall #z-877/884-4. | Luther Medical Products Inc Tustin California (own Label Distributor/responsible Firm) | Tri-state Hospital Supply Corporation Howell Michigan. | December 2, 1993 | The male luer of the extension set leaks | 4 479 Trays Were Distributed; Firm Estimates None Remains On The Market. | Minnesota.
1994-06-15 | Devices | III | z-892-4 | Stratus Free Thyroxine Ft4 Fluorometric Enzyme Immunoassay Kit Ivd Intended For The Determination Of Free Thyroxine Concentrations In Serum Or Plasma. Recall #z-892-4. | Baxter Diagnostics Inc. Miami Florida | Baxter Diagnostics Inc. Miami Florida. With The Exception Of The Substrate (manufactured At The Aguada Puerto Rico Facility) All Components Were Made At The Miami Plant. | November 1, 1993 | The antibody tabs did not have spotting solution and were not imprinted with a lot number | 107 Kits Were Distributed. | Nationwide Argentina.
1994-06-15 | Devices | III | z-893-4 | Stratus Ultra-sensitive Htsh Enzyme Immunoassay Kits Intended For The Determination Of Human Thyroid Stimulating Hormone (htsh) Concentrations In Serum Or Plasma. Recall #z-893-4. | Baxter Diagnostics Inc. Miami Florida | Baxter Diagnostics Inc. Aguada Puerto Rico. | October 19, 1993 | One of the kit components, the ultra-sensitive htsh conjugate, may have contained aggregates that could cause calibrator, control, or patient sample values to be higher than they should have been | Approximately 31 000 Kits. -10- | Nationwide And International.
1994-06-15 | Devices | III | z-894-4 | Deknatel Custom Procedure Pak V-pak Suture Sleeve Which Includes 11 Different Products Packaged In Sealed Tyvek Pouch. Recall #z-894-4. | Manufacturer | Deknatel Inc. Fall River Massachusetts. | March 18, 1994 | Some of the individual pouches did not contain the needles labeled | 60 Pouches Were Distributed. | Arkansas.
1994-06-15 | Devices | III | z-895-4 | Cottony Ii Dacron Orthopaedic Non-absorbable Surgical Suture Green. Recall #z-895-4. | Manufacturer | Deknatel Inc. Fall River Massachusetts. | March 18, 1994 | The primary suture package (carrier) may be incorrectly labeled as product code 89-5032m5 | 132 Pouches Were Distributed. | California Utah Georgia.
1994-06-15 | Devices | III | z-896-4 | Custom Procedure Pak Non-absorbable Surgical Suture 5 Green 5 White Braided Surgical Sutures Packaged In A V-pack Suture Sleeve. Recall #z-896-4. | Manufacturer | Deknatel Inc. Fall River Massachusetts. | March 18, 1994 | The shelf box and pouch labels identify the pledgets that are stitched onto the suture as "soft", when they are actually "firm" | 175 Pouches Were Distributed. | Wisconsin Florida Utah Canada.
1994-06-15 | Devices | III | z-924-4 | Arthrex Tunnel Notcher Used In Arthroscopic Surgery Catalog #ar-1844. Recall #z-924-4. | Arthrex Inc. Naples Florida | Ultrexx Inc. Ultra Precision Machining Avilla Indiana. -11- | November 19, 1993 | A piece of the tunnel notcher, the part that cuts the notch, can break off from the rest of the device | 103 Units Were Distributed. | California Texas Tennessee Maryland New York Virginia Michigan Arizona Florida Colorado.