## 1994-07-27
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-07-27 | Drugs | II | d-332-4 | Slo-phyllin 80 Mg Syrup (theophylline) In 16 Fluid Ounce Glass Bottles Taken Orally For Asthmatic Relief. Recall #d-332-4. | Rhone-poulenc Rorer Collegeville Pennsylvania | Rhone-poulenc Rorer Fort Washington Pennsylvania. | June 13, 1994 | Potency is marginally above the upper specification limit of 107% | 7 931 Bottles Were Distributed. | Nationwide.
1994-07-27 | Drugs | II | d-333-4 | Sterile Aerosol Talc Spray In 4 G. Cans Used For Recurrent Or Persistent Pneumothorax And Recurrent Or Persistent Pleural Effusions. Recall #d-333-4. | Bryan Corporation Woburn Massachusetts | Talc De Luzenac Cedex-france. | July 15, 1994 | Product marketed without new drug approval | Approximately 2 000 Units. | Nationwide.
1994-07-27 | Drugs | II | d-334-4 | Baker Norton Brand Proglycem (diazoxide Usp) 50 Mg Capsules In Bottles Of 100 Used For Treatment Of Chronic Hypoglycemia. Recall #d-334-4. | Manufacturer | Baker Norton Pharmaceuticals Inc. Miami Florida. | July 12, 1994 | Product does not meet content uniformity specifications | 429 Bottles Were Distributed. | Nationwide.
1994-07-27 | Drugs | III | d-330-4 | Cardiotec Kit For The Preparation Of Technetium Tc 99m Teboroxime A Radioactive Diagnostic. Recall #d-330-4. | Bristol-myers Squibb Company Princeton New Jersey | Bristol-myers Squibb Company New Brunswick New Jersey. | December 9, 1993 | Vials may not meet the reconstituted physical appearance description as stated in the package insert | 4 110 Vials Were Distributed. | Nationwide Canada.
1994-07-27 | Drugs | III | d-331-4 | H.l. Moore Brand Diazepam Tablets Usp 5 Mg In Bottles Of 100 Indicated For The Management Of Anxiety Disorders Or For The Short-term Relief Of The Symptoms Of Anxiety. Recall #d-331-4. | Manufacturer | Zenith Laboratories Caribe Inc. Cidra Puerto Rico. | June 2, 1994 | A shipment erroneously contained package outserts for prazosin | 216 Bottles Were Distributed; Firm Estimates None Remains On The Market. | Connecticut Illinois.
1994-07-27 | Devices | II | z-890-4 | Tech Attach Connection Systems Eeg Cables That Can Be Purchased Separately Or As Part Of A Wyler Sphenoidal Electrode Package. Recall #z-890-4. | Manufacturer | Ad-tech Medical Instrument Corporation Racine Wisconsin. | December 1, 1993 | Product labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the products are not labeled to contraindicate use with apnea monitors | 1 368 Cables. | Nationwide.
1994-07-27 | Devices | II | z-1098-4 | Siemens Conventional Mevatron Linear Accelerator System Equipped With An Electron High Dose Rate (hi-e) Mode And/or Electron Rotational Therapy (el-rot) Mode Used In The Treatment Of Cancer With Radiation. Recall #z-1098-4. | Manufacturer | Siemens Medical Systems Inc. Oncology Care Systems Concord California. | February 11, 1994 | In the hi-e or el-rot mode, the display gives a decimal shift of one place to the right | Approximately 100 Units. | Nationwide And International.
1994-07-27 | Devices | II | z-1110-4 | Microscan Rapid Positive Combo Type I Used For Identification To Species Level And/or Antimicrobial Susceptibility Of Facultative And Some Fastidious Aerobic Gram-positive Cocci And Limonocytognes. Recall #z-1110-4. | Manufacturer | Baxter Diagnostics Microscan Division West Sacramento California. | April 3, 1993 | When quality control testing was performed with e | 347 Boxes. | Nationwide And International.
1994-07-27 | Devices | II | z-1161-4 | Counter Recessed Three-chamber Ultrasonic Cleaning System Model E488 Used To Clean Debris From Dental Instruments. Recall #z-1161-4. | Manufacturer | Esmadent Division Esma Chemicals Inc. South Holland Illinois. | October 19, 1993 | Device appears to have component parts that are not properly grounded in the original factory configuration, which can result in electric shock and/or fire | 144 Units Were Distributed. | Nationwide.
1994-07-27 | Devices | III | z-1111-4 | Microdase Disk - Modified Oxidase Test For Differentiation Of Micrococci From Staphylococci. Recall #z-1111-4. | Manufacturer | Remel Limited Partnership Lenexa Kansas. | December 15, 1993 | The device should have been made of ashless paper and was not | 46 Vials Were Distributed. | Nebraska Missouri Kansas Oklahoma New York Georgia Oregon Kentucky Puerto Rico Canada Japan.
1994-07-27 | Devices | III | z-1112/1116-4 | Bacti-disks In Vitro Diagnostic Microbiology Quality Control Organisms Which Are Stabilized Lyophilized Cultures Of Bacteria In Solid Disk Form: (a) Catalog #19-280; (b) Catalog #19-177; (c) Catalog # 19- 052; (d) Catalog #19-060; (e) Catalog #19-035. Recall #z-1112/1116-4. | Manufacturer | Remel Limited Partnership Lenexa Kansas. | January 18, 1993 | Some devices were contaminated and did not exhibit normal growth characteristics while other devices were mislabeled | Firm Estimates None Remains On The Market. -6- | (a) California Pennsylvania Ohio New York Florida West Virginia; (b) Florida New Jersey New York Michigan Maryland Wisconsin Texas Pennsylvania South Carolina Massachusetts; (c) Pennsylvania California New York Florida; (d) Nationwide And Canada; (e) New Jersey Massachusetts North Carolina Virginia California Australia.
1994-07-27 | Devices | III | z-1117-4 | C.a.t. Reagent Kit In-vitro Diagnostic Reagent Test For Chloramphenicol Acetyl-transferase. Recall #z-1117-4. | Manufacturer | Remel Limited Partnership Lenexa Kansas. | December 29, 1993 | The control disk does not give the correct color reaction | 72 Units Were Distributed Between 4/23/93 And 12/29/93. | Nationwide Australia Canada.
1994-07-27 | Devices | III | z-1118/1120-4 | P.r.a.s. Anaerobic Transport Medium: (a) Anaerobic Transport Medium Used In The Transportation Of Specimens Containing Anaerobic Bacteria Catalog #05-004 And 05-005; (b) Peptone Yeast (py) Media With Lactose Used In The Study Of Anaerobic Bacteria Catalog #05-105; (c) Peptone Yeast (py) Media With Mannitol Used In The Study Of Anaerobic Bacteria Catalog #05-109. Recall #z-1118/1120-4. | Manufacturer | Remel Limited Partnership Lenexa Kansas. | January 13, 1994 | The proper color change did not occur when the media was exposed to air | Firm Estimates None Remains On The Market. | (a) California Virginia Missouri Georgia Michigan Colorado; (b) Massachusetts; (c) Pennsylvania.
1994-07-27 | Devices | III | z- 1128/1130-4 | (a) Thioglycollate Medium W/o Indicator W/o Dextrose 9 Ml Used For The Cultivation Of Aerobic And Anaerobic Bacteria Catalog #06-4716; (b) Phenol Red Broth W/1% Melibiose 5 Ml Used In The Determination Of Fermentation Reactions Of Microorganisms Catalog #06-2362; (c) Pyr Broth 0.5 Ml Used In The Rapid Presumptive Identification Of Group A Streptococci And Enterococci Catalog #06-2085. Recall #z- 1128/1130-4. | Manufacturer (a) Product Was Discarded On Or About May 18 1993; (b) | Remel Limited Partnership Lenexa Kansas. | May 18, 1993 | Thioglycollate medium did not contain indicator, phenol red broth was contaminated, and pyr broth did not show a positive reaction | (a) 400 Tubes; (b) 60 Tubes; (c) 340 Tubes Were Distributed. Firm Estimates None Remains On The Market. | (a) Rhode Island; (b) Oklahoma Washington D.c.; (c) Virginia Colorado Georgia California Nevada. -7-
1994-07-27 | Devices | III | z-1131/1133-4 | (a) Lap Disks Used For The Detection Of Leucine Aminopeptidase Activity In Streptococci And Related Genera Catalog #21-129; (b) Bio-ornithine Disk Used To Biotype Haemophilus Influenze And Haemophilus Parinfluenzae Catalog #21-024; (c) Pyr/esculin Disk Used For Rapid Presumptive Identification Of Group A Streptococci And Enterococci Catalog #21-138. Recall #z-1131/1133-4. | Manufacturer (a) | Remel Limited Partnership Lenexa Kansas. | December 10, 1993 | Known positive organisms failed to react or reacted in an atypical manner | (a) 35 Vials; (b) 3 Vials; (c) 176 Vials Were Distributed. | (a) Arizona New Jersey Florida Missouri Kansas North Carolina Texas California Washington D.c. Canada; (b) Wisconsin Pennsylvania; (c) Nationwide Australia New Zealand.