## 1994-09-28
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-09-28 | Drugs | II | d-385-4 | Pepcid Tablets (famotidine) 20 Mg In 100 Tablet Bottles Used For Ulcer Treatment. Recall #d-385-4. | Manufacturer | Merck & Company Inc. Wilson North Carolina. | August 26, 1994 | Several bottles of pepcid tablets were found in unit cartons labeled as noroxin tablets | 58 549 Units Were Distributed; Firm Estimates None Remains On The Market. | Nationwide.
1994-09-28 | Drugs | II | d-386-4 | Prednisone 5 Mg Tablets In Unit Dose Packages Of 100 And In Dose-pack Of 21 A Corticosteroid. Recall #d-386-4. | Vangard Labs Inc. Glasgow Kentucky (repacker) | Purepac Pharmaceutical Company Elizabeth New Jersey. | August 9, 1994 | Product may not meet dissolution specifications through the duration of its stated expiration date | 9 087 Units Were Distributed. | Nationwide.
1994-09-28 | Drugs | II | d-390-4 | Transfilled Compressed Medical Oxygen In E D And C Size Cylinders. Recall #d-390-4. | Manufacturer | Dillon Medical Oxygen Supply Dillon Montana. | September 15, 1994 | Current good manufacturing practice deficiencies | 207 E Size 20 D Size And 6 C Size Cylinders Were Distributed. | Montana.
1994-09-28 | Drugs | III | d-387-4 | 0.9% Sodium Chloride Injection Usp Indicated As A Source Of Electrolytes And Water For Hydration In Adults And Children. Recall #d-387-4. | Manufacturer | Mcgaw Inc. Irvine California. | April 24, 1994 | Current good manufacturing practice deficiencies | 46 Cases Were Distributed; Firm Estimates None Remains On The Market. | California.
1994-09-28 | Drugs | III | d-388-4 | Phenobarbital W/belladonna Tablets (rexatal Tablets) In Bottles Of 1000 And 5000 Rx Drug Used As Adjunctive Therapy In Treatment Of Irritable Bowel Syndrome. Recall #d-388-4. | Manufacturer | Richwood Pharmaceutical Company Inc. Doing Business As Rexar Pharmacal Valley Stream New York. | September 7, 1994 | Subpotency of scopolamine hbr component | 1 843 1000-tablet Bottles And 272 5000-tablet Bottles Were Distributed. | California Connecticut Florida Indiana Kentucky New Jersey New Mexico New York North Carolina Pennsylvania Texas Washington State.
1994-09-28 | Drugs | III | d-389-4 | Dopamine Hydrochloride Injection Usp 80 Mg/ml Rx Iv Infusion Injectable For The Correction Of Hemodynamic Imbalances. Recall #d-389-4. | Manufacturer | Solopak Laboratories Inc. Elk Grove Village Illinois. | September 6, 1994 | Mislabeled carton -- a box of 25 properly labeled vials of dopamine hcl were packaged in a carton labeled multe-pak-5 | 957 Trays Of Dopamine Hcl Were Distributed And 60 Trays Of Multe-pak-5 Were Distributed; Firm Estimated That 50% Of The Product Remained On Market At Time Of Recall. -4- | Nationwide.
1994-09-28 | Biologics | II | b-469-4 | Red Blood Cells. Recall #b-469-4. | Manufacturer | Lifesource Glenview Illinois. | May 11, 1994 | Blood product, which was collected from a donor who had travelled to an area designated as endemic for malaria, was distributed for transfusion | 1 Unit. | Illinois.
1994-09-28 | Biologics | II | b-462/465-4 | (a) Red Blood Cells; (b) Platelets; (c) Fresh Frozen Plasma; (d) Recovered Plasma. Recall #b-462/465-4. | Manufacturer | The American National Red Cross Omaha Nebraska. | July 7, 1994 | Blood products which were non-reactive for hepatitis b surface antigen (hbsag), but were collected from donors who previously tested repeatedly reactive for hbsag, were distributed | (a) 12 Units; (b) 8 Units; (c) 2 Units; (d) 10 Units. | Nebraska Iowa South Dakota Massachusetts Florida California Switzerland.
1994-09-28 | Devices | II | z-1232/1233-4 | Instruction Manuals For The Hysterofiberscope Models Hyf-p And Hyf-1t For Endoscopic Observation And Diagnosis And/or Treatment Within The Uterus. Recall #z-1232/1233-4. -5- | Olympus America Inc. Lake Success New York | Olympus Opti-electronics Co. Ltd. Fukushima Japan. | July 27, 1994 | Devices labeling does not carry adequate directions for use and fails to warn against unsafe application | 469 Units Were Distributed. | Nationwide Colombia Canada.
1994-09-28 | Devices | II | z-1300-4 | Papoose Model 07p Power Add-on For Wheelchairs Designed To Convert Any Manual Wheelchair With A High Mount Brake Bar To A Power Driven Wheelchair. Recall #z-1300-4. | Manufacturer | Redman Inc. Tucson Arizona. | July 15, 1994 | The device was installed on wheelchairs without anti-tippers and the wheelchairs can tip over when ascending ramps | 23 Units Were Distributed. | Arizona California Florida Massachusetts Minnesota Missouri New Jersey Nevada New York Tennessee Texas.
1994-09-28 | Devices | II | z-1325-4 | Ivac Tympanic Thermometer Model 2090b Indicated For The Measurement Of Core Body Temperature. Recall #z-1325-4. | Manufacturer | Ivac Corporation San Diego California. | May 9, 1994 | Device may display inaccurate temperature reading, due to a faulty design | 24 566 Units Were Distributed. On July 21 1994 The Firm Reported That They Had Corrected 12 261 Of The 24 566 Distributed Units. | Nationwide And International.
1994-09-28 | Devices | II | z-1355/1356-4 | Vingmed Diagnostic Ultrasound System Cfm With 5 Mhz Apat Probe Used For Comprehensive Evaluation Of Cardiac Anatomy And Hemodynamics: (a) Vingmed Diagnostic Ultrasound System Model Nos. Cfm 700 Cfm 725 Cfm 750 Cfm 775 And Cfm 800; (b) Vingmed Diagnostic Ultrasound System Model Nos. Cfm 725ii Cfm 750ii Cfm 775 And Cfm 800 Using Software V2.0 Or V5.0. Recall #z-1355/1356-4. -6- | Diagnostics Ultrasound Inc. Milpitas California (a) | Vingmed Sound A/s Horten Norway. | July 8, 1994 | (a) some units may send electrical pulses from defibrillator through the ultrasound machine to the ground, which may result in current leakage and can cause arcing | (a) 386 Units Were Distributed 1986-1994; (b) 55 Units Distributed 1986-1994. | (a) Nationwide Argentina Canada; (b) Alabama Arizona Colorado Florida Hawaii Illinois Massachusetts Maryland Minnesota Missouri Nebraska New York Oregon Pennsylvania Rhode Island Texas Utah.
1994-09-28 | Devices | II | z-1371/1374-4 | Venous Bloodlines: (a) Multiple Arterial Under Nmc Label Catalog No. Beginning With 03 (b) Multiple Arterial Bloodlines Under Baxter Label Catalog No. Beginning With 96; (c) Multiple Venous Bloodlines Under Nmc Label Catalog No. Beginning With 03; (d) Multiple Venous Bloodlines Under Baxter Label Catalog No. Beginning With 96. Recall #z-1371/1374-4. | National Medical Care Rockleigh New Jersey | National Medical Care Mcallen Texas. | January 25, 1994 | Certain bloodlines exhibit "cloudy" (opaque) tube segments which have been associated with bubble formation during use | 3 860 326 Units Were Distributed. | Nationwide Canada Taiwan India Uruguay Venezuela.
1994-09-28 | Devices | II | z-1387/1390-4 | Infant Monitors Computerized Electronic Instruments Which Detect Baby's Heart Beats And Breathing Effort: (a) Infant Monitor Model 500; (b) Infant Monitor Model 500e; (c) Monitor Model 502; (d) Remote Alarm For Infant Monitor Model 501. Recall #z-1387/1390-4. -7- | Manufacturer | Corometrics Medical Systems Inc. Wallingford Connecticut. | July 29, 1994 | There is a failure of the audible alarm which has been attributed to a faulty audio transducer/indicator | 348 Units Were Distributed. | Nationwide And International.
1994-09-28 | Devices | II | z-1402/1404-4 | Puritan-bennett Series D Pressure Compensated Oxygen Flowmeter Flowmeter W/regulator And Flowmeter Replacement Cartridge Prescription Devices Used To Control And Indicate The Flow Of Oxygen To The Patient In Liters Per Minute Increments: (a) Flowmeter Part Numbers: 124500 124501 124502 124504 124505 124531 124532 124534; (b) Flowmeter W/regulator Part Numbers: 128411 128413; (c) Flowmeter Replacement Cartridge Part Number 290346. Recall #z-1402/1404-4. | Manufacturer | Puritan-bennett Lenexa Division Lenexa Kansas. | July 11, 1994 | Some of the flowmeter scales (cartridges) have the word "air" instead of the word "oxygen" printed at the bottom of the scale and the scale is approximately 1/10 of an inch shorter than required | 1 711 Flowmeters 223 Regulators And 122 Replacement Cartridges That May Have The Incorrect Scale Were Distributed During The Months Of January Through July 1994. | Nationwide England Canada Japan.
1994-09-28 | Devices | II | z-1406/1407-4 | Laser Marking Systems Used To Mark And Identify Parts Etc: (a) Model Signature Laser Marking; (b) Model Script Laser Marking System. Recall #z-1406/1407-4. | Manufacturer. Fda Approved The Firm's Correction Action Plan August 8 1994. Firm-initiated Field Correction Complete. -10- | Excel Control Laser Inc. Orlando Florida. | August 8, 1994 | Laser products failed to comply with the federal laser product performance standard regarding protective housing requirements | 9 Units. | Nationwide.
1994-09-28 | Devices | II | z-1412-4 | Ophthalmic Laser System Used In Ophthalmic Surgery - Posterior Capsulotomies. Recall #z-1412-4. | Manufacturer. Fda Approved The Firm's Corrective Action Plan Ongoing. | Hgm Medical Lasers Inc. Salt Lake City Utah. | NOT-FOUND | The device was found to have a defective design in that the joystick aiming beam control was poorly seated causing internal electrical wires to become prematurely worn and broken | 19 Units. | Nationwide And International.
1994-09-28 | Devices | III | z-1391/1393-4 | Spli-prest (fdf Serum) Kits Used For Detection And Semiquantitation Of Fibrine/fibrinogen Degradation Products (fdp) By Agglutination Of Latex Particles Coated With Specific Antibodies: (a) Spli-prest (fdf Serum) Kit Catalog #0538; (b) Spli-prest Latex Catalog #0538a; (c) Spli-prest Bulk Latex And Buffer Catalog #0549. Recall #z-1391/1393-4. | American Bioproducts Parsippany New Jersey | Diagnostica Stago Franconville France. | January 20, 1994 | The spli-prest kit and two components (latex & bulk latex and buffer) will give an inaccurate test results when used with the enclosed buffer dropper caps | 1 175 Units Were Distributed. | Nationwide.
1994-09-28 | Devices | III | z-1395/1401-4 | Cell Dyn 3000/3500 Hematology Analyzer Sample Loader Automatically Advances Blood Samples For Testing By The Analyzers: (a) Cell-dyn 3000/3500 Hematology Analyzer Sample Loader List #91384-01; (b) Cell-dyn 3000/3500 Hematology Analyzer Sample Loader List #91384-03; (c) Cell-dyn 3000/3500 Hematology Analyzer Sample Loader List No. 91387-01; -11- (d) Cell-dyn 3000/3500 Hematology Analyzer Sample Loader List No. 91387-03; (e) Cell-dyn 3000/3500 Hematology Analyzer Sample Loader List No. 91381-01; (f) Cell-dyn 3000/3500 Hematology Analyzer Sample Loader List No. 91380-01; (g) Cell-dyn 3000/3500 Hematology Analyzer Sample Loader List No. 91103-81. Recall #z-1395/1401-4. | Manufacturer | Abbott Laboratories Inc. Diagnostic Division Santa Clara California. | March 10, 1994 | The sample loader rack fails to advance, resulting in multiple aspirations of a single tube | 706 Units Were Distributed Between 1989 And January 1994. | Nationwide And International.