## 1994-12-14
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-12-14 | Drugs | III | d-034-5 | Imipramine Hydrochloride Tablets Usp 25 Mg Packaged In Plastic Bottles Of 100 250 And 1 000 Rx Used In The Treatment Of Depression And Childhood Enuresis Under The Following Labels: Par Aligen Goldline Major Martec Parmed. Recall #d-034-5. | Manufacturer | Par Pharmaceuticals Inc. Spring Valley New York. | November 28, 1994 | Product does not meet dissolution specifications | 26 658 Bottles Were Distributed; Firm Estimates Almost None Of The Product Remains On The Market. | Nationwide.
1994-12-14 | Drugs | III | d-035-5 | Syn-rx Tablets Unit Dose Blister Packages Consisting Of 28 Controlled-release Dark Blue Am Tablets That Contain 60 Mg Pseudoephedrine Hcl And 600 Mg Guaifenesin And 28 Controlled Light Green Pm Tablets Containing 600 Mg Guaifenesin And In Blister Packages Of 4 Tablets Two Am And Two Pm Tablets As Physicians Samples Rx Used In The Treatment Of Sinusitis Bronchitis And Asthma. Recall #d-035-5. | Adams Laboratories Inc. Fort Worth Texas | Packaging Coordinators Inc. (pci) Philadelphia Pennsylvania (repacker/responsible Firm). | November 21, 1994 | Tablets intended for use in am were packaged in the pm slots and visa versa | Approximately 12 224 Of 14-day Treatment Packages And A Minimal Amount Of 253 470 Packages Of Physician Samples Remained In Distribution At Time Of Recall Initiation. | Nationwide.
1994-12-14 | Devices | II | z-144-5 | Lifecare Plv-102 Portable Volume Ventilator. Recall #z-144-5. | Manufacturer | Lifecare Lafayette Colorado. | May 3, 1994 | Defective crimp joints on connectors on wire harness assemblies, if broken could interrupt electrical continuity in the 12 vdc ground circuit, this could cause unit to stop and alarm go off | 58 Units Were Distributed. | Florida Virginia Taiwan Korea Egypt Brazil Philippines.
1994-12-14 | Devices | II | z-152/159-5 | Blood Cardioplegia Delivery Sets Indicated For Mixing Cooling And Warming Of Oxygenated Blood/cardioplegic Solution And Delivering It To The Patient: (a) Model Bcd Adv1 Individually Packaged In Trays 6 Per Carton; -3- (b) Model Bcd Adv4 Individually Packaged In Trays 6 Per Carton; (c) Model Bcd Adv C (with Shunt) Individually Packaged In Trays 6 Per Carton; (d) Model D721 (bcd Adv 1 Labeled For Dideco Italy) Individually Packaged In Trays 6 Per Carton; (e) Model D724 (bcd Adv 4 Labeled For Dideco Italy) Individually Packaged In Trays 6 Per Carton; (f) Model Mono 4116 (kit With Bcd Adv 1 And Other Devices); (g) Model Mono 3744 (kit With Bcd Adv 1 And Other Devices); (h) Model Scps 3898 (kit With Bcd Adv 1 And Other Devices). Recall #z-152/159-5. | Sorin Biomedical Inc. Irvine California | Halkey Roberts Corporation St. Petersburg Florida. | October 11, 1994 | Due to a defective clamp on the crystalloid line, leakage may occur, resulting in a variation of infused potassium concentration in the crystalloid solution | 6 144 Units Were Distributed. | Alabama California Florida Georgia Louisiana Michigan North Carolina Pennsylvania Tennessee Texas Washington State West Virginia Arkansas Arizona Indiana Minnesota Missouri Nevada New York Ohio South Dakota Utah Virginia Canada Italy Japan The Netherlands India.
1994-12-14 | Devices | III | z-030-5 | Reply Glucose Reagent Used To Screen Blood Glucose Levels And Is Used On The Reply Clinical Chemistry Analyses. Recall #z-030-5. | Olympus America Inc. Clinical Instruments Division Lake Success New York | Medical Analysis Systems Inc. Camarillo Canada. | September 2, 1994 | The glucose reagent used in the reply clinical chemistry analyzer was subpotent and will achieve an upper linearity of 600 mg/dl instead of the labelled 700 mg/dl | 448 Units Of Lot Re179402 And 431 Units Of Lot Re179312 Were Distributed. | Nationwide Canada.
1994-12-14 | Devices | III | z-150-5 | Nev-100 Ventilators. Recall #z-150-5. | Manufacturer | Lifecare Lafayette Colorado. | August 1, 1994 | The nev-100 ventilator can possibly lose its internal software program and fail to operate should the ventilator experience a rapid succession on/off power failure or user turning the unit on/off in rapid succession during start up | 24 Units. | Minnesota Texas Ohio New Jersey Georgia Massachusetts California Arizona Japan Germany China.
1994-12-14 | Devices | III | z-161/162-5 | 80/2 Lbo Controller For Cycler Sets: (a) Catalog #75-1112-4 - 2 Liter Cycler; (b) Catalog #75-1122-3 - 3 Liter Cycler. Recall #z-161/162-5. | National Medical Care Rockleigh New Jersey | National Medical Care Mcallen Texas. | August 19, 1994 | Cyclers lacked traceability of component parts | 238 Units. | Nationwide.
1994-12-14 | Devices | III | z-163/164-5 | Inflatable Penile Implant Accessory Kits And Urinary Sphincter Prosthesis Accessory Kits: (a) Part Number 72401850 Ams 700 Inflatable Penile Prosthesis Product Line Accessory Kit; (b) Part Number 72401685 Ams 800/ams Securo-t Artificial Urinary Sphincter Prosthesis Accessory Kit. Recall #z-163/164-5. | Manufacturer | American Medical Systems Inc. Minnetonka Minnesota. | October 19, 1994 | Sutureless window connectors in the product kits may make an improper connection or the collet prongs of the connector may break off during the connection process | (a) 2 120 Kits; (b) 1 225 Kits. | Nationwide And International.
1994-12-14 | Devices | III | z-165-5 | Novametrix Low Point Calibration Gas 5% Co2 Balance Nitrogen Part #8364-00 Size Sd Cylinder. Recall #z-165-5. | Novametrix Medical Systems Wallingford Connecticut | Scott Medical Products Plumsteadville Pennsylvania (gas). | September 30, 1994 | Product is not correctly labeled, there is a discrepancy with the low point calibration gas from lot number 231934 concerning the gas contents of the cylinder | 74 Cartons (4 Units Per Carton) Were Distributed. | California Louisiana Missouri Ohio Pennsylvania Italy Japan Germany.
1994-12-14 | Devices | III | z-170-5 | Stratus Digoxin Fluorometric Enzyme Immunoassay Which Is An Automated Procedure For The Quantitative Determination Of Digoxin Levels In Serum And Plasma Samples. Recall #z-170-5. | Baxter Diagnostic Inc. Miami Florida | Baxter Diagnostic Of Pr Inc. Aguada Puerto Rico. | September 19, 1994 | Defective calibrators (lots sxdi-180 through sxd6-680) caused high control recovery values | 6 375 Units Were Distributed. | Nationwide Italy Brazil Mexico France Singapore.