## 1995-01-04
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-01-04 | Biologics | II | b-109-5 code * 127 units pw 03 358, pw 04 051, pw 04 196, pw 04 377, pw 04 508, pw 04 680, pw 05 689, pw 06 363, pw 07 026, pw 08 852, pw 09 011, pw 09 212, pw 09 354, pw 09 576, pw 09 659, pw 09 734, pw 09 954, pw 10 115, pw 10 345, pw 10 510, pw 10 739, pw 10 931, -3- pw 11 471, pw 11 909, pw 12 073, pw 12 298, pw 12 496, pw 14 115, pw 14 346, pw 14 489, pw 14 756, pw 14 920, pw 15 170, pw 15 314, pw 15 341, pw 15 516, pw 15 518, pw 15 690, pw 15 905, pw 16 145, pw 16 313, pw 16 796, pw 16 975, pw 17 148, pw 17 316, pw 18 345, pw 18 494, pw 18 753, pw 18 892, pw 19 114, pw 19 252, pw 19 495, pw 19 627, pw 19 901, pw 20 320, pw 20 692, pw 21 158, pw 21 345, pw 21 690, pw 22 328, pw 22 516, pw 22 626, pw 22 836, pw 23 359, pw 23 617, pw 23 803, pw 24 059, pw 24 292, pw 24 533, pw 26 593, pw 32 755, pw 32 896, pw 33 088, pw 33 206, pw 33 356, pw 33 473, pw 33 824, pw 33 873, pw 34 460, pw 34 570, pw 34 699, pw 34 876, pw 35 199, pw 35 558, pw 35 939, pw 36 257, pw 36 381, pw 36 811, pw 37 228, pw 37 362, pw 37 821, pw 37 930, pw 38 231, pw 38 702, pw 38 797, pw 42 982, pw 43 236, pw 43 619, pw 44 020, pw 44 188, pw 44 741, pw 44 917, pw 45 393, pw 45 536, pw 45 966, pw 46 226, pw 46 620, pw 46 793, pw 47 178, pw 47 377, pw 47 895, pw 47 988, pw 48 343, pw 48 427, pw 48 973, pw 49 283, pw 49 643, pw 49 906, pw 50 308, pw 50 561, pw 50 902, pw 51 206, pw 51 621, pw 57 853, xw 06 448, xw 06 502, xw 11 111 | Source Plasma | Community Bio Resources | Manufacturing Firm For Units Plasma Corporation Of Clearwater Clearwater Florida | April 26 1994 | Blood Products Which Tested 1 Negative For The Antibody To Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Anti Hiv Or 2 Non Reactive For Hepatitis B Surface Antigen Hbsag But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Hbsag Were Distributed |  | N/A
1995-01-04 | Biologics | II | b-111-5 | Red Blood Cells | Manufacturer | Department Of The Navy Naval Hospital Camp Lejuene North Carolina | May 25 1994 | Blood Product That Tested Repeatedly Reactive For The Antibody To Hepatitis C Virus Encoded Antigen Anti Hcv Was Distributed | 1 Unit | North Carolina
1995-01-04 | Biologics | II | b-114/121-5 | A Whole Blood B Red Blood Cells C Red Blood Cells Washed D Platelets E Platelets Expired F Fresh Frozen Plasma G Cryoprecipitated Ahf H Recovered Plasma | Manufacturer | Florida Georgia Blood Alliance Inc | January 24 1994 | Blood Products Which Were Non Reactive For Hepatitis B Surface Antigen Hbsag But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Hbsag Were Distributed | A 11 Units B 40 Units C 2 Units D 20 Units E 4 Units F 7 Units G 4 Units H 34 Units | Florida Massachusetts Georgia New York Illinois
1995-01-04 | Biologics | II | b-122-5 | Platelets | Manufacturer | Central Texas Regional Blood Center Austin Texas | October 17 1993 | Blood Products Labeled With Incorrect Expiration Dates Were Distributed | 4 Units | Texas
1995-01-04 | Biologics | II | b-123/124-5 | A Red Blood Cells B Recovered Plasma | Manufacturer | The American National Red Cross Columbus Ohio | May 24 1994 | Blood Products That Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Were Distributed | 1 Unit Of Each Component | A Ohio B California
1995-01-04 | Biologics | II | b-133-5 | Red Blood Cells | Manufacturer | The American National Red Cross Miami Florida | November 4 1993 | Blood Product Collected From An Ineligible Donor Due To Medication With Human Pituitary Derived Growth Hormone Was Distributed | 1 Unit | Florida
1995-01-04 | Biologics | II | b-134-5 | Platelets | Manufacturer | The American National Red Cross Charlotte North Carolina | July 15 1994 | Blood Product Containing Unexpected Antibodies To The Red Blood Cell Antigen Kell Anti K But Labeled As Negative For Unexpected Antibodies Was Distributed | 1 Unit | North Carolina
1995-01-04 | Biologics | III | b-112-5 | Reagent Red Blood Cells Surgiscreen Tm | Manufacturer | Ortho Diagnostic Systems Inc | August 4 1994 | Reagent Red Blood Cells Which Incorrectly Demonstrated Nonspecific Reactivity Were Distributed | 548 Packages Of 3 Vials | Nationwide
1995-01-04 | Biologics | III | b-113-5 | Recovered Plasma | Manufacturer | The American National Red Cross Charlotte North Carolina | April 22 1994 | Recovered Plasma Corresponding To Red Blood Cells Which Were Contaminated With Staphylococcus Staphylococcus Coagulase Negative Was Distributed | 1 Unit | California
1995-01-04 | Devices | II | z-007-5 | 22 Gauge Streamline Catheter | Manufacturer | Menlo Care Inc | November 22 1993 | The Streamline Catheter Has Incomplete End Seal | Approximately 6 050 Units Were Distributed | Nationwide Italy
1995-01-04 | Devices | II | z-127/142-5 | Kirk Specialty Systems Pediatric Infant And Adult Capno Flo Manual Resuscitators With Carbon Dioxide Level Monitors Single Use Non Sterile Prescription Devices Used For Manual Ventilation And Monitoring Co 2 Levels | Manufacturer | Kirk Specialty Systems Kss Carrollton Texas | August 15 1994 | The Plugs May Fracture If Resuscitators Are Exposed To Temperatures Greater Than 140 Degrees | 5 232 Units Were Distributed Between December 20 1993 And May 13 1994 | Nationwide
1995-01-04 | Devices | II | z-171/174-5 | Tanne Disposable Trephine Blades A Tanne Disposable Trephine Blades Catalog No | Manufacturer | Storz Instrument Company St | June 10 1994 | The Outer Sterile Packaging Pouch Containing The Trephine Blade May Have Defects Which Could Compromise The Sterility Of The Outer Surface Of The Sealed Blade Pack Contained In The Pouc | A 7 339 Blades B 56 415 Blades C 329 Sets D 72 Sets Were Distributed | Nationwide And International
1995-01-04 | Devices | II | z-208-5 | Custom Sterile Procedure Packs Which Contain Ethicon Coated Vicryl Sutures | Baxter Healthcare Corporation | Ethicon Inc | October 3 1994 | The Sterility Of The Ethicon Coated Vicryl Absorbable Sterile Sutures Could Not Be Assured Due To Possible Microorganism Contamination During Aseptic Processin | 12 221 Packs Were Distributed Firm Estimated That 40 Of The Product Remained On The Market At Time Of Recall | Nationwide Canada
1995-01-04 | Devices | II | z-216/217-5 | Diascan Blood Glucose Monitoring Strips And Ultra Brand Glucose Monitoring Strips Used For Measuring The Blood Sugar Level In Diabetics A Product Codes 150500 15200 107500 Diascan Starter Kit And 151000 Accessory Kit B Product Codes 707600 708000 70900 750600 | Home Diagnostics | Behrngwerke Diagnostics Germany Recalled By Home Diagnostics Inc | January 18 1994 | Test Results Indicate Some Diascan Results Are 18 36 Low While Ultra Plus Test Results Are Typically 22 Lo | 227 000 Strips Were Distributed | Nationwide And International
1995-01-04 | Devices | II | z-222/228-5 | Cards O | Manufacturer | Pacific Biotech Inc | October 26 1994 | The Product Gives A False Positive Test Result For Group A Streptococcal Antigen Used As An Aid In The Diagnosis Of Group A Streptococcal Pharyngiti | 63 499 Kits Were Distributed Fda Estimated That 5 000 Kits Remained On The Market At Time Of Recall Initiation | Nationwide And International
1995-01-04 | Devices | II | z-032/033-5 | Angiographic Contrast Media Injectors Used To Inject Contrast Media Directly Into The Circulatory System A Medrad Mark Iv B Mark Iv Ct Injectors | Manufacturer | Medrad Inc | October 24 1991 | Grease In The Push Button Switches Congealed Causing The Devices To Deliver Contrast Media At Higher Rates Or Volumes Than Desire | Product Is No Longer Being Manufactured Approximately 3 700 Injectors Of The Possibly 7 300 In Commerce Have Been Upgraded | Nationwide And International
1995-01-04 | Devices | III | z-212/215-5 | Modular Hip Stem Drg Option Sizes 2 4 6 And 8 Used In Orthopedic Surgery For Implantation In The Hip Area | Manufacturer | Biopro Port Huron Michigan | November 24 1993 | The Device Labeling Does Not Contain 510 K Labeling Stipulation | 135 Units Were Distributed | Nationwide
1995-01-04 | Devices | III | z-219-5 | Stratus Ck Mb Fluorometric Enzyme Immunoassay An Automated Procedure For Quantitative Determination Of Ck Bm Levels In Serum And Plasma Samples | Baxter Diagnostic | Baxter Diagnostic Of Pr Inc | December 19 1993 | Elevated Calibrator A Rates With High Control Recovery At The Low End Leading To Erroneous Reading | Approximately 12 027 Kits Were Distributed From August 1993 To December 1993 | Nationwide And International
1995-01-04 | Devices | III | z-220-5 | Stratus Ultra Sensitive Htsh Fluorometric Enzyme Immunoassay An Automated Procedure For The Quantitative Determination Of Htsh Levels In Serum And Plasma Samples | Baxter Diagnostics | Baxter Diagnostic Of Pr Inc | October 19 1993 | Elevated Calibrator A Rates With High Control Recovery At The Low End Leading To Erroneous Reading | 31 000 Kits Were Distributed From June 1993 To December 1993 | Nationwide And International
1995-01-04 | Devices | III | z-221-5 | Stratus Total Thyroxine T 4 Fluorometric Enzyme Immunoassay Which Is Automated Procedure For The Quantitative Determination Of Total Thyroxine T 4 Levels In Serum Or Plasma Samples | Baxter Diagnostic | Baxter Diagnostic Of Pr Inc | May 19 1994 | Low Control Recover | 1 626 Kits Were Distributed From February 1994 To June 1994 | Nationwide And International Quantity 1 626 Kits Were Distributed From February 1994 To June 1994
1995-01-04 | Devices | III | z-229-5 | Stratus Digoxin Fluorometric Enzyme Immunoassay Calibrator An Automated Procedure For The Quantitative Determination Of Therapeutic Drug Levels In Serum Or Plasma | Baxter Diagnostic | Baxter Diagnostic Of Pr Inc | November 19 1994 | Defective Calibrators Caused High Control Recovery Value | 1 784 Kits Were Distributed From June 1994 To November 1994 | Nationwide