## 1995-01-11
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-01-11 | Drugs | II | d-042-5 | Cleocin Phosphate 600 Mg 50 Ml Iv Solution An Antibiotic | The Upjohn Company | Baxter Healthcare Corporation Carolina Puerto Rico | January 10 1994 | Some Product Carton Covers Incorrectly Declare The Strength As 900 Mg 50 Ml Instead Of 600 Mg 50 M | 13 032 Bags Were Distributed Firm Estimates None Remains On The Market | Nationwide
1995-01-11 | Drugs | II | d-043-5 | Touro La Caplet In 100 Caplet Bottles Rx Drug Indicated As A Time Released Decongestant Expectorant | Dartmouth Pharmaceuticals | Wildflower Pharmacal Corporation Mineola New York | December 28 1994 | Product Does Not Meet Time Release Specification | 3 839 100 Caplet Bottles And 34 500 Unit Dose Caplets Were Distributed | Massachusetts Maine Connecticut Georgia New York New Jersey
1995-01-11 | Biologics | I | b-125-5 | Pk R Syringe Catalog 2 M 1361 | Olympus American | Olympus Optical Company Ltd | September 28 1994 | Olympus Brand 2 Pk 7100 Instrument Syringes Packed In Boxes That Were Mislabeled As Containing Larger Syringes Were Distributed | 24 Units | Oklahoma Missouri North Carolina Pennsylvania Michigan Massachusetts Wisconsin Texas Arizona New Jersey Washington State Rhode Island California New York Canada
1995-01-11 | Biologics | I | b-126/132-5 | A Whole Blood B Red Blood Cells C Red Blood Cells For Further Manufacture D Platelets E Platelets Expired F Fresh Frozen Plasma G Recovered Plasma | Blood Systems | Blood Systems Inc | April 28 1994 | Blood Products Collected In A Manner That Compromises The Sterility Of The Collection System Were Distributed | A 9 Units B 1 888 Units C 6 Units D 1 253 Units E 4 Units F 862 Units G 32 Units | Nationwide And International
1995-01-11 | Biologics | I | b-135-5 | Red Blood Cells | Manufacturer | American National Red Cross The Columbus Ohio | July 8 1994 | Blood Product Which Was Collected From A Donor Who Admitted To Visiting An Area Designated As Endemic For Malaria Was Distributed | 1 Unit | Ohio
1995-01-11 | Biologics | I | b-137-5 | Red Blood Cells | Manufacturer | The American National Red Cross Charlotte North Carolina | June 7 1994 | Blood Products Collected From An Ineligible Donor Due To A Reported History Of Cancer Were Distributed | 2 Unit | North Carolina Tennessee
1995-01-11 | Biologics | I | b-141/142-5 | A Red Blood Cells Frozen B Platelets Pheresis |  | The American National Red Cross Miami Florida By Telephone October 8 1993 Followed By Letter October 20 1993 | N A | Blood Products Incorrectly Tested For Syphilis Were Distributed | 1 Unit Of Each Component | Florida
1995-01-11 | Biologics | I | b-147-5 | Red Blood Cells | Manufacturer | Midland County Hospital District Doing Business As Permian Basin Regional Blood Center | July 29 1993 | Blood Product Collected From A Therapeutic Donor And Not Labeled To Indicate The Type Of Donor And Disease State Was Distributed | 1 Unit | Texas
1995-01-11 | Biologics | I | b-149-5 | Source Plasma | Community Bio Resources | Immuno U | June 14 1994 | Blood Product Which Tested Non Reactive For Hepatitis B Surface Antigen Hbsag But Was Collected From A Donor Who Previously Tested Repeatedly Reactive For Hbsag Was Distributed | 1 Unit | Austria
1995-01-11 | Biologics | I | b-150-5 | Source Plasma | Community Bio Resources | Community Bio Resources Inc | June 14 1994 | Blood Products Which Tested Non Reactive For Hepatitis B Surface Antigen Hbsag But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Hbsag Were Distributed | 116 Units | Michigan New Jersey Austria
1995-01-11 | Biologics | III | b-136-5 | Recovered Plasma | Manufacturer | The American National Red Cross Boise Idaho | December 1 1993 | Blood Product Corresponding To A Unit Of Red Blood Cells Found To Be Contaminated With Serratia Liquefaciens Was Distributed | 1 Unit | California
1995-01-11 | Biologics | III | b-138-5 | Recovered Plasma | Manufacturer | The American National Red Cross Charlotte North Carolina | June 24 1994 | Blood Product Collected From An Ineligible Donor Due To A Reported History Of Cancer Was Distributed | 2 Units | California
1995-01-11 | Biologics | III | b-139/140-5 | A Platelets Pheresis B Leukocytes | Manufacturer | The American National Red Cross Charlotte North Carolina | July 19 1994 | Blood Products That Were Either Incorrectly Tested For Antibodies To Human Immunodeficiency Virus Types 1 And 2 Anti Hiv 1 2 Or Incorrectly Tested For Anti Hiv 1 2 And Antibody To Hepatitis B Core Antigen Anti Hbc Were Distributed | A 33 Units B 6 Units | A Georgia North Carolina B North Carolina
1995-01-11 | Biologics | III | b-143-5 | Platelets | Manufacturer | Houchin Community Blood Bank Bakersfield California | September 22 1994 | Blood Products Which Were Exposed To Unacceptable Storage Temperatures Were Distributed | 17 Units | California
1995-01-11 | Biologics | III | b-144-5 | Plasma | Manufacturer | United Blood Services Blood Systems Inc | July 7 1994 | Plasma Prepared Later Than Eight Hours After Phlebotomy And Mislabeled As Fresh Frozen Plasma Was Distributed | 1 Unit | Texas
1995-01-11 | Biologics | III | b-145-5 | Red Blood Cells | Manufacturer | Midland County Hospital District Doing Business As Permian Basin Regional Blood Center Midland Texas | October 14 1993 | Autologous Blood Product That Tested Repeatedly Reactive For Hepatitis B Surface Antigen Hbsag But Was Not Appropriately Labeled To Reflect The Hbsag Reactive Result Was Distributed | 1 Unit | Texas
1995-01-11 | Biologics | III | b-146-5 | Corzyme Hepatitis B Core Antigen Recombinant Diagnostic Kit | Manufacturer | Abbott Laboratories Abbott Park Illinois | October 19 1994 | Antibody To Hepatitis B Core Antigen Anti Hbc Test Kits That May Demonstrate Increased Reactive Rates Were Distributed | 538 Test Kits Were Distributed Firm Estimates None Remains On The Market | Nationwide And Canada
1995-01-11 | Biologics | III | b-148-5 | Red Blood Cells | Manufacturer | Inland Northwest Blood Center Spokane Washington | January 27 1994 | Blood Products Labeled With Incorrect Expiration Dates Were Distributed | 4 Units | Washington State
1995-01-11 | Biologics | III | b-151-5 | Hivab Antibodies To Human Immunodeficiency Virus Types 1 And 2 Test Kits | Manufacturer | Abbott Laboratories Abbott Park Illinois | November 30 1994 | Antibody To Human Immunodeficiency Virus Types 1 And 2 Anti Hiv 1 2 Test Kits That May Demonstrate Increased Reactive Rates Were Distributed | 6 100 Kits Were Distributed Firm Estimated That 1 500 Kits Remained On Market At Time Of Recall Initiation | Nationwide And International
1995-01-11 | Devices | II | z-205/207-5 | Ophthalmic Surgical Devices A Storz Premiere 24 Hr | Manufacturer | Storz Instrument Company St | May 6 1994 | Pinhole Leaks Were Found In The Tyvek Plastic Side Of The Pouches Used To Package The Products Which Could Cause The Sterility To Be Compromise | A 8 085 Units Were Distributed Between 7 31 91 And 3 30 94 B 637 Units Were Distributed Between 7 31 91 And 3 24 94 C 1 289 Units Were Distributed Between 7 31 94 And 4 8 94 | Nationwide And International
1995-01-11 | Devices | II | z-230/232-5 | Upsizing Sleeves Models 033 240 030 221 And 033 210 When Used In The Ventricular Channel Of The Reflex 8223 E Pulse Generator | Telectronics Pacing Systems | Telectronics Pacing Systems Miami Lakes Florida | September 30 1994 | The Leads Used With The Above Models Of Upsizing Sleeves May Not Allow For A Proper Connection In The Ventricular Channel Of The Reflex 8223 E Pulse Generato | 1 691 Units Were Distributed | Nationwide And International
1995-01-11 | Devices | II | z-238/240-5 | Pacesetter Afp Multi Mode Programmable Cardiac Pulse Generators Pacemaker Or Pacer A Model 275 B Model 281 C Model 283 | Pacesetter | Pacesetter Inc | October 17 1994 | A Defective Crystal In The Afp Pacer Causes The Device To Suddenly Stop Operatin | 181 Units | Nationwide And International
1995-01-11 | Devices | II | z-241-5 | Wizard Personal Organizer And Pacemaker Database Software Revision 1 | Manufacturer | Telectronics Pacing Systems Englewood Colorado | August 1 1994 | The Firm Failed To File A 510 K Pre Market Notification For Their Wizard Personal Organizer Software Revision 1 Databas | 218 Total Version 1 Cards Were Distributed | Nationwide And International
1995-01-11 | Devices | II | z-246/251-5 | Cordis Webster Braided Tip Deflectable Electrophysiology Catheters Indicated For Electrophysiological Mapping Of Cardiac Structures A Model D 78 B Model D 88 C Model D 7 270 D Model 1104 E Model 1105 F Model 1108 | Manufacturer | Cordis Webster Inc | October 26 1994 | The Tip Electrode Can Come Loose Due To Lack Of Bond Adhesion Caused By The Dacron Braid Material Interacting With The Polyurethane Adhesiv | Approximately 5 390 Units Were Distributed | Nationwide And International
1995-01-11 | Devices | III | z-202/204-5 | First Choice Blood Glucose Test Strips For The Glucometer 3 Meter A Catalog 91060 Bottle Of 50 Strips B Catalog 91061 Two Bottles Of 50 Strips C Catalog 91065 Blister Pack Of 50 Strips | Manufacturer | Polymer Technology International Pti Issaquah Washington | September 6 1994 | The Blood Glucose Strips Could Provide Low Patient Result | 61 119 Bottles Were Distributed | Nationwide Argentina Lebanon Pakistan
1995-01-11 | Devices | III | z-218-5 | Difco Bacto Blood Collectors Product 1832 30 Intended For Collecting Blood Samples Used In Clinical Diagnosis | Difco Laboratories | Deltar Diamed Operation Elk Grove Village Illinois | October 11 1994 | The 21 Gauge Winged Venipuncture Needle May Be Covered With A Hard Brown Rust Like Coatin | 67 000 Units Were Distributed | Nationwide And International