## 1995-05-03
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-05-03 | Drugs | II | d-118/122-5 | Neo Synephrine Nasal Decongestant Drops And Ntz Long Acting Nasal Decongestant Drops A Pediatric Formula B Mild Formula C Regular Formula D Extra Strength Formula E Ntz Long Acting Nasal Decongestant Drops | Miles | Nycomed Puerto Rico Inc | March 24 1995 | Some Units Are Of Varying Superpotency Based On Evaporation Of Liqui | Undetermined 2 | Nationwide
1995-05-03 | Drugs | II | d-127-5 | Cerose Dm Cough And Cold Formula Packaged In 4 Ounce And In 1 Pint Bottles | Wyeth Ayerst Laboratories | Wyeth Ayerst Laboratories Rouses Point New York | March 3 1995 | Incomplete Warning Statement Regarding Antihistamine Ingredien | 57 036 4 Ounce Bottles And 4 547 Pint Bottles Were Distributed | Nationwide
1995-05-03 | Drugs | II | d-137/138-5 | Pre Filled Syringes Marketed By Solopak Medical Products Inc | Solopak Medical Products | Solopak Medical Products Inc | April 11 1995 | Lack Of Assurance Of Sterilit | 3 129 180 Heparin Syringes And 11 455 Sodium Chloride Syringes Were Distributed | Nationwide
1995-05-03 | Drugs | III | d-128-5 | Verapamil Hcl Tablets 80 Mg Packaged In Bottles Of 1000 Used For The Treatment Of Angina Under The Mutual Pharmaceutical Label |  | Mutual Pharmaceutical Company Philadelphia Pennsylvania By Letter March 14 1995 | N A | Erroneous Distribution And Recovery Of Lot That Was Being Held Because Failed Disintegration Testin | 3 Bottles Were Distributed Firm Estimates None Remains On The Market | Minnesota
1995-05-03 | Drugs | III | d-129/132-5 | Propharma Brand Drug Products A Flatulex Tablets Otc In 100 Tablet Bottles For Gas Release B Spacol Tablets Rx In 100 Tablet Bottles An Antispasmodic C Urodol Caplets Rx In 100 Tablet Bottles Urinary Antiseptic D Sernitas Tablets Otc In 60 Tablet Bottles An Antihistamine | Propharma | Wildflower Pharmacal Corporation Mineola New York | March 27 1995 | Subpotenc | Firm Estimates None Remains On Market | Florida
1995-05-03 | Drugs | III | d-133/134-5 | A Corn Liquid Corn And Callus Remover In 1 2 Ounce Fluid Ounce Amber Glass Bottles Under The Clay Park Label And The Following Private Labels White Cross Improved Corn Liquid Thrifty Cornex Treasury Corn Callus Remover Super D Improved Corn Liquid Corn And Callus Remover Select Brand Corn And Callus Remover Schein Corn Liquid Rugby Corn Liquid Rite Aid Improved Corn Liquid Premier Cornex Removal Osco Corn Liquid Cvs Liquid Corn Callus Remover Big Discount Drugs Corn Callus Remover B Wart Remover Liquid Big B Discount Drugs Wart Remover Solution Brooks Liquid Wart Remover Peoples Wart Remover Dr | Manufacturer | Clay Park Laboratories Inc | April 17 1995 | Varying Degrees Of Superpotency Resulting From Evaporation Of Liqui | A 46 133 Bottles B 95 683 Bottles Were Distributed | A New York Illinois Tennessee Texas California Pennsylvania Puerto Rico West Indies Virgin Islands Guyana Hong Kong B New York Ohio Kentucky Virginia Missouri Illinois Pennsylvania California Alabama Tennessee Connecticut Indiana Florida Massachusetts Rhode Island Hawaii Puerto Rico Kowloon
1995-05-03 | Drugs | III | d-135-5 | Extendryl Syrup Root Beer Flavored In 1 Pint And 1 Gallon Containers Rx Antihistamine Decongestant | Manufacturer | Fleming And Company Fenton Missouri | March 13 1995 | Subpotency Of The Phenylephrine Ingredien | 122 127 Pints And 141 Gallons Were Distributed | Nationwide
1995-05-03 | Drugs | III | d-136-5 | Isoniazid Tablets Usp 100 Mg In Bottles Of 180 An Anti Microbial Agent Used In The Treatment Of Tuberculosis | Vangard Labs | Barr Laboratories Inc | April 14 1995 | Product Does Not Meet Dissolution Specifications At The 48 And 60 Month Test Interval | 319 Bottles Were Distributed | Idaho
1995-05-03 | Drugs | III | d-139-5 | K Dur 20 S Extended Release Tablets Potassium Chloride 20 Meq In Bottles Of 1000 Rx Potassium Supplement | Manufacturer | Schering Plough Products Inc | April 18 1995 | Product Bears Incorrect Expiration Of Nov 1996 Instead Of May 199 | 1 638 Bottles Were Distributed Firm Estimated That 350 Bottles Remained On Market At Time Of Recall Initiation | Massachusetts Maine Maryland California Connecticut Florida Rhode Island New York New Jersey Pennsylvania Tennessee Virginia Puerto Rico
1995-05-03 | Biologics | II | b-246-5 | Human Plasma | Manufacturer | Biological Specialty Corporation Colmar Pennsylvania | August 1 1994 | Blood Product Collected From A Donor Permanently Deferred In June 1992 For High Risk Behavior Was Distributed | 1 Unit | Canada
1995-05-03 | Biologics | II | b-248-5 | Red Blood Cells | Manufacturer | American National Red Cross Arc Ashley Pennsylvania | February 2 1994 | Blood Product Which Was Collected From A Donor Who Admitted To Traveling To An Area Designated As Endemic For Malaria Was Distributed | 1 Unit | Pennsylvania
1995-05-03 | Biologics | II | b-249/250-5 | A Red Blood Cells B Platelets | United Blood Services | United Blood Services Doing Business As Blood Systems Inc | May 4 1994 | Blood Products In Which The Sterility Of The Collection System Was Compromised Were Distributed | A 6 Units B 14 Units | California Texas
1995-05-03 | Biologics | II | b-251/252-5 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services St | June 8 1994 | Blood Products Which Tested Negative For Antibody To Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Were Distributed | 1 Unit Of Each Component 7 | Minnesota And Switzerland
1995-05-03 | Biologics | II | b-281/282-5 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services St | August 26 1994 | Blood Products Which Tested Negative For Antibody To Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Were Distributed | A 4 Units B 3 Units | Minnesota California Washington D
1995-05-03 | Devices | II | z-342-5 | Reinforced Treatment Catheters Used In The Selectron Of Ldr Mdr And Hdr Radiation Therapy Units | Nucletron Corporation | Nucletron International B | November 23 1994 | The Weld Between The Plastic And Steel On The Catheter Was Determined To Be Incorrectly Welded For The September 1994 Batc | 14 Units Were Distributed | Nationwide Canada Mexico
1995-05-03 | Devices | II | z-600-5 | Orthopedic 2 | Manufacturer | Ace Medical Company Los Angeles California | February 10 1995 | The Depth Calibrations Are Improperly Marked Which May Result In The Implantation Of The Wrong Size Bone Scre | 110 Units Were Distributed | California Michigan Texas Japan Austria
1995-05-03 | Devices | II | z-690-5 | Pulsoprobe 320 Um Fiber Non Sterile Used With Pulsolith Dye Laser Lithotripter Used In The Treatment Of Calculi In The Bladder | Edap Technomed Group | Technomed Medical Systems Vaux En Velin France | September 19 1994 | The Probe May Break In The Ureter During Treatment Due To Changes In The Fiber Manufacturing Process Which Resulted In Defective Fiber | 119 Units Were Distributed | Nationwide
1995-05-03 | Devices | II | z-691/695-5 | Endosonics A Vision 3 | Endosonics Corporation | Endosonics Corporation Pleasanton California | February 17 1995 | The Uv Cone A Part On The Catheters Could Come Loose When The Catheter Is Removed From The Patient Through A Hemostatic Valv | A 531 Units B 1 438 Units Were Distributed | Nationwide And International
1995-05-03 | Devices | II | z-694-5 | Emerson Uninterruptible Power Supply Ups Accupower Model 30 500 Va Used To Provide Back Up Power To Complete A Radiation Therapy Treatment During An Electrical Outage | Manufacturer | Omitron International Inc | January 21 1994 | A Power Failure Of The Ups May Go Undetected During Patient Treatmen | 29 Units | Alabama Arizona California Florida Georgia Illinois Louisiana Maryland Mississippi North Carolina New Jersey Pennsylvania Tennessee Texas Washington D
1995-05-03 | Devices | II | z-698/700-5 | Simpson Coronary Atherocath Gto With Improved Durable Cutting System A Gt 50 5 Fr B Gto 60 09 C Gto 70 09 | Manufacturer | Devices For Vascular Intervention Inc | February 9 1995 | There Appears To Be Cutter Misalignment And Burrs In The Cutter Windo | 54 Units Were Distributed | California Connecticut Georgia Maryland North Carolina New York Washington D
1995-05-03 | Devices | II | z-717-5 | Coiled 60 Inch Low Pressure Extension Tubes Used To Connect The Contrast Dye Reservoir To The Patient's Catheter On A Ct Scanner | Liebel Flarsheim Company | Surgimedics Texas Medical Products Tmp Orrville Ohio | December 24 1994 | Small Fragments Of Plastic Have Been Found In Tubes Used To Administer Contrast Material To Patients For Ct Studie | The Volume Of Each Type Of Product Distributed In 1994 Is As Follows For The Coiled 60 Inch Low Pressure Extension Tubing 500 000 For The Ct Multipak Syringe Size 150 Ml 175 000 Ct Multipak Syringe Size 260 Ml 81 000 Ct Multipak For Medrad Ct Injectors Syringe Size 200 Ml 71 000 And For The Front Loading Ct Multipak Syringe Size 200 Ml 127 000 | Nationwide Puerto Rico
1995-05-03 | Devices | II | z-729-5 | Sterile Triad Hydrophilic Wound Dressing 2 | Manufacturer | Sween Corporation N | March 21 1995 | A Portion Of The Lot Was Not Sterilized Prior To Distributio | 180 Tubes Were Distributed | Kentucky Texas Canada