## 1995-06-14
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-06-14 | Drugs | II | d-187-5 | Morphine Sulfate Suppositories 20 Mg Rx Analgesic In Boxes Of 12 | Manufacturer | Paddock Laboratories Inc | May 23 1995 | Potency Is Incorrectly Declared As 10 Mg On The Back Panel Of The Carto | 1 506 Boxes Were Distributed | Nationwide
1995-06-14 | Drugs | III | d-186-5 | Sinucon Syrup An Otc Antihistamine Decongestant Under The Following Labels Luchem Pharmaceuticals Sinucon Syrup In 1 Pint And 1 Gallon Bottles Major Pharmaceuticals Nalgest Syrup In 1 Pint Bottles | Manufacturer | H N Norton Company | April 12 1995 | Potential For Crystal Formation When Product Is Exposed To Low Temperature | 1 463 1 Pint Bottles Luchem Label 88 1 Gallon Bottles Luchem Label 712 1 Pint Bottles Major Label Were Distributed | Nationwide
1995-06-14 | Drugs | III | d-188-5 | Physostigmine Sulfate Ophthalmic Ointment Eserine Sulfate 1 4 1 4 Ounce Usp In 1 8 Ounce 3 | Manufacturer | Altana Inc | June 2 1995 | Potency Not Assured Through Expiration Dat | 9 360 Tubes Were Distributed | Nationwide
1995-06-14 | Biologics | II | b-365/367-5 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | Blood Systems Inc | January 16 1995 | Blood Products Which Tested Negative For The Antibody To Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly For Anti Hiv 1 Were Distributed | 1 Unit Of Each Component | Texas Florida
1995-06-14 | Biologics | II | b-369/374-5 | A Red Blood Cells B Red Blood Cells For Further Manufacture C Platelets D Platelets For Further Manufacture E Fresh Frozen Plasma F Recovered Plasma | Manufacturer | The Blood Center For Southeast Louisiana New Orleans Louisiana | June 14 1994 | Blood Products Which Tested Negative For Hepatitis B Surface Antigen Hbsag But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Hbsag Were Distributed | 73 Units | Louisiana New York California Florida North Carolina
1995-06-14 | Biologics | III | b-381-5 | Recovered Plasma | Blood Systems | Blood Systems Inc | October 6 1992 | Blood Product Associated With A Unit Of Red Blood Cells Which Was Contaminated With Propionibacterium Acnes Was Distributed | 1 Unit | North Carolina
1995-06-14 | Biologics | III | b-382-5 | Reagent Red Blood Cells Resolve Tm Panel A | Manufacturer | Ortho Diagnostic Systems Inc | July 18 1994 | Reagent Red Blood Cell Panels Which Contained Errors On The Extended Antigen Profile Were Distributed | 648 Packages | Nationwide
1995-06-14 | Biologics | III | b-383-5 | Reagent Red Blood Cells Resolve Tm Panel A | Manufacturer | Ortho Diagnostic Systems Inc | December 29 1994 | Lea Positive Reagent Red Blood Cells Incorrectly Labeled As Lea Negative Were Distributed | 802 Packages | Nationwide And International
1995-06-14 | Devices | II | z-821-5 | Transformer Used With Ultrasonic Scaler Used For Cleaning Teeth Model Turbo 25 30 | Parkell Products | Woet Tsern Electronic Company Ltd | August 12 1994 | The Transformer Was Manufactured Incorrectly Which May Lead To Lack Of Grounding Which Could Cause The Device To Short Ou | 326 Units Were Distributed Firm Estimates None Remains On Market | Nationwide
1995-06-14 | Devices | II | z-822-5 | Single Lumen Femoral Catheters Under The Acuflex And Neostar Label | Manufacturer | Neostar Medical Technologies Inc | April 27 1994 | A | 6 089 Units Kits And Single Catheters Were Distributed Firm Estimates None Remains On The Market | New York West Virginia Missouri Colorado England Egypt India Germany Malaysia Pakistan
1995-06-14 | Devices | II | z-831/835-5 | Baxter Arterial And Venous Bloodlines A Baxter Arterial Blood Tubing Set For Hemodialysis Product Code 5 M 4253 M B Baxter Arterial Blood Tubing Set For Hemodialysis With Male Luer Rotating Lock Product Code 5 M 4262 M C Baxter Arterial Blood Tubing Set For Hemodialysis With Male Luer Rotating Lock And Pressure Pillow Tubing Product Code 5 M 4283 M D Baxter Venous Blood Tubing Set For Hemodialysis With Two Lengths Of Tubing Product Code 5 M 4491 M E Baxter Venous Blood Tubing Set For Hemodialysis With Four Lengths Of Tubing Product Code 5 M 4484 M | Baxter Healthcare Corporation | Productos Urologos De Mexico S | May 16 1995 | Blood Tubing Might Not Completely Set In The Dialyzer Connector Resulting In A Potential For Blood Leakag | 121 000 Sets Were Distributed Firm Estimated That 25 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide Brazil Venezuela
1995-06-14 | Devices | III | z-779-5 | 2991 Triple Processing Set Tubing Set Used In Bone Marrow Procedures | Manufacturer | Cobe Bct Inc | October 17 1994 | A Misassembly Error Resulted In The Set Containing An Incorrect Tubing Size Than Intende | 216 Units Were Distributed Firm Estimates None Remains On The Market 6 | Massachusetts Colorado New York Nebraska Tennessee Texas Belgium France Spain England Israel
1995-06-14 | Devices | III | z-828-5 | Preference 4 Pack Bc 8 | Manufacturer | Coopervision Inc | April 7 1995 | The Lenses Are Labeled With The Wrong Powe | 23 4 Packs Were Distributed As Of May 17 1995 4 4 Packs Remained Unaccounted For | Arkansas California Florida Georgia Illinois Massachusetts Missouri North Carolina New Jersey New York Oklahoma Oregon Pennsylvania Tennessee Texas Wisconsin West Virginia
1995-06-14 | Devices | III | z-829-5 | Cooperclear Bc 8 | Manufacturer | Coopervision Inc | April 21 1995 | The Lenses Are Labeled With The Wrong Powe | 26 Lenses Were Distributed As Of May 9 1995 11 Lenses Remained Unaccounted For | Arkansas California Florida Georgia Illinois Massachusetts Missouri North Carolina New Jersey New York Oklahoma Oregon Pennsylvania Tennessee Texas Wisconsin West Virginia
1995-06-14 | Devices | III | z-836-5 | Diamedix Brand Anti Dna Microassay Catalog 783 200 96 Test Set For In Vitro Diagnostic Use | Manufacturer | Diamedix Corporation Miami Florida | February 10 1995 | Some Of The Wells In Anti Dna Microassay May Not Have Been Coated With Antigen During The Manufacturing Proces | 459 Kits Were Distributed | Nationwide And International
1995-06-14 | Devices | III | z-837/839-5 | First Choice Reagent Strips For Use With Glucometer Ii Gii Glucometer Ii With Memory And Glucometer M Blood Glucose Meters A Catalog No | Manufacturer | Polymer Technology International Pti Issaquah Washington | March 5 1995 | The Blood Glucose Strips Exceeded Their Specifications Which Could Provide Inaccurate Patient Result | 103 327 Packages Were Distributed | Nationwide Belgium Taiwan Poland Japan Pakistan Lebanon