## 1995-06-28
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-06-28 | Drugs | II | d-190/191-5 | Lorazepam Tablets Usp 0 | Danbury Pharmacal | Danbury Pharmacal Inc | May 4 1995 | Potency Not Assured Through Expiration Dat | A 112 491 100 Tablet Bottles 57 695 500 Tablet Bottles 187 1000 Bottles B 120 359 100 Tablet Bottles 35 633 500 Tablet Bottles Were Distributed Firm Estimated That 10 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide
1995-06-28 | Drugs | II | d-198-5 | Procardia Xl Nifedipine Tablets 30 Mg In Bottles Of 100 An Antianginal Drug | Thrifty Payless | Rrepackaging Company Of America Rca Woodburn Oregon Repacker Responsible Firm | June 8 1995 | Approximately 40 Repacked Units Were Mislabele | 36 Bottles Were Distributed | California
1995-06-28 | Biologics | II | b-307/308-5 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | United Blood Services Chicago Illinois | December 21 1994 | Blood Products Which Were Collected From A Donor Who Had A History Of Cancer Were Distributed | 1 Unit Of Each Component | Illinois
1995-06-28 | Biologics | II | b-309-5 | Red Blood Cells | Manufacturer | The American Red Cross Blood Services Baltimore Maryland | July 20 1994 | Blood Product Collected From A Donor Living In A Malarial Endemic Area Was Distributed | 1 Unit | Maryland
1995-06-28 | Biologics | II | b-349/357-5 | A Whole Blood B Red Blood Cells C Red Blood Cells For Further Manufacture D Platelets E Platelets Expired F Platelets Pheresis G Cryoprecipitated Ahf H Fresh Frozen Plasma I Recovered Plasma | Manufacturer | American Red Cross Blood Services Rochester New York | July 19 1994 | Blood Products Which Tested Repeatedly Reactive For Antibody To Human Immunodeficiency Virus Type 1 Anti Hiv 1 Or Tested Negative For Anti Hiv 1 But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Were Distributed | A 1 Unit B 93 Units C 1 Unit D 48 Units E 5 Units F 1 Unit G 10 Units H 10 Units I 78 Units | New York Pennsylvania California Florida Maryland Switzerland
1995-06-28 | Biologics | II | b-405/406-5 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Miami Florida | June 29 1994 | Blood Products Collected From A Donor With A History Of Hepatitis Were Distributed | 1 Unit Of Each Component | Florida And California
1995-06-28 | Biologics | II | b-413-5 | Red Blood Cells | Manufacturer | American National Red Cross Mobile Alabama | June 28 1993 | Blood Product Which Was Prepared Greater Than Eight Hours After The Collection Of The Associated Whole Blood Units Were Distributedd For Transfusio | 2 Units | Alabama Florida
1995-06-28 | Biologics | III | b-358/360-5 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | American Red Cross Blood Services Rochester New York | July 19 1994 | Blood Products Which Tested Repeatedly Reactive For Antibody To Human Immunodeficiency Virus Type 1 Anti Hiv 1 Or Tested Negative For Anti Hiv 1 But Were Collected Form Donors Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Were Distributed | A 2 Units B 1 Unit C 2 Units | New York Pennsylvania California Florida Maryland Switzerland
1995-06-28 | Biologics | III | b-368-5 | Red Blood Cells | Manufacturer | American National Red Cross Fort Wayne Indiana | February 27 1993 | Blood Product Which Was Untested For Syphilis Was Distributed | 1 Unit | Indiana
1995-06-28 | Biologics | III | b-407-5 | Platelets | Manufacturer | American National Red Cross Columbus Ohio | September 21 1994 | Blood Product Corresponding To Red Blood Cells Which Were Possibly Contaminated With Gram Positive Rods Were Distributed | 1 Unit | Ohio
1995-06-28 | Biologics | III | b-414-5 | Red Blood Cells | Manufacturer | American National Red Cross Mobile Alabama | June 28 1993 | Blood Product Which Was Exposed To Unacceptable Shipping Temperatures Was Distributed | 10 Units | Alabama Florida
1995-06-28 | Biologics | III | b-417-5 | Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Omaha Nebraska | October 17 1994 | Fresh Frozen Plasma Which Was Not Frozen Within Eight Hours Of Phlebotomy Was Distributed | 2 Units | Nebraska
1995-06-28 | Devices | I | z-686/687-5 | Hewlett Packard Models M 1722 A And M 1722 B Codemaster Xl Defibrillator Monitors With External Pacing Option | Manufacturer | Hewlett Packard Mcminnville Oregon | January 19 1995 | An Intermittent Pacer Problem With The Allowed Margin Between The Measure Pacer Current Delivered And Pacer Current Shutdown Threshold Being Too Narro | 281 Units | Nationwide And International
1995-06-28 | Devices | II | z-739/740-5 | Labeling Concerning Phaco Emulsification System Handpieces Code With Non Rotatable Nosecones | Manufacturer | Storz Instrument Company St | January 23 1995 | Device Labeling Did Not Reflect A Design Change Which Made The Nosecone Non Rotatabl | Undetermined | Nationwide And International
1995-06-28 | Devices | II | z-778-5 | Airway Pressure Monitor Model Cm 5000 Sc Part 900 50 Sc 001 An Electronic Device Used To Monitor Pressurized Breathing Circuits | Monaghan Medical Corporation | Canadian Monaghan Ltd | February 29 1995 | There Is A Potential For Failure Of An Electronic Component Which Provides The Audible Alarm From The Monitor And Remote Indicato | 13 Units Were Distributed Firm Estimates None Remains On The Market | Louisiana New York North Carolina
1995-06-28 | Devices | II | z-798-5 | Agee Wristjack Multiplanar Ligamentotaxis Fracture Reduction System For Treatment Of Distal Radius Fractures | Manufacturer | Hand Biomechanics Lab Inc | April 14 1995 | Residual Metal Debris In System Guide Liner Tube Was Found In Finished Produc | Approximately 540 Units Were Distributed | Nationwide
1995-06-28 | Devices | II | z-847-5 | Spordex Culture Media Reorder Na 114 Used For Culturing Amsco's Sporden And Spordi Spore Strip Biological Indicators Which Have Been Used To Monitor Either Steam Dry Heat Or Ethylene Oxide Sterilization Processes | Manufacturer | American Sterilizer Company Erie Pennsylvania | April 27 1995 | The Firm Was Not Able To Validate The 7 Days Incubation Time Recommended On The Labelin | 1 717 Boxes 100 Units Per Box Are Subject To Recall | Nationwide And International
1995-06-28 | Devices | II | z-856-5 | Rubella Igg Elisa Serology Test Kit For The Detection Of Igg Antibodies To Rubella Antigen In Human Serum By Enzyme Linked Immunosorbent Assay 480 Determinations For In Vitro Diagnostic Use | Manufacturer | Clark Laboratories Inc | June 2 1994 | There Is A Problem With Fluctuating Performance Of The Calibrator Serum Which Could Result In False Negatives Or Equivocal Test Result | 62 Kits Were Distributed Units Were Reworked Or Destroyed | California Texas Washington State
1995-06-28 | Devices | II | z-886-5 | Infant Warmer Care Station 1131 00 00 Used To Provide A Constant Flow Of Warm Air Around The Infant | Stryker Adel Medical Ltd | Tenet Casters Inc | June 26 1992 | Potential For Wheel Casters To Brea | 605 Units Were Distributed Firm Estimates None Remains On The Market | Nationwide Mexico Canada Australia Hong Kong
1995-06-28 | Devices | II | z-920-5 | Fna 21 Fine Needle Aspiration Device Sterile Single Use Syringe And 21 Gauge Needle For The Fine Needle Aspiration Of Abnormal Palpable Masses In The Breast Trunk Or Neck | Euro Med | Lettix B | March 17 1995 | The Sterility Of The Device Has Been Compromised Due To Loss Of Package Integrit | 18 657 Devices Were Distributed | Nationwide And International
1995-06-28 | Devices | II | z-922-5 | Measles Rubeola Igg Elisa Test Kit For The Detection Of Igg Antibody To Measles Virus In Human Sera For In Vitro Diagnostic Use | Manufacturer | Clark Laboratories Inc | May 17 1995 | A Problem With A Drop In Absorbance Value Of The Calibrator Was Found Which Could Result In False Positive Test Result | 240 Kits Were Distributed | Nationwide And International
1995-06-28 | Devices | III | z-734-5 | Paramax Clinak Potassium Electrode An In Vitro Diagnostic For The Determination Of Potassium In Serum Plasma And Urine | Manufacturer | Dade Lytening Systems Inc | March 13 1995 | The Clinak Potassium Electrodes Were Shipped With A 10 Ml Bottle Of Lithium Fill Solution Instead Of A 10 Ml Bottle Of Potassium Fill Solutio | 30 Kits Were Distributed | Arkansas Florida Georgia Massachusetts Michigan Mississippi New Jersey New York Ohio Oklahoma Pennsylvania South Carolina Texas
1995-06-28 | Devices | III | z-830-5 | Herpes Simplex Virus 1 Igg Elisa Serology Test Kits For The Detection Of Igg Antibodies To Herpes Simplex Virus 1 Antigen In Human Serum By Enzyme Linked Immunosorbent Assay For In Vitro Diagnostic Use | Manufacturer | Clark Laboratories Inc | March 17 1995 | The Absorbance Values For Controls And Specimens Are Lower Than Expecte | 307 Kits Were Distributed | California Florida Louisiana Maryland Michigan New York Texas Australia Germany Israel Italy New Zealand Portugal Spain Turkey
1995-06-28 | Devices | III | z-840/841-5 | Teflon Patches Used In Cardiovascular Surgery A Teflon Felt Patch 4 X 4 Item 007836 B Teflon Fabric Patch 6 X 6 Item 000967 | Manufacturer | Bard Vascular Systems Division Haverhill Massachusetts | October 19 1993 | The Products Were Contaminated With A Mixture Of Polymerized Ethylene Oxide Formed During Eto Sterilizatio | A 65 Pieces B 380 Pieces Were Distributed | Illinois Minnesota
1995-06-28 | Devices | III | z-859-5 | Liquid Multi Analyte Calibrator Mac An In Vitro Diagnostic Product Intended To Be Used As A Calibrator And As A Daily Quality Control Product For Methods Run On The Aca Analyzer | Du Pont Medical Products | Medical Analysis Systems Mas Camarillo California | May 10 1995 | Due To Instability Of Magnesium Mg And Phosphate Phos Analytes In The Calibrator Which Can Result In Incorrect Mg And Phos Values For The Level 2 Of Mac Calibrato | 2 687 Kits Were Distributed | Nationwide And Canada
1995-06-28 | Devices | III | z-863/867-5 | Abbott Imx And Axsym Free T 4 Calibrators And Controls Used For The Quantitative Determination Of Free Thyroxine In Human Serum Or Plasma A Imx System Free T 4 Calibrators List 2222 01 6 Bottles 4 Ml Each B Imx System Free T 4 Controls List 2222 10 3 Bottles 8 Ml Each C Abbott Axsym System Free T 4 Standard Calibrators List 7 A 54 01 6 Bottles 4 Ml Each D Abbott Axsym System Free T 4 Master Calibrators List 7 A 54 30 2 Bottles 4 Ml Each E Abbott Axsym System Free T 4 Controls List 7 A 54 10 3 Bottles 8 Ml Each | Abbott Laboratories | Abbott Health Products Inc | June 5 1995 | Some Of The Free T 4 Calibrators And Controls May Have Elevated Free T 4 Levels Which Can Result In Patient Samples With Depressed Values When Using The Affected Calibrator | 5 189 Packs Were Distributed Firm Estimated That Less Than 5 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide And International
1995-06-28 | Devices | III | z-870/872-5 | Ultra Urodynamic System A Urodynamic Measurement System That Measures The Flow Volume Of Urine A Ultra Model B Ultra Lite Model C Ultra Compact Model | Cabot Medical Corporation | Surgitek Racine Wisconsin | April 4 1995 | Leakage Current Through The Emg Leads Of The Endotek Ultra System May Exceed The Underwriters Laboratories Ul Recommended Safe Level | 21 Units Were Distributed | Nationwide
1995-06-28 | Devices | III | z-887-5 | Abbott Imx Free T 3 Reagent Pack An In Vitro Diagnostic Microparticle Enzyme Immunoassay Meia For The Quantitative Measurement Of Free Triiodothyronine In Human Or Serum Or Plasma Edta And Heparin 100 Tests | Abbott Laboratories | Abbott Health Products Inc | May 26 1995 | Some Normal Patients May Show Thyroid Results Above The Reference Range When The Affected Kits Are Use | 16 822 Packs Were Distributed Firm Estimated That Less Than 5 Percent Remained On Market At Time Of Recall Initiation | Nationwide And International