## 1995-07-19
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-07-19 | Drugs | II | d-210-5 | Dilantin Kapseals 100 Mg Extended Phenytoin Sodium Capsules Usp In Bottles Of 100 An Anti Epileptic | Parke Davis | Warner Lambert Company Fajardo Puerto Rico | June 23 1995 | Product Does Not Meet Dissolution Specification | 39 510 Bottles Were Distributed | Nationwide
1995-07-19 | Drugs | II | d-211-5 | Quinidine Sulfate 200 Mg Immediate Release Tablets In Bottles Of 100 Typically Prescribed For Initial Loading Dosage Of Quinidine Prior To Maintenance Therapy With Quinidine Gluconate | Manufacturer | Mutual Pharmaceutical Company Philadelphia Pennsylvania | June 19 1995 | Product Does Not Meet Content Uniformity Specification | 1 961 Bottles Wee Distributed | Nationwide
1995-07-19 | Drugs | II | d-212-5 | Palgic D Tablets In Plastic Bottles Of 100 With Screw On Plastic Caps An Antihistamine Decongestant | Manufacturer | Sage Pharmaceuticals Inc | June 26 1995 | Product Does Not Meet Time Release Specifications For Pseudoephedrine Hcl Ingredien | 887 400 Tablets Were Distributed | Louisiana
1995-07-19 | Drugs | III | d-209-5 | Histenol Forte Tablet An Otc Multisymptom Cold Product Distributed In Bulk Containers And Repacked Into Individual 2 Tablet Packets | Manufacturer | J B Laboratories | May 26 1995 | Presence Of Small Amounts Of Ephedrine Hcl In The Pseudoephedrine Hcl Raw Materia | Firm Estimated That 200 000 Tablets Remained On Market At Time Of Recall Initiation | Nationwide
1995-07-19 | Biologics | II | b-199/200-5 | A Red Blood Cells B Recovered Plasma | Manufacturer | Carter Blood Center Fort Worth Texas | September 3 1993 | Corresponding Blood Product Was Contaminated With Bacillus Species Product A Red Blood Cells B Recovered Plasm | 5 Units Of Each Component | Texas Missouri
1995-07-19 | Biologics | II | 468-5 | S For Which Initial Reactive Test Results For Antibody To Human Immunodeficiency Virus Type 1 Anti Hiv 1 Were Not Repeated In Duplicate Were Distributed | Manufacturer | American Red Cross Blood Services Omaha Nebraska | July 11 1994 | Blood Product Corresponding To A Unit Of Platelets Contaminated With Coagulase Negative Staphylococcus Was Distributed | 1 Unit | Iowa
1995-07-19 | Biologics | III | b-461-5 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Detroit Michigan | February 8 1995 | Blood Components Which Were Collected In Expired Blood Collection Bags Were Distributed | 4 Units | Michigan
1995-07-19 | Biologics | III | b-464/465-5 | A Red Blood Cells B Platelets | Manufacturer | W E And Lela I Stewart Blood Center | July 26 1994 | Blood Products Which Tested Reactive For Syphilis By The Rapid Plasma Reagin Assay Rpr Were Distributed | A 4 Units B 1 Unit | Texas
1995-07-19 | Biologics | III | b-466-5 | Platelets | Manufacturer | W E And Lela I Stewart Blood Center | September 16 1994 | Blood Product Which Tested Initially Reactive For The Antibody To The Hepatitis B Core Antigen Anti Hbc Were Distributed | 1 Unit | Texas
1995-07-19 | Biologics | III | b-467-5 | Anti Lewisa Blood Grouping Reagent | Organon Teknika Corporation | Organon Teknika Corporation West Chester Pennsylvania | February 6 1995 | Anti Lewisa Anti Lea Blood Grouping Reagent Which Was Packaged With A Product Insert Containing An Incorrect Procedure For Use Was Distributed | 340 Units Of Lot 2347 1 390 Units Of Lot 2348 408 Units Of Lot 2349 Were Distributed | Nationwide And International
1995-07-19 | Devices | II | z-759-5 | Devices Labeled As Selector Catheters 100 Cm 5 French Left Coronary Bypass Catalog 445 | Namic U S A Corporation | Namic Caribe Inc | April 18 1995 | Mislabele | 118 Units Were Distributed 4 | California Florida Iowa Illinois Maryland Missouri Michigan Nebraska New York Washington State Ireland
1995-07-19 | Devices | II | z-848-5 | Baxter Flow Through Injectable Housing Sterile Model 93 505 When Used In Conjunction With A Baxter Temperature Probe Is A Flow Through Housing Which Allows Direct Temperature Measurement Of The Thermal Indicator At The Proximal Lumen Infusion Site | Baxter Healthcare Corporation | Baxter Healthcare Corporation Of Puerto Rico Anasco Puerto Rico | March 16 1995 | The Lots Were Found To Have Inadequate Package Seals Which May Compromise The Sterility Of The Devic | 3 072 Units Were Distributed | Arkansas California Colorado Florida Hawaii Idaho Kansas Massachusetts Maryland Minnesota North Carolina North Dakota New York Pennsylvania Virginia Wisconsin And International
1995-07-19 | Devices | II | z-857-5 | Usci 5 F Envision Angiographic Catheters Intravascular Diagnostic Catheters Used To Record Intracardiac Pressures To Sample Blood And To Introduce Substances Into The Heart And Vessels | Usci Division | Usci Manufacturing Facility Billerica Massachusetts | January 6 1995 | The Tip Segment Separates From The Proximal Shaf | 15 020 Units Were Distributed | Nationwide And International
1995-07-19 | Devices | II | z-858-5 | Usci 5 F Envision Angiographic Catheters Intravascular Diagnostic Catheters Used To Record Intracardiac Pressures To Sample Blood And To Introduce Substances Into The Heart And Vessels | Usci Division | Usci Manufacturing Facility Billerica Massachusetts | May 23 1995 | Pinhole Defects Were Found In The Pigtail Catheter | 7 140 Units Were Distributed | Nationwide And International
1995-07-19 | Devices | II | z-868/869-5 | Orthodontic Wire Distal End Mini Cutter Used By Dentists Orthodontists To Cut Different Sizes Of Dental Braces Wire Material Inside The Patient's Mouth A Model Aez Part 803 0510 Ezcurra Distal Cutter With Hold Long Handle B Model Aez Part 803 0511 Ezcurra Distal End Cutter With Hold Short Handle | Manufacturer | Ormco Corporation Glendora California | May 5 1995 | The Device's Tip Could Break In Patient's Mout | Approximately 5 700 Cutters Were Distributed | Nationwide And International
1995-07-19 | Devices | II | z-939/942-5 | Nuclear Imaging Systems A Model 1000 S B Model 2000 S C Model 1000 Xp D Mode 2000 Xp | Manufacturer | Ohio Imaging Nuclear Medicine Division Picker International Bedford Heights Ohio | February 1 1995 | The Camera's Detector Head May Drift Beyond Acceptable Limits Which Will Result In A High Force Being Placed Against The Patient's Head Or Bod | 252 Units Were Distributed | Nationwide And International
1995-07-19 | Devices | II | z-958/959-5 | Endoscope Reprocessor Ultrasonic Washer A System 83 B System 83 Plus | Manufacturer | Custom Ultrasonics Inc | April 7 1994 | Device Failed To Adequately Clean The Inner Channels Of The Reprocessed Endoscope Resulting In Contaminated Endoscope | Approximately 1 200 Units Were Distributed 8 | Nationwide And International
1995-07-19 | Devices | II | z-960/962-5 | Sterile Non Latex Surgical Gloves Indicated For Use By Surgeons As Infection Barriers During Surgical Procedures A Tactyl 1 Catalog 41070 B Tactyl 2 Catalog 51070 C Tactylon Catalog 51175 | Manufacturer | Tactyl Technologies Inc | March 21 1995 | The Gloves Did Not Receive The Full Irradiation Dose Thereby Compromising The Sterility Of The Glove | 292 Shipping Cases Were Distributed Firm Estimated That On April 14 1995 35 Shipping Cases Remained On The Market | Arizona France Sweden
1995-07-19 | Devices | II | z-963-5 | Green Maxon Absorbable Sutures Size 01 Sterile Indicated For Use In All Types Of Soft Tissue Approximation But Not In Cardiovascular Ophthalmic Or Microsurgery And Not In Neural Tissue | Davis Geck | Davis Geck Manati Puerto Rico | June 8 1995 | The Sutures Exhibit Low Out Of Package Tensile Strengt | 183 Boxes 24 Units Per Box Were Distributed Firm Estimates None Remains On The Market | Nationwide Canada
1995-07-19 | Devices | II | z-964-5 | Davis Geck Lapro Clip Ligating Clip Remover Non Sterile | Davis Geck | Mediscope Manufacturing Inc | June 2 1995 | The Grasping Hook Of The Device May Break And Become Detached From The Devic | 26 Units Were Distributed Firm Estimated That 20 Devices Remained In The Field At Time Of Recall Initiation | California Georgia Illinois North Carolina Louisiana Massachusetts
1995-07-19 | Devices | II | z-987-5 | Philips Medical Systems Sl Series Multi Energy Radiotherapy Systems | Philips Medical Systems North America Company | Philips Medical Systems Radiotherapy West Sussex England | February 19 1994 | There Is A Potential For A 10 Second Delay In The No Dose Interlock Mode If The Ion Chamber 300 Volt Supply Fails Which Could Continue Radiation For An Extra 10 Second | 82 Systems Were Distributed | Nationwide
1995-07-19 | Devices | III | z-965-5 | Lithium Serum Flame Standard For Flame Photometer | Radiometer America | Radiometer Copenhagen Copenhagen Denmark | December 7 1993 | The Standard Has A Lithium Content That Is Lower Than The Specified Nominal Valu | 8 Bottles Were Distributed | Maine Illinois Oregon
1995-07-19 | Devices | III | z-966-5 | Qualicheck 3 Quality Control Material For Abl 520 Control System Designed To Monitor The Accuracy Of Ph Blood Gas And Oximetry Measurements In The Analyzer | Radiometer America | Radiometer A S Emdruppvj 72 Copenhagen Nv Denmark | October 28 1993 | The Methb Methemoglobin Value For The Material Was Outside The Stated Control Rang | 156 Boxes Were Distributed Firm Estimates None Remains On The Market | Nationwide
1995-07-19 | Devices | III | z-967-5 | Qualicheck 4 Material For Abl 505 A Quality Control Standard For Ph Blood Gases And Electrolytes | Radiometer America | Radiometer A S Emdruppvej 72 Copenhagen Nv Denmark | August 6 1993 | The Potassium Value Is Lower Than Labele | 13 Boxes Were Distributed Firm Estimates None Remains On The Market | California And Texas
1995-07-19 | Devices | III | z-968/973-5 | Dader Thromboplastin Is Tps In Vitro Diagnostic Product For Use In Prothrombin Time Pt Determination And Prothrombin Time Based Assays | Dade International | Dade International Of Puerto Rico Aguada Puerto Rico | May 19 1995 | The Device Fails To Meet The Labeled Stability Claim After Reconstitution When Incubate | 44 161 Packages | Nationwide And International
1995-07-19 | Devices | III | z-974/979-5 | Dade Thromboplastin Is Tps In Vitro Diagnostic Product For Use In Prothrombin Time Pt Determination And Prothrombin Time Based Assays | Dade International | Dade International Of Puerto Rico Aguada Puerto Rico | June 19 1995 | The Device Fails To Meet The Labeled Stability Claim After Reconstitution When Incubate | 23 576 Packages Were Distributed | Nationwide Canada Mexico Costa Rica Chile Colombia Japan
1995-07-19 | Devices | III | z-988/989-5 | Olympic Evis Video Endoscopes Used For Endoscopic Diagnosis And Treatment Within The Lower Digestive Tract Colon And Rectum A Model Pcf 130 I B Model Pcf 130 L | Olympus America | Olympus Optical Company Ltd | May 24 1995 | The Video Endoscopes Are More Susceptible To Surges Of Electrical Current Due To A Manufacturing Defect In The Charged Coupled Device Ccd Chip Which Will Cause The Video Endoscopes To Lose Their Image | 37 Were Distributed | Nationwide And Puerto Rico