## 1995-08-02
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-08-02 | Drugs | III | d-213-5 | Chloromycetin Hydrocortisone Ophthalmic Supplied In A Package Containing Dry Ingredients In A 5 Ml Vial And A 5 Ml Vial Of Distilled Water Rx Antibiotic Antiinflammatory | The Parke Davis Division Of Warner Lambert Company | Warner Lambert Company Parke Davis Rochester Michigan | December 2 1994 | Associated Water Diluent Does Not Meet Stability Specification | 15 737 Vials Were Distributed | Nationwide
1995-08-02 | Drugs | III | d-214-5 | 10 G Elase Chloromycetin Ointment Fibrinolysin And Deoxyribonuclease Combined Bovine With Chloramphenicol Ointment Indicated For Use In The Treatment Of Infected Lesions | The Parke Davis Division Of Warner Lambert Company | Warner Lambert Company Parke Davis Rochester Miami | August 3 1994 | Product Does Not Meet Stability Specification | 33 898 Units Were Distributed | Puerto Rico The Virgin Islands The Bahamas Trinidad The Netherlands Jamaica St
1995-08-02 | Drugs | III | d-215/217-5 | Surital Thiamylal Sodium For Injection Usp A Barbiturate Intravenous Anesthetic Agent A 1 G In Packages Of 25 B 5 G In Packages Of 10 C 10 G In Packages Of 10 | The Parke Davis Division Of Warner Lambert Company | Warner Lambert Company Sterile Products Division Rochester Michigan | August 3 1994 | Product Does Not Meet Stability Specifications For Potency | 11 451 Units Were Distributed | Nationwide
1995-08-02 | Drugs | III | d-218-5 | Nitrostat Sublingual Tablets Nitroglycerin Tablets Usp 0 | Parke Davis | Warner Lambert Company Fajardo Puerto Rico | July 18 1995 | Product May Not Meet Assay Specification Through The Expiration Date | 20 691 Bottles Were Distributed | Nationwide
1995-08-02 | Drugs | III | d-219-5 | Verapamil Hydrochloride Extended Release Tablets 240 Mg In Bottles Of 500 Anti Hypertensive Under The Goldline Label | Manufacturer | Baker Norton Pharmaceuticals Miami Florida | March 30 1995 | Outer Shipping Cases Declared Incorrect 26 Month Expiration Date | 892 Bottles Were Distributed | Texas Oklahoma Washington State California Missouri Nevada Pennsylvania Florida
1995-08-02 | Drugs | III | d-220-5 | Collodion Usp 100 Ml Plastic Bottles A Topical Protectant | Mallinckrodt Baker | Mallinckrodt Baker Inc | July 21 1995 | Container Leakage | 109 Bottles Were Distributed | Alabama Kentucky Louisiana Michigan Mississippi Ohio Texas Wisconsin
1995-08-02 | Drugs | III | d-221/226-5 | Potassium Chloride Products Concentrations Of 10 And 20 In 16 Ounce And Or 128 Ounce Sizes Under The Cenci Humco And Url Labels A Potassium Chloride Solution 10 Red Cherry Flavored Sugar Free Alcohol Free 16 Ounce B Potassium Chloride Solution 10 Sugar Free Alcohol Free 16 Ounces C Potassium Chloride Solution 10 Sugar Free Alcohol Free Dye Free 16 Ounces D Potassium Chloride Solution 20 Sugar Free Alcohol Free Dye Free 16 Ounce E Potassium Chloride Oral Solution 10 Sugar Free 16 Ounces F Potassium Chloride Oral Solution 20 Sugar Free 16 Ounce | Manufacturer | H R Cenci Laboratories | June 20 1995 | Current Good Manufacturing Practice Deficiencies | Volume In Commerce 16 Oz 1 Gal 10 Red Sugar Free Alcohol Free 51 449 124 10 Sugar Free Alcohol Free 11 820 10 Sugar Free Alcohol Free Dye Free 12 504 10 Sugar Free Oral Solution 12 073 20 Sugar Free 15 416 20 Sugar Free Oral Solution 2 038 Includes All Red Not Just Those Labelled Cherry Flavored | California Connecticut Illinois New Mexico Ohio Pennsylvania Texas
1995-08-02 | Biologics | II | b-469/475-5 | A Whole Blood Cpda 1 B Red Blood Cells C Red Blood Cells Leukocytes Removed D Red Blood Cells Washed E Platelets F Platelets Pheresis G Fresh Frozen Plasma | Manufacturer | American National Red Cross Peoria Illinois | December 16 1994 | Blood Products Which Were Inadequately Irradiated Due To The Malfunction Of The Irradiation Device Were Distributed | A 2 Units B 1 698 Units C 80 Units D 5 Units E 95 Units F 1 465 Units G 1 Unit | Illinois Iowa Missouri Indiana Texas Idaho Minnesota Puerto Rico
1995-08-02 | Biologics | II | b-476-5 | Recovered Plasma | Manufacturer | Baystate Medical Center Springfield Massachusetts | January 6 1995 | Blood Products Which Were Improperly Tested For The Antibody To The Human Immunodeficiency Virus Types 1 And 2 Anti Hiv 1 2 Were Distributed | 1 Unit | Massachusetts
1995-08-02 | Biologics | II | b-479/480-5 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Boise Idaho | January 16 1995 | Blood Products Which Tested Negative For Antibody To Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Were Distributed | 1 Unit Of Each Component | Idaho California
1995-08-02 | Biologics | II | b-489/491-5 | A Red Blood Cells B Cryoprecipitated Ahf C Single Donor Plasma | Manufacturer | United Blood Services Chicago Illinois | October 12 1994 | Blood Products Which Tested Negative For Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Western Blot Indeterminate Were Distributed | A 4 Units B 1 Unit C 1 Unit | Illinois
1995-08-02 | Biologics | III | b-477/478-5 | A Red Blood Cells B Recovered Plasma | Manufacturer | Baystate Medical Center Springfield Massachusetts | January 6 1995 | Blood Products Which Were Improperly Tested For The Antibody To The Human Immunodeficiency Virus Types 1 And 2 Anti Hiv 1 2 Were Distributed | A 1 Unit B 15 Units | Massachusetts
1995-08-02 | Biologics | III | b-481-5 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Boise Idaho | September 7 1994 | A Unit Of Red Blood Cells Which Was Irradiated And Labeled With An Incorrect Expiration Date Was Distributed | 1 Unit | Montana
1995-08-02 | Biologics | III | b-482-5 | Red Blood Cells | Manufacturer | Blood Systems Inc | March 7 1995 | A Unit Of Red Blood Cells Which Was Irradiated And Labeled With An Incorrect Expiration Date Was Distributed | 1 Unit | Texas
1995-08-02 | Biologics | III | b-483-5 | Whole Blood | Manufacturer | Sacramento Medical Foundation Sacramento California | NOT-FOUND | Blood Products Labeled With An Incorrect Expiration Date Were Distributed | 3 Units | California
1995-08-02 | Biologics | III | b-484/485-5 | A Platelets B Platelets Pheresis | Manufacturer | American National Red Cross Charlotte North Carolina | January 4 1995 | Blood Products Which Were Exposed To Unacceptable Storage Temperatures Were Distributed | A 179 Units B 67 Units | North Carolina South Carolina
1995-08-02 | Biologics | III | b-486/488-5 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | American National Red Cross Toledo Ohio | June 28 1994 | Blood Products Which Were Collected From An Individual Who Admitted To Receiving Clotting Factor Concentrates Were Distributed | A 2 Units B 1 Unit C 2 Units | Ohio California
1995-08-02 | Devices | II | z-947-5 | Spectra Apheresis System Automated Blood Cell Separator | Manufacturer | Cobe Bct Inc | June 9 1995 | The Software May Allow Patient Hypovolemia Under Certain Conditions During Red Blood Cell Exchange | 1 978 Units Were Distributed | Nationwide And International
1995-08-02 | Devices | II | z-948/950-5 | Lincare Portable Liquid Oxygen Reservoirs In The Following Models A Lincare 1 | Manufacturer | Caire Inc | March 7 1995 | The Units May Develop A Broken Fill Tube And Release Liquid Oxygen During The Fill Process | A 846 Units B 598 Units C 225 Units Were Distributed | Nationwide
1995-08-02 | Devices | II | z-951/952-5 | Siredoc Recorders With Software Versions Prior To And Including Vh 1 A Siredoc 60 S 60 Recorder A 2 Channel Strip Chart Recorder That Prints Waveforms Alphanumerics Text Grids And Other Graphics From Siemens Bedside And Central Monitors B Siredoc 220 S 220 Recorder An 8 Channel Strip Chart Recorder | Manufacturer | Siemens Medical Systems Inc | April 18 1995 | On Rare Occasions The Recorders With Software Versions Prior To And Including Vh 1 May Incur Communication Error | Undetermined | Nationwide
1995-08-02 | Devices | II | z-956-5 | Usci 6 F 17 Cm Input Dilator Products Introducers And Build To Order Angiographic Catheter Kits Distributed Under The Following Item Numbers Introducers 050013 060011 065011 563311 663311 763311 863311 And 963311 And 11 Catheter Kits 258418 258443 258445 388407 550028 550029 558418 558419 558420 558443 558445 558447 558448 758422 850002 850003 850004 858418 858420 858443 And 858445 | Usci Division | Usci Manufacturing Facility Galway Ireland | January 11 1995 | The Devices May Contain Loose Particulate Debris In Their Inner Lumen | 162 465 Units Usa 66 465 Units Ireland Were Distributed | Nationwide And Ireland
1995-08-02 | Devices | II | z-1002/1003-5 | Solopak Extension Set With Air Eliminating Filter And Clamp A Sterile Rx Fluid Pathway For The Administration Of I | Solopak Medical Products | Venusa Ltd | June 30 1995 | Solvent Bond Failures At The Tubing To Filter Junction Could Cause A Fluid Leak When Used With Extended Periods Of High Pressure Such As With An Infusion Pum | 127 800 Sets Were Distributed Firm Estimated That Less Than 10 Percent Remained On Market At Time Of Recall Initiation | Nationwide
1995-08-02 | Devices | II | z-1011/1012-5 | Micro Diagnostics In Vitro Diagnostic Prepared Culture Media Plates 10 Plates Per Package A Selective Medium For The Isolation Of Haemophilus Species From Respiratory Specimens Containing Normal Oropharyngeal Flora A Haemophilus Isolation Agar Product M 1106 B Columbia Cna Agar With 5 Sheep Blood Product M 1014 | Manufacturer | Micro Diagnostics Inc | April 1 1994 | Some Of The Media Plates Labeled As Haemophilus Isolation Agar Actually Contained Columbia Cna Agar With 5 Sheep Bloo | A 180 Plates B 190 Plates Were Distributed | Illinois Georgia
1995-08-02 | Devices | II | z-1017-5 | Steam Ethylene Oxide Sterilizeable Pouch Catalog 10933 | Ongard Systems | Anchor Continental Inc | June 27 1995 | A Change In The Vendor's Adhesive Formulation For The Sealing Tape Will Not Accept Sterilization Temperatures Causing Seal Failures Which May Compromise Sterilit | 305 Cases | New Jersey
1995-08-02 | Devices | III | z-795-5 | Bipolar Endoprosthesis Hip Replacement Catalog Bp 2854 | Manufacturer | Exactech Inc | January 30 1995 | The Inner Label Contained An Error 28 Mm X 44 Mm Instead Of The Correct 28 Mm X 54 M | 30 Units Were Distributed | Illinois California Florida Massachusetts New Jersey Oklahoma Maryland Colorado Texas Minnesota Greece Korea
1995-08-02 | Devices | III | z-957-5 | Conmed Andover Medical 1910 100 Fastrace 3 Resting Electrodes Used For Ekg's | Manufacturer | Conmed Andover Medical Haverhill Massachusetts | April 28 1995 | The Product Is Incorrectly Labeled With An Incorrect Expiration Date Of 22 Months When It Should Have Shown A Shelf Life Of 9 Month | Approximately 351 000 Units Were Distributed | Nationwide And International
1995-08-02 | Devices | III | z-980/981-5 | Dade Thromboplastin Is A Lyophilized Acetone Dehydrated Rabbit Brain Thromboplastin Calcium Ions Buffers And Stabilizers For Use In Prothrombin Time Pt Determination And Prothrombin Time Based Assays A Catalog B 4213 50 B Catalog 281053 | Dade International | Dade International Of Puerto Rico Aguada Puerto Rico | May 19 1995 | The Device May Show Vial To Vial Variability Resulting In Ptt Testing Results Higher Than Expected For A Given Specime | 6 142 Packages Were Distributed From 10 27 94 To 2 17 95 | Nationwide And International
1995-08-02 | Devices | III | z-982/985-5 | Dade Actin Activated Cephaloplastin Reagent Apac For Use In The Determination Of Activated Partial Thromboplastin Time And Other Coagulation Procedures Requiring An Activated Partial Thromboplastin Reagent A Catalog 291010 B Catalog B 4218 1 C Catalog 291011 D B 4218 999 | Dade International | Dade International Of Puerto Rico Aguada Puerto Rico | June 19 1995 | The Device May Show Ptt Testing Results Higher Than Expected For A Given Specime | 4 236 Packages Were Distributed From 3 31 95 To 5 19 95 | Nationwide And International
1995-08-02 | Devices | III | z-986-5 | Storz Deluxe Posterior Vitrectomy Pack Sterile Single Patient Use Catalog Dp 4800 Used In Ophthalmic Surgery | Manufacturer | Storz Instrument Company St | May 23 1995 | The Anterior Collection Cassettes Blue Colored Were Found To Have Been Packaged In Some Of The Packages Instead Of The Posterior Collection Cassettes Yellow Colored | 212 6 Pack Cases Were Distributed Between 3 22 95 And 5 1 95 | Nationwide And International
1995-08-02 | Devices | III | z-1005/1009-5 | Micro Diagnostics In Vitro Diagnostic Prepared Culture Media Plates 10 Plates Per Package A Columbia Cna Agar With 5 Sheep Blood Product M 1014 B Bi Plate Blood Agar Macconkey Product B 3036 C Bacti Urine Plate Product Ps 100 D Bacti General Plate Product Ps 400 E Mueller Hinton Agar With 5 Sheep Blood Product L 2034 | Manufacturer | Micro Diagnostics Inc | July 1 1994 | Bacterial Contamination | A 220 Plates B 70 Plates C 1 770 Plates D 610 Plates E 50 Plates Were Distributed | Michigan Illinois Wisconsin Missouri Georgia Iowa
1995-08-02 | Devices | III | z-1010-5 | Bi Plate Cna Macconkey Agar Prepared Culture Media Plates A Selective And Differential Medium Used In The Isolation And Identification Of Gram Negative Bacilli From Stool Urinary And Other Specimens Harboring These Organisms Packaged 10 Plates Per Package | NOT-GIVEN-CLEARLY, but maybe Manufacturer | Micro Diagnostics Inc | 1994-06-24 | The Sheep Blood In The Media Hemolyzed Prior To The Expiration Date | 40 Bi Plates Were Distributed | Illinois
1995-08-02 | Devices | III | z-1013-5 | Streptococcus Selective Agar Jembec Prepared Culture Media Plates A Primary Medium For The Selective Isolation Of Streptococci From Clinical Specimens 10 Plates Per Package | Manufacturer | Micro Diagnostics Inc | February 16 1995 | The Sheep Blood In The Media Hemolyzed Prior To The Expiration Date | 150 Plates Were Distributed | Illinois
1995-08-02 | Devices | III | z-1014/1015-5 | Micro Diagnostics In Vitro Diagnostic Prepared Culture Media Plates 10 Plates Per Package A Streptococcus Selective Agar Product M 1028 B Mueller Hinton Agar With 5 Sheep Blood Product L 2034 | Manufacturer | Micro Diagnostics Inc | February 2 1995 | The Sheep Blood In The Media Hemolyzed Prior To The Expiration Date | A 700 Plates B 15 Plates Were Distributed | Illinois Ohio
1995-08-02 | Devices | III | z-1016-5 | Haemophilus Isolation Agar Prepared Culture Media Plates A Selective Medium For The Isolation Of Haemophilus Species From Respiratory Specimens Containing Normal Oropharyngeal Flora | Manufacturer | Micro Diagnostics Inc | October 26 1994 | The Horse Blood In The Media Hemolyzed Prior To The Expiration Date | 250 Plates Were Distributed | Illinois