## 1995-08-23
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-08-23 | Drugs | II | d-236-5 | Tegretol 200 Mg Carbamazepine Usp Packaged In 100 And 1000 Tablet Bottles An Rx Drug Used As An Anticonvulsant For Patients With Epilepsy And In The Treatment Of Pain Associated With Trigeminal Neuralgia Recall D 236 5 | Manufacturer | Ciba Pharmaceuticals Division Suffern New York | July 21 1995 | Product Does Not Meet Dissolution Specification | 86 130 Units Were Distributed | Nationwide
1995-08-23 | Drugs | III | d-233/234-5 | Lescol Fluvastatin Sodium Capsules 20 Mg Bottles 100 30 Tablets And 40 Mg Bottles 100 30 Tablets An Rx Drug Recall D 233 234 5 | Manufacturer | Sandoz Pharmaceuticals Corporation East Hanover New Jersey | May 24 1995 | Product Does Not Meet Dissolution Specification | Firm Estimates None Remain On Market | Nationwide Hawaii Alaska Puerto Rico
1995-08-23 | Drugs | III | d-235-5 | Sterile Cefazolin Usp Packaged In 100 Ml Glass Vials Recall D 235 5 | Manufacturer | Marsam Pharmaceuticals Inc | August 1 1994 | A Small Number Of Vials Were Mis Packaged In 10 Pack Trays Labeled 10 Gram | 10 368 Vials Were Distributed | Ohio Tennessee Kentucky New Jersey California New York Massachusetts Alabama Oklahoma Pennsylvania Illinois Minnesota Wisconsin
1995-08-23 | Drugs | III | d-237-5 | Thorazine Concentrate Brand Of Chlorpromazine Hydrochloride 100 Mg Ml In 8 Fluid Ounce Bottles An Tranquilizer Recall D 237 5 | Manufacturer | Smithkline Beecham Pharmaceuticals Cidra Puerto Rico | July 21 1995 | Incorrect Dosage Information On Primary Carto | 2 010 Bottles Were Distributed | Nationwide
1995-08-23 | Biologics | II | b-550-5 | Source Plasma Recall B 550 5 | Community Bio Resources | Community Bio Resources Inc | August 11 1994 | Blood Products Which 1 Tested Negative For Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Anti Hiv 1 2 Tested Negative For Hepatitis B Surface Antigen Hbsag But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Hbsag Or Had A History Of Hepatitis Or 3 Were Collected From Donors With A History Of Intravenous Iv Drug Use High Risk Behavio | 582 Units Were Distributed | Michigan New Jersey Austria
1995-08-23 | Biologics | II | b-551-5 | Source Plasma Recall B 551 5 | Manufacturer | Community Bio Resources Inc | August 11 1994 | Blood Product Which Tested Negative For The Hepatitis B Surface Antigen Hbsag But Was Collected From A Donor Who Previously Tested Repeatedly Reactive For Hbsag Was Distributed | 1 Unit Was Distributed | Austria
1995-08-23 | Biologics | II | b- 544/545-5 | Platelet Concentrate Platelets Pheresis Recall B 544 545 5 | Manufacturer | American Red Cross Blood Service Madison Wisconsin | November 9 1994 | Blood Products For Which Syphillis Test Results Were Misinterpreted As Negative Were Distributed | 29 Units Were Distributed | Wisconsin
1995-08-23 | Devices | II | z-1028/1030-5 | Fluoricon 300 Generators Recall Z 1028 1030 5 | Manufacturer | General Electric Medical Systems Milwaukee Wisconsin | February 22 1995 | The Diagnostic X Ray Device Was Found To Be In Noncompliance With 21 Cfr 102 | 140 Units Were Distributed | Nationwide
1995-08-23 | Devices | II | z- 1077/1085-5 | Centrysystem 3 Cartridge Blood Tubing Sets Recall Z 1077 1085 5 | Cobe Renal Care | Cobe Renal Care Inc | June 16 1995 | The Saline Administration Line Could Have An Occlusion Due To Plastic Molding Flashing Which May Not Be Detected During The Prime Or Recirculation Mode | 31 000 Units Were Distributed | Nationwide Except Washington D
1995-08-23 | Devices | II | z-1091/1094 | Guardian Sharps Collectors A Preassembled Side Entry Catalog 300475 305425 B Preassembled Horizontal Entry Catalog 300476 305428 305427 305426 C Nestable Side Entry Catalog 5449 300559 305444 305443 300482 D Nestable Horizontal Entry Catalog 305450 305452 305446 305445 Recall Z 1091 1094 | Becton Dickinson | Medsafe Oceanside California Recalled By Becton Dickinson Franklin Lakes New Jersey By Letter July 14 And 17 1995 | July 14 1995 | The Wall Thickness Fell Below The Specification Leve | 659 232 Units Were Distributed | Nationwide Canada Sinapore Europe Australia New Zealand
1995-08-23 | Devices | II | z-1109-5 | 3 M Administration Sets Model Numbers 4236 4270 8 C 195 8 C 201 8 C 220 8 C 230 8 C 230 Us 8 C 290 8 C 390 8 C 630 8 C 1230 8 C 1630 8 C 2012 8 C 4201 8 C 4209 8 C 4220 8 C 4220 Us 8 C 4222 8 C 4240 8 C 4292 Ac 2029 Ac 2308 Aj 2304 Cc 1201 Cc 1301 Cc 1501 Cc 2102 Cc 2204 Cc 2308 Cc 3217 Cc 4203 Cf 4203 Cj 1301 Cj 3316 Cj 3323 Cj 4028 Cj 4303 Ck 2304 Ck 4207 And Ck 4303 Recall Z 1109 5 | 3 M Infusion Therapy | Thai Kawasumi Bangkok Thailand | July 3 1995 | Some Roller Clamps Of The Iv Administration Allow Leakage Of Fluid Within The Set | 762 840 Sets Were Distributed | Nationwide Quantity 762 840 Sets Were Distributed
1995-08-23 | Devices | II | z-1110-5 | Microscan Dried Gram Negative Urine Combo Type 6 Panels Recall Z 1110 5 | Manufacturer | Dade International Microscan Inc | June 14 1995 | Out Of Range Quality Control Results Had Been Obtained And That An Unusual Color Had Been Observed In Some Of The Wells In The Identification Part Of The Pane | 674 Boxes Were Distributed | Arizona California Colorado Georgia Idaho Illinois Kentucky Michigan New York South Carolina Tennessee Wisconsin
1995-08-23 | Devices | II | z- 1111-5, an in-vitro diagnostic for the determination of theophylline in human serum | Innofluor Theophylline Assay System Reagents Recall Z 1111 5 An In Vitro Diagnostic For The Determination Of Theophylline In Human Serum | Manufacturer | Oxis International Inc | N A | Device Was Subject To Decrease In Net P Values Potentially Due To Trace Instabilit | 591 Kits Were Distributed | Connecticut California New York Nebraska Missouri Virginia Oklahoma North Carolina Alabama Belgium France Canada Hong Kong Germany Poland Australia India Switzerland United Kingdom
1995-08-23 | Devices | II | z-1115-5 | Abbott Vision Phenytoin List Number 1448 10 An In Vitro Diagnostic Test For The Quantititive Measurement Of Phenytoin In Anticoagulated Whole Blood Plasma Or Serum Phenytoin Measurements Used In The Diagnosis And Treatment Of Phenytoin Overdose Or In Monitoring Levels Of Phenytoin To Ensure Appropriate Therapy Recall Z 1115 5 | Manufacturer | Abbott Laboratories Diagnostic Division Abbott Park Illinois | August 4 1995 | Device Is Subject To Calibration And Or Control Failure | 497 10 Packs Were Distributed | South Dakato Kansas Germany
1995-08-23 | Devices | III | z-1076-5 code style #76530320 | Claiborne Branded Sunglasses Plano Recall Z 1076 5 Code Style 76530320 | Outlook Eyewear Company | Houkushin Corporation Osaka Japan | July 17 1995 | The Products Are Labelled Intended For General Use But The Lt Luminous Transmittance Value Is Well Below Ansi Standard | 15 407 Units Were Distributed | Nationwide International
1995-08-23 | Devices | III | z-1103-5 | Innofluor Vancomycin Calibrators An In Vitro Diagnostic Intended For Use In The Calibration Of The Innofluor Vancomycin Assay System Recall Z 1103 5 | Manufacturer | Oxis International Inc | August 19 1993 | Post Release Quality Control Real Time Testing Of Vancomycin Calibrators At Four Weeks Refrigerated Storage Indicated The Device Was Subject To Degradation Which Is Noted By An Upward Shift In Control Value | 308 Sets Were Distributed | Nationwide Belgium Canada France Poland United Kingdom
1995-08-23 | Devices | III | z-1112-5 | Innofluor Theophylline Assay System Reagents An In Vitro Diagnostic For The Determination Of Theophylline In Human Serum Recall Z 1112 5 | Manufacturer | Oxis International Inc | January 4 1994 | Device Is Subject To Stability Problem | 980 Kits Were Distributed | Nationwide International
1995-08-23 | Devices | III | z-1113/1114-5 | A Abbott Vision Cholesterol Test Pack List No | Manufacturer | Abbott Laboratories Diagnostic Division Abbott Park Illinois | July 31 1995 | Test Results Have Not Been Able To Be Obtained With Some Test Packs And An Error Code Endpoint Not Reached Provided Instea | 10 923 Packs Were Distributed | Nationwide Italy Japan Hong Kong Taiwan Germany Brazil Dominican Republic Singapore
1995-08-23 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-08-23 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-08-23 | Devices | III |  | Digital Ultrasound Systems | Hitachi Medical Corporation Of America | Hitachi Medical Corporation | N A |  |  | N/A