## 1995-10-25
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-10-25 | Drugs | II | d-007/008-6 | A Dexamethasone Sodium Phosphate Injection Usp 5 Ml Multiple Dose Vial 4 Mg Ml A Sterile Injectable Glucocorticoid B Hydroxyzine Hcl Injection Usp 10 Ml Multiple Dose Vial A Sterile Aqueous Solution Intended For Intramuscular Administration Indicated For Use In The Relief Of Anxiety And Tension | Manufacturer | Elkins Sinn Cherry Hill New Jersey | August 21 1995 | A Vial Of Dexamethasone Injection Was Packaged In A Carton Labeled Hydroxyzine Injectio | 1 886 Boxes Of Dexamethasone Were Distributed | Nationwide The Netherlands The Bahamas
1995-10-25 | Drugs | III | d-006-6 | Bumex 2 Mg Tablets In 5 000 Tablet Bottles Rx Diuretic | Manufacturer | Hoffman La Roche Inc | August 15 1995 | Product Does Not Meet Content Uniformity Specification | 357 Bottles Were Distributed | Nationwide And Puerto Rico
1995-10-25 | Drugs | III | d-009-6 | Cope Analgesic Tablets Packed In 36 And 60 Tablet Bottles Otc Promoted For Pain Relief For Tension Headaches | The Mentholatum Company | Custom Pharmaceuticals Fort Erie Ontario Canada | October 4 1995 | The Bilayer Tablets Are Exhibiting Separatio | 15 552 36 Tablet Bottles And 83 808 60 Tablet Bottles Were Distributed | Nationwide
1995-10-25 | Drugs | III | d-010-6 | Neomycin 15 Polymyxin B Sulfates 15 And Dexamethasone Ophthalmic Ointment 3 Usp All 3 | Manufacturer | Bausch And Lomb Pharmaceuticals Division Tampa Florida | September 18 1995 | Subpotency Of The Polymyxin B Sulfate Ingredien | 23 900 Units Were Distributed Firm Estimated That 10 000 Units Remained On Market At Time Of Recall Initiation | Nationwide
1995-10-25 | Devices | II | z-860/862-5 | Medical Breathing Kits A Adult Circle Breathing Circuit 4 101 Cm Hose Non Conductive Single Use B Piggyback Breathing Circuit Non Conductive Single Use C General Anesthesia System Non Conductive Single Use | Manufacturer | Vital Signs Inc | March 14 1995 | The Corrugated Hose Component Packaged In The Medical Breathing Kits May Contain Pinholes That Could Cause A Circuit To Lea | A 745 Cases 20 Bags Per Case B 3 Cases 20 Bags Per Case C 90 Cases 15 Bags Per Case Were Distributed | Nationwide
1995-10-25 | Devices | II | z-931/932-5 | Sl Series Liner Accelerators And Vericord S 3 Computer Verification And Record System A Sl Series 15 18 20 And 25 Linear Accelerators With Version 2 | Philips Medical Systems | Philips Medical Systems Crawley West Sussex England | March 3 1995 | Software | A 87 Units B 12 Units Were Distributed | Nationwide And Canada
1995-10-25 | Devices | II | z-1039/1040-5 | Unprotected Lead Wires And Patient Cables Distributed As Components Of The Following Products Tumistore Monitors For Nocturnal Tumescence Myoman Biofeedback On Incontinence Emg Diagnosis Module Pressure Emg Diagnosis Module Tumi Emg Tumescence Diagnosis Module Janus Iii Tumescence Diagnosis Module Microphor Electronystagmography Analysis System Ear Electrode Connector Cable For Iontophoresis Ear Canal Deadening Tray Clip To Attach To Dental Tray Cable Empiiop Electrode Cable For Iontophoresis Using Empi Electrodes Cable Eartrode Connector For Iontophoresis Ear Canal Deadening Ground Plate Electrode Used During Emg Testing Eng Electrode Sets Dual Treatment Lead Wire For Iontophoresis Tumisensors Expansion Sensors To Measure Tumescence Emg Module And Audio Monitor Janus Iii Emg Module And Audio Monitor For Measuring Emg Spectrum Emg Module And Audio Center For Measuring Emg Ground Reference Electrode Needle Monopolor Electrode Needles Dentaphor Dentaphor Ii Iontophor And Iontophor Ii Containing Leads For Active And Reference Electrodes Surface Return Electrode For Iontophoresis Reference Electrodes For Ear Canal Deadening Gold Cup Electrodes For Monitoring Electrode And Lead 4 Banana Plug To Tip Jack Connector Converter Lead From Banana Plug To | Manufacturer | Life Tech Inc | August 4 1995 | Labels Fail To Provide Adequate Directions For Use And The Cables And Lead Wires Pose An Unwarranted Risk Of Injury To Patients Because They Are Not Labeled To Contraindicate Use With Apnea Monitor | 65 737 Units Were Distributed As Of July 31 1995 Firm Estimated That 47 215 Units Remained On The Market | Nationwide
1995-10-25 | Devices | II | z-1072/1075-5 | Clamp And Slide Screws Components Of The 35000 Pennig Dynamic Wrist Fixator Non Sterile And The 35001 Pennig Dynamic Wrist Fixator With Distractor Module Non Sterile External Fracture Fixation Devices That Are Used To Align Distal Radius Fractures And Maintain Their Fixation Throughout The Healing Process A Pennig Dynamic Wrist Fixator Non Sterile 35000 B Pennig Dynamic Wrist Fixator With Distractor Module Non Sterile 35001 C Pennig Dynamic Wrist Fixator Clamp Screw Non Sterile 35080 D Pennig Dynamic Wrist Fixator Slide Screw Non Sterile 35081 | Ebi Medical Systems | Orthofix Srl Verona Italy | August 18 1992 | In Some Instances Conditions Have Led To Stress Corrosion Crackin | Firm Estimates None Remains On The Market | Nationwide Canada Puerto Rico
1995-10-25 | Devices | II | z-038/043-6 | Omni Switchtip System Model Hp Series A Model No | Manufacturer | Trimedyne Inc | April 6 1995 | The Disposable Fiber Tips And Handpieces Have The Potential To Heat Excessively Causing Melting And Possible Skin Burn | 555 Units Were Distributed | Nationwide Austria United Kingdom
1995-10-25 | Devices | II | z-045-6 | Rfx And Sfx X Ray Tables Model 46 262751 G 5 | Manufacturer | General Electric Medical Systems Gems Waukesha Wisconsin | May 10 1058 | The Table Top Becomes Free Floating When The Chain Fails Which May Allow It To Drop Suddenly When In The Vertical Positio | 332 Tables Were Distributed | Nationwide And International
1995-10-25 | Devices | II | z-053-6 | The Check Your Airway A Non Continuous Manual Ventilator | J I International Trading Group | Heining Cherr Rui Bi Lok China | September 18 1995 | Product Was Distributedd Without An Approved 510 K And Is Marketed As Sterile Without Adequate Documentation To Verify Sterilit | 400 Units Were Distributed | Arizona Texas
1995-10-25 | Devices | II | z-055-6 | Intelijet Disposable Tubing Set Inflow Only Catalog 7204727 Used In Conjunction With The Intelijet Fluid Management System Which Is A Microprocessor Controlled System Designed For Controlled Delivery Of Irrigation Fluid To Control Intra Articular Pressure During Athroscopic Surgery | Manufacturer | Smith Nephew Endoscopy Dyonics Inc | September 13 1995 | The Packaging Of The Product Had Visible Evidence Of Cracks Therefore Compromising The Sterility Of The Produc | 2 613 Units | Nationwide France Belgium United Arab Emerites
1995-10-25 | Devices | II | z-056-6 | Esi Laser Product Model 4210 With Cantilevered Custom Shroud Used For Laser Trimming | Manufacturer Fda Approved The Firm's Corrective Action Plan September 15 | Electro Scientific Industries Portland Oregon | September 15 1995 | The Laser Product Failed To Comply In That Gaps May Exist In The Cantilevered Custom Shroud Protective Housing That Allow Human Access To Direct Or Scattered Laser Radiation Above Class | 24 Units | Nationwide
1995-10-25 | Devices | III | z-921-5 | Cournand Quadpolar 6 Fr Electrode Catheter | Usci Division | Bard Glen Falls Manufacturing Operation Glen Falls New York | March 9 1995 | The Product Label Which States Cournand Curve Style Differs From The Actual Damato Curve Style Of The Catheter Contained In The Packag | 113 Units Were Distributed | Nationwide
1995-10-25 | Devices | III | z-001/004-6 | Verifuse Disposable Administration Sets For Intravenous Intra Arterial And Subcutaneous Infusions Of Patients Receiving Infusion Therapy A Model V 021007 B Model V 021013 C Model V 021014 D V 021015 | Manufacturer | Block Medical Inc | June 9 1995 | The Sets Leak Infusion Fluids Due To A Faulty Wel | Approximately 36 000 Units Were Distributed Firm Estimated That 10 000 Units Remained On Market At Time Of Recall Initiation | Nationwide Australia Japan The Netherlands
1995-10-25 | Devices | III | z-052-6 | Stockert Aortic Arch Cannula Product A 211 65 Indicated For Cannulating The Major Arterial Vessels During Heart Bypass Operations | Sorin Biomedical | Stockert Instrumente Gmbh Munich Germany | June 5 1995 | The Product Is Labeled Connector A 3 8 Straight Ll Up | 223 Units Firm Estimates None Remains On The Market | Kansas Minnesota Wisconsin