## 1995-12-13
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-12-13 | Drugs | II | d-035-6 | Piroxicam Capsules Usp 20 Mg In Bottles Of 100 Rx Anti Inflammatory | Manufacturer | Mutual Pharmaceutical Company Inc | October 31 1995 | Product Does Not Meet Dissolution Specification | 4 785 Bottles Were Distributed Firm Estimates None Remains On The Market | Pennsylvania
1995-12-13 | Drugs | III | d-033/034-6 | Triamcinolone A Synthetic Adrenocorticosteroid A Triamcinolone Usp B Triamcinolone Diacetate Usp Micronized | Manufacturer | The Upjohn Company Kalamazoo Michigan | October 27 1995 | Products Contain Trace Quantities Of Decabromodiphenylether Resulting From Synthesis Reagen | Two Bulk Lots | Nationwide Korea Brazil
1995-12-13 | Drugs | III | d-036-6 | Solopak Sodium Chloride Injection Usp 0 | Manufacturer | Solopak Laboratories Inc | November 29 1995 | Product Does Not Meet Ph Specification | 523 725 Vials Were Distributed Firm Estimated That 4 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide
1995-12-13 | Drugs | III | d-037-6 | Rhinocort Budesonide Nasal Inhaler 2 Mg Ml Metered 200 Doses Rx Drug For The Management Of Allergic Rhinitis | Astra Usa | 3 M Health Care Loughborough Uk | November 30 1995 | Product Does Not Meet Specification For Degradatio | 626 602 Units Were Distributed | Nationwide
1995-12-13 | Drugs | III | b-125-6 | Mephyton Phytonadione 5 Mg Tablets Rx Systemic Coagulant | Manufacturer | Michigan Tissue Bank Lansing Michigan | April 25 1995 | Human Tissues With A Change In Donor's Status From Hbsag Negative To Confirmed Positive Was Distributed | Tissues From One Donor | Nationwide And Canada
1995-12-13 | Biologics | III | b-114\115-6 | A Fresh Frozen Plasma B Cryoprecipitated Ahf | Manufacturer | Community Blood Center Of Greater Kansas City Kansas City Missouri | August 25 1995 | Blood Products Which Were Exposed To Unacceptable Storage Temperatures Were Distributed | A 729 Units B 138 Units | Missouri Kansas
1995-12-13 | Biologics | III | b-122-6 | Red Blood Cells Deglycerolized | Manufacturer | American Red Cross Blood Services Lansing Michigan | May 17 1994 | Frozen Red Blood Cells Which Were Deglycerolized Using Outdated 12 Sodium Chloride Nacl Were Distributed | 2 Units 9 | Michigan And Puerto Rico
1995-12-13 | Biologics | III | b-098-6 | Platelets | Manufacturer | Permian Basin Regional Blood Center Midland Texas | April 15 1995 | Blood Product Collected From A Donor Who Provided Incomplete Medical History Was Distributed | 1 Unit | Texas
1995-12-13 | Biologics | III | b-117-6 | Recovered Plasma | Manufacturer | Central Indiana Regional Blood Center Inc | September 7 1994 | Blood Product Found To Be Repeat Reactive For Anti Hbc Was Distributed | 1 Unit | New Jersey
1995-12-13 | Biologics | III | b-120/121-6 | A Red Blood Cells B Platelets | Manufacturer | Central Indiana Regional Blood Center Inc | October 24 1994 | Blood Products Collected From Paid Donors Were Labeled As Volunteer Donations And Distributed | A 15 Units B 1 Unit | Indiana
1995-12-13 | Biologics | III | b-123-6 | Red Blood Cells For Further Manufacture | Manufacturer | American National Red Cross Rochester New York | June 9 1994 | Blood Product Which Was Collected From A Donor Who Had Visited An Area Designated As Endemic For Malaria Was Distributed | 1 Unit 10 | Illinois
1995-12-13 | Devices | II | z-078-6 | Puncture Attachment Ua 0876 To Sector Transducer Types 8534 8535 8536 | B K Medical Systems | B K Medical A S Gentofte Denmark | September 7 1995 | The Puncture Attachment Becomes Cracked And Delaminated After Users Expose The Puncture Attachments To Multiple Autoclave Sterilization Cycle | 431 Units Were Distributed | Nationwide
1995-12-13 | Devices | II | z-188-6 | Multi Purpose Lens Cleaning Solution A Soft Contact Lens Chemical Disinfectant In 4 Ounce Or 8 Ounce Bottles Under The Following Labels Allergan Complete Wall Mart Equate Target K Mart Vision Pride Longs Payless Fred Meyer | Allergan | Allergan Inc | April 10 1995 | Product Sterility May Be Compromised Due To A Defective Filte | 1 118 4 Ounce Bottles In Kits 34 210 8 Ounce Bottles In Kits 215 514 12 Ounce Bottles In Kits Were Distributed On August 4 1995 Firm Estimated 36 Of The Product Remained On Market | Nationwide And Canada
1995-12-13 | Devices | II | z-202-6 | Olympus Au 800 Bicarbonate Reagent Used For The Quantitative Determination Of Bicarbonate Co 2 In Human Serum Used In The Diagnosis And Treatment Of Numerous Potentially Serious Disorders Associated With Changes In Body Acid Base Balance | Olympus America | Medical Analysts Systems Camarillo California | August 29 1995 | The Bicarbonate Reagent Failed Shelf Life Stability And Expiration Datin | Approximately 3 200 Bottles Were Manufactured During A Period From 8 94 To 5 95 Firm Estimated That Less Than 200 Bottles Remained On Market At Time Of Recall Initiation | Nationwide And Canada
1995-12-13 | Devices | II | z-204-6 | Kendall Curity Abdominal Pads 8 X 10 Inches Sterile | Kendall Healthcare Products Company | Kendall Healthcare Products Company Augusta Georgia | November 3 1995 | The Sterility Of The Device Has Been Compromised Due To Loss Of Package Integrit | 320 Pads Were Distributed | Nationwide And Canada
1995-12-13 | Devices | III | z-194-6 | Alko 102 0 Alko Standard A Calibrator For Dupont Dimension Ise Module Used For Calibrating Na K Ci And Tco 2 Electrode On The Dupont Ise Subsystem Dimension Chemistry | Manufacturer | Alko Diagnostic Corporation Holliston Massachusetts | December 2 1993 | The Calibrator Concentration Of Na K And Li Was Above The Specificatio | 1 440 Units Were Distributed Firm Estimates None Remains On The Market | Nationwide And International
1995-12-13 | Devices | III | z-195-6 | Alko Fluid Pack Calibrator For Corning 654 Analyzers Serves As A Calibrator For The Corning 654 Analyzer | Manufacturer | Alko Diagnostic Corporation Holliston Massachusetts | October 28 1994 | The Calibrator Concentration Levels Of Na K And Li Were Inconsistent With The Labelin | 61 Units | Nationwide And International
1995-12-13 | Devices | III | z-196-6 | Alko Fluid Pack Calibrator For Corning 634 Analyzers Used To Calibrate Clean Condition The Calcium And Ph Electrodes In The Corning 634 Analyzer | Manufacturer | Alko Diagnostic Corporation Holliston Massachusetts | May 18 1995 | The Ph Value Of The Lot Is Outside The Label Declared Value Which May Cause Measured Ph Values To Be Raise | 44 Units Were Distributed | Nationwide And International
1995-12-13 | Devices | III | z-197-6 | Alko Fluid Pack Calibrator For Nova 3 Analyzers Serves As A Calibrator For C 1 And Tc 02 Parameters On The Nova 3 | Manufacturer | Alko Diagnostic Corporation Holliston Massachusetts | October 28 1994 | The Calibrators Have Bacterial Growth In The Product Caused By The Omission Of The Preservative During The Manufacturin | 41 Units Were Distributed | Nationwide And International
1995-12-13 | Devices | III | z-198-6 | Alko Reference Housing For Avl Beckman And Dupont Ise Analyzers Used To Produce A Constant Reference Potential For Ion Selective Electrodes | Manufacturer | Alko Diagnostic Corporation Holliston Massachusetts | November 11 1994 | The Housing Leaks Around The Inlet And Exit Fittings Causing The Electrodes To Fail Calibratio | 82 Units Were Distributed Firm Estimates None Remains On The Market | Nationwide And International
1995-12-13 | Devices | III | z-199-6 | Alko Fluid Pak Calibrator For Nova 8 Analyzers Serves As A Calibrator For Ph And Ca | Manufacturer | Alko Diagnostic Corporation Holliston Massachusetts | August 31 1995 | The Ph Value Of The Lot Is Outside The Label Declared Value Which May Cause Measured Ph Values To Be Raise | 48 Units Were Distributed Firm Estimates None Remains On The Market | Nationwide And International
1995-12-13 | Devices | III | z-200-6 | Alko Standard A Calibrator For Avl 984 987 And Beckman 820 Analyzers Serve As A Calibrator For Na K Ph And Ca | Manufacturer | Alko Diagnostic Corporation Holliston Massachusetts | July 20 1995 | The Ph Value Of The Lot Is Outside The Label Declared Value Which May Cause Measured Ph Values To Be Raise | 11 Units Were Distributed | Nationwide And International
1995-12-13 | Devices | III | z-203-6 | Cyclic Amp Camp Adenosine 3 5 Monophosphate Radioimmunoassay In Vitro Diagnostic Kit 200 Tube Kit | Manufacturer | Dupont Nen Products Boston Massachusetts | March 2 1994 | Kits Contained Duplicate Buffers And No Antiser | 6 Kits Were Distributed | Kansas Connecticut New York California Canada
1995-12-13 | Devices | III | z-209/210-6 | Arterial Embolectomy Catheter And Syringe Intended For Use In Removing Arterial Emboli A Product Design 3 Emb 80 B Product Design 4 Emb 80 | Sorin Biomedical | Biosensors International Singapore | June 2 1995 | The Products Were Labeled 40 Cm When They Should Have Been Labeled 80 Cm | 518 Units Were Distributed | Nationwide Italy Korea