## 1996-12-06
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-12-06 | Drugs | II | d-027-6 | Caverject Sterile Powder Alprostadil For Injection 20 Micrograms Rx Drug For Intracavernosal Use Only | Manufacturer | The Upjohn Company Kalamazoo Michigan | November 7 1995 | Some Cartons Holding 6 Injection Systems Declare Strength As 10 Microgram | 2 736 Cartons Of 6 Injection Systems Each Were Distributed | Nationwide And Puerto Rico
1996-12-06 | Drugs | II | d-028-6 | Pyrazinamide Tablets Usp 500 Mg Rx Drug Used To Treat Active Tuberculosis | Repacker | Pharmaceutical Corporation Of America Pca Carmel Indiana Repacker | June 6 1995 | Part Of The Lot Bore Expiration Date Of 3 9 | 603 Bottles Were Distributed | New Jersey
1996-12-06 | Drugs | II | d-029-6 | Aquaphyllin Theophylline Anhydrous Usp 80 Mg 15 Ml Syrup In 16 Ounce Plastic Bottles Rx Product Indicated For The Relief And Or Prevention Of Symptoms From Asthma And Reversible Bronchospasm | Manufacturer | Ferndale Laboratories Inc | August 2 1995 | Crystallization Of The Active Ingredient Due To Shipment Without Temperature Control | 9 410 Units Were Distributed | Nationwide And International
1996-12-06 | Drugs | III | d-026-6 | Methenamine Mandelate Tablets Usp 1 | Manufacturer | Amide Pharmaceutical Inc | August 10 1995 | Product Packaged With An Incorrect Package Inser | 763 Bottles Were Distributed | Maryland Florida Texas Georgia North Carolina Texas Belarus
1996-12-06 | Drugs | III | d-030-6 | Mephyton Phytonadione 5 Mg Tablets Rx Anticoagulant | Manufacturer | Merck And Company West Point Pennsylvania | September 11 1995 | Potency Not Assured Through Expiration Dat | Approximately 43 816 Market Packages Were Distributed | Nationwide Canada Bermuda Israel
1996-12-06 | Drugs | III | d-031-6 | Neodecadron Neomycin Sulfate Dexamethasone Phosphate 0 | Manufacturer | Merck And Company West Point Pennsylvania | September 29 1995 | Superpotenc | Approximately 60 764 Packages Were Distributed | Nationwide
1996-12-06 | Drugs | III | d-032-6 | Edecrin Ethacrynate Sodium 50 Mg Tablets Rx Diuretic | Manufacturer | Merck And Company West Point Pennsylvania | October 23 1995 | Some Tablets Were Embossed With Code 65 Instead Of 90 | Approximately 6 391 Market Packages Were Distributed | Nationwide
1996-12-06 | Biologics | II | b-124-6 | Red Blood Cells | Manufacturer | Topeka Blood Bank Inc | September 28 1994 | Blood Product Collected From A Donor Taking The Drug Proscar Was Distributed | 1 Unit | Massachusetts
1996-12-06 | Biologics | III | b-118-6 | Red Blood Cells | Manufacturer | Central Indiana Regional Blood Center Inc | December 28 1994 | Blood Product Containing Anti E Antibodies But Labeled As Negative For The Unexpected Antibodies Was Distributed | 1 Unit | Indiana
1996-12-06 | Biologics | III | b-119-6 | Red Blood Cells | Manufacturer | Marquette General Hospital Inc | February 1 1994 | Blood Product Labeled With An Incorrect Expiration Date Was Distributed | 1 Unit | Michigan
1996-12-06 | Devices | II | z-166/167-6 | Abbott Imx And Axsym System Controls Used For The Verification Of The Calibration Of The Imx System And The Axsym System When Used For The Quantitative Determination Of Prostate Specific Antigen Psa In Human Serum Used As An Aid In The Management Of Prostate Cancer Patients A Catalog 2245 10 B Catalog 7 A 49 10 | Abbott Laboratories | Abbott Health Products Inc | October 24 1995 | The Controls Yield Low Values Which May Lead To Invalid Run | 819 Imx And 323 Axsym Controls Were Distributed Firm Estimated That 25 Percent Of The Product Remained On Market At Time Of Recall Initiation | Nationwide And International
1996-12-06 | Devices | II | z-168-6 | Software Version 1 | Manufacturer | Johnson Johnson Clinical Diagnostics Rochester New York | July 28 1995 | A Software Indexing Error Can Occur Following A Specific Sequence Of Operational Events During The Recovery From A Mechanical Shutdown Of The Sampling Modul | 85 Analyzers Were Distributed | Nationwide And International
1996-12-06 | Devices | II | z-169-6 | Concha 1500 Sterile Water 1650 Ml Reservoir Used With The Concha Column Heated Humidification System | Hudson Rci | Hudson Rci Arlington Heights Illinois | August 24 1995 | Product's Sterility May Be Compromise | 360 Bottles Were Distributed Firm Estimates None Remains On The Market | Pennsylvania
1996-12-06 | Devices | II | z-170-6 | Sps 550 Single Patient Dialysis System | Manufacturer | Baxter Healthcare Corporation Largo Florida | October 25 1995 | The Blood Pump Relay May Fail Which Could Disable Critical Instrument Alarm | 155 Units Were Distributed | Nationwide And International
1996-12-06 | Devices | II | z-171/182-6 | Ecg Monitors With Software Versions 1 | Spacelabs Medical | Spacelabs Medical Inc | July 20 1995 | Devices Contain Defective Software Causing Incorrect Waveform Displa | 12 601 Were Distributed | Nationwide And International
1996-12-06 | Devices | II | z-189-6 | Lambda Photometrics Q Switched Ruby Laser System Used In Dermatology | Manufacturer Fda Approved The Firm's Corrective Action Plan November 17 | Polytec Pi Inc | November 17 1995 | Noncompliance With Performance For Laser Products In That The Operator's Manual Lacked Adequate Calibration Procedure | 79 Units | Nationwide And International
1996-12-06 | Devices | III | z-161/162-6 | Stratus Ii Prolactin Fluorometric Enzyme Immunoassay A Catalog B 5700 53 B Catalog B 5700 53 S | Manufacturer | Dade International Inc | August 29 1995 | The Labeling Contains An Incorrect Code 09 For The Metric Assay Parameters The Correct Code Is | 270 Kits Were Distributed | Nationwide And International
1996-12-06 | Devices | III | z-163/165-6 | Abbott Axsym System Ck Mb Standard Calibrators Master Calibrators And Controls Used For Calibration And Verification Of Calibration Of The Axsym System When Used For The Microparticle Enzyme Immunoassay Quantitative Measurement Of The Mb Isoenzyme Of Creatine Kinase Ck Mb In Human Serum Or Plasma To Assist In The Diagnosis Of Acute Myocardial Infarction A Catalog 7 A 57 01 B Catalog 7 A 57 30 C Catalog 7 A 57 10 | Manufacturer | Abbott Laboratories Abbott Park Illinois | October 6 1995 | The Calibrators And Controls Were Shipped Under Ambient Temperature Conditions Instead Of On Dry Ice Possibly Resulting In A Decrease In Potency And An Increase In The Reported Ck Mb Valu | 194 Standard Calibrators 104 Master Calibrators And 496 Controls Were Distributed Firm Estimated That 50 Percent Of The Product Remained On The Market At Time Of Recall Initiation | Nationwide And International
1996-12-06 | Devices | III | z-183/187-6 | Amplatz Goose Neck Snare Kit Including Catheter A Catalog Gn 500 B Gn 1000 C Gn 1500 D Gn 2500 E Gn 3500 | Microvena Corporation | Angion Corporation Now B | October 2 1995 | The Catheters Within These Snare Kits Degrade Over Time Becoming Brittl | 3 869 Units Kits Were Distributed | Nationwide And International
1996-12-06 | Devices | III | z-190-6 | Alko Type 1 Buffer For Avl Ph Blood Gas Analyzers Serves As A Calibrator For Ph | Manufacturer | Alko Diagnostic Corporation Holliston Massachusetts | January 26 1995 | The Ph Value Of The Lot Is Outside The Label Declared Value Which May Cause Measured Ph Values To Be Falsely Depresse | 846 Units Were Distributed | Nationwide And International
1996-12-06 | Devices | III | z-191-6 | Alko 7 | Manufacturer | Alko Diagnostic Corporation Holliston Massachusetts | December 2 1993 | The Ph Value Of The Lot Is Outside The Label Declared Value Which May Cause Measured Ph Values To Be Falsely Depresse | 686 Units Were Distributed | Nationwide And International
1996-12-06 | Devices | III | z-193-6 | Alko 7 | Manufacturer | Alko Diagnostic Corporation Holliston Massachusetts | February 24 1995 | Bacteria Caused The Ph Value To Be Outside The Label Declared Value Which May Cause Measured Ph Values To Be Raise | 1 706 Units Were Distributed | Nationwide And International