## 1996-02-14
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-02-14 | Biologics | II | b-184/185-6 | Red Blood Cells B Frozen Plasma | Manufacturer | American Red Cross Dedham Massachusetts | February 28 1991 | Blood Products Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Western Blot Indeterminate Were Distributed | 1 Unit Of Each Component | Massachusetts California
1996-02-14 | Biologics | II | b-189-6 | Red Blood Cells | Manufacturer | Saint Joseph Hospital Blood Bank Denver Colorado | March 15 1995 | Blood Product Which Tested Negative For The Antibody To The Human T Lymphotropic Virus I Anti Htlv 1 But Was Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Htlv 1 Western Blot Ripa Indeterminate Was Distributed | 1 Unit | Colorado
1996-02-14 | Biologics | II | b-190-6 | Platelets | Manufacturer | Michigan Community Blood Center Grand Rapids Michigan | April 13 1995 | Blood Product Not Processed According To Gmp's Unvalidated Centrifuge Was Distributed | 1 Unit | Michigan
1996-02-14 | Biologics | II | b-193/197-6 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Cryoprecipitated Ahf E Recovered Plasma | Manufacturer | American Red Cross Blood Services Louisville Kentucky | February 23 1995 | Blood Products Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 And Was Improperly Reentered Were Distributed | A 13 Units B 7 Units C 2 Units D 1 Unit E 10 Units | Kentucky Indiana California Switzerland
1996-02-14 | Biologics | II | b-208-6 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Syracuse New York | June 1 1995 | Blood Product Which Tested Repeatedly Reactive For Antibody To The Hepatitis B Core Antigen Anti Hbc Was Distributed | 1 Unit | New York
1996-02-14 | Biologics | II | b-215-6 | Platelets Pheresis | Manufacturer | Blood Systems Inc | February 3 1995 | Blood Product Which Was Labeled With An Extended Expiration Date Was Distributed | 1 Unit 6 | North Dakota
1996-02-14 | Biologics | II | b-222-6 | Platelets Platelets Pooled | Manufacturer | Bloodcare Dallas Texas | September 12 1995 | Blood Products Labeled With An Extended Expiration Date Were Distributed | 28 Platelets Units And 1 Pooled Platelets Unit | Texas
1996-02-14 | Biologics | III | b-191-6 | Fresh Frozen Plasma | Manufacturer | Topeka Blood Bank Inc | February 16 1995 | Blood Product Labeled With An Incorrect Abo Rh Group Label And Unit Number Was Distributed | 1 Unit | New Jersey
1996-02-14 | Biologics | III | b-198-6 | Red Blood Cells | Manufacturer | Michigan Community Blood Center Grand Rapids Michigan | September 8 1994 | Unlicensed Blood Product Was Distributedd Interstat | 1 Unit | Pennsylvania
1996-02-14 | Biologics | III | b-199/200-6 | A Whole Blood B Red Blood Cells | Manufacturer | Michigan Community Blood Center Grand Rapids Michigan | June 9 1993 | Blood Products Which Were Labeled With An Extended Expiration Date Were Distributed | 4 Units Of Each Component | Michigan
1996-02-14 | Biologics | III | b-203-6 | Fresh Frozen Plasma | Manufacturer | Coffee Memorial Blood Center Inc | September 23 1994 | Fresh Frozen Plasma Which Was Not Frozen Within Eight Hours Of Phlebotomy Was Distributed | 1 Unit | Texas
1996-02-14 | Biologics | III | b-216-6 | Red Blood Cells Irradiated | Manufacturer | Blood Systems Inc | March 11 1994 | Blood Product Which Was Labeled With An Extended Expiration Date Was Distributed | 1 Unit | North Dakota
1996-02-14 | Biologics | III | b-217-6 | Autologous Red Blood Cells | Manufacturer | Blood Systems Inc | August 25 1994 | Autologous Blood Product Which Tested Positive For Syphilis Was Distributedd Without A Biohazard Labe | 1 Unit 8 | North Dakota
1996-02-14 | Biologics | III | b-218-6 | Platelets Pheresis | Manufacturer Firm Initiated Recall Ongoing Distribution California Quantity 6 Units Reason Blood Product Untested For Syphilis | Houchin Community Blood Bank Bakersfield California | N A | Blood Product Untested For Syphilis Was Distributed | 6 Units | California
1996-02-14 | Biologics | III | b-219/221-6 | A Whole Blood B Red Blood Cells C Platelets Pheresis | Manufacturer | Lifeblood Mid South Regional Blood Center Memphis Tennessee | October 19 1994 | Unlicensed Blood Products Were Shipped Interstat | A 3 Units B 36 Units C 38 Units | Mississippi Arkansas Missouri Colorado
1996-02-14 | Devices | II | z-201-6 | Gibeck Brand 3 Liter Latex Breathing Bags Part 8311 130 | Gibeck | Precision Latex Inc | August 14 1995 | The Adhesive Backed Vinyl Label Applied Over The Neck Of The Bag To Restrain The Neck Of The Bag From Stretching May Not Be Adequately Securing The Bag To The Bushin | 114 493 Bags Were Distributed | Nationwide Spain Canada
1996-02-14 | Devices | II | z-342/343-6 | Kinematic Ii Instrument Intramedullary Alignment Rod Used In Femoral Preparation To Determine The Correct Angle Of The Femoral Cut Prior To The Insertion Of The Kinemax Knee A Catalog 6784 8 110 Left Knee B Catalog 6784 8 120 Right Knee | Manufacturer | Howmedica Inc | July 12 1995 | The Alignment Rod For The Right Knee Is Labeled As Left And Vice Vers | A 22 Units B 12 Units Were Distributed Firm Estimated That A 7 Units B 3 Units Remained On Market At Time Of Recall Initiation | International
1996-02-14 | Devices | II | z-359-6 | Acrysof Intraocular Lenses Model Ma 60 Bm Recall Z 359 6 | Alcon Laboratories | Alcon Laboratories Inc | October 25 1995 | Granular Haze Was Observed In Some Lenses From This Lot After The Lenses Had Been Implante | Recall Resulted In The Retrieval Of 55 Unimplanted Lenses Distributed Between Approximately August 8 And October 25 1995 Thirty 30 Lenses Were Implanted Prior To Initiation Of The Recall | Alabama California Connecticut Delaware Iowa Indiana Kentucky Michigan North Carolina North Dakota New Jersey New York Pennsylvania South Carolina Texas Utah Washington International
1996-02-14 | Devices | II | z-382/384-6 | Diagnostic Ultrasound Imaging Systems Used For Diagnostic Examinations Of Patients A Model No | Acoustic Imaging Technologies Corporation | Texas Instruments Inc | August 24 1995 | The Programmable Array Logic Pal Circuitry Is Defective Causing Overheating Of The Transducer Which Might Cause Patient Burn | 342 Units Were Distributed | Nationwide And International
1996-02-14 | Devices | II | z-387/388-6 | Diagnostic Ultrasound Imaging Systems A Model No | Manufacturer | Acoustic Imaging Technologies Corporation Phoenix Arizona | September 28 1995 | Devices Contain A Flammable Air Filter Which May Ignite If A Capacitor Overheats And Melts On The Printed Circuit Board Located Above The Air Filter Which Might Result In Patient Or Operator Burns Or Smoke Inhalation Injur | 444 Units Were Distributed | Nationwide And International
1996-02-14 | Devices | II | z-394/401-6 | Beam Limiting Devices A Model Blf 75 A B Model Bla 150 A C Model Bla 550 A D Model Bla 151 A E Model Tf Ua 2 L F Model Tf 10 Ml 2 G Model Tf 35 S H Model No | Manufacturer Fda Approved The Firm's Corrective Action Plan February 5 | Toshiba America Medical Systems Inc | February 5 1996 | The Diagnostic X Ray Devices Were Found To Be In Noncompliance With The Federal Performance Standard For Diagnostic X Ray Systems And Their Major Components In That The Glass Utilized In The Rear Surface Mirror Becomes Tinted And Deteriorated Due To The Cumulative Effects Of Radiation Exposur | 305 Units | Nationwide
1996-02-14 | Devices | II | z-403-6 | Trojan Ultra Texture Latex Condoms Lubricated For Mutual Pleasure With Special Receptacle End In 12 Unit Cartons | Carter Wallace | Carter Wallace Inc | August 23 1995 | The Condoms Failed The Astm Water Leak Tes | 630 Cases 12 Boxes Per Case 12 Units Per Box Were Distributed Firm Estimates None Remains On The Market | Alabama Connecticut Florida Georgia Illinois Maine Michigan New Hampshire New Jersey New York North Carolina Ohio Pennsylvania Rhode Island Tennessee Virginia
1996-02-14 | Devices | II | z-404/405-6 | A Surgical Irrigators Models Si 1000 And Si 2000 B Pressure Infusers Models Ad 50 Ad 1000 Ad 1500 Ad 2000 Blood Infusion Devices | Manufacturer | Alton Dean Medical Inc | January 3 1995 | Two Of The Pressure Relieving Safe Guards Diaphragm And Pressure Relieving Valve Were Not Included In The Device | 892 Devices Were Distributed | Nationwide And International
1996-02-14 | Devices | II | z-406/407-6 | Ortho Brain Thromboplastin Used For Deficiencies Of Clotting Factor Activity A Product Code 732470 B Product Code 732400 | Manufacturer | Ortho Diagnostic Systems Inc | December 16 1993 | The Wrong International Sensitivity Index Isi Was Assigned To The Above Lot | 454 Kits Were Distributed | Nationwide And International
1996-02-14 | Devices | II | z-431-6 | Optical Trigger Probe Used For Quality Control Measurements In A Laboratory Inspection Room Environment | Manufacturer Fda Approved The Firm's Corrective Action Plan January 15 | Surface Measurement Inc | January 15 1996 | The Laser Product Failed To Comply With 21 Cfr 104 | 1 Unit | Minnesota
1996-02-14 | Devices | II | z-432-6 | Class Iiib Laser Profiler Used To Test Miles Transmitters And Target Vests | Manufacturer Fda Approved The Firm's Corrective Action Plan November 9 | Roc Associates Inc | November 9 1995 | The Laser Product Failed To Comply With The Federal Laser Product Performance Standard Protective Housing Requirements 21 Cfr 104 | 4 Units | Nationwide
1996-02-14 | Devices | III | z-370-6 | Gemini Blood Solution Non Vented Iv Administration Sets Used With The Gemini Pc 2 Tx Volumetric Infusion Pump | Imed Corporation | Arplamed S | October 25 1995 | The Non Vented Iv Sets Are Mislabeled As Vented Iv Set | 224 Cases 10 Sets Per Case Were Distributed | Arizona California Colorado Idaho Kansas Louisiana Nevada New York Oregon Pennsylvania Tennessee Texas Virginia Washington State Wisconsin Wyoming Mexico
1996-02-14 | Devices | III | z-402-6 | Zoll Ac Power Charger Used With Zoll Defibrillators Pacemakers Model Numbers Pd 1400 D 1400 D 2000 And 1600 | Manufacturer | Zoll Medical Corporation Burlington Massachusetts | December 21 1995 | The External Case Of The Ac Power Charger May Exhibit Localized Melting Typical Of Excessive Heat Which Has Been Attributed To A Short Circuit Between The Power Etch Of The Circuit Board And The Conductive Coated Internal Case Surfac | 2 535 Units Were Distributed 14 | Nationwide And International