## 1996-02-28
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-02-28 | Drugs | III | d-087-6 | Guaifenesin Codeine Phosphate Cough Syrup 100 Mg 10 Mg Per 5 Ml Otc Schedule V Narcotic Expectorant Cough Suppressant In 1 Pint Bottles Under The Following Labels Mgp Mytussin Ac Cough Syrup Gg Glydeine Cough Syrup | Manufacturer | Morton Grove Pharmaceuticals Inc | February 20 1996 | Potency Of The Codeine Ingredient Not Assured Through Expiration Dat | 6 765 Pints Were Distributed Firm Estimated Less Than 200 Pints Remained On Market At Time Of Recall Initiation | Nationwide
1996-02-28 | Drugs | III | d-088-6 | Goldline Brand Of Potassium Chloride Extended Release Tablets Usp 750 Mg In 100 Count Bottles | Zenith Goldline Pharmaceuticals Formerly Goldline Labs | Upsher Smith Laboratories Inc | November 14 1995 | Package Insert Incorrectly Declares Color Of Tablets As Yellow Instead Of Whit | Approximately 3 800 Boxes Were Distributed | Nationwide
1996-02-28 | Drugs | III | d-089-6 | Cetacaine Topical Anesthetic Spray In 56 G | Manufacturer | Cetylite Industries Inc | November 13 1995 | Potency Of Tetracaine Ingredient Not Assured Through Expiration Dat | Approximately 12 249 Units Were Distributed Firm Estimated That 7 249 Units Remained On Market At Time Of Recall Initiation | Nationwide And International
1996-02-28 | Drugs | III | d-090-6 | Arthritis Hot Pain Relief Cream In A 3 Ounce Metal Tub Otc Analgesic | Thompson Medical Company | G W Laboratory Inc | September 18 1995 | Subpotenc | 73 896 Tubs Were Distributed Firm Estimates None Remains On The Market | Nationwide
1996-02-28 | Drugs | III | d-091-6 | Sublimaze Fentanyl Citrate Rx Class Ii Controlled Drug For Injection A Narcotic Analgesic | Janssen Pharmaceutica | Akorn Manufacturing Inc | November 28 1995 | Product Does Not Meet Impurity Specification | Lot 53 B 007 21 965 Ampoules 4 393 Cartons Lot 53 D 020 23 795 Ampoules 4 759 Cartons Lot 54 E 100 28 155 Ampoules 5 631 Cartons Were Distributed | Nationwide And Puerto Rico
1996-02-28 | Biologics | II | b-227/233-6 | A Red Blood Cells B Platelet Concentrate C Fresh Frozen Plasma D Cryoprecipitated Ahf E Recovered Plasma F Red Blood Cells For Further Manufacture G Platelets For Further Manufacture | Manufacturer | American Red Cross Blood Services Portland Oregon | August 10 1994 | Blood Products Which Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 Or The Hepatitis B Surface Antigen Hbsag Or Tested Negative For Anti Hiv 1 Or Hbsag But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Or Hbsag Were Distributed | Numerous Units | Washington State Oregon Alaska Florida Illinois New Jersey New York California Switzerland
1996-02-28 | Biologics | II | b-236/237-6 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Tulsa Oklahoma | April 20 1994 | Blood Product Collected From A Donor Currently Taking The Drug Proscar Was Distributed | 1 Unit Of Each Component | A Oklahoma B California
1996-02-28 | Biologics | II | b-240/241-6 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | Bloodcare Dallas Texas | August 30 1995 | Blood Products Which Tested Negative For The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hcv Were Distributed | 1 Unit Of Each Component | Texas
1996-02-28 | Biologics | II | b-242-6 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Tulsa Oklahoma | February 23 1995 | Blood Product Collected From A Donor Who Had Traveled To An Area Designated As Endemic For Malaria Was Distributed | 1 Unit | Oklahoma
1996-02-28 | Biologics | II | b-252/253-6 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Louisville Kentucky | July 12 1995 | Blood Products Which Tested Initially Reactive For The Hepatitis B Surface Antigen Hbsag And Were Not Retested In Duplicate Were Distributed | 1 Unit Of Each Component | Indiana
1996-02-28 | Biologics | III | b-243-6 | Red Blood Cells | Manufacturer | East Texas Blood Center Nacogdoches Texas | August 9 1995 | Blood Product Labeled With An Extended Expiration Date Was Distributed | 1 Unit | Texas
1996-02-28 | Biologics | III | b-251-6 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Syracuse New York | May 10 1995 | Blood Products Stored At An Unacceptable Temperature Were Distributed | 5 Units | New York
1996-02-28 | Devices | II | z-441/442-6 | Pacemaker Leads And Adapter Sleeves A Accufix Tm Pacing Lead Models 033 201 And 033 202 Accufix Tm Ii Dec Pacing Lead Model 033 212 Encor R Pacing Lead Models 033 301 330 158 330 258 Encor R Dec Pacing Lead Models 033 159 330 443 033 448 Encor R Epicardial Pacing Lead Model 033 452 Enguard R Pacing Lead Models 040 068 040 068 65 Hiflex Tm Pacing Lead Model 033 458 Laserdish Tm Pacing Lead Models 033 441 033 442 033 444 B Adapter Sleeves Models 033 260 033 320 331 220 331 270 331 300 | Telectronics Pacing Systems | Telectronics Pacing Systems Miami Lakes Florida | January 10 1996 | The Devices Have Been Manufactured By The Firm Knowingly Using Non Conforming Polyurethane Tubing Which Is Used As Insulation Material On The Leads And Adapter | A 1 274 Unimplanted Units In The Us B 117 Unimplanted Units In The Us And 30 034 Units Foreign | Nationwide Canada France Germany Australia
1996-02-28 | Devices | II | z-449/452-6 | Heat And Moisture Exchangers Used To Preserve Humidity And Tracheal Cellular Morphology Reduction Of Water And Heat Losses Through Bronchopulmonary Tree And Telp To Prevent Thickened Secretions Mucosal Damage And Changes In Lung Function During Long Term Anesthesia Or Ventilatory Support A Catalog 002840 B Catalog 002840 P C Catalog 002841 D Catalog Vvc 1062 | Manufacturer | Intertech Fort Myers Florida | December 18 1995 | The Foam Media Can Separate From Its Frame And Block The Breathing Circuit Airwa | Undetermined | Nationwide
1996-02-28 | Devices | II | z-453-6 | Bronchial Double Lumen Tube Set Used In Lung Surgery | Rusch | Rusch Inc | October 25 1995 | The Bronchial And Tracheal Funnels Were Incorrectly Assemble | 78 Sets Were Distributed | Nationwide And Canada
1996-02-28 | Devices | II | z-458/470-6 | Valleylab E 2530 Series Sterile Disposable Flexible Argonplus Electrodes And E 2580 Series Sterile Disposable Retractable Laparoscopic Argonplus Electrodes A E 2530 3 3 Inch Coagulation Only Electrode B E 2530 6 6 Inch Coagulation Only Electrode C E 2530 9 9 Inch Coagulation Only Electrode D E 2530 28 11 Inch Coagulation Only Electrode E E 2530 36 14 Inch Coagulation Only Electrode F E 2580 28 11 Inch Blade Electrode G E 2580 36 14 Inch Blade Electrode H E 2581 28 11 Inch Flat L Electrode I E 2581 36 14 Inch Flat L Electrode J E 2582 28 11 Inch Sharp Needle Electrode K E 2582 36 14 Inch Sharp Needle Electrode L E 2583 28 11 Inch Blunt Needle Electrode M E 2583 36 14 Inch Blunt Needle Electrode | Manufacturer | Valleylab Inc | January 19 1996 | The Slide Adjustment On The E 2520 H Disposable Handset Used With These Devices Is Not Adequately Described In The Labeling To Prevent A Potential Risk To Safety In That The Electrodes Can Be Pushed Forward On The Nose Of The Handset Causing A Break In The Gas Seal Between The Electrode And The Handset Which Can Pose A Potential For An Unintended Current Path At The Site Of The Leak With A Risk Of Burns To The Patient Or Surgeo | 16 960 Units Were Distributed | Nationwide And International
1996-02-28 | Devices | II | z-471-6 | Umbilical Cable Part 72 20 02 296 For The Automix 3 3 Compounder | Clintec Nutrition Company | Baxter Healthcare Largo Florida Compounder V Tron Electronics Corporation South Attleboro Massachusetts Cable | January 23 1996 | A Faulty Cable Causes The Pump Motors To Run Out Of Sequence Which May Result In Incorrectly Prepared Admixture | 1 800 Pumps Were Distributed | Nationwide And International
1996-02-28 | Devices | III | z-413/414-6 | Asnis 2 Guided Screw System A Asnis 2 Guided Screw 5 Mm Diameter X 60 Mm Length Catalog 3550 4 060 B Asnis 2 Guided Screw 5 Mm Diameter X 36 Mm Length Catalog 3550 4 036 | Manufacturer | Howmedica Inc | September 18 1994 | The Labels For The Screws Were Switched During Packagin | A 41 Units B 29 Units Were Distributed Firm Estimates None Remains On The Market 10 | A California New Jersey New York West Virginia South Carolina Georgia Florida Ohio Indiana Michigan Missouri Kansas Colorado Puerto Rico Ireland Argentina B New Jersey New York North Carolina Georgia Florida Indiana Arizona Alabama Oregon Washington State Ireland
1996-02-28 | Devices | III | z-415-6 | Hex Drive Self Tapping Bone Screw 6 | Manufacturer | Howmedica Inc | September 8 1994 | The Package Label Does Not Reflect The Package Content | 46 Units Were Distributed Firm Estimates None Remains On The Market | Massachusetts Virginia Indiana Texas Arizona California Rhode Island New Jersey Pennsylvania Maryland West Virginia South Carolina Florida Indiana Michigan Nebraska Texas Ireland
1996-02-28 | Devices | III | z-416-6 | Small Alta Tibial Countersink Used In Orthopedic Surgery | Manufacturer | Howmedica Inc | April 17 1995 | The Package Label Does Not Reflect The Package Content | 9 Units Were Distributed Firm Estimates None Remains On The Market | New Jersey Oklahoma Alabama Arkansas
1996-02-28 | Devices | III | z-417-6 | With The Label Date Code Of 90312 Is Labeled As A Small Alta Tibial Countersink But It Actually Contains A Large Alta Femoral Countersink | Manufacturer | Howmedica Inc | April 17 1995 | The Package Label Does Not Reflect The Package Content | 5 Units Were Distributed Firm Estimates None Remains On The Market | Illinois Colorado