## 1996-04-03
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-04-03 | Drugs | II | d-098-6 | Spacol Tablets Rx Anti Cholinergic Agent In Bottles Of 100 Packaged Under The Dayton Laboratories Label | Propharma | Wildflower Pharmacal Corporation Mineola New York | March 12 1996 | Product Does Not Meet Content Uniformity Specification | Firm Estimates None Remains On Market | Florida Puerto Rico
1996-04-03 | Drugs | II | d-101-6 | Tmp Smz Oral Suspension Rx Synthetic Antibacterial Combination Product Repackaged In The Following Bottle Sizes 100 Ml 120 Ml 150 Ml 180 Ml And 200 Ml | Repacker | Compumed Inc | February 19 1996 | Subpotency Of Trimethoprim Ingredien | 364 Bottles Were Distributed Firm Estimates None Remains On The Market | Louisiana
1996-04-03 | Drugs | III | d-102-6 | Oxygen Usp Refrigerated Liquid In A Cryogenic Cylinder | Manufacturer | National Welders Supply Company Inc | March 23 1996 | Unit Not Tested For Purity And Identit | 1 Cylinder Was Distributed And Retrieved | Tennessee
1996-04-03 | Drugs | III | d-099/100-6 | A Urodol Caplets Containing Phenazopyridine Hcl Usp 200 Mg Per Caplet Used To Treat Urinary Tract Infections In Bottles Of 100 And 30 Caplets Rx Under The Dayton Laboratories Label B Serenitas Tablets In Bottles Of 60 Gives Indications For Aiding In Sleep Otc Under The Propharma Label | Propharma | Wildflower Pharmacal Corporation Mineola New York | March 12 1996 | Urodol Product Do Not Meet Assay And Content Uniformity Specification | Firm Estimates None Remains On The Market | Florida And Puerto Rico
1996-04-03 | Drugs | III | d-103-6 | Do Not Meet Content Uniformity Specifications | Manufacturer | Banner Pharmacaps Inc | November 12 1995 | Discrepancy In Label And Carton Text In Directions Sectio | 12 492 Bottles Were Distributed | New York Arizona
1996-04-03 | Drugs | III | d-104-6 | Bactocill Oxacillin Sodium For Injection 1 Gram In 20 Ml Vial Rx Antibiotic | Manufacturer | Smithkline Beecham Pharmaceuticals Piscataway New Jersey | December 18 1995 | Marginally Subpoten | 15 380 Vials Were Distributed | Illinois
1996-04-03 | Drugs | III | d-105-6 | North O H Pak Alcohol Wipes Wound Cleanser Antiseptic Containing 70 Isopropyl Alcohol Packaged For North Health Care 100 Foil Packed Wipes Per Carton | North Health Care | Professional Disposables Inc | August 24 1995 | Some Intermediate Packages Were Mislabeled As North O H Cold A Rest Nasal Decongestant Pain Reliever Tablet | 57 Cartons Were Distributed | Hawaii Michigan Pennsylvania Texas Illinois Louisiana
1996-04-03 | Drugs | III | d-106-6 | Amphojel Suspension Aluminum Hydroxide Gel Without Flavor Otc Antacid In 12 Fluid Ounce Bottles | Whitehall Robbins | Wyeth Ayerst Laboratories Rouses Point New York | March 22 1996 | Product Does Not Meet Potency Specification | 31 668 Units Were Distributed | Nationwide
1996-04-03 | Biologics | II | b-327-6 | A Platelets | Manufacturer | American Red Cross Blood Services Huntington West Virginia | September 6 1994 | Blood Products Corresponding To A Unit Of Red Blood Cells From Which Micrococcus S | 1 Unit | West Virginia
1996-04-03 | Biologics | II | b-329-6 | Platelets | Manufacturer | American Red Cross Blood Services Huntington West Virginia | October 14 1994 | Blood Products Corresponding To A Unit Of Red Blood Cells Contaminated With Staphylococcus Aureus Were Distributed | 1 Unit | West Virginia
1996-04-03 | Biologics | II | b-336/340-6 | A Whole Blood B Red Blood Cells C Platelets D Platelets Pheresis E Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Lansing Michigan | May 10 1994 | Blood Products Which Were Incorrectly Tested For The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv Were Distributed | A 7 Units B 613 Units C 406 Units D 14 Units E 16 Units | Michigan California Puerto Rico
1996-04-03 | Biologics | II | b-344/345-6 | A Red Blood Cells B Platelets | Manufacturer | Blood Systems Inc | January 23 1996 | Blood Products Collected From A Donor Who Received A Tattoo Within Twelve Months Of Donatio | 1 Unit Of Each Component | New Mexico
1996-04-03 | Biologics | II | b-346-6 | Autologous Red Blood Cells | Manufacturer | Mississippi Valley Regional Blood Center Davenport Iowa | July 13 1995 | Autologous Blood Product Not Correctly Labeled For Autologous Use Only Was Distributed | 1 Unit | Iowa
1996-04-03 | Biologics | II | b-351-6 | Platelets Pheresis | Blood Systems | Blood Systems Inc | January 23 1996 | Blood Products Collected From A Donor Whose Spouse Tested Positive For The Hepatitis B Surface Antigen Hbsag Were Distributed | 4 Units | California Illinois Missouri
1996-04-03 | Biologics | II | b-357-6 | Platelets | Blood Systems | Blood Systems Inc | February 21 1996 | Blood Product Which Was Collected From A Donor Who Exceeded The Donation Collection Time Was Distributed | 1 Unit | Texas
1996-04-03 | Biologics | III | b-328-6 | Recovered Plasma | Manufacturer | American Red Cross Blood Services Huntington West Virginia | August 31 1994 | Blood Products Corresponding To A Unit Of Red Blood Cells From Which Micrococcus S | 1 Unit | California
1996-04-03 | Biologics | III | b-330-6 | Recovered Plasma | Manufacturer | American Red Cross Blood Services Huntington West Virginia | October 14 1994 | Blood Products Corresponding To A Unit Of Red Blood Cells Contaminated With Staphylococcus Aureus Were Distributed | 1 Unit | California
1996-04-03 | Biologics | III | b-341/343-6 | A Red Blood Cells For Further Manufacture B Platelets For Further Manufacture C Recovered Plasma | Manufacturer | American Red Cross Blood Services Lansing Michigan | May 10 1994 | Blood Products Which Were Incorrectly Tested For The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv Were Distributed | A 1 Unit B 78 Units C 631 Units 8 | Michigan California Puerto Rico
1996-04-03 | Biologics | III | b-347-6 | Recovered Plasma | Manufacturer | Mississippi Valley Regional Blood Center Davenport Iowa | July 14 1995 | Autologous Blood Product Not Correctly Labeled For Autologous Use Only Was Distributed | 1 Unit | California
1996-04-03 | Biologics | III | b-348/350-6 | A Red Blood Cells B Platelets C Recovered Plasma | Blood Systems | Blood Systems Inc | December 28 1995 | Blood Products Which Tested Negative For The Hepatitis B Surface Antigen Hbsag And The Antibody To The Hepatitis B Core Antigen Anti Hbc But Were Collected From A Donor Who Previously Tested Positive For Hbsag Were Distributed | A 12 Units B 3 Units C 12 Units | Florida Massachusetts Virginia Texas North Carolina Arizona Switzerland
1996-04-03 | Devices | II |  | Latex Free Outlet Hoses For Use With Ohmeda Anesthesia Systems A Latex Free Outlet Hoses For Part No | Manufacturer | Ohmeda Medical Systems Division Madison Wisconsin | March 1 1996 | The Inner Wall Of This Hose May Be Cut During Insertion Of The Hose Connectors During Manufacturing Which Results In Restricted Gas Flow During The Oxygen Flus | 1 661 Hoses Were Distributed | Nationwide And International
1996-04-03 | Devices | II | z-546/547-6 | Biad 89 And Triad 88 Whole Body Spect Nuclear Imaging Systems Used By Technologists For Diagnostic And Research Purposes | Manufacturer | Trionix Research Laboratory Inc | May 6 1995 | Due To A Gantry Code Software Error In Calculating The Collimator Thickness The Device's Detector Head May Move Closer To The Patient Than Necessary And May Even Touch The Patient Which Could Result In Potential Injury To Patient | 133 Units Were Distributed | Nationwide And International
1996-04-03 | Devices | II | z-551-6 | One Step Armboard Surgical Table Accessory Part 426637 542 Model Numbers F Absa A 1 F Absa A 2 F Absa A 3 Designed For Use On The Amsco 1080 Amsco 2080 And Amsco Quantum 3080 Surgical Tables | Amsco | Amatech Corporation Acton Massachusetts Armboard Amsco American Sterilizer Company Montgomery Alabama Tables | December 18 1995 | The Armboard May Detach From The Surgical Table And Possibly Injure The Patien | 4 498 Units Were Distributed | Nationwide And International
1996-04-03 | Devices | II | z-552-6 | Midmark Model 7100 General Surgical Tables | Midmark Corporation | M Schaerer Ag | September 27 1995 | There Is A Potential For The Surgical Table Become Unstable Due To Faulty Weld Of The Table Colum | 2 Units Were Distributed | Virginia
1996-04-03 | Devices | II | z-553/555-6 | Synergytm Anterior Spinal System Implants A Part No | Manufacturer | Cross Medical Products Inc | March 10 1995 | The Package Insert Part N | 5 726 Implantable Devices Were Distributed | Kentucky Utah Alabama Georgia Indiana Minnesota North Carolina Florida Italy Japan Turkey Korea Singapore Belgium
1996-04-03 | Devices | II | z-556-6 | First Medic 710 Semi Automatic Defibrillator | Manufacturer | Physio Control Corporation Redmond Washington | February 2 1996 | The Units May Inadvertently Switch From The Semi Automatic Mode To The Manual Mode During Operation Of The Device Due To Defective Softwar | 109 Units Were Distributed | Nationwide And International
1996-04-03 | Devices | III | z-532-6 | Il Testtm Pt Fibrinogen For The Acl System Used For The Simultaneous Determination Of Prothrombin Time And Fibrinogenon The Acl Tm System | Instrumentation Laboratory Company Ilc | Instrumentation Laboratory Company Orangeburg New York | September 15 1994 | The Recovery Values Were Not In The Expected Rang | 4200 Kits Were Distributed | Michigan Missouri Florida Arkansas Louisiana Vermont Arizona Iowa Texas Virginia New York Oregon California
1996-04-03 | Devices | III | z-533-6 | Referriltm 3 C Calibrator For The Il Genesis Analyzer And The Il Monarch And Multistat Systems For In Vitro Diagnostic Use | Instrumentation Laboratory Company Ilc | Instrumentation Laboratory Company Orangeburg New York | May 15 1995 |  | 1 745 Packages Were Distributed | Nationwide
1996-04-03 | Devices | III | z-534/535-6 | Il Testtm Ise Reference And Buffer Solution For The Monarch And Phoenix Chemistry Systems For In Vitro Diagnostic Use A Ise Reference Catalog Numbers 3337204 B Ise Buffer Catalog 3337404 | Instrumentation Laboratory Company Ilc | Instrumentation Laboratory Company Orangeburg New York | April 11 1995 | The Bacteriostat Fungistat Potency May Decrease After One Year Which Is Short Of The Expiration Dat | Lot No Quantity Released A N 0842824 3000 N 0732923 2541 N 0532085 2549 N 0432084 2547 B N 0142072 5182 N 1232071 5088 N 1133554 5162 N 0732070 3078 N 0632089 3839 N 0432068 2048 N 1121692 811 | Nationwide Puerto Rico Antigua British West Indies
1996-04-03 | Devices | III | z-536/537-6 | A Il Testtm Aptt Activated Partial Thromboplastin Time For In Vitro Diagnostic Use B Il Testtm Pt Fibrinogen Reagents For The Aco System For In Vitro Diagnostic Use | Instrumentation Laboratory Company Ilc | Instrumentation Laboratory Company Orangeburg New York | January 25 1995 | The Normal Range Values May Have An Upward Shift Of | A Kit Lot N 0242975 817 Kits Kit Lot N 0543374 4643 Kit Lot N 0742946 5045 Kit Lot N 0742947 5374 Kit Lot N 0742948 7851 Kit Lot N 1043312 8712 B Pt Fib Lot N 0543405 3864 Lot N 1143411 3831 Lot N 1043409 3733 Lot N 0743406 3791 | Nationwide
1996-04-03 | Devices | III | z-557/559-6 | Victory Series Orthodontic 2nd Bicuspid Brackets A Miniature Metal Wing Part 017 433 B Mini Mesh Alexander Rx Part 2017 433 C Apc Miniature Metal Single Part 017 460 | Manufacturer | 3 M Unitek 3 M Dental Products Division Monrovia California | November 17 1995 | The Packaging Labels Were Labeled With A 17 � Bracket Torque When The Packages Actually Contained Products With A 11 � Bracket Torqu | 3 162 Brackets Subject To Recall | California Colorado Indiana Missouri Ohio Oklahoma South Dakota Tennessee Texas Utah And International
1996-04-03 | Devices | III | z-563-6 | Bacto Streptolysin O Reagent Desiccated Streptolysin O In Vials Labeled 10 Ml An In Vitro Diagnostic Used For Determining The Amount Of Antistreptolysin O Titers In Sera | Manufacturer | Difco Laboratories Livonia Michigan | November 20 1995 | The 25 Ml Vials Containing Reagent Were Incorrectly Labeled To Rehydrate With 10 Ml Of Distilled Wate | 135 Packages Were Distributed | California Delaware Illinois Kansas Kentucky Mississippi Missouri Ohio Puerto Rico Texas Canada England Finland Honduras Turkey
1996-04-03 | Devices | III | z-566-6 | Dade Actin Activated Cephaloplastin Reagent An In Vitro Diagnostic Under The Following Private Labels Baxter Healthcare Baxter Diagnostics Baxter S | Manufacturer | Dade International Of Puerto Rico Aguada Puerto Rico | December 19 1995 | The Activated Cephaloplastin Reagent Gave A Prolonged Activated Partial Thromboplastin Times With Normal And Abnormal Controls And Normal Patient Sample | 52 217 Packages Were Distributed | Nationwide And International