## 1996-07-10
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-07-10 | Drugs | II | d-169-6 | Dilantin Extended Phenytoin Sodium Capsules Usp Kapseals 100 Mg In Bottles Of 100 Anticonvulsant | Parke Davis Division Of Warner Lambert Company | Warner Lambert Company Fajardo Puerto Rico | June 11 1996 | Potency Not Assured Through Expiration Dat | 39 372 Bottles Were Distributed | Nationwide
1996-07-10 | Biologics | II | b-467/468-6 | A Red Blood Cells B Recovered Plasma | Manufacturer | Permian Basin Blood Institute Midland Texas | September 30 1995 | Blood Products Collected From A Donor Taking The Drug Accutane Were Distributed | 1 Unit Of Each Component | Texas Colorado
1996-07-10 | Biologics | II | b-469-6 | Platelets | Blood Systems | Blood Systems Inc | January 29 1996 | Blood Product Which Tested Nonreactive From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv Western Blot Indeterminate Donor Was Deferred Were Distributed | 1 Unit | New Mexico
1996-07-10 | Biologics | II | b-470/472-6 | A Red Blood Cells B Platelets Expired C Recovered Plasma | Manufacturer | Permian Basin Blood Institute Also Known As Permian Basin Regional Blood Center Midland Texas | September 30 1995 | Blood Products Which Tested Non Reactive To Anti Hiv 1 But Collected From Donors Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Western Blot Indeterminate And Were Never Properly Reentered Were Distributed | A 3 Units B 2 Units C 3 Units | Texas
1996-07-10 | Biologics | II | b-473/474-6 | A Red Blood Cells B Cryoprecipitate | Manufacturer | American Red Cross Columbus Ohio | November 7 1995 | Blood Products Collected From A Donor Taking The Drug Methotrexate Were Distributed | 1 Unit Of Each Component | Ohio
1996-07-10 | Biologics | II | b-476/478-6 | A Red Blood Cells B Platelets C Fresh Frozen Plasma | Manufacturer | Permian Basin Regional Blood Center Midland Texas | September 30 1995 | Blood Products Collected From Donors With A History Of Cancer Were Distributed | A 13 Units B 6 Units C 3 Units | Texas Colorado
1996-07-10 | Biologics | II | b-490-6 | Platelets Pheresis | Manufacturer | Northern Illinois Blood Bank Rockford Illinois | November 15 1995 | Blood Product Mislabeled With The Incorrect Expiration Date Was Distributed | 1 Unit | Illinois
1996-07-10 | Biologics | II | b-491-6 | Source Plasma | Manufacturer | North American Biological Inc | April 4 1996 | Blood Product Which Was Collected From A Donor Who Reported His Ear Pierced Within The Last Three Months Was Distributed | 1 Unit | Michigan
1996-07-10 | Biologics | II | b-492/493-6 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Tulsa Oklahoma | April 10 1995 | Blood Products Which Were Collected From A Donor Who Had A Medical History Of Cancer Were Distributed | A 3 Units B 1 Unit | Texas Oklahoma
1996-07-10 | Biologics | II | b-495/496-6 | A Red Blood Cells B Platelets | Manufacturer | Permian Basin Regional Blood Center Also Known As Permian Basin Blood Institute Midland Texas | September 30 1995 | Blood Products Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 The Hepatitis B Surface Antigen Hbsag The Antibody To The Hepatitis B Core Antigen Anti Hbc The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv The Antibody To The Human T Lymphotropic Virus Type 1 Anti Htlv 1 And Syphilis But Were Collected From Donors In Which Donor Suitability Was Not Adequately Determined Were Distributed | A 5 Units B 1 Unit 4 | Texas
1996-07-10 | Biologics | II | b-499/506-6 | A Red Blood Cells B Red Blood Cells Frozen C Red Blood Cells Leukocytes Removed D Platelets E Platelets Pheresis F Fresh Frozen Plasma G Cryoprecipitate Ahf H Recovered Plasma | Manufacturer | Memorial Blood Center Of Minnesota Minneapolis Minnesota | August 11 1995 | Blood Products Which Were Collected From Donors Who Were Tested Reactive For Separate Anti Hiv 2 Eia Test And Were Reentered Who Were Not Tested For Separate Anti Hiv 2 Eia Test And Were Entered Who Were Tested Western Blot Indeterminent And Were Reentered And Donors Not Retested And Were Reentered Were Distributed | 156 Units | North Dakota South Dakota Wisconsin California Florida Pennsylvania Switzerland
1996-07-10 | Biologics | II | b-507-6 | Source Plasma | Manufacturer | Simi Biological Resources Inc | November 15 1994 | Blood Product Found To Be Reactive For Anti Hcv Was Distributed | 1 Unit | California
1996-07-10 | Biologics | II | b-508-6 | 5 Red Blood Cells | American Red Cross | American Red Cross Galesburg Illinois | November 14 1995 | Blood Product Incorrectly Tested For Anti Hbc Was Distributed | 1 Unit | Iowa
1996-07-10 | Biologics | III | b-355-6 | Platelets | Manufacturer | American Red Cross Toledo Ohio | November 21 1994 | Blood Products Labeled As Cp 2 D Platelets Instead Of Cpd Platelets Were Distributed | 85 Units | Idaho And Ohio
1996-07-10 | Biologics | III | b-392-6 | Gammar P | Centeon | Centeon A Company Of Armour And Behring Bradley Illinois | February 29 1996 | Blood Product For Which The Reconstitution Time Exceeds Specifications Was Distributed | 2 802 Vials Were Distributed Firm Estimated That 300 Vials Remained On Market At Time Of Recall Initiation | Nationwide
1996-07-10 | Biologics | III | b-452-6 | Data Cyte Plus Reagent Red Blood Cells | Manufacturer | Dade International Miami Florida | February 29 1996 | Jkb Positive Reagent Red Blood Cells Labeled As Jkb Negative Were Distributed | 437 Kits Were Distributed | Nationwide
1996-07-10 | Biologics | III | b-454-6 | Platelets Pheresis | Manufacturer | Community Blood Center Dayton Ohio | October 18 1995 | Blood Product Which Was Labeled With Incorrect Expiration Date Was Distributed | 1 Unit | Ohio
1996-07-10 | Biologics | III | b-475-6 | Recovered Plasma Cryosupernatent | Manufacturer | American Red Cross Columbus Ohio | November 7 1995 | Blood Products Collected From A Donor Taking The Drug Methotrexate Was Distributed | 1 Unit | Ohio
1996-07-10 | Biologics | III | b-479/480-6 | A Recovered Plasma B Platelets Expired | Manufacturer | Permian Basin Regional Blood Center Midland Texas | September 30 1995 | Blood Products Collected From Donors With A History Of Cancer Were Distributed | A 9 Units B 2 Units | Texas Colorado
1996-07-10 | Biologics | III | b-494-6 | Recovered Plasma | Manufacturer | American Red Cross Tulsa Oklahoma | April 10 1995 | Blood Product Which Was Collected From A Donor Who Had A Medical History Of Cancer Was Distributed | 3 Units | Texas Oklahoma
1996-07-10 | Biologics | III | b-497/498-6 | A Platelets Expired B Recovered Plasma | Manufacturer | Permian Basin Regional Blood Center Also Known As Permian Basin Blood Institute Midland Texas | September 30 1995 | Blood Products Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 The Hepatitis B Surface Antigen Hbsag The Antibody To The Hepatitis B Core Antigen Anti Hbc The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv The Antibody To The Human T Lymphotropic Virus Type 1 Anti Htlv 1 And Syphilis But Were Collected From Donors In Which Donor Suitability Was Not Adequately Determined Were Distributed | A 1 Unit B 4 Units | Colorado
1996-07-10 | Devices | II | z-864/867-6 | Chemdi Ethylene Oxide Chemical Indicator Strips For Use In 100 Ethylene Oxide Sterilizers 8 A Order Number Nb 002 8 � Standard Pack Box Of 200 B Order Number Nb 110 8 � Bulk Pack Box Of 800 C Order Number Nb 035 4 Standard Pack Box Of 200 D Order Number Nb 223 4 Sample Pack Box Of 20 | Amsco International | Ati Pymah Corporation Flemington New Jersey | May 6 1996 | The Chemical Indicator Strips Appear To Lack Sensitivity In Determining Exposure Of Chemical Ethylene Oxide During 100 Ethylene Oxide Sterilization Cycle | 10 536 Boxes Of Product Are Subject To Recall | Nationwide And International
1996-07-10 | Devices | II | z-902/903-6 | Hydrajust Iv Urological Table Used To Perform Clinical Evaluations Or Diagnosis Of The Urological Functions Of Selected Patients Utilizing Tomographic Studies A Model No | Manufacturer Fda Approved The Firm's Corrective Action Plan July 2 | Liebel Flarshiem Cincinnati Ohio | July 2 1996 | The Devices Were Found To Be Non Compliant With The Requirements Of 21 Cfr 100 | 7 Units Were Distributed | Nationwide And Japan
1996-07-10 | Devices | II | WARNING | Be 105 10 Multi Use Adapter Fio 2 Adapter | Manufacturer | Instrumentation Industries Inc | April 24 1996 | A Loose Fit Between The Adapter Body And The Component Port Allowed Leakage And Breakage Of The Devic | 502 Adapters Were Distributed | Nationwide
1996-07-10 | Devices | II | z-928/930-6 | Diagnostic X Ray System Prestilix 1600 General Purpose Fluoroscopy And Radiography A Model 827300 G 015 Prestilix 1600 Av B Model 827300 G 025 Prestilix 1600 Av C Model 838461 G 015 Prestilix 1600 X | Manufacturer Fda Approved The Firm's Corrective Action Plan July 2 | General Electric Medical Systems Milwaukee Wisconsin | July 2 1996 | The Diagnostic X Ray Devices Were Found Noncompliant With 21 Cfr 102 | 13 Units Were Distributed In The United States | Nationwide
1996-07-10 | Devices | II | z-931/934-6 | Senographe And Senix Hf Mammography Systems Installed In Mammo Mobile Vans A Senographe 500 T B Senographe 600 T C Senographe 500 T Senix Hf D Senographe 600 T Senix Hf | General Electric Company | Ge Medical Systems S | December 22 1995 | Vibration Of The Tube Housing Assembly Of The Device During Transportation Can Result In Cracking Of The Welding Of The Arm And Column And Damage To The Screw | 40 Units | Nationwide
1996-07-10 | Devices | II | z-941/942-6 | Gamma Camera Systems With Mmcp Firmware Revisions Lower Than 14 A Multispect 2 B Multispect 3 | Manufacturer | Siemens Medical Systems Inc | April 00 0015 | The Mmpc Eproms Contain Bugs Which Cause Bed Too Low Error Messages When Setting Up Larger Patients For Cardio 90 Scans On The Multispect 3 System There Is Insufficient Clearance Between The Lower Detector And The Patient Pallet When Operated In The Manual Non Circular Orbit Nco Mode In The Multispect 2 Gantries Which Did Not Have The Extended Radius Option Installed And Emergency Stop Test Procedures Occur More Frequently Than 23 Hours Which Potentially Cause Patient Data Los | 303 Units Were Distributed | Nationwide And International
1996-07-10 | Devices | II | z-943-6 | Quanta Lite Aca Igm Hrp Kit An In Vitro Diagnostic Catalog 708630 | Manufacturer | Inova Diagnostics Inc | March 13 1996 | The Kits Contained Igg Conjugate Instead Of Igm Conjugat | 32 Kits Were Distributed Firm Estimates None Remains On The Market | Nationwide Germany The Netherlands
1996-07-10 | Devices | II | z-945-6 | Amo Phacoflex Ii Model Si 40 Nb Intraocular Lenses | Manufacturer | Allergan Inc | April 22 1996 | The Sterility Of The Device May Be Compromised Due To A Change In The Packaging System Which Can Cause Pin Holes And Creases In The Packaging Sea | 484 Lenses Were Distributed | Nationwide
1996-07-10 | Devices | III | z-899/900-6 | Senographe 500 T And 600 T Mammography Systems Equipped With Stereotix Systems Three Dimensional Stereotactic Puncture Accessories For Diagnostic Mammographic Investigation | General Electric Company | Ge Medical Systems S | December 19 1995 | The Drive Cables Of The Tube Support Arm Can Break Or Come Off The Counterbalance Drum Causing The Arm To Fall Slowly Or Only A Short Distanc | 8 Units | Nationwide
1996-07-10 | Devices | III | z-909-6 | Linvatex 2 Pin Passer With Trocar Tip Used In Knee Surgery For The Acl Cruciate Ligament Repair | Manufacturer | Linvatec Corporation Largo Florida | April 29 1996 | The Tip Has The Potential To Break Off During Use Because The Tip May Not Be Adequately Welded To The Shaf | 4 500 Units Were Distributed | Nationwide Australia Singapore
1996-07-10 | Devices | III | z-910/911-6 | P F C Modular Tibial Trays | Manufacturer | Johnson Johnson Professional Inc | May 13 1996 | The Hole In The Tibial Tray Is Too Shallow Due To A Manufacturing Erro | A 41 Units B 84 Units Were Distributed | North Carolina Pennsylvania Nevada Michigan Rhode Island Texas Washington State New York Connecticut Virginia Tennessee Iowa Thailand
1996-07-10 | Devices | III | z-927-6 | Centrysystem 2 Pediatric Blood Tubing Set Pre Pump Drip Chamber Used With The Firm's Centrysystem 2 Dialysis Machine When A Child Or An Infant Is Undergoing Hemodialysis | Gambro Healthcare | Cobe Renal Care Inc | May 24 1996 | The Wrong Drip Chamber Was Used In Assembl | 23 Cases 10 Sets Per Case Were Distributed | California Oklahoma Oregon
1996-07-10 | Devices | III | z-936/937-6 | Stratus Digitoxin Fluorometric Enzyme Immunoassay Controls A Catalog No | Manufacturer | Dade International Inc | April 19 1996 | The Expected Values Given In The Insert Labeling Was Incorrect Also The Mean Values For The Controls Were Listed Incorrectl | 270 Kits Were Distributed 13 | Nationwide
1996-07-10 | Devices | III | z-938-6 | Instrument Replacement Part 98116 For S P Boiling Water Bath | Manufacturer | Dade International Miami Florida | May 19 1996 | The 1 4 Inch Nylon Tubing In This Replacement Part Kit Does Not Meet Temperature Specifications And May Cause Water Leakage Which Could Cause An Electrical Shock Hazar | 51 Units Were Distributed | Nationwide
1996-07-10 | Devices | III | z-939/940-6 | Stratus Vitamin B 12 Fluorometric Enzyme Linked Assay Used For The Quantitative Determination Of Vitamin B 12 Levels In Human Serum Or Plasma To Aid In The Diagnosis Of Vitamin B 12 Deficiency A Catalog B 5700 67 B Catalog B 5700 67 S | Manufacturer | Dade International Inc | February 19 1996 | Unexpected High Control Recoveries In The Level Iii Range Were Reporte | 764 Kits Were Distributed Firm Estimates None Remains On The Market | Nationwide Canada
1996-07-10 | Devices | III | z-947-6 | Bindazyme Brand Binding Site Ige Nl Eia Diagnostic Kit | The Binding Site | The Binding Site Ltd | April 5 1996 | The Use Of The Above Device May Result In A Normal Reading For Total Ige In A Patient Serum Sample When The Patient Actually Has A Higher Than Normal Total Ige Leve | 80 Kits Were Distributed | Ohio California South Carolina Minnesota Tennessee Colorado Missouri Indiana Massachusetts Texas North Carolina New Jersey Florida New York Idaho Mexico
1996-07-10 | Devices | III | z-948/949-6 | Iltm Multi 4 Co Oximeter Control A Quality Control Material Designed To Simulate Conditions Of Tissue Oxygenation A Multi 4 Co Oximeter Control Level 1 B Multi 4 Co Oximeter Control Levels 1 2 3 Multipack | Instrumentation Laboratory Company Ilc | Instrumentation Laboratory Company Orangeburg New York | June 10 1996 | A Portion Of The Vials In Lot N | A 30 800 Ampules B 17 100 Ampules Were Distributed | Nationwide Canada Australia Japan