## 1996-07-17
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-07-17 | Drugs | II | d-170-6 | Triofed Syrup In 4 Ounce Bottles A Nasal Decongestant Antihistamine | Manufacturer | Barre National Inc | June 3 1996 | Incomplete Label Warning Statemen | 2 880 Units Were Distributed Firm Estimated That Very Little Product Remained In Commerce At Time Of Recall Initiation | New Jersey California Connecticut Illinois Florida New York Texas
1996-07-17 | Drugs | II | d-171-6 | Oxygen Usp Packed In C E And M 6 Size High Pressure Aluminum Cylinders | Manufacturer | Halprin Inc | June 26 1996 | Current Good Manufacturing Practice Deficiencie | 69 Cylinders Were Distributed | New York
1996-07-17 | Drugs | II | d-172/173-6 | Solopak Sterile Solutions In Pre Filled Syringes A Solopak Heparin Lock Flush Solution Usp Preservative Free 10 Usp Units Ml Packaged In 3 Ml Pre Filled Syringes For Maintenance Of Patency Of Intravenous Injection Devices Only Not To Be Used For Anticoagulant Therapy I Catalog 10683 3 Ml Hy Pod Syringe Needle Not Included 120 Per Case Ii Catalog 11773 3 Ml Hy Pod Syringe Contained In The Lok Pak N Heparin Lock Flush Procedure Pack 200 Per Case B Solopak Sodium Chloride Injection Usp 0 | Solopak Medical Products Inc | Solopak Medical Products Inc | June 28 1996 | Lack Of Assurance Of Sterilit | 167 400 Syringes Were Distributed Firm Estimated That 73 Of The Syringes Remained On Market At Time Of Recall Initiation | Nationwide
1996-07-17 | Biologics | II | b-481/482-6 | A Red Blood Cells B Platelets | Manufacturer | Permian Basin Regional Blood Center Midland Texas | September 30 1995 | Blood Products Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 The Hepatitis B Surface Antigen Hbsag The Antibody To The Hepatitis B Core Antigen Anti Hbc The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv The Antibody To The Human T Lymphotropic Virus Type 1 Anti Htlv 1 And Syphilis But Were Collected From Donors In Which Donor Suitability Was Not Adequately Determined Were Distributed | A 2 Units B 1 Unit | Texas
1996-07-17 | Biologics | II | b-509/511-6 | A Red Blood Cells B Platelets C Fresh Frozen Plasma | Manufacturer | Community Blood Center Dayton Ohio | October 4 1995 | Blood Products Not Tested For Infectious Diseases Were Distributed | 1 Unit Of Each Component | Ohio
1996-07-17 | Biologics | II | b-514/516-6 | A Red Blood Cells B Platelets Pheresis C Fresh Frozen Plasma | Manufacturer | Central California Blood Center Fresno California | March 22 1996 | Blood Products Collected From A Donor Who Received A Tattoo And Three Ear Piercings Within Twelve Months Of Donation Were Distributed | 1 Unit Of Each Component | California
1996-07-17 | Biologics | III | b-483/484-6 | A Platelets Expired B Recovered Plasma | Manufacturer | Permian Basin Regional Blood Center Midland Texas | September 30 1995 | Blood Products Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 The Hepatitis B Surface Antigen Hbsag The Antibody To The Hepatitis B Core Antigen Anti Hbc The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv The Antibody To The Human T Lymphotropic Virus Type 1 Anti Htlv 1 And Syphilis But Were Collected From Donors In Which Donor Suitability Was Not Adequately Determined Were Distributed | A 1 Unit B 2 Units | Colorado
1996-07-17 | Devices | II | z-946-6 | Polytron T | Manufacturer Fda Approved The Firm's Corrective Action Plan July 5 | Siemens Medical Systems Inc | July 5 1996 | The Device Was Found To Be In Noncompliance With Section 21 Cfr 102 | 30 Units 5 | Nationwide
1996-07-17 | Devices | II | z-944-6 | Icon Software Versions Less Than 5 | Manufacturer | Siemens Medical Systems Inc | N A | The Software Had Bugs Which Caused Loss Of Image Dat | 409 Units Were Distributed | Nationwide
1996-07-17 | Devices | II | z-950-6 | Monoclonal Mouse Anti Pneumocystis Carinii An In Vitro Diagnostic Used For Detection Of Pneumocystis Carinii Cysts Isolated From Human Lung | Dako Corporation | Dako A S Glostrup Denmark | June 19 1996 | The Staining Procedure For The Detection Of | 116 Units Were Distributed | Nationwide And International
1996-07-17 | Devices | II |  | Microscan Dried Gram Positive Breakpoint Combo Type 8 Panels No Catalog Number Listed | Manufacturer | Microscan Inc | December 14 1995 | There Were Out Of Range Results On The Ampicillin Portion Of The Pane | 674 Boxes Were Distributed | Nationwide And International
1996-07-17 | Devices | II | z-957-6 | Microscan Dried Gram Positive Panels Erythromycin Performance With Staphylococcus Aureus | Manufacturer | Microscan Inc | February 22 1996 | There Is A Potential For An Increase In False Susceptible Erythromycin Results With Clinical Strains Of | 268 Panels Were Distributed | Nationwide And International
1996-07-17 | Devices | II | z-958/960-6 | Product Information No | Manufacturer | Becton Dickinson Microbiology Systems Cockeysville Maryland | March 8 1996 | Devices Were Marketed Without An Approved Premarket Notification Submission 510 K For Use In The Susceptibility Test Of | 7 689 Copies Of Pi No 21177 Rev 06 Were Distributed | Nationwide And International
1996-07-17 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1996-07-17 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1996-07-17 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1996-07-17 | Devices | II |  | Information N |  |  | N A |  |  | N/A
1996-07-17 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1996-07-17 | Devices | II |  | Information Manual |  |  | N A |  |  | N/A
1996-07-17 | Devices | III | z-951/952-6 | Columbia Cna Agar With 5 Sheep Blood For In Vitro Diagnostic Use For The Isolation And Differentiation Of Gram Positive Microorganisms From Clinical And Nonclinical Specimens A Package Of 20 Plates Catalog No | Manufacturer | Becton Dickinson Microbiology Systems Cockeysville Maryland | March 16 1995 | The Plates Had Hemolysis And Cannot Be Used To Monitor Differentiatio | 199 000 Plates Were Distributed Firm Estimates None Remains On The Market | Nationwide Singapore Canada
1996-07-17 | Devices | III | z-954-6 | Bbl Brilliant Green Agar In 100 Gram Bottles A Highly Selective Dehydrated Culture Medium For Isolation Of Salmonella Other Than S | Manufacturer | Becton Dickinson Microbiology Systems Bdms Cockeysville Maryland | August 19 1994 | The Product Was Mislabeled As Brilliant Green Bile Aga | 7 Bottles Were Distributed Firm Estimates None Remains On The Market | Illinois New Jersey Texas
1996-07-17 | Devices | III | z-955/956-6 | Cmvscan Latex Agglutination Test 500 Or 30 Qualitative Tests A Passive Latex Agglutination Assay For Detection Of Antibodies To Cytomegalovirus Cmv A Catalog 4955126 30 Test Kit B Catalog 4955201 500 Test Kit | Manufacturer | Becton Dickinson Microbiology Systems Cockeysville Maryland | May 13 1996 | An Outdated Package Insert Was Shipped With These Two Lot | A 70 Kits B 92 Kits Were Distributed | Nationwide And Canada