## 1996-08-28
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-08-28 | Drugs | II | d-227-6 | Esgic Tablets Containing 50 Mg Butalbital 325 Mg | Forest Pharmaceuticals | Graham Labs | July 29 1996 | 11 Of The 24 Recalled Lots Failed Dissolution On Stability Tes | 218 004 Bottles Were Distributed | Nationwide
1996-08-28 | Drugs | II | d-228-6 | Mylanta Double Strength Cherry Cream Antacid Tablets Chewable Packaged In 70 Tablet Boxes | Johnson Johnson Merck | Johnson Johnson Merck Lancaster Pennsylvania | July 31 1996 | One Lot Was Found To Contain Metal Wir | Firm Estimated That Little If Any Product Remained On Market At Time Of Recall Initiation | Nationwide
1996-08-28 | Drugs | II | d-230/231-6 | Albuterol Sulfate Generic And Trade Name Syrup 2 Mg 5 Ml In 1 Pint 16 Fluid Ounce Bottles Under The Duramed And Dey Labels Used For The Relief Of Bronchospasm | Manufacturer | Mova Pharmaceuticals Caguas Puerto Rico | August 9 1996 | Three Lots All Portions Of One Mova Manufactured Batch Under Three Labels Were Found To Be Contaminated With Pseudomonas Cepaci | A 8 901 B 9 385 C 9 345 Bottles Were Distributed Firm Estimated That 25 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide
1996-08-28 | Drugs | III | d-229-6 | Rugby Brand Bacitracin Ointment Usp 500 Units Gram Net Weight 1 Pound Otc Used To Help Prevent Infections In Minor Cuts Burns And Scrapes | Manufacturer | Nmc Laboratories Glendale New York Responsible Firm | August 7 1996 | Subpotent 8 | 224 1 Pound Units Were Distributed Firm Estimates None Remains On The Market | New York
1996-08-28 | Drugs | III |  | Is Labeled To Have A 24 Month Expiration Perio |  |  | N A |  |  | N/A
1996-08-28 | Devices | II | z-981-6 | Tapsystem 2 A Esophageal Pacing System Also Called Esophageal Pulse Generator Indicated For The Treatment Of Cardiac Disorders That Require Alteration Of Rate Rhythm And For Alteration Of Rate As Required For Certain Diagnostic Studies | Arzco Medical Systems | Seecor Inc | May 9 1996 | Devices Malfunction When Subjected To Electromagnetic Interference Emi From Electrosurgical Esu Units Used In Surgical Environmen | 487 Units Were Distributed | Nationwide And International
1996-08-28 | Devices | II | z-982-6 | Sat Pace Ii Esophageal Pacing System Also Called Esophageal Pulse Generator Indicated For The Treatment Of Cardiac Disorders That Require Alteration Of Rate Rhythm Of Certain Diagnostic Studies | Manufacturer | Seecor Inc | June 21 1996 | Devices Malfunction When Subjected To Electromagnetic Interference Emi From Electrosurgical Esu Units Used In Surgical Environmen | 61 Units Were Distributed | Nationwide And International
1996-08-28 | Devices | II | z-1035-6 | Synchromed Programmable Pump Model 8617 L 18 A Drug Infusion Pump | Medtronic | Medtronic Inc | July 3 1996 | Traceability Records For Two Pumps Were Incomplet | 2 Units Were Distributed And Recovered | California And Oregon
1996-08-28 | Devices | II | z-1036/1038-6 | Disetronic Rapid Subcutaneous Infusion Sets A Product Code 300 | Disetronic Incorporated | Maersk Medical A S Roskildee Denmark | June 14 1996 | Inadequate Manufacturing May Cause The Needle To Break During Us | 14 175 Units Were Distributed Firm Estimated That 13 071 Units Remained In Commerce At Time Of Recall Initiation | Nationwide
1996-08-28 | Devices | II | z-1039-6 | Triad Whole Body Spect Nuclear Imaging Systems Also Known As Triad 88 Triple Headed Camera Used Primarily For Whole Body Imaging Cardiac Renal Brain And Bone Scans | Manufacturer | Trionix Research Laboratory Twinsburg Ohio | May 14 1996 | The Detector Head May Drop On A Patient Or Healthcare Provider Because Of Metal Fatigue At The Devices Ball Screw Assembly And An Inadequately Designed Limit Switc | 38 Systems Were Distributed | Nationwide Belgium England Korea Australia Egypt
1996-08-28 | Devices | II | z-1040-6 | Home Uterine Activity Monitor Model Carefone 2001 | Carelink Corporation | Carelink Corporation Irvine California | May 10 1993 | The Disk Drive May Fail Resulting In Failure Of The Units To Boot And Possible Loss Of Recorded Informatio | 180 Units Were Distributed | California Neveda Illinois Texas New York Washington State
1996-08-28 | Devices | II | z-1042-6 | Sterile Cytology Brushes Used In Combination With Bronchoscope For The Collection Of Cell Samples From Bronchi Tracts | Manufacturer | Cox Medical Enterprises Inc | October 8 1993 | The Bristle Component Can Be Separated From The Bronchoscope During The Collection Of Cell Samples From The Bronchi Trac | 1 221 Units Were Distributed From January 1993 To May 1993 Firm Estimates None Remains On The Market | Nationwide And Canada
1996-08-28 | Devices | II | z-1043/1051-6 | Davis Geck Valtrac Bar Biofragmentable Anastomosis Ring Rx Device Designed To Facilitate Anastomosis Of The Inverted Ends Of The Bowel And Then To Fragment And Pass Out Of The Body A Product No | Sherwood Medical Company | Davis Geck Danbury Connecticut | May 22 1996 | The Scalloped Edges Of The Device Edges May Be Oriented Peak To Peak Rather Than Peak To Valley As Intende | 12 000 Units Were Distributed | Nationwide Canada And International
1996-08-28 | Devices | II | z-1055/1094-6 | Sceptor System Panels For Use With Sceptor Broths For Identification And Or Susceptibility Testing Of Bacteria From Clinical Specimens | Manufacturer | Becton Dickinson Microbiology Systems Cockeysville Maryland | June 9 1995 | A Cap Proficiency Test Survey Strain Gave False Susceptible Result | Approximately 29 096 Units Were Distributed Firm Estimates None Remains On The Market | Nationwide Belgium Mexico Singapore Taiwan Japan Canada
1996-08-28 | Devices | III | z-1041-6 | Wrist Blood Pressure Monitor Model 1090 An Otc Device And An Auto Inflating Unit With Pulse Meter Digital Lcd With Memory And Fuzzy Logic Designed For Portable Use By The Lay Person | The Lumiscope Company | Rossmax International Ltd | January 12 1996 | The Instruction Manual Shipped With The Device Was Printed Partially In English And Partially In Frenc | 900 Units Were Distributed | Nationwide
1996-08-28 | Devices | III | z-1052-6 | Single Use Y Set With Qdc Quick Disconnect Clamp Rx Device Used In Peritoneal Dialysis Treatment | National Medical Care | National Medical Care Reynosa Mexico | December 21 1994 | The Male Connector May Develop Visible Cracks Resulting In Breakage Or Leakage During Us | 17 550 Units Were Distributed Firm Estimates None Remains On The Market | Florida Georgia Massachusetts Maine Mississippi North Carolina Puerto Rico Rhode Island South Carolina Tennessee Virginia Kentucky
1996-08-28 | Devices | III | z-1053-6 | Amicon Diafilter 30 Hemoconcentrators Catalog 18 3170 0 Used For Extracorporeal Circulation | National Medical Care | Amicon Ireland Limited | December 21 1994 | There Is No Assurance That The Devices Are Pyrogen Fre | 1 241 Units Were Distributed | Nationwide