## 1996-09-18
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-09-18 | Drugs | II | d-263/265-6 | Thiothixene Hcl Capsules Usp 1 Mg 2 Mg And 5 Mg Strength Packed In Bottles Of 100 Under The Schein And Rugby Labels An Antipsychotic | Danbury Pharmacal | Danbury Pharmacal Inc | July 31 1996 | Dissolution Failur | 28 710 Bottles 1 Mg 9 513 Bottles 2 Mg 26 752 Bottles 5 Mg Were Distributed | Nationwide
1996-09-18 | Biologics | III | b-625-6 | Red Blood Cells | Manufacturer | South Bend Medical Foundation Inc | July 21 1995 | Blood Products Were Mislabeled With An Incorrect Expiration Dat | 2 Units Were Distributed | Indiana
1996-09-18 | Biologics | III | b-626-6 | Red Blood Cells | Manufacturer | American Red Cross Fort Wayne Indiana | April 13 1995 | Blood Products Were Mislabeled With An Incorrect Expiration Dat | 6 Units Were Distributed | Ohio Tennessee Indiana
1996-09-18 | Devices | II | z-1101/1102-6 | Mobile Portable General Purpose Units Used In Radiographic Studies A Model Hp 200 B Hp 300 | Manufacturer Fda Approved The Firm's Corrective Action Plan On September 9 | Mikasa X Ray Co Ltd | September 9 1996 | Noncompliance With Performance Standards For Diagnostic X Ray Products In That The Units Failed To Meet Light Illuminance Requirement At A Source To Image Distance Sid Of 40 Inches And They Failed To Meet Edge Contrast Ratio Requirement At An Sid Of 40 Inche | 40 Units | Nationwide
1996-09-18 | Devices | II | z-1133/1134-6 | Transmucosal Implant Extensions Endosseous Implant Accessories Used For Dental Restoration Surgery A Second Phase Set Catalog No | Manufacturer | Interpore International Irvine California | January 31 1995 | The Packaging Labels Were Labeled As | 1 926 Units Were Distributed Firm Estimated That Little If Any Product Remained On Market At Time Of Recall Initiation | Nationwide Mexico Lebanon Canada Taiwan
1996-09-18 | Devices | II | z-1144-6 | S With A 4 | Manufacturer | Becton Dickinson Diagnostic Instrument Systems Sparks Maryland | N A | The Manual For The Device Contains Inadequate Instructions Of Us | 657 Manuals Were Distributed | Nationwide Canada Puerto Rico
1996-09-18 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1996-09-18 | Devices | II |  | Number For Item B |  |  | N A |  |  | N/A
1996-09-18 | Devices | II |  | Number Is 8083 0 |  |  | N A |  |  | N/A
1996-09-18 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1996-09-18 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1996-09-18 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1996-09-18 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1996-09-18 | Devices | II |  | N |  |  | N A |  |  | N/A
1996-09-18 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1996-09-18 | Devices | II |  | Numbers Listed For Proper Orientation Of The Devic |  |  | N A |  |  | N/A
1996-09-18 | Devices | III | z-984-6 | Human Albumin 30 Solution Nonsterile Catalog 3110 For Use In Laboratory Research Or Manufacturing Non Injectable Products Only | Manufacturer | Biocell Laboratories Inc | June 11 1993 | The Device Fails To Meet It's Labeling Specification Of 3 M | 40 50 Ml Vials Were Distributed Firm Estimates None Remains On The Market | California
1996-09-18 | Devices | III | z-1127/1130-6 | Hip Stem Endoprosthesis A Sentry Catalog No | Manufacturer | Howmedica Inc | November 17 1995 | Packaging Labeling And Sizing Mix Ups Led To Packages With Incorrect Labeling Or Produc | Amount Shipped A Lot Code Atmnb 4 Units Cckfa 0 Units B Lot Code Chxza 2 Units C Lot Code Chtza 1 Unit D Lot Code Okyva 2 Units | A Massachusetts New Jersey Virginia B Minnesota California C Virginia D Minnesota
1996-09-18 | Devices | III | z-1131-6 | Head And Neck Replacement Hnr Log Stem Catalog 6257 2 300 | Manufacturer | Howmedica Inc | February 21 1996 | Instead Of Containing A 200 Mm X 43 Mm Long Stem As Labeled The Package May Contain A 225 Mm X 43 Mm Long Ste | 8 Units Were Distributed | Pennsylvania West Virginia Georgia Michigan Washington State Ohio
1996-09-18 | Devices | III | z-1135/1138-6 | Package Insert Associated With Dade Immunoassay Control Comprehensive Tri Level Kit In Vitro Diagnostic Kit Used To Assist In Monitoring Accuracy And Precision In Clinical Assays A Catalog Nos | Manufacturer | Dade International Inc | June 19 1996 | The Package Insert Had Multiple Inconsistencies That Included An Incorrect Assay Rang | 10 776 Kits Were Distributed | Nationwide And Italy
1996-09-18 | Devices | III | z-1139/1142-6 | Incstar Fta Abs Flouro Test Kit In Vitro Diagnostic For Detecting Antibodies In Human Serum To Syphilis A Catalog No | Manufacturer | Incstar Corporation Stillwater Minnesota | August 12 1996 | Some Negative Samples May Yield A Positive Assay Respons | Incstar Fta Abs Fluoro Test Kits Product Numbers 1910 1910 G And 6910 587 Of The Test Kits Were Distributed Incstar Fta Abs Test Sorbent Product Number 1866 30 Of The Test Kits Were Distributed 9 | Nationwide And International
1996-09-18 | Devices | III | z-1149-6 | C Albicans Growth Promotion Test Suspension | Manufacturer | North American Science Associates Namsa Northwood Ohio | August 28 1996 | There Was A Reduction In Spore Population Below The Labeled Rang | 110 Vials Were Distributed | Nationwide Ireland Japan Singapore
1996-09-18 | Devices | III | z-1150/1152-6 | Ep Medical Electrophysiology Catheters 2 Mm And 2 5 2 Mm Electrode Spacing Intended For Ecg Recording Intercardiac Pacing Stimulation And Sensing In Sterile Form A Model Epm 64 Sc 252 B Model Epm 64 Hd 2 C Model Epm 64 Sc 2 | Manufacturer | Procath Corporation Subsidiary Of Ep Medical Inc | October 17 1995 | The Tubing Weld Joints May Separate If Handled Forcefully Prior To Insertio | 21 Catheters Were Distributed | Nationwide
1996-09-18 | Devices | III | z-1145-6 | Vai Cultureset Herpes Simplex Virus Hsv Identification Kit 501020 Immunoperoxidase Staining Kit For Use With Viral Tissue Culture Isolation For In Vitro Diagnostic Use | Manufacturer | Vai Diagnostic Memphis Tennessee | June 21 1996 | The Device Has Exhibited An Unexpected Drop In The Reactivity Of The Labeling Reagent Included In The Ki | 224 Kits Were Distributed 10 | Nationwide
1996-09-18 | Devices | III | z-1153/1154-6 | Osteonics Omnifit Cup Insert Series Sterile Implantable Non Critical Rx Devices A Osteonic Omnifit 10 Degree Cup Insert Series I 28 Mm Catalog 2002 2854 B Osteonics Omnifit 20 Degree Cup Insert Series Ii 26 Mm Catalog 2042 2654 | Manufacturer | Osteonics Corporation Allendale New Jersey | April 22 1996 | The 20 Degree Labeled Package May Contain The 10 Degree Unit And Vice Vers | A 24 Units B 11 Units Were Distributed | Nationwide And International