## 1997-05-07
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1997-05-07 | Drugs | II | d-122/123-7 | Minocycline Hcl Capsules Usp 50 Mg In Bottles Of 100 And 100 Mg In Bottles Of 50 And 1 000 Used As An Antimicrobial | Warner Chilcott | Warner Lambert Company Lititz Pennsylvania | February 11 1997 | Bulk Substance Was Manufactured Using Processes That Did Not Conform To The Firm's Filed Processes | 34 234 Bottles Of 50 Mg In 100 Capsule Bottles 48 824 Bottles Of 100 Mg In 50 Capsule Bottles And 1 436 Bottles Of 100 Mg In 1000 Capsule Bottles Were Distributed | Nationwide
1997-05-07 | Biologics | II | b-604-7 | Source Plasma | North American Biologicals | Nabi Biomedical Center Louisville Kentucky | February 1 1995 | Blood Products Were Collected From A Donor Who Reported An Accidental Blood Exposure | 13 Units Were Distributed | France West Germany Italy South Korea Switzerland
1997-05-07 | Biologics | II | b-637-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Columbia South Carolina | January 13 1997 | Blood Product Corresponded To A Unit Of Platelets That Was Positive For Clostridium Butyricum | 1 Unit Was Distributed | South Carolina
1997-05-07 | Biologics | II | b-656-7 | Red Blood Cells | Manufacturer | American Red Cross Lansing Michigan | July 25 1996 | Blood Products Were Collected From A Donor Who Experienced Vomiting And Diarrhea At The Collection Site Immediately Following The Donation And Unit Was Inappropriately Distributed | 1 Unit Was Distributed | Michigan
1997-05-07 | Biologics | II | b-657-7 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Portland Oregon | October 29 1996 | Blood Product Had A Platelet Yield Below The Acceptable Limit | 1 Unit Was Distributed | Oregon
1997-05-07 | Biologics | II | b-658/659-7 | A Platelets B Recovered Plasma | Manufacturer | American Red Cross Blood Services Columbia South Carolina | October 21 1996 | Blood Products Were Collected From A Donor With Polycythemia Vera | 1 Unit Of Each Component Was Distributed | South Carolina And California
1997-05-07 | Biologics | II | b-660/662-7 | A Red Blood Cells B Platelets C Plasma | Manufacturer | American Red Cross Blood Services Baltimore Maryland | July 16 1996 | Blood Products Were Collected From A Donor Who Reported A History Of Hepatitis A | 1 Unit Of Each Component Was Distributed | Maryland
1997-05-07 | Biologics | II | b-665/666-7 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services St | April 3 1996 | Blood Products Were Collected From A Donor Whose Arms Showed Evidence Of Intravenous Iv Drug Use | 1 Unit Of Each Component | Missouri And Switzerland
1997-05-07 | Biologics | II | b-667-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Peoria Illinois | December 2 1996 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Considered Endemic For Malaria | 1 Unit Was Distributed | Illinois
1997-05-07 | Biologics | II | b-668/669-7 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Blood Services Tulsa Oklahoma | January 16 1997 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Considered Endemic For Malaria | 1 Unit Of Each Component | Oklahoma And Texas
1997-05-07 | Biologics | II | b-670-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services St | September 26 1996 | Blood Product Corresponded To A Unit Of Platelets Which Was Positive For Gram Positive Cocci | 1 Unit Was Distributed | Missouri
1997-05-07 | Biologics | III | b-466-7 | Mononine Monoclonal Antibody Purified Coagulation Factor Ix Human | Centeon L L C | Centeon L | February 27 1997 | Biological Product With Lack Of Assurance Of Product Sterility | 883 Vials Were Distributed | Nationwide
1997-05-07 | Biologics | III | b-615-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | February 4 1997 | Blood Product Which May Have Been Incorrectly Typed For The C Antigen Was Labeled C Negative | 1 Unit Was Distributed | North Carolina
1997-05-07 | Biologics | III | b-635-7 | Recovered Plasma | Manufacturer | American Red Cross Mobile Alabama | February 13 1995 | Blood Product Was Collected From A Donor With A History Of Cancer | 1 Unit Was Distributed | Switzerland
1997-05-07 | Biologics | III | b-638-7 | Recovered Plasma | Manufacturer | American Red Cross Blood Services Columbia South Carolina | January 13 1997 | Blood Product Corresponded To A Unit Of Platelets That Was Positive For Clostridium Butyricum | 1 Unit Was Distributed | California
1997-05-07 | Biologics | III | b-663-7 | Red Blood Cells | Blood Systems | United Blood Services Fort Smith Arkansas | September 20 1996 | Unlicensed Blood Products Were Shipped Interstate | 12 Unit Were Distributed | Oklahoma
1997-05-07 | Devices | I | z-443-7 | Heartmate Ip Lvas Blood Pump Catalog 1000 A A Pulsatile Ventricular Assist System Intended For Hemodynamic And Circulatory Support | Manufacturer | Thermo Cardio Systems Inc | October 16 1996 | The Percutaneous Drive Line May Separate From The Lower Housing Nipple Located On The Blood Pump | 47 Pumps | Nationwide And International
1997-05-07 | Devices | II | z-428-7 | First Medic 710 Semi Automatic External Defibrillator Part 300762 01 02 03 | Manufacturer | Physio Control Corporation Redmond Washington | March 24 1997 | Depressing The On Off Switch May Result In Only Partial Power Up And Functioning Of The Device | 134 Units Were Distributed | Nationwide And International
1997-05-07 | Devices | II | z-435-7 | Allan Brand High Volume Iv And Irrigation Tower Designed For Hospital Operating Room Use | Allen Medical Systems | Habco Tool And Development Mentor Ohio Component | February 21 1997 | The Device Would Drop From The Raised Position To The Lowest Position Resulting In A Minor Disruption Of The Irrigation Function And In Some Cases Would Cause The Fluid Bag To Rupture | 32 Units Were Distributed | Nationwide
1997-05-07 | Devices | II | z-449/451-7 | Navarre Percutaneous Access Sets And Mandrel Guidewire | Manufacturer | Navarre Biomedical Ltd | April 11 1997 | The Guidewire Packaged And Distributed As Part Of The Access Sets And Alone Is Subject To Breakage Due To Brittleness | 460 Guidewires Were Distributed As Part Of The Percutaneous Access Sets Or Alone As Mandrel Guidewires | Nationwide And International
1997-05-07 | Devices | II | z-452/453-7 | Sonoline Ultrasound Systems With Ob Calculation Package Option A Sonoline Prima Ultrasound System Part No | Manufacturer | Siemens Medical Systems Inc | March 28 1997 | A Software Error Was Discovered In The Enhanced Ob Calculation Of An Estimated Delivery Date Edc Of A Fetus Based On An In Vitro Fertilization Date | A 158 Units B 46 Units Were Distributed | A California North Carolina New York Pennsylvania Illinois South Carolina Ohio Michigan Virginia New Jersey Rhode Island And International B Nationwide And International
1997-05-07 | Devices | II | z-455-7 | Oschner 200 Bifurcated Vascular Graft Catalog No | Manufacturer | Intervascular Inc | February 19 1997 | The Water Permeability Of The Graft May Be Increased Due To A Weaving Defect Along One Leg Of The Graft | 68 Grafts Were Distributed | Nationwide And France
1997-05-07 | Devices | II | z-458-7 | Vacutainer Brand Plus Plasma Separation Tubes Pst Evacuated Blood Collection Tubes With An Anticoagulant Interior Known As Heparin And Also An Interior Polymer Gel Coating Used For The Collection Separation And Transport Of Blood Specimens | Becton Dickinson Vacutainer Systems | Becton Dickinson Vacutainer Systems Broken Bow Nebraska | September 23 1996 | Some Tubes In This Lot Were Manufactured With An Incorrect Anticoagulant K 2 Edta Instead Of Heparin And The Tubes Were Labeled As Containing Lithium Heparin | 116 100 Units Were Distributed | Undetermined
1997-05-07 | Devices | II | z-463-7 | Vacutainer Brand Lok On Needle Holder A Light Blue Color Polycarbon Reusable Non Sterile Holder Used With Vacutainer Brand Blood Collection Needles During Venipuncture | Becton Dickinson Vacutainer Systems Bdvs | Becton Dickinson Vacutainer Systems Sumpter South Carolina | December 9 1996 | The Device Is Subject To A Locking Mechanism Failure Which Can Result In An Uncontrolled Sharp Exposure To Both Patient And Users | 52 750 Units Were Distributed 11 | Nationwide And International
1997-05-07 | Devices | II | z-469-7 | Uldall Double Lumen Hemodialysis Catheter Tray And Uldall Double Lumen Hemodialysis Exchange Trays | Cook Canada | Cook Incorporated Bloomington Indiana | February 24 1997 | The Labeling For The Device States The Lumens Hold From 1 | 337 Catheters Were Distributed | Canada
1997-05-07 | Devices | III | z-430-7 | Anti Ssb Microassay Catalog 783 260 In Vitro Diagnostic Test Set | Manufacturer | Diamedix Miami Florida | February 4 1997 | The Product May Be Giving A Higher Than Usual Number Of Equivocal Low Positive Test Results | 128 Sets Were Distributed | Nationwide And International
1997-05-07 | Devices | III | z-447-7 | Ortho Brain Thromboplastin Used For Prothrombin Time Determination For In Vitro Diagnostic Use | Manufacturer | Ortho Diagnostic Systems Raritan New Jersey | November 1 1996 | The 12 Ml | 25 Packages 25 Vials Per Package Were Distributed Firm Estimates None Remains On The Market | Iowa North Carolina South Dakota Oklahoma New Jersey Tennessee
1997-05-07 | Devices | III | z-448-7 | Microalbumin Test Kit Elisa For The Determination Of Microalbumin Concentration In Human Urine 960 Assays Kit | Manufacturer | Diagnostic Specialties Inc | January 22 1997 | The Label Had An Incorrect Expiration Date | 80 Units Were Distributed Firm Estimated That 20 Units Remained On Market At Time Of Recall Initiation | New Jersey
1997-05-07 | Devices | III | z-456-7 | Vacutainer Brand Plus Serum Tubes Plastic Evacuated Blood Collection Tubes With Silicone Coated Interior Known As Silwet L 720 And Clot Activator For The Collection Separation And Transport Of Blood Specimens | Becton Dickinson Vacutainer Systems | Becton Dickinson Vacutainer Systems Sumter South Carolina | September 3 1996 | The Tubes Labeled Incorrectly An Identification Stripe Was Omitted | 40 000 Units Were Distributed | Louisiana
1997-05-07 | Devices | III | z-457-7 | Vacutainer Brand Blood Collection Sets Are Sterile Disposable Single Use Devices Used For The Collection Of Blood Samples By Venipuncture | Becton Dickinson Vacutainer Systems | Nissho Corporation Nipro Medical Ind | September 11 1996 | The Device Has Holes In The Tubing Which May Result In Blood Leakage From The Collection Set Or Introduce Air Into The Collection Tubing | 240 600 Units Were Distributed | Undetermined
1997-05-07 | Devices | III | z-459-7 | Proclear Daily Wear Soft Contact Lenses | Manufacturer | Biocompatibles Inc | October 26 1996 | Some Contact Lenses Were Labeled With Incorrect Diopter Values That Did Not Reflect The Measured Value Of The Product | 124 Lenses Were Distributed | Nationwide Canada Great Britain
1997-05-07 | Devices | III | z-460-7 | Ciba Vision Focus Toric Soft Contact Lenses | Ciba Vision Corporation | Ciba Vision Corporation Atlanta Georgia | March 24 1997 | The Lenses Were Labeled With Incorrect Diameter Values That Did Not Reflect The Measured Value Of The Product | 681 6 Packs Were Distributed | Nationwide And Canada
1997-05-07 | Devices | III | z-461-7 | Ciba Vision Focus Toric Soft Contact Lenses | Ciba Vision | Ciba Vision Corporation Atlanta Georgia | March 24 1997 | Lot Integrity Has Been Violated Because Some 3 | 1 102 6 Packs Were Distributed | Nationwide
1997-05-07 | Devices | III | z-470-7 | Ebv Viral Capsid Antigen Igm Elisa Test Kit Used For For The Detection Of Igm Antibodies To Epstein Barr Viral Capsid Antigen And Infectious Monoculeosis | Clark Laboratories | Wampole Labs Division Carter Wallace Inc | June 26 1996 | The Positive Control Was Labeled With A Range Of 4 | 190 Kits Were Distributed | Nationwide
1997-05-07 | Devices | III | z-471/478-7 | Bartels Viral Respiratory Screening And Identification Kit And Anti Viral Antibody Identification Reagents A Catalog No | Manufacturer | Bartels Inc | April 4 1997 | Bottles Containing The Anti Viral Antibody Identification Reagents Dispensed A Larger Drop Than The Manufacturing Specification Allows | As Of 1 23 97 The Following Quantities Had Been Distributed A 525 Units B 524 Units C 410 Units D 398 Units E 279 Units F 219 Units G 318 Units H 233 Units Firm Estimated A Total Of 520 Units Remained On The Market At Time Of Recall Initiation | Nationwide And International
1997-05-07 | Devices | III | z-479-7 | Microvena Amplatz Goose Neck Snare A Nitinol Retrieval Device Used To Retrieve Foreign Bodies From The Cardiovascular System And Hollow Viscus | Manufacturer | Microvena Corporation White Bear Lake Minnesota | April 7 1997 | Some Units In The Recalled Lot Contain A 65 Cm Snare Instead Of A 120 Cm Snare As Labeled | 39 Units Were Distributed | Nationwide
1997-05-07 | Devices | III | z-480-7 | Nmc Arterial Bloodlines With Reverse Flow Drip Chamber | National Medical Care | National Medical Care Medical Products Division Mc Allen Texas And Erika De Reynosa Cd Reynosa Mexico | August 23 1996 | The Device Drip Chamber May Be Occluded And Cause The User To Be Unable To Prime The Line | 114 Cases 24 Units Per Case Were Distributed | California And Missouri