## 1998-11-18
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1998-11-18 | Drugs | II | d-013/017-9 | A Metaproterenol Sulfate Inhalation Solution Usp 0 | Astra Pharmaceuticals | Centeon L | April 26 1998 | Some Vials Exhibit Pin Hole Leaks | Volume Of Product In Commerce Nacl 0.9 5 Ml 49,336 Units; Nacl 0.9 3 Ml 41,790 Units; Nacl 0.45 3 Ml 1 939 Units; Nacl 0 45 5 Ml 967 Units; Metaproterenol Sulfate 0 6 2 5 Ml 815 Units; Metaproterenol Sulfate 0 4 2 5 Ml 1,390 Units; Sterile Water For Respiratory Therapy 5 Ml 460 Units; Sterile Water For Respiratory Therapy 5 Ml 529 Units | Nationwide
1998-11-18 | Drugs | II | d-018/019-9 | A Hoechst Marion Roussel Carafate Sucralfate Suspension Containing 1 G | Manufacturer | Hoechst Marion Roussel Inc | September 18 1998 | Bottle Defects And Or Glass Fragments In The Product S | A 229 528 Bottles B 9 767 Bottles Were Distributed Firm Estimated That 5 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide
1998-11-18 | Drugs | III | d-020-9 | Mylanta Maximum Strength Cherry Liquid Antacid Aluminum Hydroxide 400 Mg Magnesium Hydroxide 400 Mg Simethicone 40 Mg In 24 Ounce Bottles | Johnson Johnson Merck Consumer Pharmaceutical Company | Johnson Johnson Merck Consumer Pharmaceutical Company Lancaster Pennsylvania | September 28 1998 | Mislabeling The Back Label Incorrectly Declares Simethicone As 0 Mg Not 40 Mg | Undetermined | Nationwide
1998-11-18 | Devices | II | z-176-9 | 3 8 Mm Calibrated Twist Drill | Manufacturer | Depuy Ace Medical Company El Segundo California | September 3 1998 | The Calibrations On The Twist Drills Are Incorrect Resulting In The Potential For Selection And Use Of A Screw That Is Too Long | 129 Units Were Distributed | Arizona Arkansas California Colorado Florida Illinois Kentucky Louisiana Michigan New Jersey New York Ohio Pennsylvania Tennessee Texas Utah Virginia Washington Great Gritain Japan
1998-11-18 | Devices | II | z-191/193-9 | Coaguchek Prothrombin Time Pt Test Strips Used For Qualitative Prothrombin Time Testing In Fresh Capillary Or Venous Whole Blood With The Coaguchek Systems A Coaguchek Test Strips Professional Use Catalog No | Manufacturer | Roche Diagnostics Boehringer Mannheim Corporation Indianapolis Indiana | September 23 1998 | There Can Be A Positive Bias In The Results With These Devices Due To Small Pinhole In The Pouches | Approximately 2 2 Million Strips Were Distributed | Nationwide And International
1998-11-18 | Devices | II | z-122/123-9 | A) Biotrack brand and Coumatrak brand Protime Test Cartridges B) CoaguChek Plus Coagulation Monitor | Boehringer Mannheim Corporation | Boehringer Mannheim Corporation, Fremont California | November 19 1997 | When Used With Protime Controls Codes Listed Above These Cartridges Give Results Which Are Out Published Range | 9 427 Boxes Of Coaguchek Plus And 4 479 Boxes Of Coumatrak Protime Were Distributed Since November 20 1996 | Nationwide Australia Canada Chili Germany Japan Switzerland
1998-11-18 | Devices | III | z-173/175-9 | Dental Impression Material Liquid Hardener A Cutter Brand Hardener Nf New Formula Liquid Reorder No | Heraeus Kulzer | Heraeus Kulzer Gmbh Company Dormagen Germany | March 4 1998 | Samples From The Cited Lots Failed To Produce The Desired Hardness And The Product Failed To Adequately Perform As Specified | A 6 887 B 9 427 Units C 5 486 Units Were Distributed | Nationwide And Canada
1998-11-18 | Devices | III | z-190-9 | Penile Implant Dilamezinserter Insert Dmi 12 G | Manufacturer | Lone Star Medical Products Inc | October 2 1998 | The Device Handle May Break Off During Surgery | 253 Units Were Distributed | Nationwide