## 1998-3-11
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1998-3-11 | Drugs | II | d-097-8 | Aloe Vesta Protective Ointment In 2 And 8 Ounce Tubes Otc Used As A Barrier From External Moisture | Convatec | Kutol Products Company Cincinnati Ohio Contract Manufacturer Recalled By Convatec A Bristol Myers Squibb Company Skillman New Jersey By Letter On June 27 1997 | June 27 1997 | Microbial Contamination Pseudomonas Putida | Amounts Sold Lot 04 D 7 2 Oz 581 Cases 13 944 Tubes Lot 04 D 7 8 Oz 38 Cases 456 Tubes Lot 05 D 7 8 Oz 316 Cases 3 792 Tubes Lot 22 D 7 8 Oz 62 Cases 744 Tubes | Nationwide And Canada
1998-3-11 | Drugs | III | d-085/096-8 | Promotional Literature For Natural Efx Otc Moisturizing Creams And Dietary Supplements In Product Information Sheets Contained In Distributor Kits And In Company Brochures A Women's Wild Yam Efx Moisturizing Skin Cream In 2 Ounce Jars B Men's Wild Yam Efx Moisturizing Skin Cream In 2 Ounce Jars C Body Balancing 3 360 Mg Capsules 90 Capsules Per Bottle D Body Balancing 4 500 Mg Capsules 90 Capsules Per Bottle E Body Balancing 2 500 Mg Capsules 90 Capsules Per Bottle F Body Balancing 1 500 Mg Capsules 90 Capsules Per Bottle G Lipo Efx 500 Mg Capsules 90 Capsules Per Bottle H Plant Efx 220 Mg Capsules 90 Capsules Per Bottle I Gas Efx 360 Mg Capsules 90 Capsules Per Bottle J Oxy Efx 235 Mg Capsules 90 Capsules Per Bottle K Digest Efx 220 Mg Capsules 90 Capsules Per Bottle L Cleanz Efx 370 Capsules 90 Capsules Per Bottle | Manufacturer | Natural Efx Inc | November 19 1996 | Misbranding Unapproved Drug Claims | Product Information Sheets That Made False And Misleading Medical Claims Were Included In Approximately 6 000 Distributor Kits Distributed Between January And October 1996 | Nationwide
1998-3-11 | Biologics | II | b-587/590-8 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Recovered Plasma | Manufacturer | The Mount Sinai Medical Center New York New York | November 10 1997 | Blood Products Tested Repeat Reactive For The Antibody To The Hepatitis B Surface Antigen Hbsag With No Confirmatory Test | A 3 Units B 3 Units C 3 Units D 1 Unit Was Distributed | New York
1998-3-11 | Biologics | II | b-591-8 | Platelets Pheresis | Manufacturer | South Texas Blood Tissue Center San Antonio Texas | December 16 1996 | Blood Components Were Filtered With An Unapproved Unlicensed Disposable Set | 3 Units Were Distributed | Texas
1998-3-11 | Biologics | II | b-592-8 | Platelets Pheresis Leukocytes Reduced | Manufacturer | South Texas Blood And Tissue Center San Antonio Texas | May 14 1996 | Blood Products Were Labeled With An Extended Expiration Date | 2 Units Were Distributed | Texas
1998-3-11 | Biologics | II | b-600-8 | Source Plasma | Manufacturer | Bio Blood Components Inc | July 24 1997 | Blood Products Tested Negative For Viral Markers Were Collected From A Donor Who Was Deferred At Another Center Due To Unsuitable Hiv Test Results And Were Distributed After Receipt Of This Information | 4 Units Were Distributed | California
1998-3-11 | Biologics | II | b-601/603-8 | A Red Blood Cells B Platelets C Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Atlanta Georgia | February 1 1996 | Blood Products Tested Positive For Syphilis | 1 Unit Of Each Component Was Distributed | Georgia And Florida
1998-3-11 | Biologics | II | b-620/621-8 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | Carter Blood Center Fort Worth Texas | November 25 1997 | Blood Products Were Drawn From An Unsuitable Donor | 1 Unit Of Each Component Was Distributed | Texas And California
1998-3-11 | Biologics | II | b-629-8 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Atlanta Georgia | January 19 1996 | Blood Product With A Residual White Blood Cell Count That Exceeded The Acceptable Value Was Distributed Labeled As Leukoreduced | 1 Unit Was Distributed | Georgia
1998-3-11 | Biologics | II | b-636/638-8 | A Red Blood Cells B Platelets C Buffy Coat | Manufacturer | American Red Cross Great Lakes Region Lansing Michigan | November 18 1997 | Blood Products Were Collected In A Manner That May Have Compromised The Sterility Of The Units | 1 Unit Of Each Component Was Distributed | Michigan And New Jersey
1998-3-11 | Biologics | II | b-639/641-8 | A Red Blood Cells B Platelets C Cryoprecipitated Ahf | Manufacturer | American Red Cross Great Lakes Region Lansing Michigan | November 10 1997 | Blood Products Were Collected In A Manner That May Have Compromised The Sterility Of The Units | 1 Unit Of Each Component Was Distributed | Michigan And Ohio
1998-3-11 | Biologics | II | b-642-8 | Platelets Pheresis | Manufacturer | American Red Cross Columbus Ohio | October 29 1997 | Blood Product Was Inappropriately Prepared By Recording The Incorrect Volume On The Label Which Resulted In The Product Being Distributed In One Platelet Bag Instead Of Two | 1 Unit Was Distributed | Ohio
1998-3-11 | Biologics | II | b-643-8 | Red Blood Cells | Manufacturer | National Naval Medical Center Bethesda Maryland | September 4 1997 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | New Jersey And Texas
1998-3-11 | Biologics | II | b-650-8 | Hna Classic Blood Bank Transfusion Computer Software Program A Pathnet Blood Bank Transfusion L 2300 Release 302 306 B Pathnet Worksystems L 2812 Release 306 C Pathnet Blood Center L 2510 Release 306 | Manufacturer | Cerner Corporation Kansas City Missouri | February 20 1998 | Intended Warning Messages Alerting The User To The Potential Release Of Abo Rh Incompatible Units Did Not Appear When Using The Dispense Products Function For Emergency Release | 308 Software Packages Were Distributed | Nationwide And International
1998-3-11 | Biologics | II | b-651-8 | Fresh Frozen Plasma | Manufacturer | National Naval Medical Center Bethesda Maryland | February 5 1997 | Blood Product Was Not Tested For The Antigen To The Human Immunodeficiency Virus Type 1 Antigen Hiv 1 Ag | 1 Unit Was Distributed | District Of Columbia
1998-3-11 | Biologics | II | b-662/664-8 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | American Red Cross Blood Services Baltimore Maryland | December 17 1997 | Blood Products Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 | 1 Unit Of Each Component Was Distributed | Maryland And California
1998-3-11 | Biologics | II | b-665/670-8 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Cryoprecipitated Ahf E Platelets For Further Manufacture F Recovered Plasma | Manufacturer | American Red Cross Blood Services Portland Oregon | July 1 1997 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 | A 9 Units B 3 Units C 2 Units D 1 Unit E 1 Unit F 8 Units Were Distributed | Oregon Washington State Kansas California
1998-3-11 | Biologics | III | b-596-8 | Platelets | Manufacturer | American Red Cross Blood Services Wichita Falls Texas | November 18 1997 | Blood Products Were Exposed To Unacceptable Shipping Temperatures | 6 Units Were Distributed | Texas
1998-3-11 | Biologics | III | b-599-8 | Source Plasma | Manufacturer | Bio Blood Components Inc | May 30 1997 | Blood Products Were Untested For Viral Markers | 12 Units Were Distributed | California
1998-3-11 | Biologics | III | b-604-8 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Atlanta Georgia | May 30 1995 | Blood Products Were Labeled With Extended Expiration Dates | 2 Units Were Distributed | Georgia
1998-3-11 | Biologics | III | b-623/624-8 | A Red Blood Cells B Platelets | Manufacturer | Central Indiana Regional Blood Center Inc | October 13 1997 | Blood Products Had Extended Expiration Dates | 2 Units Of Each Component Were Distributed | Indiana
1998-3-11 | Biologics | III | b-630-8 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Atlanta Georgia | May 19 1997 | Blood Product Was Crossmatch Incompatible Was Labeled As Compatible | 1 Unit Was Distributed | Georgia
1998-3-11 | Biologics | III | b-634-8 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Atlanta Georgia | June 26 1995 | Blood Products Were Collected By Apheresis At An Unacceptable Temperature | 3 Units Were Distributed | Georgia
1998-3-11 | Biologics | III | b-635-8 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Atlanta Georgia | July 5 1995 | Blood Products May Have Been Labeled With Extended Expiration Dates | 6 Units Were Distributed | Georgia
1998-3-11 | Biologics | III | b-644-8 | Red Blood Cells | Manufacturer | American Red Cross Fort Wayne Indiana | August 25 1997 | Blood Products Were Exposed To Unacceptable Shipping Temperatures | 11 Units Were Distributed | Indiana Michigan Ohio
1998-3-11 | Biologics | III | b-656-8 | Red Blood Cells Irradiated | Manufacturer | American Red Cross Blood Services Peoria Illinois | November 24 1997 | Blood Product Was Labeled With An Extended Expiration Date | 1 Unit Was Distributed | Illinois
1998-3-11 | Devices | II | z-038-8 | Zoll Autoclaveable Internal Handles Catalog 8004 0023 Intended For Use In Conjunction With Zoll's 1400 2000 Series Defibrillators To Defibrillate The Heart During Open Chest Surgical Procedures | Manufacturer | Zoll Medical Corporation Burlington Massachusetts | July 7 1997 | Lack Of Energy Delivery To Patient | 42 Units Were Distributed | Alabama Alaska Louisiana Kansas Tennessee Washington State
1998-3-11 | Devices | II | z-213/218-8 | Futura Instrument Software For Aptt Application An Automated Random Access Analyzer For In Vitro Diagnostic Use In Coagulation And Fibrinolysis Testing In Human Plasma Acl Futura System Model Numbers A 0290001 Acl Futura 115 W Barcode B 0290011 Acl Futura 220 W Barcode C 0290111 Acl Futura 220 W O Barcode D 0290006 Acl Futura Japanese W Barcode 0290021 Acl Futura 220 V Barcode W O Comp 0029101 Models With Various Power Supply Voltage And Barcode Options | Manufacturer | Instrumentation Laboratory Company Lexington Massachusetts | May 19 1997 | Software Problem Caused False Short Aptt Activated Partial Thromboplastin Time | 584 Units Were Distributed | Nationwide And International
1998-3-11 | Devices | II | z-331/332-8 | Dc Medical Correct A Count Needle Count And Sharps Disposal System Foam Strip Needle Counter Products A Sterile Products With The Catalog Numbers 20 0301 20 0302 20 0303 20 0401 20 0402 20 0701 20 0702 20 0102 B Non Sterile Products With The Catalog Numbers 20 4301 20 4302 20 4303 20 4305 20 4306 20 4401 20 4402 20 4701 20 4702 20 4103 20 4104 | Dc Medical | Psc Inc | June 20 1997 | The Foam Strip Delaminated From The Plastic Box Causing Possible Needle Stick Injury To A Health Care Professional | 1 990 Cases 191 040 Units Were Distributed | Nationwide
1998-3-11 | Devices | II | z-357-8 | Siemens Servo Ventilator 300 300 A Designed For Intensive Care Ventilation | Siemens Medical Systems | Siemens Elema Ag Solna Sweden | December 29 1997 | Premature Failure Of Fuse Which Could Cause Loss Of Power To The Ventilator | 1 528 Units Were Distributed | Nationwide
1998-3-11 | Devices | II | z-358/359-8 | Mca And Nova Brand Hemodialyzers A Disposable Device Used For Hemodialysis A Mca 200 Catalog No | Manufacturer | Althin Medical Inc | December 22 1997 | The Hemodialyzer Headers May Become Lose | 9 706 Units Were Distributed | Nationwide And Sweden Quantity 9 706 Units Were Distributed
1998-3-11 | Devices | II | N/A | Model Series Luxura 48 Sunlamp Tanning Products | Manufacturer Fda Approved The Firm's Corrective Action Plan On February 12 | Prosun Tanning Industries Inc | February 12 1998 | The Sunlamp Product Failed To Comply With 21 Cfr 1040 | 95 Units Were Distributed | Nationwide
1998-3-11 | Devices | II | z-363/369-8 | Sunlamp tanning products | Manufacturer Fda Approved The Firm's Corrective Action Plan On February 19 | Helios Technologies Inc | February 19 1998 | The Sunlamp Products Imported By Helios Technologies Incorporated Failed To Comply With The Warning Label And User Instruction Requirements Of The Sunlamp Performance Standard 21 Cfr 1040 | 82 units | N/A
1998-3-11 | Devices | II | z-375/377-8 | Knightstar 320 Bi Level Respiratory System For The Support Of Spontaneously Breathing Patients A Model No | Nellcor Puritan Bennett | Nellcor Puritan Bennett Inc | February 13 1998 | Some Of The Devices Are Delivering Air Pressures That Are Not The Same As The Device Settings | 2 968 Units Were Distributed | Nationwide And International
1998-3-11 | Devices | II | z-380-8 | Becker External Drainage And Monitoring System With Anti Reflux Valve Used To Provide The Physician With A Closed System For Draining Cerbrospinal Fluid Csf From The Lateral Ventricles Of The Brain Or The Lumbar Subarachnoid Space For Monitoring Csf Pressure And Flow | Manufacturer | Medtronic Ps Medical Goleta California | January 16 1998 | A Drawing Error Was Discovered Where The Depiction Of The Anti Reflux Valve Was Inverted When Compared To The Previous Drawing Revision | 39 Units Were Distributed | California New Jersey Virginia
1998-3-11 | Devices | III | z-362-8 | Aim Supracondylar Nail Part 1812 20 Indicated For Fracture Fixation Of The Distal Third Of The Femur | Manufacturer | Depuy Ace Medical Company El Segundo California | January 14 1998 | The Cannula Running Through The Complete Length Of The Nail Was Omitted During Manufacture | 50 Nails Were Distributed | Nationwide And International
1998-3-11 | Devices | III | z-379-8 | Dsdna Igg M Enzyme Linked Immunosorbent Assay Elisa Wampole Laboratories Product No | Manufacturer | Trinity Biotech Jamestown New York | February 3 1998 | Index Value Of The Positive Control Is Above Its Stated Range On The Vial Label | 277 Kits Were Distributed | Nationwide And International
1998-3-11 | Devices | III | z-381/388-8 | Various Enzyme Immunoassays Eias In Vitro Diagnostic Products Labeled With Bartels Inc | Bartels | Gull Laboratories Inc | January 9 1998 | Products Contain Conjugate Which May Demonstrate Decline In Absorbance Values Over Time | A 41 B 7 C 100 Of Lot 2084 34 Of Lot 2087 1 Of Lot 7 Hmdsn D 2 E 10 F 24 G 4 H 7 I 99 J 70 Of Lot 2083 41 Lot 2091 Were Distributed | Nationwide Canada Ireland Australia Singapore