## 1998-5-06
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1998-5-06 | Drugs | II | d-118-8 | Decadron Phosphate Injection Dexamethasone Sodium Phosphate 4 Mg Per Ml In 1 Ml And 2 Ml Vials In Boxes Of 25 Units Indicated For The Treatment Of Multiple Disorders Diseases Or Medical States | Manufacturer | Merck Manufacturing Division Division Of Merck Company Inc | January 21 1998 | Precipitate Degradation | Approximately 2 500 1 Ml Vials And An Undetermined Amount Of 2 Ml Vials Remained On Market At Time Of Recall Initiation | Nationwide And International
1998-5-06 | Drugs | III | d-119-8 | Fluocinonide Topical Solution Usp 0 | Manufacturer | Teva Pharmaceuticals Usa Inc | January 28 1998 | Degradation Impurities Leading To Subpotency | 500 Bottles Of Lot 6525 Under The Major Label And 15 457 Bottles Under The Lemmon Label And 15 963 Bottles Of Lot 6622 Under The Lemmon Label Were Distributed | Nationwide
1998-5-06 | Biologics | II | b-767-8 | Platelets | Manufacturer | Michigan Community Blood Centers Traverse City Michigan | June 20 1997 | Blood Product Was Collected From A Donor With Graves Disease | 1 Unit Was Distributed | Kentucky
1998-5-06 | Biologics | II | b-876/878-8 | A Red Blood Cells B Platelets C Recovered Plasma Frozen | Manufacturer | American Red Cross Tri State Region Huntington West Virginia | February 18 1998 | Blood Products Were Collected From A Donor With A History Of Cancer | A 3 Units B 2 Units C 3 Units Were Distributed | California Kentucky Ohio West Virginia
1998-5-06 | Biologics | II | b-918-8 | Red Blood Cells | Blood Systems | United Blood Services Scottsdale Arizona | August 21 1997 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | Arizona
1998-5-06 | Biologics | II | b-919-8 | Fresh Frozen Plasma | Blood Systems | United Blood Services Scottsdale Arizona | August 23 1997 | Blood Product Corresponded To A Unit Of Clotted Red Blood Cells | 1 Unit Was Distributed | Arizona
1998-5-06 | Biologics | II | b-929-8 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Philadelphia Pennsylvania | September 2 1997 | Blood Product Was Incorrectly Tested For Anti Cmv Was Distributed For Transfusion | 1 Unit Was Distributed | Pennsylvania
1998-5-06 | Biologics | II | b-952/953-8 | A Red Blood Cells B Platelets | Manufacturer | Michigan Community Blood Centers Saginaw Michigan | December 9 1997 | Blood Products Were Collected From A Donor With Graves Disease | A 4 Units B 3 Units Were Distributed | Michigan And Mississippi
1998-5-06 | Biologics | II | b-954/955-8 | A Red Blood Cells B Platelets | Manufacturer | Michigan Community Blood Centers Saginaw Michigan | October 17 1997 | Blood Products Were Collected From A Donor With Graves Disease | A 6 Units B 5 Units Were Distributed | Michigan
1998-5-06 | Biologics | II | b-961/964-8 | A Red Blood Cells B Fresh Frozen Plasma C Red Blood Cells For Further Manufacture D Recovered Plasma | American Red Cross Blood Services | American Red Cross Blood Services Galesburg Illinois | September 1 1997 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Initially Reactive For Anti Hiv 1 With No Duplicate Retesting | A 19 Units B 1 Unit C 2 Units D 20 Units Were Distributed | Illinois Iowa Michigan Massachusetts Mississippi California Switzerland
1998-5-06 | Biologics | II | b-970/976-8 | A Whole Blood B Red Blood Cells C Platelets D Plasma E Source Leukocytes F Platelets For Further Manufacturing G Recovered Plasma | Manufacturer | American Red Cross Blood Services Baltimore Maryland | January 16 1998 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Western Blot Negative | A 1 Unit B 36 Units C 23 Units D 8 Units E 8 Units F 2 Units G 27 Units Were Distributed | Maryland Pennsylvania District Of Columbia Massachusetts New Jersey California
1998-5-06 | Biologics | II | b-994/996-8 | A Red Blood Cells B Platelets C Fresh Frozen Plasma For Further Manufacture | Manufacturer | American Red Cross Blood Services St | March 25 1997 | Blood Products Were Collected From A Donor Whose Spouse Has Hepatitis C | 1 Unit Of Each Component Was Distributed | Missouri Alabama California
1998-5-06 | Biologics | II | b-997/998-8 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services St | October 9 1997 | Blood Products Were Collected From A Donor Who Had Been Deferred For High Risk Behavior | 1 Unit Of Each Component Was Distributed | Missouri And California
1998-5-06 | Biologics | II | b-1001/1007-8 | A Red Blood Cells B Platelets C Cryoprecipitate D Plasma E Fresh Frozen Plasma F Whole Blood G Recovered Plasma | Manufacturer | American Red Cross Blood Services Cleveland Ohio | November 17 1996 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Hiv 1 But Were Collected From Donors Who Previously Tested Repeatedly Reactive For The Antibody And Were Improperly Re Entered | A 121 Units B 59 Units C 12 Units D 59 Units E 13 Units F 8 Units G 109 Units Were Distributed | Ohio Georgia Connecticut Nebraska California Florida Massachusetts New York Switzerland
1998-5-06 | Biologics | II | b-1016-8 | Platelets | Blood Systems | United Blood Services Scottsdale Arizona | December 8 1997 | Blood Product With Visible Aggregates Was Not Quarantined And Was Distributed For Transfusion | 1 Unit Was Distributed | Arizona
1998-5-06 | Biologics | II | b-1017-8 | Platelets | Blood Systems | United Blood Services Scottsdale Arizona | February 10 1998 | Blood Product Had An Inadequate Rest Time During Preparation | 1 Unit Was Distributed | Arizona
1998-5-06 | Biologics | II | b-1018-8 | Platelets | Blood Systems | United Blood Services Scottsdale Arizona | January 18 1998 | Blood Product Had An Inadequate Rest Time During Preparation | 1 Unit Were Distributed | Arizona
1998-5-06 | Biologics | II | b-1044-8 | Red Blood Cells | Manufacturer | American Red Cross Blood Services St | November 4 1997 | Blood Product Was Not Quarantined After Receiving Information Concerning Post Donation Illness | 1 Unit Was Distributed | Pennsylvania
1998-5-06 | Biologics | III | b-617-8 | Whole Blood | Manufacturer | American Red Cross Blood Services Portland Oregon | November 21 1997 | Blood Product Was Collected From A Donor Who Subsequently Reported A Post Donation Infection Was Distributed After Receipt Of The Information | 1 Unit Was Distributed | Oregon
1998-5-06 | Biologics | III | b-949-8 | Red Blood Cells Leukocytes Reduced | Manufacturer | Bergen Community Regional Blood Center Paramus New Jersey | October 23 1995 | Unlicensed Blood Product Was Distributed In Interstate Commerce | 11 Units Were Distributed | New York
1998-5-06 | Biologics | III | b-1008-8 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Louisville Kentucky | November 26 1997 | Blood Products Were Stored At Unacceptable Temperatures | 2 Units Were Distributed | Indiana And Kentucky
1998-5-06 | Devices | II | z-529-8 | Liebel Flarsheim Brand Ct 9000 Contrast Media Injectors Catalog 800001 Used To Infuse Known Quantities Of Radiopaque Contrast Medium At A Predetermined Rate Into A Patient's Vascular System Which Enhances Diagnostic Images Obtained With Computed Tomography Ct | Manufacturer | Liebel Flarsheim Company Cincinnati Ohio | March 26 1998 | The Screw In The Injector's Pivot Assembly Which Holds The Powerhead May Become Loose Or Break And Result In The Powerhead Falling Down Onto An Individual Standing Directly Under Or Nearby The Falling Component | 2 405 Units Were Distributed | Nationwide And International
1998-5-06 | Devices | II | z-530/531-8 | Genzyme Saphlite Products A Sterile Disposable Device That Is Intended For Use With The Saphlite Saphenous Vein Retractor | Manufacturer | Genzyme Surgical Products Tucker Georgia | March 13 1998 | If The Light Panel Is Placed In Direct Contact With A Secondary Surface The Optical Properties Of The Light Panel May Change Causing Heat Transfer To Occur Which May Be Excessive And Present A Risk Of Burn To The User Or Patient | A 52 Units B 654 Units Were Distributed | Nationwide And International
1998-5-06 | Devices | II | z-525-8 | Organon Teknika Mda 180 Coagulation Analyzer Version B Software Part 22518 21 Revision 10 | Manufacturer | Organon Teknika Corporation Oklahoma City Oklahoma Recalled By Manufacturer By Letter On March 25 1998 | March 25 1998 | This Version Of The Software Contains An Error In A Data File That Controls The Washing Cycle Which May Cause Carry Over From The Previous Test | 209 Units Were Distributed | Nationwide And Canada
1998-5-06 | Devices | II | z-527/528-8 | Sysmex Ca 6000 Automated Coagulation Analyzer A Fully Automated Computerized Blood Plasma Coagulation Analyzer For In Vitro Diagnostic Use In Clinical Labs A Catalog No | Dade Behring | Toa Medical Electronics Company Ltd | March 20 1998 | Carry Over Of The Antithrombin Iii Substrate Reagent With Testing When Using The Random Access Mode May Result In Falsely Low Sample Values | 118 Devices Were Distributed | Nationwide Colombia Mexico Peru Canada
1998-5-06 | Devices | III | z-526-8 | Cobas Integra Ion Selective Electrode For Chloride Designed For The Quantitative Determination Of Sodium Potassium Chloride And Lithium In Serum And Plasma And Of Sodium Potassium And Chloride In Urine Product Code No | Roche Diagnostic Systems | Roche Diagnostic Systems Kaiseraugst Switzerland | March 31 1997 | The Device May Give Falsely Elevated Chloride Values In Samples Containing Salicylate | A 30 Units B 10 Units Were Distributed Firm Estimates None Remains On The Market | New Jersey New York Connecticut Pennsylvania North Carolina Florida Alabama Kentucky Ohio Louisiana Arkansas Texas
1998-5-06 | Devices | III | z-532/534-8 | Rheumaton Tm 2 Minute Hemagglutination Slide Test For The Determination Of Rheumatoid Factor A Product No | Carter Wallace | Wampole Laboratories Cranbury New Jersey Own Label Distributor | March 21 1996 | Low Amboceptor Concentrations In The Rheumaton Reagent Can Result In Reduced Test Sensitivity | Lot Amount Shipped 5 Hg 1407 116 150 Tests Per Kit 5 Hg 1701 428 150 Tests Per Kit 5 Hg 1702 325 20 Tests Per Kit 5 Hg 3102 429 20 Tests Per Kit 5 Hh 0301 299 50 Tests Per Kit 5 Hh 0902 406 50 Tests Per Kit 5 Hh 1001 110 Foreign Consignment 5 Hh 1002 597 Foreign Consignment 5 Hh 1101 649 50 Tests Per Kit 5 Hh 1601 339 50 Tests Per Kit 5 Hh 1603 299 150 Tests Per Kit Firm Estimates None Remain On The Market | Nationwide And International
1998-5-06 | Devices | III | z-535-8 | Zimmer F M Acetabular Shell 50 Mm Indicated For Use In Surgery For Rehabilitating Hip Damaged As A Result Of A Variety Of Disease Processes | Manufacturer | Zimmer Inc | January 21 1998 | An Incorrect Size Is Etched Onto The Inside Of The Shell | 33 Units Were Distributed | Texas Tennessee France Italy Japan Greece Germany The United Kingdom
1998-5-06 | Devices | III | z-536/543-8 | Versy Beaded Full Coat Stem Hip Prosthesis A Catalog No | Manufacturer | Zimmer Inc | February 4 1998 | Adhesive From Pressure Sensitive Tape Used During Manufacturer Adhered To The Device Contaminating The Device | 424 Units Were Distributed | Nationwide Canada England Japan
1998-5-06 | Devices | III | z-522/524-8 | Rheumaton Tm 2 Minute Hemagglutination Slide Test For The Quantitative And Qualitative Determination Of Rheumatoid Factor In Serum Or Synovial Fluid A Product 35 D 2 Test Kit Size 20 Tests B Product 35 D 4 Test Kit Size 50 Tests C Product 35 D 6 Test Kit Size 150 Tests | Carter Wallace | Wampole Laboratories Cranbury New Jersey Own Label Distributor | February 7 1995 | Low Amboceptor Concentrations In The Rheumaton Reagent Can Result In Reduced Test Sensitivity | Lot Amount Shipped 3 G 7233 623 150 Tests Per Kit 3 G 7233 A 4427 50 Tests Per Kit 3 G 7233 D 180 Foreign Consignment 3 G 7233 E 175 Foreign Consignment 3 G 7233 Z 846 150 Tests Per Kit | Nationwide And International