## 1998-7-01
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1998-7-01 | Biologics | II | b-843-8 | Platelets | Manufacturer | American Red Cross Penn Jersey Region Philadelphia Pennsylvania | January 22 1998 | Blood Products Which Were Exposed To Unacceptable Shipping Temperatures And Not Relabeled Appropriately | 6 Units Were Distributed | Pennsylvania
1998-7-01 | Biologics | II | b-1089/1091-8 | A Red Blood Cells B Platelets For Further Manufacture C Recovered Plasma | Manufacturer | American Red Cross Blood Services Lansing Michigan | January 28 1998 | Blood Products Collected From A Donor Whose Spouse Was Receiving Clotting Factor Concentrates | A 3 Units B 1 Unit C 4 Units Were Distributed | Michigan And California
1998-7-01 | Biologics | II | b-1249/1254-8 | A Whole Blood B Red Blood Cells C Fresh Frozen Plasma D Plasma Frozen Within 24 Hours After Phlebotomy E Red Blood Cells For Further Manufacture F Recovered Plasma Frozen | Manufacturer | American Red Cross Blood Services Peoria Illinois | September 1 1997 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For The Antibody And Was Subjected To Additional Retesting | A 1 Unit B 33 Units C 3 Units D 1 Unit E 5 Units F 32 Units Were Distributed | Arkansas Florida Illinois Missouri Michigan Tennessee California
1998-7-01 | Biologics | II | b-1259-8 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Fort Wayne Indiana | February 11 1998 | Blood Product Was Collected From A Donor Who Had Dental Surgery On The Day Of Donation | 1 Unit Was Distributed | Indiana
1998-7-01 | Biologics | II | b-1260/1261-8 | A Red Blood Cells B Recovered Plasma | Blood Systems | United Blood Services Mcallen Texas | March 3 1998 | Blood Products Were Collected From A Donor Who Was Currently Deferred For Receiving A Tattoo | 1 Unit Of Each Component Was Distributed | Texas And North Carolina
1998-7-01 | Biologics | II | b-1262/1263-8 | A Red Blood Cells B Recovered Plasma | Blood Systems | United Blood Services El Paso Texas | December 16 1997 | Blood Products Were Collected From A Donor Who Had Surgery Within Five Months Of Donation | 1 Unit Of Each Component Was Distributed | Texas And Switzerland
1998-7-01 | Biologics | II | b-1264/1267-8 | A Red Blood Cells B Platelets Pheresis C Fresh Frozen Plasma D Recovered Plasma | Manufacturer | Coffee Memorial Blood Center Amarillo Texas | March 20 1998 | Blood Products Were Collected From A Donor Who Previously Tested Cmv Positive | A 3 Units B 28 Units C 1 Unit D 5 Units Were Distributed | Texas Arkansas Tennessee Colorado California
1998-7-01 | Biologics | II | b-1268-8 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Savannah Georgia | January 12 1998 | Blood Product Had A High Platelet Count | 1 Unit Was Distributed | Georgia
1998-7-01 | Biologics | II | b-1269/1271-8 | A Red Blood Cells B Fresh Frozen Plasma C Recovered Plasma Frozen | Manufacturer | American Red Cross Blood Services Peoria Illinois | September 1 1997 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For The Antibody And Was Subjected To Additional Retesting | A 28 Units B 5 Units C 23 Units Were Distributed | Florida Illinois Iowa California
1998-7-01 | Biologics | II | b-1272-8 | Source Leukocytes For Further Manufacturing | Manufacturer | American Red Cross Columbus Ohio | April 3 1998 | Blood Product Was Not Quarantined And Released Despite The Donor's Use Of A Positive Confidential Unit Exclusion Cue Sticker | 1 Unit Was Distributed | New Jersey
1998-7-01 | Biologics | II | b-1278-8 | Red Blood Cells Leukocyte Reduced | Manufacturer | Northern Illinois Blood Bank Rockford Illinois | January 12 1998 | Blood Products Were Leukoreduced Using Filters Associated With Post Transfusion Conjunctivitis | 419 Units Were Distributed | Illinois
1998-7-01 | Biologics | II | b-1279-8 | Cryoprecipitated Ahf | Manufacturer | American Red Cross Blood Services Atlanta Georgia | November 21 1997 | Blood Product Was Prepared From A Unit Of Whole Blood With An Extended Collection Time Was Distributed | 1 Unit Was Distributed | Georgia
1998-7-01 | Biologics | II | b-1280-8 | Cryoprecipitated Ahf | Manufacturer | American Red Cross Blood Services Atlanta Georgia | December 2 1997 | Blood Product Was Prepared From A Unit Of Whole Blood With An Extended Collection Time Was Distributed | 1 Unit Was Distributed | Georgia
1998-7-01 | Biologics | III | b-1104-8 | Reagent Red Blood Cells Referencells For Abo Serum Grouping Kits | Manufacturer | Immucor Inc | September 25 1997 | Reagent Red Blood Cells Were Accompanied By An Incorrect Direction Circular | 3 105 Kits Were Distributed | Nationwide
1998-7-01 | Biologics | III | b-1258-8 | Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services St | May 27 1997 | Blood Product Tested Negative For Unexpected Antibodies But Was Collected From A Donor Who Tested Positive For Unexpected Antibodies On A Previous Donation | 1 Unit Was Distributed | Missouri
1998-7-01 | Biologics | III | b-1273/1277-8 | A Red Blood Cells B Platelets C Platelets Pheresis D Fresh Frozen Plasma E Recovered Plasma | Manufacturer | Blood Bank Of Alaska Inc | May 23 1994 | Firm Failed To Follow Manufacturer's Product Insert For Hbsag Testing | A 34 Units B 23 Units C 2 Units D 1 Unit E 33 Units Were Distributed | Alaska California Florida
1998-7-01 | Devices | I P | z-631-8 | Surestep Blood Glucose Monitoring System Meter Catalog No | Manufacturer | Lifescan Inc | June 4 1997 | The Meters May Give An Er 1 Error 1 Message If A Patients Blood Glucose Is 500 Mg Dl Or Greater | 727 004 Meters Were Distributed | Nationwide And International
1998-7-01 | Devices | II | z-602-8 | 3 M Precise Rsh 100 Reusable Skin Stapler Handle Product Numbers Ds 5 Ds 15 Ds 25 Ms 5 Ms 15 Ms 25 And Ms 35 An Accessory To 3 M Disposable Multi Shot Skin Staplers | 3 M Health Care | Thermotech Hopkins Minnesota | June 3 1998 | A Product Defect Could Cause The Skin Stapler Anvil Or Plastic Detent Tab To Break | 1 944 Handles Were Distributed | Florida Georgia Minnesota Missouri Pennsylvania Texas
1998-7-01 | Devices | II | z-623-8 | Laparoscopic Insufflation Tube Model C 2001 Single Patient Use For Delivering Carbon Dioxide Gas Into The Abdomen During Laparoscopic Surgery | Manufacturer | Applied Medical Resources Amr Laguna Hills California | May 13 1998 | The Pouch Seals Were Defective Thereby Compromising The Sterility Of The Device | 200 Boxes 10 Units Per Box Were Distributed | California Florida Hawaii Illinois Maryland Michigan Missouri Nebraska New York Ohio Pennsylvania South Carolina Texas Virginia Washington State England
1998-7-01 | Devices | II | z-625/626-8 | In Vitro Diagnostic Products Used For The Quantitative Serial Determination Of Prostate Specific Antigen P | Manufacturer | Chiron Diagnostics Corporation East Walpole Massachusetts | June 18 1997 | The Lite Reagent Exhibited Bottle To Bottle Variation In Relative Light Units Rlu Due To Excessive Exposure To Light In The Warehouse | A 180 Kits B 1 921 Kits Were Distributed | Nationwide
1998-7-01 | Devices | II | z-627-8 | Acs 180 Gentamicin In Vitro Diagnostic Used For The Quantitative Determination Of Gentamicin In Serum Or Plasma Using The Ciba Corning Acs Part Numbers 570021 And 570020 | Manufacturer | Chiron Diagnostics Corp | June 30 1997 | The Lite Reagent Exhibited Bottle To Bottle Variation In Relative Light Units Rlu Due To Excessive Expose To Light In The Warehouse | 175 Kits Were Distributed | Nationwide
1998-7-01 | Devices | II | z-635-8 | Natural Knee Ii Non Porous Femoral Size 1 Right | Manufacturer | Sulzer Orthopedics Inc | April 30 1998 | The Device Packages Contained A Natural Knee 1 Porous Femoral Size 3 Left Device Instead Of The Labeled Size 1 Right | 5 Units Were Distributed | Florida Michigan Wisconsin
1998-7-01 | Devices | II | z-648-8 | Capture Cytomegalovirus Cmv Solid Phase System For The Detection Of Igg And Igm Antibodies To Cmv | Manufacturer | Immucor Inc | December 13 1996 | The Indicator Cells No Longer Meet Their Specifications With Respect To Detection Of Igm Antibody | 57 Kits Were Distributed | Nationwide And Italy
1998-7-01 | Devices | II | z-651-8 | Model Series Dr | Manufacturer Fda Approved The Firm's Corrective Action Plan On June 15 | Aegis International Services Inc | June 15 1998 | The Sunlamp Product Failed To Comply With 21 Cfr 1040 | 4 Units Were Distributed | Nationwide
1998-7-01 | Devices | II | z-652/665-8 | 14 various Medical Devices | Manufacturer | Medtronic Micro Interventional Systems Mis Sunnyvale California | May 15 1998 | The Premarket Notifications Were Withdrawn By Medtronic Based On The Determination That The Data Supporting The 510 K Were Submitted Improperly Prior To The Acquisition Of Mis In 1995 | 22 789 Units Were Distributed | Nationwide
1998-7-01 | Devices | III | z-606-8 | Alexon Trend Prospect Cryptosporidium Microplate Assay Kits Product Numbers 540 24 24 Tests And 540 96 96 Tests An In Vitro Diagnostic Test Kit For The Qualitative Detection Of Cryptosporidium Specific Antigen In Aqueous Extracts Of Fecal Specimens | Manufacturer | Alexon Trend Inc | March 25 1998 | False Positive Test Results For Cryptosporidiosis | 1 196 Assay Kits Were Distributed | Nationwide And International
1998-7-01 | Devices | III | z-633/634-8 | Diagnostic X Ray System Components A Diagnostic X Ray System Component Fst 10 Freestanding Tube Stand B Diagnostic X Ray System Component Ms 7917 Cassette Tray Upright Support Structure | Manufacturer | Trex Medical Corporation Bennett Division Copiague New York | April 24 1998 | The Counter Weight Cables Were Manufactured With Methods That Resulted In Defective Crimps | 67 units | Nationwide And International