## 1998-9-30
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1998-9-30 | Drugs | II | d-239-8 | Pacerone Amiodarone Hcl 200 Mg Tablets 60 Tablets Per Bottle Ndc Number 0245 0147 60 And In Unit Dose Packets 100 Unit Dose Packets Per Carton Ndc Number 0245 0147 01 | Manufacturer | Upsher Smith Laboratories Inc | August 21 1998 | Superpotency | 27 062 60 Tablet Bottles And 1 240 Unit Dose 100 Tablet Cartons Were Distributed | Nationwide
1998-9-30 | Drugs | II | d-241-8 | Fluoride Toothpaste Gel Colgate Aim Regular Winterfresh Mint Flavors Otc In 75 Ml 3 | Manufacturer | Spain's Gifts Cards Philadelphia Pennsylvania | July 17 1998 | Product May Contain Cyclamates | Undetermined | Pennsylvania Delaware Maryland New Jersey
1998-9-30 | Drugs | III | d-240-8 | Loestrin Fe 1 20 Tablets Norethindrone Acetate Ethinyl Estradiol Usp And Ferrous Fumarate 28 Tablet Units Rx Oral Contraceptive | Parke Davis | Warner Lambert Company Fajardo Puerto Rico | August 12 1998 | In Process Blend Specification Failure Loss On Drying | 95 658 Units Were Distributed | Nationwide
1998-9-30 | Biologics | II | b-1552/1555-8 | A Red Blood Cells B Platelets C Platelets For Further Manufacture D Recovered Plasma | Manufacturer | Central California Blood Center Fresno California | December 18 1995 | Blood Products Tested Non Reactive For The Antibody To The Hepatitis B Core Antigen Anti Hbc But Were Collected From A Donor Who Was Previously Repeatedly Reactive For Anti Hbc On Two Separate Donations | A 8 Units B 3 Units C 1 Unit D 2 Units Were Distributed | California
1998-9-30 | Biologics | II | b-1593/1594-8 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Peoria Illinois | May 12 1998 | Blood Products Tested Negative For The Hepatitis B Surface Antigen Hbsag But Were Collected From A Donor Who Previously Tested Repeat Reactive For Hbsag With No Confirmatory Testing | 1 Unit Of Each Component Was Distributed | Illinois And California
1998-9-30 | Biologics | III | b-1581/1582-8 | A Red Blood Cells B Recovered Plasma | Manufacturer | Department Of The Navy Naval Hospital Bremerton Washington | December 4 1997 | Blood Products Were Collected From A Donor Who Exceeded The Donation Acceptance Criteria For Body Temperature | 1 Unit Of Each Component Was Distributed | California Florida Washington State
1998-9-30 | Biologics | III | b-1591-8 | Source Plasma | Community Bio Resources | Plasma Center Tyler Inc | March 18 1998 | Blood Products Were Collected From Donors Who Were Not Tested For Syphilis | 5 Units Were Distributed | Austria
1998-9-30 | Biologics | III | b-1596-8 | Red Blood Cells | Blood Systems | United Blood Services Albuquerque New Mexico | May 18 1998 | Blood Product Was Labeled With An Extended Expiration Date | 1 Unit Was Distributed | Colorado
1998-9-30 | Biologics | III | b-1597/1598 | A Rad Sure Blood Irradiation Labels 15 Gy B Rad Sure Blood Irradiation Labels 25 Gy Distributed By Isp Huntsville Huntsville Alabama | International Specialty Products | Kapco Kent Ohio | January 12 1998 | Blood Irradiation Labels May Not Perform As Intended Throughout Their Labeled Expiration Dates | 14 508 Boxes 200 Units Per Box Of Indicators Were Distributed | Nationwide And International
1998-9-30 | Devices | II | z-851/862-8 | Secur Fit Psl Acetabular Shell | Manufacturer | Osteonics Corporation Allendale New Jersey | August 22 1997 | The Multilingual Side Of The Outer Carton Has Incorrect Size Information While The English Side Of The Outer Carton Has The Correct Size Information | 162 Units Were Distributed | Nationwide And International
1998-9-30 | Devices | II | z-869-8 | Horizon Pump Iv Administration Set | B Braun Mcgaw | B Braun Medical | May 19 1998 | Non Conforming Horizon Iv Sets Due To A Defective Component Cassette Assembled Into The Iv Line | 560 642 Units Were Distributed | Nationwide And Canada
1998-9-30 | Devices | II | z-870/871-8 | Biopak For Windows Software Versions 1 | Manufacturer | Bio Research Inc | September 24 1998 | The Firm Did Not Get Premarket Approval Pma Or 510 K Clearance For Significant Changes To Their Biopak Occlusal Measurement System | 280 Software Disk Sets 7 Disks Per Set Were Distributed | Nationwide And International
1998-9-30 | Devices | II | z-876-8 | Baxter Minicap Disconnect Cap With Povidone Iodine Solution Catalog Number 5 C 4466 P A Plastic Cap Containing Povidone Iodine Designed To Isolate The Easy Lock Connector Of The Solution Transfer Set During Peritoneal Dialysis | Baxter Healthcare Corporation | Baxter Healthcare Corporation Cleveland Mississippi | September 16 1998 | Some Of The Caps Do Not Contain Povidone Iodine | 207 940 Units Were Distributed | Nationwide And International
1998-9-30 | Devices | II | z-877/957-8 | Alcon Surgical Custom Paks Containing Devon Needle Counters | Alcon Laboratories | Graphic Controls Corporation Chatsworth California Devon Needle Counters | August 24 1998 | The Kits Contain Devon Needle Counters Recalled By Graphic Control Corp | 3 996 Kits Were Distributed | Nationwide And Canada
1998-9-30 | Devices | III | z-828/833-8 | Solid Phase No Boil Folic Acid And Dualcount Solid Phase No Boil Folic Acid Vitamin B 12 Kits In Vitro Radioimmunoassay Kits Indicated For The Quantitative Measurement Of Folic Acid And Vitamin B 12 In Human Serum Plasma And Whole Blood As Follows A Solid Phase No Boil Folic Acid Kit Catalog No | Manufacturer | Diagnostic Products Corporation Dpc Los Angeles California | June 12 1998 | The Folate Control Values Are Elevated And Exceed The Limits Of Acceptability | 1 100 Kits Were Distributed Firm Estimates None Remains On The Market | Arizona California Connecticut Indiana Massachusetts Maryland Michigan New York Wisconsin Wyoming Florida International
1998-9-30 | Devices | III | z-874-8 | Boston Eo Enflufocon B Rigid Gas Permeable Contact Lens Buttons Catalog 2600 B | Polymer Technology | Polymer Technology A Division Of Wilmington Partners Lp Wilmington Massachusetts | August 30 1998 | Particulate Matter Has Been Found In Some Lens Buttons | 15 297 Buttons Were Distributed | Nationwide
1998-9-30 | Devices | III | z-875-8 | Navarre 6 French Locking Pigtail Universal Drainage Catheter Product Nud 6 Lpt Used Only In Non Vascular Drainage Procedures For Abscess Cyst And Other General Purpose Drainage Applications | Manufacturer | Navarre Biomedical Ltd | September 1 1998 | The Recommended Guidewire Size On The Product Labels Was Incorrect | 100 Catheters Were Distributed | California Florida Massachusetts Minnesota Missouri Nevada New York Oklahoma Pennsylvania Texas