## 1999-3-10
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-3-10 | Drugs | II | d-129/131-9 | Oxygen Usp Rx Compressed In High Pressure Cylinders E D And A Size Oxygen Usp Rx Liquefied In Gp 4500 And Gp 5500 Vessels Medical Air Usp Rx Compressed In High Pressure Cylinders Size 233 | Manufacturer | Red Ball Oxygen Co | December 18 1998 | Current Good Manufacturing Practice Deviations Including But Not Limited To Lack Of Documented Assay Results For Purity And Identity And Lack Of Equipment Calibration Records | A 1 008 Cylinders B 6 Cylinders C 2 Cylinders Were Distributed | Arkansas Louisiana Texas
1999-3-10 | Biologics | II | b-543-9 | Platelets Pheresis Leukocytes Reduced | Manufacturer | United Blood Services Mcallen Texas | January 6 1999 | Blood Products Had High Platelet Counts | 5 Units Were Distributed | Texas
1999-3-10 | Biologics | II | b-544-9 | Red Blood Cells | Blood Care | Bloodcare Dallas Texas | October 8 1998 | Blood Product Was Collected From A Donor Whose Arm Had Not Been Adequately Prepared Prior To Venipuncture | 1 Unit Was Distributed | Texas
1999-3-10 | Biologics | II | b-557/558-9 | A Red Blood Cells B Recovered Plasma | Manufacturer | Bloodcare Dallas Texas | July 26 1998 | Blood Products Were Collected From A Donor Who Reported Previously Testing Positive For Hepatitis B | 1 Unit Of Each Component Was Distributed | Texas And Switzerland
1999-3-10 | Biologics | II | b-559-9 | Red Blood Cells | Manufacturer | Oklahoma Blood Institute Oklahoma City Oklahoma | May 30 1997 | Blood Product Was Labeled With An Extended Expiration Date | 1 Unit Was Distributed | Oklahoma
1999-3-10 | Biologics | II | b-560-9 | Red Blood Cells | Manufacturer | Oklahoma Blood Institute Oklahoma City Oklahoma | June 24 1997 | Blood Product Was Labeled With An Extended Expiration Date | 1 Unit Was Distributed | Oklahoma
1999-3-10 | Biologics | II | b-566-9 | Platelets | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Minnesota | July 17 1996 | Blood Product Corresponded To A Unit Of Red Blood Cells That Was Positive For Serratia Liquifaciens | 1 Unit Was Distributed | Minnesota
1999-3-10 | Biologics | II | b-567-9 | Red Blood Cells | Manufacturer | Oklahoma Blood Institute Oklahoma City Oklahoma | December 3 1996 | Blood Products Corresponded To A Unit Of Single Donor Platelets Which Was Positive For Staphylococcus Auricularis Or A Unit Of Pooled Platelets Which Was Positive For Enterococcus Faecalis | 5 Units Were Distributed | Oklahoma Arkansas Texas
1999-3-10 | Biologics | III | b-470-9 | Recovered Plasma | Manufacturer | American Red Cross Blood Services Nashville Tennessee | August 22 1996 | Unit Of Red Blood Cells Implicated In A Transfusion Reaction Was Found To Be Contaminated With Serratia Marcescens | 1 Unit Was Distributed | Switzerland
1999-3-10 | Biologics | III | b-537/542-9 | Was Distributed | Manufacturer | Healthcare Provider Services Inc | November 5 1998 | Blood Products Were Incorrectly Tested For The Anti Hiv 1 Antigen | A 22 Units B 6 Units C 5 Units D 8 Units E 17 Units F 21 Units Were Distributed | Massachusetts Rhode Island Switzerland
1999-3-10 | Biologics | III | b-555-9 | Autologous Peripheral Blood Stem Cells | Manufacturer | Bloodcare Dallas Texas | October 22 1998 | Autologous Blood Product Tested Repeatedly Reactive For Anti Htlv 1 2 Western Blot Indeterminate Was Distributed Without A Biohazard Label | 1 Unit Was Distributed | Texas
1999-3-10 | Biologics | III | b-556-9 | Platelets | Blood Systems | United Blood Services Scottsdale Arizona | August 15 1996 | Blood Product Was Prepared From A Unit Of Whole Blood Designated As A Difficult Collection | 1 Unit Was Distributed | North Dakota
1999-3-10 | Biologics | III | b-561-9 | Platelets Pheresis | Manufacturer | Oklahoma Blood Institute Oklahoma City Oklahoma | September 16 1997 | Blood Products Were Distributed After The Donor Reported A Post Donation Illness | 3 Units Were Distributed | Oklahoma
1999-3-10 | Devices | II | z-623/633-9 | Corometrics Infant Apnea Monitors Models 500 500 E 500 Exl 501 502 510 511 | Manufacturer | Corometrics Medical Systems Inc | January 18 1999 | The Audio Alarm May Fail To Sound | 106 Units Were Distributed | California Connecticut Florida Georgia Louisiana Massachusetts Maryland Minnesota Mississippi Kansas Nebraska New York Ohio Tennessee Texas Virginia Washington International
1999-3-10 | Devices | II | z-641/642-9 | Model 3000 Nuclear Cameras A Model Prism 3000 Xp B Model Prism 3000 S | Manufacturer | Picker International Inc | November 40 1998 | Unintended Motion Of Gantry During Set Up | 325 Units Were Distributed | Nationwide And International
1999-3-10 | Devices | II | z-643/650-9 | Prism Xpvt Nuclear Medicine Imaging System A Axis Catalog 210714 B Axis Catalog 210880 C Axis Catalog 211037 D Axis Catalog 211039 E Irix Catalog 210857 F Irix Catalog 210881 G Irix Catalog 211036 H Irix Catalog 211040 | Manufacturer | Picker International | December 15 1998 | Unexpected Camera Movement Which Requires The Operator To Power Down And Reboot With Delay In Diagnosis | 63 Units Were Distributed | Nationwide And International
1999-3-10 | Devices | II | z-651/654-9 | Nuclear Medical Imaging Systems A Prism 1000 B Prism 1500 C Prism 2000 D Prism 3000 | Manufacturer | Picker International | May 38 1997 | Software Error May Result In Loss Of Data Requiring Patient Re Scan And Possible Delay In Diagnosis | 158 Units Were Distributed | Nationwide And International
1999-3-10 | Devices | II | z-655/656-9 | Nuclear Medical Imaging Systems W Fx And Fx 800 Series Computers And Version 8 | Manufacturer | Picker International Inc | November 40 1998 | Software Error May Result In Patient Misdiagnosis | 70 Units Were Distributed | Nationwide And International
1999-3-10 | Devices | II | z-657-9 | Prism 1500 Nuclear Medical Imaging System Model 1500 Xp | Manufacturer | Picker International | July 39 1998 | Uncommanded Unexpected Linear Gantry Movement Due To Electro Static Discharge | 32 Units Were Distributed | Nationwide And International
1999-3-10 | Devices | II | z-658/659-9 | Model 3000 Nuclear Imaging System Cameras A Prism 3000 Xp B 3000 S | Manufacturer | Picker International | February 37 1997 | Incorrect Head Movement And Message Display Due To Software Errors | 70 Units Were Distributed | Nationwide And International
1999-3-10 | Devices | II | z-660-9 | Edge System Pelvic Array Coil An Accessory To The Mri | Manufacturer | Picker International Inc | October 38 1997 | Excessive Patient Heating During Examination In The Pelvic Array Coil | 71 Units Were Distributed | Nationwide And International
1999-3-10 | Devices | II | z-671-9 | Lifepak 12 Defibrillator Monitor Designed For Both Out Of Hospital And Hospital Users Automated External Defibrillator Aed And Manual Defibrillation Therapy Diagnostic Monitoring And Extensive Data Storage Capability Part Numbers Vlp 12 02 000021 24 26 27 29 31 34 35 39 40 42 44 46 50 53 55 57 58 59 62 63 64 65 67 68 69 And 000116 | Manufacturer | Medtronic Physio Control Redmond Washington | January 13 1999 | The Placement Of Incorrect Circuit Board Into The Device Resulted In The Failure Of The Device To Perform As Intended | 649 Units Were Distributed | Nationwide And International
1999-3-10 | Devices | II | z-672/675-9 | A Precitrol A Control Serum And Diluent Catalog No | Roche Diagnostics Boehringer Mannheim Corporation | Roche Diagnostics Boehringer Mannheim Corporation Indianapolis Indiana Boehringer Mannheim Gmbh Mannheim Germany Catalog 123919 Only | December 7 1998 | The Method For Calibration Of Total Bilirubin Dpd Results In A 16 Analytical Bias Compared To The Doumas Method | Approximately 233 000 Kits | Nationwide And International
1999-3-10 | Devices | II | z-680/681 | Lithotripsy System Software Eproms A Software Version Lsh V 3 | Healthtronics | Hmt High Medical Technologies Ag Ch 8280 Kreuzlingen Switzerland | November 24 1998 | Software Upgrade Yielding Error Messages And Complete Lock Up Of Instrument | 17 Lithotran Systems Were Distributed | Nebraska Missouri Texas Washington State Indiana Pennsylvania Florida Connecticut California Tennessee Georgia
1999-3-10 | Devices | II | z-682-9 | Port A Cath P | Manufacturer | Sims Deltec Inc | February 16 1999 | The Portal Housings Of Some Of The Devices Became Cracked And Some Of The Septums In The Devices Became Dislodged | 13 235 Units Were Distributed | Nationwide And International
1999-3-10 | Devices | II | z-683/684-9 | Olympic Mini Bili Lite Models 77 78 | Manufacturer | Olympic Medical Corp | November 19 1998 | Support Springs In Bili Lites May Break Causing Arm To Fall | 138 Units Were Distributed | Nationwide And International
1999-3-10 | Devices | II | z-685-9 | Bubble Suction Tubing | Manufacturer | Conmed Corporation El Paso Texas | February 19 1999 | Non Sterility | 12 Cases 50 Units Per Case Were Distributed | North Carolina And Florida
1999-3-10 | Devices | II | z-686-9 | Beta 90 50 Mobile Imaging Table | Manufacturer | Stille Beta Inc | September 15 1998 | Tables Were Shipped And Sold Without Properly Designed Final Modifications | 2 Units Were Distributed | Ohio And Florida
1999-3-10 | Devices | II | z-687/688-9 | 8 Mm Straight Ratchet Clips Indicated For Surgical Clamping During Cardiovascular Peripheral Vascular And General Surgery A Model No | Manufacturer | Applied Medical Resources Laguna Hills California | August 6 1998 | A Non Radiused Corner On The Ratchet Clip Could Perforate The Pouches Thereby Compromising The Sterility Of The Devices | 411 Units Were Distributed | Nationwide And International
1999-3-10 | Devices | II | z-689/690-9 | Verdict Cocaine Test And Verdict Thc Cocaine Test Intended For Use In The Detection Of Cocaine And Or Cocaine Metabolites In Human Urine A Verdict Cocaine 50 Test Pack Catalog No | Manufacturer | Medtox Diagnostics Burlington North Carolina | October 16 1997 | The Product Can Produce False Positive Cocaine Test Results | 288 Kits Were Distributed | Alabama Arizona California Florida Georgia Iowa Kentucky Louisiana New York North Carolina Ohio Oklahoma Pennsylvania South Carolina Texas Tennessee Virginia Wisconsin Puerto Rico
1999-3-10 | Devices | II | z-699/712-9 | Kendall Sher I Bronch Endobronchial Tubes And Vha Plus Sher I Bronch Endobronchial Tubes Left And Right Sided Intended For Use In Thoracic Surgery Bronchospirometry Administration Of Endobronchial Anesthesia Etc | Kendall Healthcare | Kendall Company Argyle New York | February 5 1999 | Improper Assembly Gap In Bonding Of Endobronchial Tubes May Cause Leaking Of Air Gas | 15 731 Kendall Units And 895 Vha Plus Units Were Distributed | Nationwide And International
1999-3-10 | Devices | II | z-716-9 | Cavermap Surgical Aid Disposables Kit Sterile | Manufacturer | Uromed Corporation Norwood Massachusetts | February 11 1999 | Sterility Of Device Is Compromised Due To Tears In The Mylar Pouch | 123 Units Were Distributed | California Colorado New York Florida Illinois Missouri Washington State Tennessee Canada
1999-3-10 | Devices | III | z-670-9 | Sicklequik An In Vitro Diagnostic Used As A Differential Solubility Test For Hemoglobin S For Diagnosis Of Sickle Cell Anemia | Organon Teknika Corporation | Biopool International Westchester Pennsylvania | September 18 1998 | The Test Interpretations With These Products Have Proven To Be Difficult | 271 Kits Containing 25 Vials Or 100 Vials Were Released For Distribution | Nationwide The Netherlands Canada
1999-3-10 | Devices | III | z-676/679-9 | Icon Fx Hcg Serum Urine And Urine Test Kits Designed To Detect Human Chorionic Gonadotropin Hcg In Urine Or Serum As An Aid In The Early Detection Of Pregnancy A Product No | Beckman Coulter | Beckman Coulter Inc | January 27 1999 | Device Gives False Negative Results In Urine Samples | 8 338 Kits Were Distributed | Nationwide And Puerto Rico