## 1999-3-3
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-3-3 | Drugs | I | d-119/122-9 | Rx Dental Anesthetics In Blister Packed Cartridges Under The Following Labels Novocol Henry Schein Or Carlisle A Lidocaine Hydrochloride 2 And Epinephrine Injection Usp 1 50 000 B Lidocaine Hydrochloride 3 And Epinephrine Injection Usp 1 100 000 C Mepivacaine Hydrochloride Injection Usp 3 D Mepivacaine Hydrochloride 2 And Levonordefrin Injection Usp | Novocol Pharmaceutical Of Canada | Novocol Pharmaceutical Of Canada Inc | January 14 1999 | Microbial Contamination | Undetermined | Nationwide
1999-3-3 | Drugs | II | d-124-9 | Triprolidine Hydrochloride And Pseudoephedrine Hydrochloride Syrup Usp 1 | Manufacturer | Morton Grove Pharmaceuticals Inc | February 2 1999 | Potency Failure Triprolidine Hcl During Stability Testing | 14 430 Bottles Were Distributed Firm Estimated That Little If Any Product Remained On Market At Time Of Recall Initiation | Nationwide
1999-3-3 | Drugs | II | d-126/128-9 | Generic Pre Filled Syringes Aseptically Manufactured And Distributed By Medefil A 0 | Manufacturer | Medefil Inc | February 8 1999 | Products Were Marketed Without Approved Nda Anda And Numerous Deviations From Current Good Manufacturing Practices Gcmp's Related To Sterile Drug Production | A 1 532 Cases B 25 Cases C 262 Cases Were Distributed Between 12 18 98 And 1 28 99 Firm Estimated That 50 Of The Product Remained On The Market At Time Of Recall Initiation | Ohio
1999-3-3 | Drugs | III | d-123-9 | Isoniazid Tablets Usp 300 Mg In 30 100 And 1 000 Tablet Bottles Rx Intended For All Forms Of Tuberculosis In Which Organisms Are Susceptible Under The Following Labels Barr Schein Rugby Udl | Barr Laboratories | Barr Laboratories Inc | January 8 1999 | Dissolution Failure Stability | 288 549 Containers Were Distributed | Nationwide
1999-3-3 | Drugs | III | d-125-9 | Nalex Dh Rx Antitussive And Decongestant Hydrocodone Bitartrate 1 | Manufacturer | Great Southern Laboratories Gsl Houston Texas | February 2 1999 | Mislabeling Some Bottles Have The Incorrect Nalex A Insert Attached | 6 506 Bottles Were Distributed | Nationwide
1999-3-3 | Biologics | II | b-359-9 | Platelets Pheresis | Manufacturer | Virginia Blood Services Richmond Virginia | August 18 1998 | Platelets Were Prepared From A Unit Collected From A Donor Who Had Taken Aspirin Within Three Days Of Donation | 1 Split Unit Was Distributed | Virginia
1999-3-3 | Biologics | II | b-360-9 | Red Blood Cells | Manufacturer | Mississippi Blood Services Inc | May 13 1998 | Blood Product Was Collected From A Donor Who Had Been Deferred Because Of Treatment For Gonorrhea | 1 Unit Was Distributed | Mississippi
1999-3-3 | Biologics | II | b-509-9 | Platelets Pheresis | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Minnesota | November 5 1997 | Blood Product Was Resuspended In Saline Instead Of Plasma | 1 Unit Was Distributed | Minnesota
1999-3-3 | Biologics | II | b-511/513-9 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | Sioux Valley Hospital Association Sioux Falls South Dakota | November 24 1996 | Blood Products Were Collected From A Donor With A History Of Cancer | 1 Unit Of Each Component Was Distributed | South Dakota And California
1999-3-3 | Biologics | II | b-514-9 | Platelets | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Minnesota | May 7 1998 | Blood Product Was Labeled With An Extended Expiration Date | 1 Unit Was Distributed | Minnesota
1999-3-3 | Biologics | II | b-515-9 | Red Blood Cells | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Minnesota | January 7 1997 | Blood Product Was Collected From A Donor Who Traveled To An Area Considered Endemic For Malaria And Took Antimalarial Medication | 1 Unit Was Distributed | Minnesota
1999-3-3 | Biologics | II | b-519-9 | Platelets Pheresis | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Minnesota | October 21 1997 | Blood Product Was Labeled With An Incorrect Platelet Count | 1 Unit Was Distributed | Minnesota
1999-3-3 | Biologics | II | b-520/525-9 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Single Donor Plasma E Cryoprecipitate Ahf F Recovered Plasma | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Minnesota | February 4 1997 | Blood Products Were Collected From Donors Who Previously Reported Body Fluid Exposure Travel To A Malarial Endemic Area Tattoo Incarceration Cancer Or Receipt Of Radioactive Iodine And Were Not Deferred | A 6 Units B 3 Units C 2 Units D 1 Unit E 1 Unit F 3 Units Were Distributed | Minnesota Florida And Switzerland
1999-3-3 | Biologics | II | b-527-9 | Recovered Plasma | Manufacturer | St. Thomas More Hospital | July 2 1998 | Blood Product Was Incorrectly Tested For Antibody To The Human Immunodeficiency Virus Types 1 And 2 Anti Hiv 1 2 | 1 Unit Was Distributed | Colorado And Florida
1999-3-3 | Biologics | II | b-528/529-9 | A Red Blood Cells B Recovered Plasma | Manufacturer | Central Jersey Blood Center Shrewsbury New Jersey | July 8 1998 | Blood Products Were Collected From A Donor Who Took The Drug Accutane Within 30 Days Of Donation | 1 Unit Of Each Component Was Distributed | New Jersey
1999-3-3 | Biologics | II | b-533/535-9 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | Central Kentucky Blood Center Lexington Kentucky | December 31 1998 | Blood Products Were Collected From A Donor Who Previously Tested Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 | A 3 Units B 2 Units C 3 Units Were Distributed | Kentucky And Pennsylvania
1999-3-3 | Biologics | III | b-205-9 | Source Plasma For Manufacturing In Vitro Diagnostic Products | Manufacturer | Alpha Therapeutic Corporation Los Angeles California | July 29 1998 | Source Plasma Was Collected From Unsuitable Donors Or From Donor Who Were Not Properly Screened | 14 Units Were Distributed | California And Virginia
1999-3-3 | Biologics | III | b-510-9 | Source Plasma | Manufacturer | Community Bio Resources Inc | August 20 1997 | Blood Product Was Collected From A Donor Whose Medical History Screening Was Not Performed At The Time Of Donation | 1 Unit Was Distributed | California
1999-3-3 | Biologics | III | b-516/518-9 | A Red Blood Cells B Platelets C Fresh Frozen Plasma | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Minnesota | June 19 1997 | Blood Products Were Collected From A Donor Who Had A Corneal Transplant | 1 Unit Of Each Component Was Distributed | Minnesota
1999-3-3 | Biologics | III | b-526-9 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Peoria Illinois | February 1 1999 | Unlicensed Blood Product Was Distributed Interstate | 1 Unit Was Distributed | Iowa
1999-3-3 | Biologics | III | b-530-9 | Cryoprecipitated Ahf | Manufacturer | American Red Cross Blood Services Peoria Illinois | December 11 1998 | Blood Product Was Prepared From A Unit Of Whole Blood With An Extended Collection Time | 1 Unit Was Distributed | Tennessee
1999-3-3 | Biologics | III | b-531-9 | Affirmagen Reagent Red Blood Cells | Manufacturer | Ortho Clinical Diagnostics Inc | July 22 1998 | Reagent Red Blood Cells Were Packaged In Cartons With Incorrect Product Labels | 666 Packages Were Distributed | Nationwide
1999-3-3 | Biologics | III | b-532-9 | Reagent Red Blood Cells Selectogen Reagent Red Blood Cells Surgiscreen Reagent Red Blood Cells Resolve Panel Reagent Red Blood Cells Expiration Date 7 21 98 608 Packages | Manufacturer | Ortho Clinical Diagnostics Inc | July 13 1998 | Reagent Red Blood Cells Exhibited A Weak And Or Inconsistently Reactive Positive Direct Antiglobulin Test Dat When Used With The Id Micro Typing System Mts Anti Igg Card Gel Test | Selectogen Reagent Red Blood Cells 406 Packages Surgiscreen Reagent Red Blood Cells 166 Packages Resolve Panel Reagent Red Blood Cells 608 Packages | Nationwide And International
1999-3-3 | Biologics | III | b-536-9 | Source Plasma | Manufacturer | Sera Tec Biologicals Limited Partnership Pittsburgh Pennsylvania | May 1 1996 | Blood Products Were Distributed Prior To The Receipt Of Viral Marker Test Results | 324 Units Were Released For Transport Service Firm Estimates None Remains In Commerce | Units Were Returned Before They Reached Their Destination
1999-3-3 | Devices | II | z-592-9 | Fresenius As 104 Cell Separator | Manufacturer | Fresenius Medical Care North America Walnut Creek California | September 11 1998 | There Is A Potential For Kinking To Occur In The Prc Tubing | 3 410 Sets 682 Cases Were Distributed | Nationwide
1999-3-3 | Devices | II | z-595-9 | Alreco 40400 | Siemens Medical Systems | Allen Rehnstrom Ab Osterbagen Sweden | February 17 1999 | Failure Of Secondary Fuse F 3 On Siemens Compressor Compact Stops Gas Delivery | 379 Units Were Distributed | Nationwide
1999-3-3 | Devices | II | z-615/616-9 | Bayer Advia 120 Hematology System A Quantitative Automated Hematology Analyzer That Provides A Leukocyte Differential Count And Reticulocyte Analysis For In Vitro Diagnostic Use In Clinical Laboratories A Advia 120 Hematology System Catalog 453 0024 03 B Advia 120 Hematology System Catalog 453 0024 04 | Manufacturer | Bayer Corporation Elkhart Indiana | August 28 1998 | The Device May Give False Red Blood Cell And Blood Platelet Counts | Approximately 699 Units Were Distributed | Nationwide And International
1999-3-3 | Devices | II | z-617-9 | Abbott Alcyon Tm 300 Analyzer Without Ise Module And 3001 An Automated Chemistry Analyzer For In Vitro Diagnostic Use | Abbott Laboratories | Abbott Laboratories Irving Texas | January 29 1999 | Possible Mixup Of Patient Sample Results | 631 Units Were Distributed | Nationwide And International
1999-3-3 | Devices | II | z-618-9 | Collimator Cart Of The Millennium Mg Computed Emission Tomography System | Ge Medical Systems | Ge Medical Systems Waukesha Wisconsin | January 40 4059 | Casters In The Wheel Assemblies Of The Collimator Cart Can Fall Off Allowing The Collimator Cart To Tip Over | 77 Carts Were Distributed | Nationwide And International
1999-3-3 | Devices | II | z-634/638-9 | Perm Cath Catheters A 36 Cm Catheter Insertion Tray Part 88 17680 001 B 40 Cm Catheter Insertion Tray Part 88 17681 001 C 36 Cm Catheter Kit Part 88 17748 001 D 40 Cm Catheter Kit Part 88 17749 001 E 45 Cm Catheter Kit Part 88 31692 001 | Manufacturer | The Kendall Company Bothell Washington | February 10 1999 | The Introducer Sheath Would Not Separate As Intended Upon Completion Of Catheter Insertion Procedure | Approximately 9 536 Percaths Were Distributed A 757 Trays B 3 764 Trays C 3 630 Kits D 820 Kits E 565 Kits | Nationwide And International
1999-3-3 | Devices | II | z-639-9 | Disposable Administration Set For Peritoneal Dialysis A Sterile Single Use Only Fluid Pathway For Use With The Home Care Automated Pd System Only | Baxter Healthcare Corporation | Baxter Healthcare Corporation Mountain Home Arkansas | February 4 1999 | The Sets May Restrict Fluid Delivery Due To An Obstruction In The Cassette Which May Result In Alarm Situations That Will Not Allow Patients To Proceed With Therapy | 93 720 Sets Were Distributed | Nationwide And International
1999-3-3 | Devices | II | z-661\666-9 | Digital Gamma Camera Systems Used To Autoposition The Patient A Model No | Toshiba America Medical Systems | Toshiba Corporation Nasu Works Tochigi Japan | December 10 1998 | The Product Was Manufactured With Methods That Resulted In The Detector's Motion Not Stopping And Therefore The Patient May Receive An Injury From The Force | 145 Units Were Distributed | Nationwide And Puerto Rico
1999-3-3 | Devices | II | z-667/669-9 | Sodium Hyaluronate Fb A Sterile Visco Elastic Material That Is Injected Into The Eye During Certain Ophthalmic Surgeries A Amvisc Product No | World Optics | Lifecore Biomedical Inc | January 18 1999 | The Devices Were Marketed Without An Approval Pma | 4 872 Units Were Distributed | Arkansas California Idaho Florida Minnesota Pennsylvania Texas Utah
1999-3-3 | Devices | III | z-593-9 | 1 2 Cc U 100 Insulin Syringes With 28 G X 1 2 | Medi Hut Company | Shina Corporation Seoul Korea | December 19 1997 | The Poly Bag Is Mislabeled As 1 Cc Syringe But The Correct 1 2 Syringes Are Inside That Bag Which Is Inside The Correctly Labeled Boxes | 180 000 Units Were Distributed | Nationwide
1999-3-3 | Devices | III | z-596-9 | Aeroset System Reagent Application Sheet For Urine Csf Protein Reagent Used For The Quantitation Of Total Protein In Human Urine Or Cerebrospinal Fluid Csf | Abbott Laboratories | Abbott Laboratories Irving Texas | January 25 1999 | Depressed Protein Concentrations In The Range Between 200 And 600 Mg Dl | 176 Units Were Distributed | Nationwide And International
1999-3-3 | Devices | III | z-619/622-9 | Scimed Owens Lo Profile Balloon Dilatation Catheters A Model H 74926140 B Model H 74926150 C H 74926160 D H 74926170 | Manufacturer | Scimed Life Systems Inc | February 5 1999 | Improper Assembly Of The Devices Makes Them Unusable | 170 Units Were Distributed | Nationwide
1999-3-3 | Devices | III | z-640-9 | Premier C | Manufacturer | Meridian Diagnostics Inc | February 15 1999 | Bacterial Contamination Of Sample Diluent Which May Affect Test Results | 2 158 Kits Were Distributed | Nationwide And International