## 1999-7-21
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-7-21 | Drugs | II | d-278-9 | Trihexyphenidyl Hydrochloride Tablets 5 Mg In 100 Tablet Blister Strips Of 10 Tablets Rx Oral Antispasmodic Tablet Used As An Adjunct In The Treatment Of All Forms Of Parkinsonism | Udl Laboratories | Lederle Pharmaceutical Division Of American Cyanamid Pearl River New York | June 14 1999 | Mislabeling Some Blister Strips Are Held In Shelf Unit Cartons 100 S Labeled As Allopurinol Tablets 300 Mg | 3 624 Unit Cartons Were Distributed Firm Estimated That 25 Percent Of The Product Remained On Market At Time Of Recall Initiation | Nationwide
1999-7-21 | Biologics | II | b-950/951-9 | A Red Blood Cells B Platelets | Blood Systems | United Blood Services Las Vegas Nevada | September 24 1997 | Blood Products Were Collected From A Donor Who Traveled To An Area Considered Endemic For Malaria | 1 Unit Of Each Component Was Distributed | Nevada And Florida
1999-7-21 | Biologics | II | b-952-9 | Red Blood Cells | Manufacturer | Mississippi Valley Regional Blood Center Davenport Iowa | November 12 1998 | Blood Product Was Collected From A Donor Who Traveled To An Area Considered Endemic For Malaria | 1 Unit Was Distributed | Iowa
1999-7-21 | Biologics | II | b-955-9 | Red Blood Cells | Manufacturer | Mississippi Valley Regional Blood Center Davenport Iowa | March 30 1998 | Blood Product May Have Been Contaminated During Collection | 1 Unit Was Distributed | Iowa
1999-7-21 | Biologics | II | b-959-9 | Fresh Frozen Plasma | Manufacturer | Barnes Jewish Hospital St | March 8 1998 | Blood Products Were Labeled With Extended Expiration Dates | 5 Units Were Distributed | Missouri
1999-7-21 | Biologics | II | b-960/962-9 | A Red Blood Cells B Cryoprecipitated Ahf C Recovered Plasma | Manufacturer | American Red Cross Blood Services Columbus Ohio | February 3 1999 | Blood Products Were Collected From A Donor With A History Of Iv Drug Use And Sex With Another Male | 1 Unit Of Each Component Was Distributed | Ohio And Switzerland
1999-7-21 | Biologics | II | b-978-9 | Platelets Pheresis | Manufacturer | Community Blood Center Dayton Ohio | March 26 1999 | Blood Product Was Collected From A Donor Who Received Body Piercing Within 12 Months Of Donation | 1 Unit Was Distributed | Ohio
1999-7-21 | Biologics | II | b-979/982-9 | A Red Blood Cells B Rd Blood Cells Leukocytes Removed C Platelets D Recovered Plasma | New York Blood Center | New York Blood Services Center West New York New York | September 8 1998 | Blood Products Initially Tested Negative For The Human Immunodeficiency Virus Type 1 Hiv 1 P 24 Antigen But Retrospectively Tested Repeatedly Reactive For Hiv P 24 With An Indeterminate Neutralization Test | A 2 Units B 1 Unit C 2 Units D 3 Units Were Distributed | New York And Switzerland
1999-7-21 | Biologics | II | b-994-9 | Platelets Pheresis Leukocytes Reduced | Manufacturer | Lifesource Glenview Illinois | February 22 1999 | Blood Product Was Mislabeled As Cmv Antibody Negative | 1 Unit Was Distributed | Illinois
1999-7-21 | Biologics | II | b-995-9 | Platelets Pheresis Leukocytes Reduced | Manufacturer | Lifesource Glenview Illinois | December 10 1998 | Blood Product Had An Unacceptable Platelet Count | 1 Unit Was Distributed | Illinois
1999-7-21 | Biologics | II | b-996/997-9 | A Red Blood Cells B Platelets | Manufacturer | Northern Illinois Blood Bank Rockford Illinois | May 10 1999 | Blood Products Were Collected From A Donor Who Was Not Asked Some Of The Pre Donation Donor Screening Questions | 1 Unit Of Each Component Was Distributed | Illinois
1999-7-21 | Biologics | II | b-1000/1002-9 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | Community Blood Center Dayton Ohio | December 21 1998 | Blood Products Were Collected From A Donor With A History Of Cancer | 1 Unit Of Each Component Was Distributed | Ohio And Switzerland
1999-7-21 | Biologics | II | b-1004/1005-9 | A Red Blood Cells B Platelets | Manufacturer | Aurora Area Blood Bank Aurora Illinois | June 3 1999 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Western Blot Negative | A 4 Units B 1 Unit | Illinois And Indiana
1999-7-21 | Biologics | III | b-953-9 | Red Blood Cells | Manufacturer | Mississippi Valley Regional Blood Center Davenport Iowa | August 8 1998 | Blood Products Were Labeled With Extended Expiration Dates | 2 Units Were Distributed | Illinois
1999-7-21 | Biologics | III | b-954-9 | Red Blood Cells | Manufacturer | Mississippi Valley Regional Blood Center Davenport Iowa | July 1 1998 | Blood Product Was Leukoreduced By Filtration Greater Than Seven Days After Collection | 1 Unit Was Distributed | Illinois
1999-7-21 | Biologics | III | b-983/987-9 | A Red Blood Cells B Red Blood Cells Leukocytes Reduced C Platelets D Cryoprecipitated Ahf E Recovered Plasma | Manufacturer | New York Blood Services Center West New York New York | September 8 1998 | Blood Products Initially Tested Negative For The Antibody To The Human T Lymphotropic Virus Type I Anti Htlv I But Retrospectively Tested Repeatedly Reactive For Anti Htlv I Ii Pcr Negative | A 19 Units B 2 Units C 6 Units D 2 Units E 21 Units Were Distributed | New York New Jersey Switzerland
1999-7-21 | Biologics | III | b-1008-9 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Little Rock Arkansas | April 30 1999 | Blood Products Were Returned After Receipt At An Unacceptable Temperature And Were Redistributed | 10 Units Were Distributed | Arkansas
1999-7-21 | Biologics | III | b-1009-9 | Red Blood Cells | Manufacturer | Bloodcare Dallas Texas | January 25 1999 | Blood Product Was Collected From A Donor Whose Hemoglobin Results Were Not Documented During Screening | 1 Unit Was Distributed | Texas
1999-7-21 | Biologics | III | b-1010-9 | Platelets Pheresis | Manufacturer | Community Blood Center Dayton Ohio | October 21 1998 | Blood Product Was Positive For Propionibacterium Acnes | 1 Unit Was Distributed | Ohio
1999-7-21 | Biologics | III | b-1011/1012-9 | Red Blood Cells B Recovered Plasma | Manufacturer | Bloodcare Dallas Texas | December 14 1998 | Blood Products Were Collected From A Donor Whose Arm Inspection Was Not Documented | 1 Unit Of Each Component Was Distributed | Texas And Switzerland
1999-7-21 | Devices | II | z-685-9 | Bubble Suction Tubing Catalog 116740 | Manufacturer | Conmed Corporation El Paso Texas | February 19 1999 | Non Sterility | 12 Cases 50 Units Per Case Were Distributed | Florida And North Carolina
1999-7-21 | Devices | II | z-1038-9 | Venturi Ventilators With Crt Monitor Part Number 1248 | Cardiopulmonary Corporation | Microvitech United Kingdom Manufacturer Of Crt | June 14 1999 | Crt Monitor Does Not Meet The Mean Time Between Failure Mtbf Specification | 43 Units Were Distributed | Russia United Kingdom Italy
1999-7-21 | Devices | II | z-1039-9 | Venturi Ventilator With Hard Drive Part Number 230012 | Cardiopulmonary Corporation | Cardiopulmonary Corporation Milford Connecticut Ventilator Segate San Jose California Hard Drive | June 14 1999 | User Interface Software Will Not Load When Unit Is First Powered On | 59 Units Were Distributed | Alabama Connecticut Florida North Carolina Italy Russia United Kingdom
1999-7-21 | Devices | II | z-1068-9 | Ge Millennium Mpr Mps Single Detector Nuclear Medicine System Emission Computed Tomography System Model 2151300 | Manufacturer | General Electric Medical System Waukesha Wisconsin | June 10 1998 | An Unintended Detector Tilt Motion Can Occur When The Operator Selects The Table Up Down Motion | 167 Units Were Distributed | Nationwide And International
1999-7-21 | Devices | II | z-1069-9 code catalog numbers: 6209-1-205 (package of 5 units) 6209-1-201 (single unit) sterility lot codes: 9902144, 9902145, 9902146, 9902147, 9902203, 9902204, 9902501, 9902542, 9902543, 9902544, 9902545, 9902744, 9902747, 9902748, 9902845, 9902846, 9902847, 9902848, 9902849, 9902852 | Bone Dri Femoral Surgical Wick Used To Control And Wick Fluids From The Femoral Canal During Surgery | Manufacturer | Howmedica Osteonics Corporation San Jose California | February 17 1999 | The Sterility Of The Device Has Been Compromised Due To A Lack Of Adequate Sterilization | 178 Units Were Distributed | Nationwide
1999-7-21 | Devices | II | z-1077-9 | King Systems Brand Universal F 2 Breathing Circuits With Co Axial Filter | Manufacturer | King Systems Corporation Noblesville Indiana | February 23 1999 | Excessive Flash In The Filter Housing May Significantly Increase Resistance To Flow In The Expiratory Side Of The Unit | 4 531 Cases 101 580 Breathing Circuits Were Distributed | Nationwide And International
1999-7-21 | Devices | II | z-1078/1079-9 | Cryovalve Allograft Heart Valve A Model Av 00 B Pv 00 | Manufacturer | Cryolife Inc | June 21 1999 | Donors Do Not Meet Current Guidelines Regarding Serodilution Of Plasma Because Of The Amount Of Transfused Infused Fluids Administered | 2 Units | Canada
1999-7-21 | Devices | II | z-1080-9 | Cryovalve Allograft Heart Valve Model Pv 00 | Manufacturer | Cryolife Inc | June 21 1999 | Donors Do Not Meet Current Guidelines Regarding Serodilution Of Plasma Because Of The Amount Of Transfused Infused Fluids Administered | 1 Unit | Oklahoma
1999-7-21 | Devices | II | z-1081-9 | Cryovalve Allograft Heart Valve Model Av 00 | Manufacturer | Cryolife Inc | June 18 1999 | Donors Do Not Meet Current Guidelines Regarding Serodilution Of Plasma Because Of The Amount Of Transfused Infused Fluids Administered | 1 Unit | Idaho
1999-7-21 | Devices | III | z-1066/1067-9 | Connecting Screw And Compression Screw For Titanium Solid Humeral Nails Part Numbers 358 | Synthes Usa | Synthes Usa West Chester Pennsylvania | June 16 1999 | Product Drawing Contained An Interference Issue Which Created A Potential For The Connecting Screw Not To Fit Into Or Bind Within The Insertion Handle | 339 Units Were Distributed | Nationwide And Canada
1999-7-21 | Devices | III | z-1082/1083-9 | Depuy Self Centering Hip Cups A Size 22 | Manufacturer | Depuy Orthopaedics Inc | March 24 1999 | Labeling Mix Up A 28 Mm Cup Was Found In A Carton Labeled As A 22 | 2 Lots Of 10 Units Each Were Distributed | Missouri New Jersey Pennsylvania Canada England Japan
1999-7-21 | Devices | III | z-1084-9 | Bivona Fome Cuf Pediatric Tracheostomy Tube With Stomaseal Catalog No | Manufacturer | Bivona Medical Tech | June 15 1999 | The Tube's Outer Shaft Diameter Printed On The Neckflange Of The Tube Differed From That On The Label | 21 Units Were Distributed | Arizona Florida Michigan New Hampshire Texas Virginia Australia