## 1999-8-11
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-8-11 | Biologics | II | b-735-9 | Red Blood Cells | Manufactuer | American Red Cross Blood Services St | May 20 1998 | Blood Product Was Not Quarantined After Receiving Information Concerning A Post Donation Illness | 1 Unit Was Distributed | Missouri
1999-8-11 | Biologics | II | b-849/850-9 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services St | November 17 1998 | Blood Products Were Collected From A Donor With A History Of Hepatitis | 3 Units Of Each Component Were Distributed | Missouri
1999-8-11 | Biologics | II | b-1013/1015-9 | A Red Blood Cells B Cryoprecipitated Ahf C Recovered Plasma | Manufacturer | American Red Cross Blood Services Portland Oregon | April 6 1999 | Blood Products Were Collected From A Donor With A History Of Cancer | 4 Units Of Each Component Were Distributed | Oregon Massachusetts Minnesota California Switzerland
1999-8-11 | Biologics | II | b-1035-9 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Rochester New York | July 11 1997 | Blood Product Was Collected From A Donor Who Traveled To An Area Considered Endemic For Malaria | 1 Unit Was Distributed | New York
1999-8-11 | Biologics | II | b-1090-9 | Recovered Plasma | Manufacturer | Puget Sound Blood Center And Program Seattle Washington | September 28 1998 | Blood Product Was Collected From A Donor Taking The Proscar | 1 Unit Was Distributed | Switzerland
1999-8-11 | Biologics | II | b-1092-9 code unit #8b9004 | Recovered Plasma | Manufacturer | Puget Sound Blood Center And Program Seattle Washington | March 12 1999 | Blood Products Were Collected From A Donor Whose Suitability Was Not Adequately Determined | 1 Unit Was Distributed | Switzerland
1999-8-11 | Biologics | II | b-1094-9 | Defense Blood Standard System Dbss Blood Bank Software | U S Department Of Defense Dbss Composite Health Care System 2 | Electronic Data Systems Eds Herndon Virginia | June 2 1999 | Blood Bank Computer Software Does Not Identify All Potential Duplicate Donor Records | Utilized At 78 Sites | Nationwide And International
1999-8-11 | Biologics | II | b-1095/1096-9 | A Red Blood Cells B Plasma Frozen | Manufacturer | American Red Cross Blood Services Peoria Illinois | June 15 1999 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Of Each Component Was Distributed | Illinois
1999-8-11 | Biologics | II | b-1097/1100-9 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Recovered Plasma | Manufacturer | Aurora Area Blood Bank Aurora Illinois | June 4 1999 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For The Antibody Western Blot Negative | A 8 Units B 7 Units C 1 Unit D 6 Units Were Distributed | Illinois California North Carolina Virginia
1999-8-11 | Biologics | II | b-1101/1103-9 | A Red Blood Cells B Platelets C Recovered Plasma Recall B 1101 1103 9 | New York Blood Center | New York Blood Services Center West New York New York | September 8 1998 | Blood Products Initially Tested Negative For Hcv But Retrospectively Tested Repeatedly Reactive For Hcv With A Negative Riba Or Indeterminate Riba With A Negative Pcr Test | A C 2 Units Of Each Component B 1 Unit | New York New Jersey Switzerland
1999-8-11 | Biologics | III | b-1089-9 | Fresh Frozen Plasma | Manufacturer | Puget Sound Blood Center Seattle Washington | October 29 1998 | Blood Product Collected From A Donor Who Took The Drug Propecia | 1 Unit Was Distributed | Washington State
1999-8-11 | Biologics | III | b-1091-9 | Red Blood Cells Apheresis Double Bag | Manufacturer | New York Blood Services Westside New York New York | April 5 1999 | Blood Products Initially Tested Negative For Hcv But Retrospectively Tested Repeatedly Reactive For Hcv With A Negative Riba Or Indeterminate Riba With A Negative Pcr Test | 5 Units Were Distributed Blood Products Were Labeled With Extended Expiration Dates Product A Red Blood Cells B Recovered Plasma Recall B 1104 1105 9 Code Unit Numbers 6515231 And 6755680 Manufacturer New York Blood Services Center West New York New York Recalled By New York Blood Center Inc New York New York By Letter Dated September 8 1998 Firm Initiated Recall Complete Distribution New York New Jersey Switzerland Quantity 2 Units Of Each Component Was Distributed | New York
1999-8-11 | Biologics | III | b-1107-9 | Recovered Plasma | Manufacturer | American Red Cross Blood Services St | June 11 1998 | Blood Product Was Collected From A Donor Whose Arm Inspection May Not Have Been Satisfactory | 1 Unit Was Distributed | California
1999-8-11 | Devices | II | z-957-9 | Medrad Counterpoise System Product Number 75 4000 033 | Medrad | F Walter Hanel Gmbh Dba Mavig | May 14 1999 | Dowel Pins Used In Support Assembly Have Potential To Back Out Of Position | Approximately 1 004 Units Were Distributed | Nationwide And International
1999-8-11 | Devices | II | z-958/959-9 | Screwdriver Blade Self Retaining A Part 313 | Synthes Usa | Synthes Usa West Chester Pennsylvania | December 8 1998 | The Inspection Technique Used To Inspect The Blades Had The Potential To Miss Some Non Conforming Blades | 4 391 Units Were Distributed | Nationwide And Canada
1999-8-11 | Devices | II | z-960-9 | Holding Sleeve Part 314 | Synthes Usa | Synthes Usa West Chester Pennsylvania | February 16 1999 | An Operation For Crimping The Back End Of The Sleeve Was Not On The Process Sheet Or Specifications For This Product | 286 Units Were Distributed | Nationwide
1999-8-11 | Devices | II | z-963-9 | Wire Tensioner Part 393 | Synthes Usa | Synthes Usa Monument Colorado | November 16 1998 | The Wire Tensioner May Or May Not Accept A 2 | 512 Units Were Distributed | Nationwide Canada Switzerland
1999-8-11 | Devices | II | z-1154/1155-9 | Npb 190 And Npb 195 Pulse Oximeter Rx Intended For Continuous Noninvasive Monitoring Of Functional Oxygen Saturation Of Arterial Hemoglobin And Pulse Rate For Use On Adult Pediatric And Neonatal Patients In Hospital And Home Environments | Mallinckrodt | Nellcor Puritan Bennett Inc | May 17 1999 | The Devices Fail To Alarm When A Pulse Oximetry Sensor Became Disconnected From The Patient | 9 001 Units Were Distributed | Nationwide And International
1999-8-11 | Devices | II | z-1156/1158-9 | Uro View X Ray Imaging Systems A Model 2600 B Model 2500 C Model 2000 | Manufacturer | Oec Medical Systems Inc | July 19 1999 | The Leg Extension Can Become Disengaged And Cause A Patient To Slide To The Floor | 951 Units Were Distributed | Nationwide And International
1999-8-11 | Devices | III | z- 961/962-9 | 1 3 Mm Box Plate A Part 421 095 B Part 421 096 Recall Z 961 962 9 Code Lot Numbers A A 3 Lx 014 B A 3 Lx 015 Manufacturer Synthes Usa | Synthes Usa | Synthes Usa Monument Colorado Recalled By Synthes Usa Paoli Pennsylvania By Letter Sent On September 1 1998 Followed By Telephone Or Visit | September 1 1998 | Plates Were Switched During Processing Resulting In A 5 X 10 Mm Box Plated Labeled As A 10 X 10 Mm Box Plate And Vice Versa | 144 Units Were Distributed | California Florida Georgia Kansas Kentucky Michigan Minnesota Missouri North Carolina New Jersey Ohio Oregon Pennsylvania Texas Utah Virginia And One International Account
1999-8-11 | Devices | III | z-964-9 | 7 0 Mm Cannulated Screw | Synthes Usa | Synthes Usa Monument Colorado | November 23 1998 | Package Is Labeled As 7 | 94 Units Were Distributed | Nationwide And Canada
1999-8-11 | Devices | III | z-965-9 | Synthes Usa Midfacial System | Synthes Usa | Synthes Usa Monument Colorado | February 4 1999 | The Device Was Anodized Gold Instead Of Greengray | 61 Units Were Distributed | California Florida Maryland Pennsylvania
1999-8-11 | Devices | III | z-966-9 | Extraction Bolts For 3 | Synthes Usa | Synthes Usa Monument Colorado | March 4 1999 | Extraction Bolts Were Misetched With 6 | 43 Units Were Distributed | Nationwide
1999-8-11 | Devices | III | z-1112-9 | Mox 100 Dcm Disposable Organ Preservation Cassette A Sterile Single Use Receptacle For Transporting Kidneys To Be Used As Implanted Organs | Manufacturer | Waters Instruments Inc | June 17 1999 | The Device Sometimes Leaks Perfusate A Solution Used To Nourish And Chill Kidneys Causing A Drop In The Perfusate Level | 340 Cassettes Were Distributed | Nationwide And The Netherlands
1999-8-11 | Devices | III | z-1115-9 | Outer Cannula For The C 1 C 2 Drill Guide | Synthes Usa | Synthes Usa West Chester Pennsylvania | December 18 1998 | The Cannula Disengaged From The Handle Assembly At The Solder Joint | 10 Units Were Distributed | Indiana Massachusetts Pennsylvania Washington State Canada Switzerland
1999-8-11 | Devices | III | z-1159/1160-9 | Screw Post For Distractors A Part U 44 640 14 B Part U 44 640 16 | Synthes Usa | Synthes Usa West Chester Pennsylvania | August 25 1998 | The Pin Contains Features On The Back End Which Prevent It From Being Inserted Into The Mating Handle | 379 Units Were Distributed | Nationwide