## 2000-04-05
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2000-04-05 | Drugs | II |  | Rapid Clear Eye Wash In 16 Fluid Ounce Bottles Rx For Flushing Or Irrigating The Eye | Manufacturer | H L Burton Company | March 6 2000 | Misbranding Product Contains Undeclared Preservative Chlorhexidine Gluconate | 206 Bottles Were Distributed | Illinois
2000-04-05 | Drugs | II | d-258-0 | Oxygen Usp Compressed In E And D Cylinders | Manufacturer | Family Healthcare Supply Inc | December 7 1999 | Good Manufacturing Deviations Including But Not Limited To Purity And Strength Testing | 4 Tanks | Florida
2000-04-05 | Drugs | III | d-255-0 | Cafergot R Suppositories Ergotamine Tartrate Usp | Manufacturer | Novartis Pharmaceuticals Corporation East Hanover New Jersey | February 9 2000 | Subpotency Ergotamine At 6 Month Stability Testing | 4 942 Cartons 12 Blister Packs Per Carton Were Distributed Firm Estimated That 5 Or Less Remained On Market At Time Of Recall Initiation | Nationwide
2000-04-05 | Drugs | III | d-257-0 | Calcium Gluconate Injection Usp 10 In 50 Ml Single Dose And In 200 Ml Pharmacy Bulk Packages Under The Following Labels Fujisawa Ndc 0469 0311 50 And 0469 0311 63 App Ndc 63323 311 63 | Manufacturer | American Pharmaceutical Partners Inc | March 10 2000 | Particulate Matter In Some Vials | 106 875 50 Ml Vials And 77 000 200 Ml Vials Were Distributed Firm Estimated That 25 Of The Product Remained On Market At Time Of Recall Initiation | Nationwide Uruguay Hong Kong Israel Singapore
2000-04-05 | Drugs | III | d-256-0 | Diltiazem Hydrochloride Tablets Usp In 60 Mg Bottles Of 100 And 500 Rx Indicated For The Management Of Chronic Stable Angina And Angina Due To Coronary Artery Spasm | Manufacturer | Copley Pharmaceutical Inc | March 13 2000 | Dissolution Failure Stability | 2 576 100 Tablet Bottles And 903 500 Tablet Bottles Were Distributed | Nationwide
2000-04-05 | Devices | II | z-423-0 | Tomoscan Sr 4000 For Use In Ct Radiology | Manufacturer Fda Approved The Firm's Corrective Action Plan On March 17 | Philips Medical Systems Shelton Connecticut | March 17 2000 | Units Are Defective Under 21 Cfr 1003 | 15 Units Were Distributed | Nationwide
2000-04-05 | Devices | II | z-424/425-0 | Tomoscan M Eg Ct Scanner With Phase I Table Controllers And Phase Ii Table Controllers For Use In Ct Radiology | Philips Medical Systems | Analogic Corporatioin Peabody Massachusetts | March 17 2000 | Units Are Defective Under 21 Cfr 1003 | 44 Units Were Distributed | Nationwide And International
2000-04-05 | Devices | II | z-471-0 | Endo Cannulated Bone Or Interference Screw 7 | Manufacturer | Endo Surgical Concepts Inc | March 17 2000 | Device May Not Be Sterile | 95 Units | Arkansas And Pennsylvania
2000-04-05 | Devices | II | z-472-0 | Iti O | The Straumann Company | Institut Straumann Ag Waldenburg Switzerland | March 25 2000 | Mislabeled Package Incorrectly States Diameter As 4 | 138 Units | Nationwide
2000-04-05 | Devices | II | z-473-0 | I 125 Seeds Therapeutic For Interstitial Brachytherapy Model 6711 | Manufacturer | Medi Physics Inc | January 5 2000 | Seeds Have A Higher Radioactivity Than Stated On The Label | 111 Seeds Were Distributed | California
2000-04-05 | Devices | II | z-474/477-0 | Theraport Vascular Access System Model 1001 1002 1601 1602 | Manufacturer | Biocontrol Technology Inc | March 8 2000 | Possible Leakage Of The Portal Assembly Due To Cracks In The Outlet Tube To Port Weld | 197 Units Were Distributed | Illinois Pennsylvania Virginia Turkey
2000-04-05 | Devices | II | z-478-0 | Allograft Heart Valve Model Avoo | Manufacturer | Cryolife Inc | March 9 2000 | Donor Did Not Meet Current Guidelines Regarding Serodilution Of Plasma | 1 Valve | California
2000-04-05 | Devices | III | z-479-0 | Sterile 3 | Manufacturer | Acumed Inc | February 29 2000 | Package Labeling On The Sterile Version Of This Part Incorrectly States That The Cortical Screw Belongs To The Polarus Humeral Fixation System Family | 14 Units Were Distributed | Florida And The United Kingdom
2000-04-05 | Devices | III | z-488-0 | Aeroset Assay Disks V 3 | Abbott Laboratories | Abbott Laboratories Inc | February 24 2000 | The Disks Are Improperly Duplicated And Contain Software That Will Install System International Si Units Rather Than Conventional Units As Labeled | 97 Units Were Distributed | Nationwide And Brazil
2000-04-05 | Devices | III | z-489-0 | Aeroset Analyzer Used For In Vitro Diagnostic Tests | Manufacturer | Abbott Laboratories Inc | February 21 2000 | Under Certain Washing Conditions Software Error Causes Erratic Urine Creatinine Results | 176 Analyzers Were Distributed | Nationwide And International