## 2000-06-28
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2000-06-28 | Drugs | II | d-413/416-0 | A Uritab Tm Caplets Phenazopyridine Hcl 95 Mg 30 Caplet Box Otc For Urinary Pain Relief B Premetab Tm Tablets Acetaminophen 500 Mg Pamabrom 25 Mg Pyrilamine Maleate 15 Mg 15 Tablet Units Otc For Use I N Premenstrual Discomfort C Preventac Tm Caplets Aspirin 81 Mg 30 Caplets Otc To Help In The Prevention Of Heart Disease And Heart Attacks D Somatac Tm Caplets Diphenhydramine Hydrochloride 50 Mg 15 Caplets Otc Helps Relieve Occasional Sleeplessness Due To Stress Anxiety Restlessness And Irritability | Olus Laboratories | Formulex Canada Inc | February 21 2000 | Products Are Unapproved New Drugs | A 77 Cases 24 Blister Packs Of 30 Caplets Each Per Case B 89 Cases 24 Blister Packs Of 15 Tablets Each Per Case C 593 Cases 24 Blister Packs Of 30 Caplets Each Per Case D 97 Cases 24 Blister Packs Of 15 Caplets Each Per Case Were Distributed | A Connecticut New Jersey Oregon B Connecticut New Jersey New York Oregon C Connecticut Florida Georgia New Jersey New York North Carolina Oregon Pennsylvania Texas D Connecticut New Jersey Oregon
2000-06-28 | Drugs | III | d-411/412-0 | A Glyburide Tablets Micronized Usp 1 | Teva Pharmaceuticals Usa | Novopharm Ltd | June 5 2000 | Impurity Failure 12 Month Stability Testing | 1 386 Units Were Distributed Firm Estimated That 5 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide
2000-06-28 | Biologics | II | b-827-0 | Platelets Pheresis | Manufacturer | Lifeshare Inc | March 15 2000 | Blood Products Were Labeled With Extended Expiration Dates | 2 Split Units Were Distributed | Ohio
2000-06-28 | Biologics | II | b-828-0 | Platelets Pheresis Volume Reduced | American Red Cross Blood Services | American Red Cross Blood Services Green Bay Wisconsin | January 27 1999 | Blood Product Was Labeled With An Extended Expiration Date | 1 Unit Was Distributed | Wisconsin
2000-06-28 | Biologics | II | b-836-0 | Red Blood Cells | Manufacturer | American Red Cross Blood Service Pacific Northwest Regional Blood Services Portland Oregon | March 10 2000 | Blood Product Was Collected From A Donor Taking The Drug Methotrexate | 1 Unit Was Distributed | California
2000-06-28 | Biologics | II | b-837-0 | Red Blood Cells | Manufacturer | Carter Bloodcare Bedford Texas | July 21 1999 | Blood Product Was Positive For Jka Antigen Was Distributed Labeled As Jka Negative | 1 Unit Was Distributed | Texas
2000-06-28 | Biologics | II | b-838/840-0 | A Red Blood Cells B Cryoprecipitated Ahf C Recovered Plasma | Manufacturer | American Red Cross Blood Services Portland Oregon | February 3 2000 | Blood Products Were Collected From A Donor With A History Of Jaundice | 1 Unit Of Each Component Was Distributed | Arizona Washington State Switzerland
2000-06-28 | Biologics | II | b-841-0 | Platelets Pheresis | Manufacturer | Inland Northwest Blood Center Spokane Washington | February 18 2000 | Blood Products Were Labeled With Incorrect Platelet Yields | 1 Unit Was Distributed | Washington State
2000-06-28 | Biologics | II | b-842-0 | Source Plasma | Interstate Blood Bank | Interstate Blood Bank Incorporated Of Wisconsin Milwaukee Wisconsin | May 21 1998 | Blood Products Were Collected From A Donor Who Was Not Properly Screened | 2 Units Were Distributed | California
2000-06-28 | Biologics | III | b-789/791-0 | A Red Blood Cells B Platelets C Fresh Frozen Plasma | Manufacturer | The Blood Center New Orleans Louisiana | September 1 1998 | Blood Products Were Collected From A Donor With A History Of Idiopathic Thrombocytopenic Purpura | A 3 Units B 2 Units C 2 Units Were Distributed | Louisiana And New Jersey
2000-06-28 | Biologics | III | b-797/798-0 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Blood Services Cleveland Ohio | February 23 2000 | Blood Products Were Collected In Expired Blood Collection Bags | A 1 Unit B 9 Units Were Distributed | Ohio
2000-06-28 | Biologics | III | b-829-0 | Red Blood Cells | American Red Cross Blood Services | American Red Cross Blood Services Green Bay Wisconsin | August 19 1998 | Blood Product Was Collected From A Donor Whose Arm Inspection And Skin Disease Status Had Not Been Documented | 1 Unit Was Distributed | Wisconsin
2000-06-28 | Devices | II | z-741/742-0 | Memorylens Ultraviolet Absorbing Hydrophilic Posterior Chamber Lens A Model No | Manufacturer | Ciba Vision Corporation Duluth Georgia | April 10 2000 | Implantation Of This Lens May Cause Postoperative Inflammation | 263 000 Units Were Distributed | N/A
2000-06-28 | Devices | II | z-743-0 | T 9 Scoop Transtracheal Procedure Tray | Manufacturer | Transtracheal Systems Englewood Colorado | June 9 2000 | Trays Contain Clinipad Products Labeled As Sterile For Which Clinipad Is Unable To Assure The Sterility | 643 Trays | Nationwide And International
2000-06-28 | Devices | II | z-754/755-0 | Sysmex Ca 1000 And Sysmex Ca 5000 Automated Coagulation Analyzer Used To The Clotting Times Of Heparinized Patients To Adjust Their Heparin Treatment | Manufacturer | Sysmex Corporation Of America Long Grove Illinois | April 26 2000 | Incorrect Aptt Activated Partial Thromboplastin Time Analysis Of Patient Samples Which Contain Elevated Levels Of Fibrinogen Or Fibrinogen Related Products Which Are Not Measured By Aptt Fibrinogen Monomer Could Occur | 1 405 Ca 1000 Analyzers And 132 Ca 5000 Analyzers Were Distributed | Nationwide And International
2000-06-28 | Devices | II | z-756/759-0 | Walkmed Administration Sets For Walkmed Infusion Pumps A Catalog Ps 400 300 B Catalog Efv 101 S C Catalog Efv 101 B D Catalog Fps 560 | Manufacturer | Mckinley Medical Lllp Wheat Ridge Colorado | May 5 2000 | Defective Plastic Elbow Connector Could Allow Leak Or Air Introduction | 41 720 Sets Were Distributed | Nationwide And International
2000-06-28 | Devices | II | z- 766/770-0 | Curity Spinal Anesthesia Tray Safe Tap Spinal Anesthesia Tray Spinal Anesthesia Saddle Block And Customer Special Spinal Tray | Manufacturer | The Kendall Company Lp Mansfield Massachusetts | May 10 2000 | Spinal Anesthesia Trays Contain Recalled Epinephrine Injection Usp 1 Ml Ampule | Approximately 14 570 Cases | Nationwide Japan Panama Bahamas Saudi Arabia
2000-06-28 | Devices | II | z- 771/773-0 | Vasoview Dissection Vessel Harvesting System A Vasoview Part 09331 B Vasoview Uniport Part 11344 C Vasoview Uniport Plus Part 11346 | Manufacturer | Guidant Corporation Menlo Park California | May 11 2000 | Sterility May Be Compromised As Evidenced By A Loss Of Package Integrity | 5 730 Units Were Distributed | Nationwide And International
2000-06-28 | Devices | II | z-774-0 | Version 6 A And Prior Versions Of Software For Marquette Coherent Digital Telemetry Cdt Lan Monitoring Systems A Patient Monitoring System Designed To Collect And Transmit Ecg And Other Physiological Data From Ambulatory Patients Without The Patient Being Physically Connected To A Display Device | Manufacturer | Ge Marquette Medical Systems Inc | May 3 2000 | Due To A Software Defect There Could Be Alarm Failure | 2 254 Units Were Distributed | Nationwide And International
2000-06-28 | Devices | II | z-784-0 | Fixer Image Scan Editing Utility Version 3 | Manufacturer | Radionics Inc | March 9 2000 |  | 33 Installed Bases | Nationwide And International
2000-06-28 | Devices | II | z-785/789-0 | Sarita And Sarita 160 Patient Lift Non Ac Powered Lift Transfer System Used To Transfer Patients Residents Between Beds Chairs And Toilets A Model Kka 0400 B Kka 0420 16 C Kka 0401 D Kkb 3000 11 Us E Kkb 3020 16 Us | Manufacturer | Arjo Inc | May 11 2000 | Premature Cracking Of Foot Support Platform Of The Lift | 967 Units Were Distributed | Nationwide
2000-06-28 | Devices | II | z-790-0 | Maxilift Patient Lift Non Ac Powered Used To Move Patients In A Nursing Home Situation | Manufacturer | Arjo Inc | May 11 2000 | Spring Roll Pin Subject To Shear In Maxilifts Greater Than 5 Years Old | 1 017 Units Were Distributed | Nationwide
2000-06-28 | Devices | II | z-791/799-0 | Maximove Patient Lift Non Ac Powered Used To Move Patients In A Nursing Home Situation Models Kra 0300 Ma 0510 Kma 1004 Kmb 0810 06 Kmb 0830 06 Kmb 4500 12 Us Kmb 6950 12 Us Kmb 6970 12 Us Kmb 6980 12 Us | Manufacturer | Arjo Inc | May 11 2000 | Over Depression Of The Locking Spring Pin Results In The Lift Arm Not Locking | 1 465 Units Were Distributed | Nationwide
2000-06-28 | Devices | II | z-800/802-0 | Marisa Patient Lift Non Ac Powered Used To Move Weak Or Highly Dependent Patients In A Nursing Home Situation A Model Kgb 2000 Us Marisa Complete With Jib But No Scale B Model Kgb 2100 Us Marisa Complete With Jib And With Scale C Model Kga 0200 | Manufacturer | By Letters Dated May 11 And 30 2000 | May 11 2000 | Jib Assembly Plunger May Not Fully Engage In The Carriage Receptacle | 1 331 Lifts Were Distributed | Nationwide
2000-06-28 | Devices | III | z-753-0 | Vitros Cardiology Controls Human Serum For In Vitro Diagnostic Use Only Catalog 865 0939 | Manufacturer | Ortho Clinical Diagnostics Inc | July 14 1999 | Cardiology Controls Gave Low Values Approximately 2 Standard Deviations Below Target Values | 338 Packs Were Distributed | California District Of Columbia Illinois Indiana Montana Nevada Ohio New York South Carolina Texas Virginia Wisconsin Australia Brazil Canada Singapore England And France
2000-06-28 | Devices | III | z-760-0 | Cemented Hip Stem Catalog 6098 0940 | Manufacturer | Stryker Howmedica Osteonics Allendale New Jersey | March 21 2000 | Mislabeling The Device Is Labeled Having A 127 Degree Neck Angle When In Fact The Hip Stem Actually Have A 132 Degree Neck Angle | 5 Units Were Distributed | Illinois Minnesota Oklahoma And Canada
2000-06-28 | Devices | III | z-761-0 | Imx Hcg Calibrators For In Vitro Diagnostic Use | Manufacturer | Abbott Health Products Inc | April 27 2000 | The Imx Hcg Calibrator Lot 55552 Q 100 Rates Have Decreased Over Time Which May Result In Elevated Control Values | 234 Kits Were Distributed | Nationwide Australia Canada Germany Italy Japan And Mexico
2000-06-28 | Devices | III |  | Pentalumen Thermodilution Catheter Heparin Coated Flow Directed Thermodilution Pulmonary Artery Catheder Rx Device For Rapid And Accurate Measurement Of Hemodynamic Pressure And Determination Of Cardiac Output Using A Cardiac Output Computer | Manufacturer | Abbott Laboratories Hospital Products Division Abbott Park Illinois | May 10 2000 | One Or More Of The Lumens In The Catheter May Be Occluded | 960 Catheters Were Distributed | Nationwide Canada Chile
2000-06-28 | Devices | III |  | Genesis Ii And Profix Porous Femoral Components Sterile Product Packaged One Per Container For Use By An Orthopaedic Surgeon Z 763 0 Genesis Ii Femoral Components Description Part Number Lot Sz 3 Lt 71420036 00111302 Sz 4 Lt 71420038 91106643 Sz 5 Lt 71420040 00111462 Sz 5 Lt 71420040 00111463 Sz 5 Lt 71420040 00304339 Sz 5 Lt 71420040 00304340 Sz 6 Lt 71420042 91103882 Sz 6 Lt 71420042 91103883 Sz 6 Lt 71420042 91107062 Sz 6 Lt 71420042 91107063 Sz 6 Lt 71420042 91107064 Sz 6 Lt 71420042 00101454 Sz 6 Lt 71420042 00101457 Sz 7 Lt 71420044 00206821 Sz 7 Lt 71420044 00206822 Sz 4 Rt 71420054 91201372 Sz 4 Rt 71420054 91201373 Sz 4 Rt 71420054 91201371 Sz 4 Rt 71420054 91204594 Sz 4 Rt 71420054 00101463 Sz 4 Rt 71420054 00101464 Sz 4 Rt 71420054 00111306 Sz 4 Rt 71420054 00111307 Sz 4 Rt 71420054 00111308 Sz 5 Rt 71420056 91107068 Sz 5 Rt 71420056 91107069 Sz 5 Rt 71420056 91107070 Sz 5 Rt 71420056 91106158 Sz 5 Rt 71420056 90016159 Sz 5 Rt 71420056 91106160 Sz 5 Rt 71420056 91107067 Sz 5 Rt 71420056 00111304 Sz 5 Rt 71420056 00111304 A Sz 5 Rt 71420056 00404566 Sz 5 Rt 71420056 00404567 Sz 5 Rt 71420056 00404563 Sz 5 Rt 71420056 00404564 Sz 5 Rt 71420056 00404565 Sz 7 Rt 71420060 91204591 Sz 7 Rt 71420060 91204592 Sz 7 Rt 71420060 00206823 Sz 7 Rt 71420060 00206824 Sz 7 Rt 71420060 00406018 Sz 7 Rt 71420060 00406017 Sz 7 Rt 71420060 00103496 Z 764 0 Profix Femoral Components Description Part Number Lot Sz 3 Rt 71502130 00105665 Sz 4 Rt 71502140 91100703 Sz 4 Rt 71502150 91100704 Sz 4 Rt 71502140 91107043 Sz 4 Rt 71502150 91107044 Sz 4 Rt 71502140 91107045 Sz 4 Rt 71502150 91203073 Sz 5 Rt 71502150 91101207 Sz 5 Rt 71502150 91106635 Sz 5 Rt 71502150 91106636 Sz 5 Rt 71502150 91106146 Sz 5 Rt 71502150 91106147 Sz 5 Rt 71502150 91106634 Sz 5 Rt 71502150 91107801 Sz 5 Rt 71502150 91107802 Sz 5 Rt 71502150 91107724 Sz 5 Rt 71502150 91107725 Sz 5 Rt 71502150 91107803 Sz 5 Rt 71502150 91200417 Sz 5 Rt 71502150 91200418 Sz 5 Rt 71502150 91100419 Sz 5 Rt 71502150 91200420 Sz 5 Rt 71502150 92100416 Sz 6 Rt 71502160 91101209 Sz 6 Rt 71502160 91107805 Sz 6 Rt 71502160 91107806 Sz 6 Rt 71502160 91100706 Sz 6 Rt 71502160 00209183 Sz 6 Rt 71502160 00209184 Sz 6 Rt 71502160 00301458 Sz 6 Rt 71502160 00301457 Sz 6 Rt 71502160 00301456 Sz 6 Rt 71502160 00305645 Sz 2 Lt 71502220 00405819 Sz 2 Lt 71502220 91203766 Sz 2 Lt 71502220 91204891 Sz 3 Lt 71502230 91106628 Sz 3 Lt 71500230 91106629 Sz 3 Lt 71502230 91106630 Sz 3 Lt 71500230 91106149 Sz 3 Lt 71502230 91106150 Sz 3 Lt 71500230 00109524 Sz 4 Lt 71590001 91203525 Sz 4 Lt 71590001 91203526 Sz 4 Lt 71502240 91101931 Sz 4 Lt 71502240 91101932 Sz 4 Lt 71502240 91101933 Sz 4 Lt 71502240 00104672 Sz 4 Lt 71502240 00109525 Sz 4 Lt 71502240 00301453 Sz 4 Lt 71502240 00301454 Sz 4 Lt 71502240 00310670 Sz 5 Lt 71502250 91102580 Sz 5 Lt 71502250 91102582 Sz 5 Lt 71502250 91109920 Sz 5 Lt 71502250 91109921 Sz 5 Lt 71502250 91110383 Sz 5 Lt 71502250 91204253 Sz 5 Lt 71502250 91204254 Sz 5 Lt 71502250 00109527 Sz 5 Lt 71502250 00109528 Sz 5 Lt 71502250 00111459 Sz 5 Lt 71502250 00111461 Sz 5 Lt 71502250 00200116 Sz 5 Lt 71502250 00200337 Sz 5 Lt 71502250 00200338 Sz 5 Lt 71502250 00200339 Sz 6 Lt 71502260 91107049 Sz 6 Lt 71502260 91107050 Sz 6 Lt 71502260 91107051 Sz 6 Lt 71502260 00104674 Sz 6 Lt 71502260 91108859 Sz 7 Lt 71502270 91106148 Sz 7 Lt 71502270 91200414 Sz 7 Lt 71502270 00111298 | Manufacturer | Smith And Nephew Inc | May 19 2000 | The Bead Sintering Process Temperature Was Insufficient For Proper Bead Substrate Adhesion | 945 Units Were Distributed | Nationwide And International
2000-06-28 | Devices | III | z-765-0 | Freshlook Toric Soft Hydrophilic Contact Lenses For Astigmatism | Manufacturer | Wesley Jessen Corporation Des Plaines Illinois | May 12 2000 | Mislabeled For Corrective Power Cylinder And Axis | 564 Single Blister Trials And 246 6 Packs Were Distributed | Nationwide
2000-06-28 | Devices | III | z- 775/776-0 | Cordis Smart Nitinol Stent Transhepatic Biliary System | Manufacturer | Cordis Corporation Miami Lakes Florida | April 25 2000 | Mislabeled Guidewire Size And Mislabeled Indication For Use | 12 Units Were Distributed | Tennessee West Virginia California Louisiana And Florida
2000-06-28 | Devices | III | z-803-0 | Cardiology Controls Human Serum For In Vitro Diagnostic Use Only | Manufacturer | Ortho Clinical Diagnostics Inc | November 23 1999 | Cardiology Controls Gave Low Values Approximately 2 Standard Deviations Below Target | 33 Packs Were Distributed | Alaska California Delaware Indiana Kansas Kentucky New York Ohio Oklahoma Pennsylvania Wisconsin Canada Belgium And Germany
2000-06-28 | Devices | III | z-817-0 | Lactate Membrane Kit Stat Profile M Series For Use With The Stat Profile M Analyzer | Manufacturer | Nova Biomedical Corporation Waltham Massachusetts | March 8 2000 | Extended Expiration Date | 41 Kits 6 Membranes Kit Were Distributed | Arizona Massachusetts Florida Wisconsin And Germany