## 2001-11-07
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2001-11-07 | Drugs | II | d-010-2 | A) Sodium Bicarbonate Injection Usp 84 Mg/ml 50 Meq/50 Ml 50 Ml Single Dose Vial Ndc #63323-006-50 Product Code 0650; For Iv Use Only Preservative Free B) Multi Vitamin Concentrate 5 Ml Single Dose Vial Ndc #63323- 042-05 Product Code 4205; For Iv Infusion After Dilution C) Vinblastine Sulfate Injection 1 Mg/ml 10 Ml Multiple Dose Vial Ndc #63323-278-10 Product Code 27810; For Iv Use Only D) Dexamethasone Sodium Phosphate Injection Usp 4 Mg/ml 1 Ml In 2 Ml Single Dose Vial - Ndc #63323-165-01 Product Code 16501 And 5 Ml Multiple Dose Vial - Ndc #63323-165-05 Product Code 16505; For Im Or Iv Use E) Potassium Phosphates Injection Usp Phosphorus 3 Mm/ml And Potassium 4.4 Meq/ml 50 Ml Single Dose Vial Ndc #63323-086-50 Product Code 8650; For Iv Use Only After Dilution F) Potassium Acetate Injection Usp 2 Meq/ml 50 Ml Single Dose Vial Ndc #63323-076-50 Product Code 7650; For Iv Use Only After Dilution G) Clindamycin Injection Usp 150 Mg/ml 4 Ml In 5 Ml Vial Product Code C28204 Din 021 39286 H) Sodium Chloride (chlorure De Sodium) Injection Usp 800 Mmol/200 Ml 4 Mmol/ml 200 Ml Vial Din #02139510 Product Code C88b2; For Intravenous Infusion After Diluation Pharmacy Bulk Package Not For Direct Infusion I) Bacteriostatic Water For Injection Usp 10 Ml Multiple Dose Vial Ndc #63323-950-10 Product Code 95106; Packaged With The Chorionic Gonadotropin For Injection And Used To Reconstitute The Lyophilized Powder J) Chorionic Gonadotropin For Injection Usp 10 000 Units/ml 1 Ml In 2 Ml Multiple Dose Vial (lyophilized) Ndc #63323-025-10 Product Code 25021; For Im Use Only After Reconstitution Codes: A) Sodium Bicarbonate Injection Usp Lot 110660 Exp. 01/03 Lot 110670 Exp. 01/03 B) Multi Vitamin Concentrate Lot 110664 Exp. 01/03 C) Vinblastine Sulfate Injection Lot 110680 Exp. 01/03 D) Dexamethasone Sodium Phosphate Injection Usp Lot 110739 Exp. 02/03 Lot 110760 Exp. 02/03 Lot 110767 Exp. 02/03 E) Potassium Phosphates Injection Usp Lot 110754 Exp. 08/04 F) Potassium Acetate Injection Usp Lot 110766 Exp. 02/04 G) Clindamycin Injection Usp Lot 110652 Exp. 01/03 H) Sodium Chloride Injection Usp Lot 110710 Exp. 02/03 I) Bacteriostatic Water For Injection Usp Lot 110653 Exp. 07/04 J) Chorionic Gonadotropin For Injection Usp Lot 110645 Exp. 07/03 | Manufacturer | American Pharmaceutical Partners Inc. Melrose Park Il | 9/28/01 | Manufacturer | 504471 vials | NATIONWIDE AND CANADA
2001-11-07 | Drugs | II | d-021-2 | Zestril Tablets (lisinopril) 10 Mg Rx Once-daily Tablets 100 Tablets/bottle Lot R2817 Exp 02-03 Ndc 0310-0131-10. Manufactured By Ipr Pharmaceuticals Distributed By Zeneca Pharmaceuticals Repackaged By Prestige Packaging. Codes: Lot R2817 Exp. 02-03 | Prestige Packaging Inc. Farmington Hills | Ipr Pharmaceuticals Carolina Pr | 10/2/01 | Mispackaging; bottles labeled as 10 mg may contain 20 mg tablets | 953 bottles distributed | MI AND OH
2001-11-07 | Drugs | III | d-008-2 | 1. Burn Relief Spray Containing Benzocaine 5.0% And Benzalkonium Chloride 0.14% Packaged In 3-fl. Oz. Containers Otc. The Product Is Packaged Under The Following Labels: A. York Burn Relief With Aloe Vera Antiseptic/anesthetic Manufactured By York Pharmaceuticals Inc. Kansas City Ks B. Zee Burn Relief Spray With Aloe Vera Antiseptic/ Anesthetic Manufactured For Zee Medical Inc. Irvine Ca C. Medi First Plus Pain Relieving Burn Spray With Aloe Vera Antiseptic Anesthetic Packaged For Medi First Plus Skokie Il D. Burn Relief With Aloe Vera Antiseptic Manufactured For First Aid Direct Sunrise Fl 2. Antiseptic Spray Containing Lidocaine 2.5% And Benzalkonium Chloride 0.14% Packaged In 3-fl. Oz. Containers Otc. The Product Is Packaged Under The Following Labels: A. Zee First Aid Antiseptic Spray Manufactured For Zee Medical Inc. Irvine Ca B. Medi First Plus Pain Relieving Antiseptic Spray Packaged For Medi First Plus Skokie Il C. First Aid Antiseptic Manufactured For First Aid Direct Sunrise Fl D. First Aid Only Antiseptic Spray Distributed By First Aid Only Inc. Vancouver Wa E. Respond First Aid Antiseptic Distributed By Respond Industries Inc. Denver Co Codes: Burn Spray Lot # Exp. Date Label 0001123 Jan 02 Zee Medical 0008095 Aug 02 Zee Medical 0008096 Aug 02 Zee Medical 0009013 Sep 02 Zee Medical 0010004 Oct 02 First Aid Direct Medi First & Zee 0010005 Oct 02 First Aid Direct & Zee Medical 0011014 Nov 02 First Aid Direct & Zee Medical 0011037 Nov 02 York First Aid Direct Respond & Zee 0012017 Dec 02 Zee Medical 0101045 Jan 03 Zee Medical 0103017 Mar 03 York & Zee Medical 0103078 Mar 03 York & Zee Medical Antiseptic Spray Lot # Exp. Date Label 0001096 Jan 02 First Aid Only 0001133 Jan 02 Zee Medical 0002031 Feb 02 Zee Medical 0002046 Feb 02 Zee Medical 0002054 Feb 02 Zee Medical 0002057 Feb 02 Zee Medical 0002089 Feb 02 Zee Medical 0002090 Feb 02 First Aid Direct First Aid Only & Zee 0003001 Mar 02 First Aid Only 0003010 Mar 02 First Aid Only 0003065 Mar 02 First Aid Only And Respond 0003092 Mar 02 First Aid Direct First Aid Only & Medi First 0004041 Apr 02 First Aid Only & Zee Medical 0005022 May 02 Zee Medical 0005023 May 02 Zee Medical 0005024 May 02 First Aid Only & Zee Medical 0005100 May 02 First Aid Only 0005111 May 02 First Aid Only 0006003 Jun 02 First Aid Only & Zee Medical 0006007 Jun 02 Zee Medical 0103079 Mar 03 Zee Medical 0104038 Mar 03 Zee Medical 0105006 Mar 03 Zee Medical 0105023 Mar 03 Zee Medical | Manufacturer | York Pharmaceuticals Inc. Kansas City Ks | 8/27/01 | Burn relief spray active ingredient benozocaine is super-potent -- antiseptic spray active ingredient lidocaine is sub-potent | burn spray 105 996 bottles antiseptic spray 247 596 btls | NY, CA, FL, CO, IL, TN, GA, AND FL
2001-11-07 | Drugs | III | d-020-2 | Colocort Hydrocortisone Enema Usp (retention)100 Mg/60 Ml For Rectal Use Only Rx Only Disposable Single-dose Bottle Ndc Numbers 0574-2020-01 (one Single 60 Ml Bottle In A Box) And 0574-2020-07 (box Of Seven 60 Ml Bottles Of The Product) Codes: Lot Numbers 9m6024 9m6049 9m6051 0c6226 0c6230 0e6338 Oe6345 0e6360 0e6366 0e6372 0h6558 421557 431587 441605 441625 481764 And 481782 | Manufacturer | Paddock Laboratories Inc Minneapolis Mn | 10/04/2001 | Impurity specification failure at stability testing (18 months) | 230 000 bottles | NATIONWIDE
2001-11-07 | Drugs | III | d-022-1 | Bronchial Mist Epinephrine Inhalation Aerosole Usp 1/2 Fluid Ounce (15 Ml) 55 Mg/ml Epinephrine Plastic Coated Glass Vials Packaged 1 Per Carton 24/case. Packaged With Actuator. Codes: Lot Rd 1406 Exp 5/03 | Alpharma Uspd Baltimore | Armstrong Laboratories West Roxbury Ma | 9/20/2001 | Dosage uniformity failure | 4608 unit doses | TN, IN, CT, KY, AND RI
2001-11-07 | Drugs | III | d-023-2 | Hyoscyamine Sulfate Usp Extended Release Capsules 0375 Mg 100 Capsule Bottles Rx Only Ndc 51285-938-02. Codes: Lots 0024e 0043e. | Manufacturer | Carlsbad Technology Inc. Carlsbad Ca | 9/10/2001 | Sub-potency (9 month stability station) | 800 000 capsules | OH
2001-11-07 | Biologics | II | b-0001-2 | Corneas Tissue Identification Numbers 01-0789 01-0790 | Manufacturer | Lions Eye Bank Of Central Texas Austin Tx | August 31, 2001 | Corneas, collected from a donor who tested repeatedly reactive for the hiv p24 antigen, with no hiv 1/2 dna detected by pcr, were distributed. | 2 units | TEXAS AND MEXICO
2001-11-07 | Biologics | II | b-0002-2 | Source Plasma Units 27868874 29774487 29777525 28280514 28283027 28285854 | Manufacturer | Nabi Biomedical Center Dallas Tx | September 14, 2000 | Blood products, collected from a donor with a history of intravenous drug use, were distributed | 6 units | CA
2001-11-07 | Biologics | II | b-0010-2 | Source Plasma Unit Q5e446 | Manufacturer | Alabama Plasma Inc. Birmingham Al | November 1, 2000 | Blood product that tested negative for hbsag, but was not quarantined after the donor subsequently tested rr for hbsag, was distributed | 1 unit | NC
2001-11-07 | Biologics | II | b-0013-2 | Platelets Leukocytes Reduced Unit 7475165 | New York Blood Center (center West) | New York Blood Center Melville Ny | June 18, 2001 | Blood product, which was labeled as leukoreduced, but failed the quality control specification for white blood cell count, was distributed | 1 unit | NEW YORK
2001-11-07 | Biologics | II | b-0058-2 | Source Plasma For Manufacturing Use Only Unit 00lwib4967 | Community Bio-resources | Community Bio-resources Inc. Onalaska Wi | June 6, 2000 | Blood product, collected from a donor who engaged in multiple high-risk behaviors, was distributed | 1 unit | AUSTRIA
2001-11-07 | Biologics | II | b-0059-2 | Source Plasma For Manufacturing Use Only Units 00lwib5087 00lwib5564 | Community Bio-resources | Community Bio-resources Inc. Onalaska Wi | June 6, 2000 | Blood products, collected from a donor who engaged in high-risk behavior, were distributed | 2 units | AUSTRIA
2001-11-07 | Biologics | II | b-0062-2 | Counterfeit Neupogen (filgrastim) Labeled As Containing 300 Mcg/10 Ml Packaged 10/1.0 Ml. Single Use Vials Per Carton; 24 Cartons Distributed Lot Number P000890 Expiration Date 12/02 | Albers Medical, Inc. |  | May 1, 2001 | Counterfeit neupogen was distributed. | 240 vials | TN AND NJ
2001-11-07 | Biologics | II | b-0063-2 | Counterfeit Neupogen (filgrastim) Labeled As Containing 300 Mcg/10 Ml Packaged 10/1.0 Ml. Single Use Vials Per Carton; 18 Cartons Distributed Lot Number P000890 Expiration Date 12/02 | H.D. Smith Drug Company |  | June 1, 2001 | Counterfeit neupogen was distributed. | 180 vials | NY AND NJ
2001-11-07 | Biologics | II | b-0064-2 | Counterfeit Neupogen (filgrastim) Labeled As Containing 300 Mcg/10 Ml Packaged 10/1.0 Ml. Single Use Vials Per Carton 117 Vials Lot Number P000890 Expiration Date 12/02 Lot Number P000948 Expiration Date 03/03 Lot Number P000992 Expiration Date 06/03 | Drug Max, Pittsburgh, PA |  | May 29, 2001 | Counterfeit neupogen was distributed. | 117 vials | CA, DC, FL, GA, MI, NJ, NY PA, TX AND WA
2001-11-07 | Biologics | II | b-0065-2 | Counterfeit Neupogen (filgrastim) Labeled As Containing 300 Mcg/10 Ml Packaged 10/1.0 Ml. Single Use Vials Per Carton 287 Cartons Lot Number P000890 Expiration Date 12/02 | TW Medical Veterinary Supply |  | May 7, 2001 | Counterfeit neupogen was distributed. | 2 870 vials | MO, PA AND FL
2001-11-07 | Biologics | II | b-0066-2 | Counterfeit Neupogen (filgrastim) Labeled As Containing 300 Mcg/10 Ml Packaged 10/1.0 Ml. Single Use Vials Per Carton 17 Boxes Distributed Lot Number P000890 Expiration Date 12/02 Lot Number P000992 Expiration Date 06/03 | Top Source, Bartlett, TN |  | May 18, 2001 | Counterfeit neupogen was distributed. | 17 vials | NY, NM, VA, CA AND NJ
2001-11-07 | Biologics | II | b-0067-2 | Platelets Units 30 34322 30 34323 | Manufacturer | The Community Blood Center Inc. Appleton Wi | May 16, 2000 | Blood products, which had unacceptable platelet counts, were distributed | 2 units | WI
2001-11-07 | Biologics | II | b-0069-2 | Red Blood Cells Unit C70268 Recovered Plasma Unit C70268 | Manufacturer | Virginia Blood Services Richmond Va | June 11, 2001 | Blood products, collected from a donor who had surgery within 48 hours of donation, were distributed | 2 units | VA AND SWITZERLAND
2001-11-07 | Biologics | II | b-0071-2 | Albuminar-5 Albumin (human) Us.p. 5%; 250 Ml Vials Containing 12.5 Grams And 25.0 Grams Of Albumin In Normal Saline 210 270 Vials Distributed Lot Numbers: W34710 W35010 W35110 W35210 W41311 W41411 W41411b W41511 W41611 W41711 W41811 W41911 W42111 W42211 W42311 W42411 W42511 W42611 W42712 W42812 W42912 W43012 W43112 W43312 W43412 W43512 W43612 W43712 W43912 W44012 W44212 W44312 W44412 W44612 W44712 W44812 W44912 W45012 W45112 W45212 W45312 W45412 W45512 W45712 W45812 W45912 W46112 W46412 X700601 X700701 X701001 X701101 X702602 X702702 X704602 X704702 X704902 X705002 X705202 X705302 X705402 X707203 X707303 X707503 X707703 X707803 X708604 Albuminar-5 Albumin (human) U.s.p. 5%; 500 Ml Vials Containing 12.5 Grams And 25.0 Grams Of Albumin In Normal Saline 100 699 Vials Distributed Lot Numbers W34209 W34309 W34409 W34509 W35310 W35410 W35510 W35610 W35710 W35810 W35910 W36010 W36110 W36210 W36310 W36410 W36510 W36610 W36710 W36810 W37010 W37110 W37210 W37310 W37410 W37510 W37610 W37710 W37810 W37910 W38010 W38110 W38210 W38310 W38410 W38510 W38610 W38711 W38811 W38911 W39011 W39111 W39211 W39311 W39411 W39711 W39811 W39911 W40011 W40111 W40211 W40311 W40611 W40811 W41011 X700001 X700201 X700401 X701501 X701601 X701901 X708203 X708403 | Aventis Behring L.l.c. | Aventis Behring L.l.c. Bradley Il | July 20, 2001 | Sterility of the products may have been compromised due to the potential for holes in the stopper septum. | 210 270 vials 100 699 vials | NATIONWIDE
2001-11-07 | Biologics | II | b-0072-2 | Platelets Pheresis (34 Units) Unit Numbers 09fp11944 09fp12385 09fp12782 09fp13357 09fp13811 09fp13964 09fp14398 09fp14862 09fp15311 09fp16156 09fp16478 09fp17790 09fp18451 09fp19246 09p58687-1 09p58687-2 09p59321 09p61935 09p63484 09p64721-1 09p64721-2 09p65136-1 09p65136-2 09p67413-1 09p67413-2 09p69358-1 09p69358-2 09p69772-2 09p70157-1 09p70157-2 09p70651-1 09p70651-2 09p70704-1 And 09p70704-2 | Manufacturer | The American National Red Cross Omaha Ne | February 19, 1999 | Blood products, labeled with incorrect human leukocyte antigen (hla) type, were distributed | 34 units | CA, AR, OR, NE, IA
2001-11-07 | Biologics | II | b-0073-2 | Red Blood Cells Leukocytes Reduced Unit Number 0736672 | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Mn | June 6, 2000 | Blood product, collected from a donor that tested positive for the fya blood group antigen, but was labeled fya negative, was distributed | 1 unit | MN
2001-11-07 | Biologics | II | b-0074-2 | Platelets Pheresis Leukocytes Reduced Unit Numbers 0796321 And 0805277 | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Mn | January 30, 2001 | Blood products with an increased platelet count that were not tested for ph as required were distributed | 2 units | MN
2001-11-07 | Biologics | II | b-0075-2 | Red Blood Cells Leukocytes Reduced Unit Number 10706-7964 Recovered Plasma Unit Number 10706-7964 | Manufacturer | Blood Systems Inc. Scottsdale Az | April 18, 2001 | Blood products, collected from a donor whose health history screening was inadequately performed, were distributed | 2 units | AZ AND VA
2001-11-07 | Biologics | II | b-0079-2 | Red Blood Cells Leukocytes Reduced Unit Number 50lg41701 | Manufacturer | The American National Red Cross Toledo Oh | April 12, 2001 | Blood product, collected from an unsuitable donor based on living in an area considered endemic for malaria, was distributed | 1 unit | OH
2001-11-07 | Biologics | II | b-0080-2 | Platelets Pheresis Unit Number 7445418 | Manufacturer | Carter Bloodcare Bedford Tx | June 8, 2001 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed | 1 unit | TX
2001-11-07 | Biologics | II | b-0081-2 | Red Blood Cells Leukocytes Reduced Unit Number 12m05709 | Manufacturer | The American National Red Cross Charlotte Nc | July 18, 2001 | Blood product, collected from an unsuitable donor based on living in an area considered endemic for malaria, was distributed | 1 unit | NC
2001-11-07 | Biologics | II | b-0082-2 | Red Blood Cells Leukocytes Reduced Unit Number 12l58954 | Manufacturer | The American National Red Cross Charlotte Nc | July 13, 2001 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed | 1 unit | NC
2001-11-07 | Biologics | II | b-100-2 | Red Blood Cells (8 Units) Unit Numbers 21gs06356 21y58308 21y56749 21y55436 21y54094 21y52852 21y48696 And 21y47492 Red Blood Cells Leukocytes Reduced (7 Units) Unit Numbers 21y63240 21y62050 21gs09211 21kq04129 21kq02382 21y59615 And 21y51171 Cryoprecipitated Ahf (13 Units) Unit Numbers 21y63240 21y62050 21gs09211 21kq04129 21gs06356 21y59615 21y58308 21y56749 21y55436 21y54094 21y52852 21y48696 And 21y47492 Plasma (1 Unit) Unit Number 21y54094 | The American National Red Cross | American Red Cross Blood Services Salem Or | February 16, 2001 | Blood products, collected from an ineligible donor due to a history of medication with the drug acyclovir (zovirax), were distributed | 29 units | AZ, CA, NJ, OR, TX, UT AND WA
2001-11-07 | Biologics | II | b-0225-2 | Red Blood Cells Leukocytes Reduced (1 Unit) Unit Number 42fx94172 Platelets Leukocytes Reduced (2 Units) Unit Numbers 42fx94172 And 42s57347 Fresh Frozen Plasma (1 Unit) Unit Number 42fx94172 | Manufacturer | The American National Red Cross Cleveland Oh | June 18, 2001 | Blood products, that tested negative for the antibody to hepatitis c virus (anti-hcv), but were collected from a donor that previously tested repeatedly reactive for anti-hcv, were distributed | 4 units | OH
2001-11-07 | Biologics | II | b-0228-2 | Red Blood Cells Leukocytes Reduced (1 Unit) Unit Number Gk54195 Recovered Plasma (1 Unit) Unit Number Gk54195 | Manufacturer | Blood Bank Of San Bernadino And Riverside Counties San Bernadino Ca | April 24, 2001 | Blood products, collected from an ineligible donor due to medication with the drug methotrexate, were distributed | 2 units | CA
2001-11-07 | Biologics | II | b-0230-2 | Red Blood Cells (1 Unit) Unit Number Gl62814 Recovered Plasma (1 Unit) Unit Number Gl62814 | Manufacturer | Blood Bank Of San Bernadino And Riverside Counties San Bernadino Ca | April 24, 2001 | Blood products, collected from an ineligible donor due to a history of intravenous (iv) drug use, were distributed | 2 units | CA
2001-11-07 | Biologics | II | b-0241-2 | Red Blood Cells Leukocytes Reduced (1 Unit) Unit Number Fk32661 | Manufacturer | Healthcare Provider Services Inc. Providence Ri | July 2, 2001 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed | 1 unit | RI
2001-11-07 | Biologics | II | b-0242-2 | Red Blood Cells Leukocytes Reduced (2 Units) Unit Numbers 10627-0013 And 10633-3833 | Manufacturer | Blood Systems Inc. Scottsdale Az | February 20, 2001 | Blood products, collected from an unsuitable donor based on travel to an area considered endemic for malaria, were distributed | 2 units | AZ
2001-11-07 | Biologics | II | b-0243-2 | Red Blood Cells (1 Unit) Unit Number 10601-4607 Red Blood Cells Leukocytes Reduced (2 Units) Unit Numbers 10626-7938 And 10630-7134 Platelets (1 Unit) Unit Number 10601-4607 | Manufacturer | Blood Systems Inc. Scottsdale Az | December 22, 2000 | Blood products, collected from an unsuitable donor based on travel to an area considered endemic for malaria, were distributed | 4 units | AZ
2001-11-07 | Biologics | II | b-0246-2 | Red Blood Cells Leukocytes Reduced (1 Unit) Unit Number 10624-8100 | Manufacturer | Blood Systems Inc. Scottsdale Az | August 23, 2000 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed | 1 unit | AZ
2001-11-07 | Biologics | III | b-0077-2 | Red Blood Cells Leukocytes Reduced Unit Numbers 4590376 4716138 6538799 And 6805488 | Manufacturer | Central Indiana Regional Blood Center Indianapolis In | August 22, 2001 | Blood products were distributed with an elevated white blood cell count. | 4 units | IN
2001-11-07 | Biologics | III | b-0078-2 | Red Blood Cells Leukocytes Reduced Unit Number 0788895 | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Mn | March 9, 2001 | Blood product, that was incorrectly leukoreduced by filtration twice, was distributed | 1 unit | MN
2001-11-07 | Biologics | III | b-0247-2 | Platelets Pheresis (4 Units) Unit Numbers 04w757514 04w757575 04w757599 And 04w757587 | Manufacturer | Civitan Regional Blood Center Inc. Gainesville Fl | October 31, 2000 | Unlicensed blood products were distributed interstate | 4 units | AL
2001-11-07 | Devices | II | z-0214-2 | Physiometrix Psarray Eeg Electrode Part Number: 4300-40 Lot Numbers: 010302a 010303a 010305a 010308a 010310a 010314a 010316a | Physiometrix | Conmed Corp. Utica Ny | 3/22/01 | Stud in the electrode separates from the substrate and remains in the lead wire | 132 cases | IL, SWEDEN AND, UK
2001-11-07 | Devices | II | z-0215-2 | Itrel 3 Implantable Pulse Generator (neurostimulator) Model 7425 Codes: Serial Numbers Nat118756h Nat118757h Nat118758h Nat118759h Nat118760h Nat118761h Nat118762h Nat118763h Nat118768h Nat118769h Nat118770h Nat118771h Nat118776h Nat118777h Nat118778h Nat118779h Nat118788h Nat118789h Nat118790h Nat118791h Nat118792h Nat118793h Nat118794h Nat118795h Nat118828h Nat118829h Nat118836h Nat118838h Nat118839h Nat122388h Nat122389h Nat122390h Nat122391h Nat122392h Nat122393h Nat122394h Nat122395h Nat122410h Nat122411h Nat122412h Nat122413h Nat122414h Nat122415h Nat122432h Nat122433h Nat122435h And Nat122439h | Medtronic | Medtronic Med Rel Inc. Humacao Rq | 7/09/01 | Shocks to the patient at the implant site can occur due to missing insulation for the battery | 47 units 28 implanted | NATIONWIDE
2001-11-07 | Devices | II | z-0216-2 | Novametrix Nico Monitor Model 7300 With Software Versions Below 43 | Manufacturer | Novametrix Medical Systems Inc. Wallingford Ct | 7/9/01 | Monitor may miscalculate pulse rate and oxygen saturation (spo2) values. | 699 units | NATIONWIDE AND AUSTRALIA, JAPAN, CANADA AND EUROPE
2001-11-07 | Devices | II | z-0217-2 | Roche Modular Analytics Immunoassay Based Clinical Analyzer Model E170 Catalog Number 7656961 | Roche Diagnostics Corp. | Hitachi Ltd. Japan | NOT_FOUND | May give incorrect thyroid test results | 7 | IL, IN, MD, NY, NC, PA AND WA
2001-11-07 | Devices | II | z-0218-2 | Dca2000 Hemoglobin A1c Normal And Abnormal Control Kit Catalog Number 5068 Lot 0009 | Bayer Corp. | Canterbury Scientific Ltd Christchurch 1 New Zealand | September 24, 2001 | Defective vials | 1902 | NATIONWIDE AND WORLDWIDE
2001-11-07 | Devices | II | z-0219-2 | - V40 Zirconia Femoral Heads Model Nos H 6364-4-028 H 6364-4- 032 H 6364-4-122 H 6364-4-126 H 6364-4-128 H 6364-4-132 H 6364-4- 222 H 6364-4-226 H 6364-4-228 H 6364-4-232; - Osteonics � Zirconia C-taper Femoral Bearing Head Model Nos. H 16-2600 H 16-2605 H 16-2800 H 16-2805 H 16-3200 H 16-3205 H 16- 3299; - Exeter Ceramic Femoral Head Model Nos.4658-2-801 4658-2-802 4658-3-201 4658-3-202 4658-3-203 | Manufacturer | Howmedica Osteonics Corp. Allendale Nj | 8/16/01 | Higher than expected failure rate with certain batches of saint gobain desmarquest zirconia ceramic heads | model 6364 3364 model 16 8585 and model 4658 352 | NATIONWIDE
2001-11-07 | Devices | II | z-0222-2 | - Modular Head Hip Joint Prostheses (22 Mm And 28 Mm) Reference No 163110; - Modular Head Hip Joint Prostheses (22 Mm And 28 Mm) Reference No. 163111; - Modular Head Hip Joint Prostheses (22 Mm And 28 Mm) Reference No. 163130; - Modular Head Hip Joint Prostheses (22 Mm And 28 Mm) Reference No. 163131; - Modular Head Hip Joint Prostheses (22 Mm And 28 Mm) Reference No. 163132; - Modular Head Hip Joint Prostheses (22 Mm And 28 Mm) Reference No. 163113; | Manufacturer | Biomet Inc. Warsaw In | 8/10/01 | Higher than expected failure rate with certain batches of saint gobain desmarquest zirconia ceramic heads. | 4 200 | NATIONWIDE & WORLDWIDE
2001-11-07 | Devices | II | z-0228-2 | Zirconia Femoral Head Prosthesis Catalog No Cfhs-028; Zirconia Femoral Head Prosthesis Catalog No. Cfhm-028; Zirconia Femoral Head Prosthesis Catalog No. Cfhl-028. | Manufacturer | Osteoimplant Technology (oti) Inc. Hunt Valley Md | 8/9/01 | Higher than expected failure rate with certain batches of saint gobain desmarquest zirconia ceramic heads | 37 units | OK, IL & SPAIN
2001-11-07 | Devices | II | z-0231-2 | Modular Zirconia Femoral Head Catalog No 322899; Modular Zirconia Femoral Head Catalog No. 322800; Modular Zirconia Femoral Head Catalog No. 322835; Modular Zirconia Femoral Head Catalog No. 322807; | Manufacturer | Apex Surgical Llc Lakeville Ma | 8/15/01 | Higher than expected failure rate with certain batches of saint gobain desmarquest zirconia ceramic heads. | 55 | FL, NV, OK, SC, TN, TX
2001-11-07 | Devices | II | z-0235-2 | Zirconia Ceramic Articul/eze Femoral Ball Catalog Nos 1365- 41-00 1365-42-000 1365-43-000 1365-44 000 1365-45-000 1365-46-000 1365-47-000 1365-48-000; Zirconia Ceramic Srom Taper Femoral Head Catalog No. 56-0028 56-00298; Zirconia Ceramic Elite Taper Femoral Head Catalog No. 9621-25- 000 9621-26-000 9621-27-000 9621-30-000 9621-31-000 9621-16-000 9621-17-000 9621-18-000 9621-19-000 9621-20-000 9621-21-000 9621-22- 000 9621-23-000 9621-24-000; Zirconia Ceramic Pfc Head Catalog No. 85-3878 85-3879 85- 3880 | Manufacturer | Depuy Orthopaedics Inc. Warsaw In Importer: Apex Surgical Llc Lakeville Ma | August 13, 2001 | Higher than expected failure rate with certain batches of saint gobain desmarquest zirconia ceramic heads. | over 20 000 | UNITED STATES, BRAZIL, CANADA AND ENGLAND
2001-11-07 | Devices | II | z-0239-2 | Versys Hip System Catalog Nos 00-8118-022-02 00-8118-028-01 00-8118-028-02 00-8118-028-03 00-8118-032-02 And 00-8118-032-03; Zirconia Ceramic Femoral Head Catalog Nos. 00-9030-028-00 00- 9030-028-35 00-9030-029-00 And 00-9030-029-35 | Manufacturer | Zimmer Inc. Warsaw In | 8/16/01 | Higher than expected failure rate with certain batches of saint gobain desmarquest zirconia ceramic heads. | 10 328 | NATIONWIDE & INTERNATIONAL
2001-11-07 | Devices | II | z-0241-2 | Zirconia Taper Femoral Head Catalog No 71320828; | Manufacturer | Smith & Nephew Inc. Memphis Tn | 3/15/01 | Higher than expected failure rate with certain batches of saint gobain desmarquest zirconia ceramic heads. | 49 | NATIONWIDE, CANADA, & GREECE
2001-11-07 | Devices | II | z-0242-2 | Zirconia 12/14 Taper Femoral Head 26mm +0 Part No 71320026 Lot Nos. 90611570 00810016 00810019 01203382 01203383; Zirconia 12/14 Taper Femoral Head 26mm +4 Part No. 71320426 Lot Nos. 00810020 00810021 01203384 01203385; Zirconia 12/14 Taper Femoral Head 26mm +8 Part No. 71320826 Lot Nos. 90611571 00810022 00810023 01203380 01203381; Zirconia 12/14 Taper Femoral Head 28mm +0 Part No. 71320028 Lot Nos. 90107821 90107822 90107823 90108442 90108443 90202378 90202379 90300445 90300447 90611572 90306983 90306984 90306985 90306997 90306986 90306987 90306988 90411386 90411387 90502073 90502079 90502080 90502081 90502082 90502083 90411388 90411389 90700276 90700278 90700279 90700280 90700281 90700282 90802697 90802698 90802699 90802700 90901889 90901892 90901893 90901895 90901897 90901899 90901900 90901901 90901902 91005226 91005227 91005228 91005229 91005230 91005231 91005232 91103444 91103445 91103446 91103447 91103448 91103449 91103450 91204696 91204697 91204698 91204699 91204700 91204701 01204700 00105762 00105757 00105759 00105760 00105803 00105805 00105806 00105807 00207310 00207311 00207312 00207313 00211929 00211930 00211931 00211932 00311848 00311849 00311850 00311851 00311852 00311853 00311854 00511770 00511772 00603275 00603276 00603277 00603279 00603280 00603281 00603283 00603285 00603287 00610965 00610966 00701793 00701795 00701796 00701797 00701798 00706338 00706339 00901714 00901715 00901716 00901717 00901718 00901720 00901721 00910581 00910582 00910583 00910584 00910617 00910587 01001665 01001666 01001667 01104354 01104355 01104356 01104357 01104358 01104362 01012015 01012016 01012017 01012018 01012019 01111813 01111814 01111815 01111816 01am03161 01am03162 01bm09428 01bm09429 01bm09430 01bm09431 01bm09432 01bm09434 01bm09435 01bm09436 01bm12590 01bm12591 01cm08887 01cm08889 01cm08891 01dm07940 01dm07940a 01dm07941 01dm07942 01dm07943 01dm07944 01dm07945 01dm07946 01dm07947 01dm07948 01em01314 01em01315 01em01316 01em01317 01em01318 01em01319 01em01320 01em01321 01em01322 01em1322a 1em01323 01em01324 01em01325 01fm05743 01fm05744 01fm05745 01fm05746 01fm05747 01fm05748 01fm05749 01fm05750 01fm05751 01fm05752 01fm05753 01fm05754 01fm05755 01fm05756 01fm05757 01fm11567 01fm11568 01fm11569 01fm11570 01fm11571 01fm11572 01fm11573 01fm11574 01fm11575 01fm11576 01fm11578 01fm11579 01fm11580; Zirconia 12/14 Taper Femoral Head 28mm +4 Part No. 71320428 Lot Nos. 90107826 90209515 90209516 90209517 90209518 90300451 90300452 90300449 90506988 90306989 90306990 90306991 90306992 90306993 90502084 90502085 90502086 90502074 90502075 90704484 90602245 90602246 90602247 90601125 90601126 90704485 90704486 90704487 90704489 90704490 90704491 90805027 90805028 90805030 90805032 90902941 90902942 90902943 90902944 90902945 90902946 90902947 91002327 91002328 91002329 91002330 91002331 91002332 91002333 91002334 91202989 91202990 91110490 91110491 91110492 91110493 00104731 00104732 00104733 00104734 00104735 00104736 00104737 00104738 00104739 00104740 00207979 00207980 00207981 00207982 00207983 00311855 00311856 00311857 00311858 00311859 00311860 00311861 00607784 00607785 00607786 00607787 00610967 00610968 00610970 00607788 00901725 00901726 00901727 00901743 00701799 00701800 00701801 00701802 00701803 00712034 00712035 00910592 00910593 01001668 01001669 01001670 01001671 01111817 01111818 01111819 01111820 01am09107 01am09108 01am09109 01am09110 01am09111 01am09112 01dm04535 01cm01170 01cm01171 01cm01172 01cm01173 01bm12595 01cm08894 01cm08895 01dm04536 01dm13966 01dm13967 01dm13968 01dm13969 01dm13970 01em09820 01em09821 01em09822 01em09823 01em09825 01em09824 01em12680 01em12681 01em12682 01em12683 01fm09026 01fm09027 01fm09028 01fm09029 01fm06259 01fm06260 01fm06261 01fm06262 01fm06263 01fm06264 01fm09030 01gm06910 01gm06912 01gm06913 01gm06915 01gm06917 01gm06918 01gm06919 01fm02976 01fm03087; Zirconia 12/14 Taper Femoral Head 28mm +8 Part No. 1320828 Lot Nos. 80801579 80800947 80800948 80801580 90106724 90106725 90205143 90205144 90205145 90205146 90611573 90307988 90307989 90307990 90403953 90403955 90402819 90402820 90403958 90502076 90502077 90502072 90502078 90601127 90601128 90601129 90610106 90610107 90704492 90704493 90802694 90802695 90805041 90805042 90900206 90900207 91002326 91006420 91006421 91006422 91006423 91006424 91103451 91204695 00105584 00105585 00106970 00106971 00106972 00106973 00106974 00106975 00106976 00106977 00401125 00401126 00403537 00403539 00403540 00407473 00407476 00407477 00407478 00701804 00701805 00810024 00810025 01200544 01200545 01200546 01200547 00810027 00810028 01203386 01203387 01203391 01203392 01cm08905 01cm08906 01cm04105 01cm04106 01cm08908 01dm13971 01dm13973 01em09826 01em09828 01em09829 01em09830 01fm06266 01fm06267 01fm06268 01fm06269 01fm06270 01fm06280 01fm06282 1fm06271 01fm06272 01fm09031 01fm09032 01fm09033 01fm09034 01fm09035. Zirconia 12/14 Taper Femoral Head 32mm +0 Part No. 71927729 Lot Nos. 01fm03862 01am14139 01em07106; Zirconia 12/14 Taper Femoral Head 32mm +4 Part No. 71927734 Lot Nos. 01fm14438 01am14153 01fm03863; Zirconia 12/14 Taper Femoral Head 32mm +8 Part No. 71927735 Lot No. 01am14150; Zirconia 14/16 Taper Femoral Head 32mm +0 Part No. 427815 Lot Nos. 00105698 00105699 00105700 00105701; Zirconia 14/16 Taper Femoral Head 32mm +4 Part No. 427816 Lot Nos. 00105702 00105703 00105704; Zirconia 14/16 Taper Femoral Head 32mm +8 Part No. 427817 Lot No. 00105705. | Manufacturer | Smith & Nephew Inc. Memphis Tn | 8/10/01 | Higher than expected failure rate with certain batches of saint gobain desmarquest zirconia ceramic heads. | 8 040 | NATIONWIDE & INTERNATIONAL
2001-11-07 | Devices | II | z-0254-2 | A)homedics Brand Model Powerdent Battery Operated Toothbrushes; All Lots The Toothbrushes Are Sold As In Packages Of 1 As Model Hd-30 Packages Of Two As Model Hd-30dp And Packages Of 12 As Model Hpk. B)homedics Brand Model Powerdent Jr. Battery Operated Toothbrush; All Lots. The Toothbrushes Are Sold As In Packages Of 1 As Model Hd-20 Packages Of Two As Model Hd-20dp And Packages Of 12 As Model Hpk. | Homedics | Teamedics Shenzhen China | September 26, 2001 | Defective seal allows water into handle | 935 000 toothbrushes | NATIONWIDE
2001-11-07 | Devices | II | z-0256-2 | Cedia Phenobarbital Ii Reagent Lot No 28105900 Catalog No. 1775936 | Roche Diagnostics Corporation | Microgenics Fremont Ca | 10/08/01 | The kit's bottles 1 and 2 were mislabeled | 476 end of enforcement report for november 7 2001 | UNITED STATES, AUSTRALIA, CANADA, NEW ZEALAND