## 2001-8-08
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2001-8-08 | Biologics | I | b-1650-1 | Corneas For Transplant Tissue Numbers 01-0148 Od And 01-0148 Os | Manufacturer | Northwest Lions Eye Bank Seattle Wa | February 12, 2001 | Corneas, collected from a donor whose serum tested positive for anti-hcv, and riba positive, were distributed. | 2 units | CT AND GERMANY
2001-8-08 | Biologics | II | b-1633-1 | Red Blood Cells Unit Number 2822185 | Manufacturer | Central California Blood Center Fresno Ca | August 9, 1999 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed. | 1 unit | CA
2001-8-08 | Biologics | II | b-1634-1 | Red Blood Cells (4 Units) Unit Numbers 2862592 2858158 2853843 2849093 | Manufacturer | Central California Blood Center Fresno Ca | September 20, 1999 | Blood products, collected from an unsuitable donor based on travel to an area considered endemic for malaria, were distributed | 4 units | CA
2001-8-08 | Biologics | II | b-1635-1 | Red Blood Cells Unit Number Gq07568 | Manufacturer | Blood Centers Of The Pacific Irwin Center San Francisco Ca | November 13, 1997 | Blood product, collected from an unsuitable donor based on travel to an area considered endemic for malaria, was distributed | 1 unit | CA
2001-8-08 | Biologics | II | b-1566-1 | Platelets Pheresis Leukocytes Reduced (3 Units) Unit Numbers 90- 45459 90-45777 And 90-49037 | Manufacturer | Medic Inc. Knoxville Tn | June 2, 2000 | Blood products, collected from an unsuitable donor based on travel to an area considered endemic for malaria, were distributed | 3 units | TN
2001-8-08 | Biologics | III | b-1637-1 | Red Blood Cells Leukocytes Reduced (8 Units) Unit Numbers 91-90458 91-90454 91-90457 91-90467 91-90453 90-57179 91-90461 And 91-90450 | Manufacturer | Medic Inc. Knoxville Tn | October 10, 2000 | Blood products that were out of controlled storage for more than 30 minutes were distributed. | 8 units | TN
2001-8-08 | Biologics | III | b-1638-1 | Red Blood Cells Leukocytes Reduced (8 Units) Unit Numbers 93-89662 93-89664 93-89668 93-89669 93-89670 93-89663 93-89665 And 93-89667 | Manufacturer | Medic Inc. Knoxville Tn | October 23, 2000 | Blood products that were out of controlled storage for more than 30 minutes were distributed | 8 units | TN
2001-8-08 | Biologics | III | b-1639-1 | Red Blood Cells Leukocytes Reduced Irradiated Unit Numbers 93-87749 And 93-87780 | Manufacturer | Medic Inc. Knoxville Tn | October 11, 2000 | Blood products that were out of controlled storage for more than 30 minutes were distributed | 2 units | TN
2001-8-08 | Devices | I | z-0688-1 | Various Custom Surgical Procedure Trays-see Specific Listing Under "codes" Below. These Are All Maxxim Kits That Contain Clinipad Products Implicated As Class I Although The Specific Lot Number Included In The Kits Cannot Be Determined Until They Are Opened. Kit Item # tray Name Clinipad Item # 82-6616 Cranial Access Kit W/o Drugs 3943s-b Bmh10bw Arterial Line Tray 1291sb Bmh44mt Eye Tray 1291sb Bx0003 Breast Biopsy Tray 1291sb Bxq007 Breast Biopsy Pack 1291sb Ch12co Shoulder Arthroscop. 3943sb Chmc01co interventional Pack 3943sb Cmc06mf Uniblock-univ. Nerve Block 1291sb Cts01d0 Recovery Tray 1241sb Cvsco1mf cataract Tray 1291sb Eap010 Latex Free-tympanoplasty 3943sb Ecm01et Angiography Pack 3943sb Ecmc01enj ophthalmic Pack 1291sb Eyj101 Eye Pack 3943sb Eyp017 Ed Jones Eye Tray 3943sb Eyp071 Eye Tray 3943sb Eyp091 Mini Ophthalmic Custom Kit 3943sb Gsh0301 Valve A & B Pack 3943sb Gsh04d1 Coronary Tray A & B 3943sb Gsm065 Vasectomy Pack 3943sb Gsp025 Bone Marrow Tray 0110 Hcl372 Angiography Pack 3943sb Hcp001 Cardiac Cath Pack 3943sb Hmem01st cr. Terrell Cataract Pack 3942sb Mupo1pp Cataract Pack 1291sb 1mh12m1 Anesthesia Bundle Cms 1241sb Jpsh29fwt balloon Induction Tray 3943sb Mcg05ag Pediatric Cardiac Cath 3943sb Mgh01sw Ophthalmic Pack 3943sb M113ma Angiography Tray 3943sb M146ma Mylogram 3943sb Mmh17bf Eye Pack 3943sb Mmh18bf Posterior Vitrectomy 3943sb Mvh22do Latex Free Tympanoplasty 3943sb Nnjeo1sonj basic Eye Pack 3943sb Obp049 Vaginal Delivery Tray 3943sb Oltrmc04ci cataract Tray 3943sb Opp195 Podiatry Set Up Pack 0110 Plp020 Plastic Pack 3943sb Rd3548 Electro-physiology Tray 3943sb Sch08eci total Hip Tray 3943sb Sh01sp Cataract Tray 3943sb Shh01cm Cataract Pack 3943sb Sjo7si Bleeder Set Up Pack 3943sb Srh01gg Cath Pack 3943sb Srho1so dr. Robinson�s Eye Pack 3943sb Th11chi Dialysis Kit 0110 Thmc12ci p.a.c. Kit 0110 Uhco1cm Cataract Pack 3943sb Vamcc01co angio Arteriogram Cv15101 3943sb Vamcc02co basic Cath Lab Pk Cv15103 3943sb Vbh02lv Open Heart A/b/c 3943sb Wpafb16wpo podiatry Pack Po22001 3943sb | Manufacturer | Maxxim Medical Inc. North Clearwater Fl | 2000-03-29 15:00 | Sterile surgical kits may contain nonsterile clinipad products. | approx | NATIONWIDE AND CANADA
2001-8-08 | Devices | II | z-0659-1 | 1/4 X 1/2 X 1/2 Clear Pay With Luer Lock. 10 Pouched/labeled Units Per Box. | Lifestream International | Surgimedics Inc. The Woodlands Tx | 2000-07-24 15:00 | Nonsterile product labeled non-sterile contained a sterile catalog number and should have been sterile | 70 units | ST. LOUIS, MO
2001-8-08 | Devices | II | z-700-1 | Passport 2 Vital Signs Monitor Codes: Passport 2 0998-00-0170-0001(a F) Passport 2 0998-00-0170-0002 (a D F G P T) Passport 2 0998-00-0170-0003 (a) Passport 2 0998-00-0170-0004 (a G) Passport 2 0998-00-0170-0005 (a) Passport 2 0998-00-0170-0006 (a D G) Passport 2 0998-00-0170-0007 (a) Passport 2 0998-00-0170-0008 (a) Passport 2 0998-00-0170-0009 (a F) Passport 2 0998-00-0170-0010 (a F G) Passport 2 0998-00-0170-0011 (a) Passport 2 0998-00-0170-0012 (a G P) Passport 2 0998-00-0170-0013 (a D F T) Passport 2 0998-00-0170-0014 (a F G T) Passport 2 0998-00-0170-0015 (a) Passport 2 0998-00-0170-0016 (a) Passport 2 0998-00-0170-0017 (a) Passport 2 0998-00-0170-0021 (a) Passport 2 0998-00-0170-0022 (a) Passport 2 0998-00-0170-0023 (a) Passport 2 0998-00-0170-0029 (a) Passport 2 0998-00-0170-0031 (a) Passport 2 0998-00-0170-0032 (a) Passport 2 0998-00-0170-0034 (a F P) Passport 2 0998-00-0170-0036 (a P) Passport 2 0998-00-0170-0037 (a) Passport 2 0998-00-0170-0038 (a F G T) Passport 2 0998-00-0170-0039 (a) Passport 2 0998-00-0170-0040 (a P) Passport 2 0998-00-0170-0041 (a) Passport 2 0998-00-0170-0042 (a F) Passport 2 0998-00-0170-0044 (a P) Passport 2 0998-00-0170-0045 (a F) Passport 2 0998-00-0170-0046 (a F G P T) Passport 2 0998-00-0170-0048 (a P) Passport 2 0998-00-0170-0050 (a) Passport 2 0998-00-0170-0054 (a) Passport 2 0998-00-0170-0055 (a) Passport 2 0998-00-0170-0061 (a) Passport 2 0998-00-0170-0062 (a) Passport 2 0998-00-0170-0064 (a) Passport 2 0998-00-0170-3006 (a T) Passport 2 0998-00-0170-3013 (a) Passport 2 0998-00-0170-3014 (a F G T) Passport 2 0998-00-0170-3015 (a) Passport 2 0998-00-0170-3016 (a G) Passport 2 0998-00-0170-3038 (a T) Passport 2 0998-00-0170-3040 (a P) Passport 2 0998-00-0170-3045 (a) Passport 2 0998-00-0170-3046 (a F G T) Passport 2 0998-00-0170-3047 (a) Passport 2 0998-00-0170-3048 (a G T) | Manufacturer | Datascope Corporation Mahwah Nj | 2001-05-24 15:00 | Power supply fails when the printer/recorder is activated | 1520 | NATIONWIDE AND AUSTRIA, BELGIUM, BRAZIL, CHILE, CHINA, CZECH REPUBLIC, EGYPT, FRANCE, GERMANY, GREECE, GUATEMALA, HOLLAND, HUNGARY, INDIA, ISRAEL, ITALY, JORDAN, KUWAIT, MEXICO, PERU, PHILIPPINES, SOUTH AFRICA, SPAIN, SYRIA, THAILAND, TUNISIA, TURKEY, UNITED KINGDOM, VENEZUELA, VIETNAM, ZAMBIA.
2001-8-08 | Devices | II | z-0715-1 | Dura Ii Concealable Penile Prosthesis (in Sterile Packaging) With 1 Pair Of 10 Mm Bodies Part Number 9310 Lot/serial Number: 007695 Catalog Number: 9310 Expiration: 2005-10 (stands For October 2005) | Manufacturer | Timm Medical Technologies Inc Prairie Mn | 2001-02-22 15:00 | 12 mm hex wrenches put in 10 mm dura ii penile prosthesis kits | 4 devices | MT, TX, PA
2001-8-08 | Devices | II | z-0729-1 | Ace 20 Ptca Dilatation Catheters (2.0 Mm Diameter Balloon Size) Model Number H74902071011 Graft Ace 2.0 Ptca Dilatation Catheters (2.0 Mm Diameter Balloon Size) Model Number H74903647201 Ace 1 Cm Tip 2.0 Ptca Dilatation Catheters (2.0 Mm Diameter Balloon Size) Model Number H74903628201 Code: Lot Numbers 3367926 And Above | Manufacturer | Boston Scientific Scimed Inc. Maple Grove Mn | February 23, 2001 | Slow or no balloon deflation was noticed during final functional testing of some of the catheters. | 1284 catheters | NATIONWIDE
2001-8-08 | Devices | II | z-0732-1 | Ventak Prism Automatic Implantable Cardioverter Defibrillators Serial Numbers: Ventak Prizm Vr Model 1850: 103440-103442 103447-103470 103472-103473 103475 103479-103515 103517-103847 103849-103880 103882-104235 104237-104883 104885- 104886 104888 104891-105008 105010-105949 105951-106009 106012- 109299 109301-109303 109305-109845 Ventak Prizm Dr Model 1851: 307946 307972 307976 307988 307995-308002 308006-308007 308009 308011 308016 308019-308020 308026-308028 308030- 308047 308054 308069-308075 308077-308115 308118-308146 308148- 308155 308158-308269 308271-308285 308288-308309 308311-308320 308322-308326 308328-308388 308390-308406 388408-308431 308433- 308434 308436-308437 308439-308665 308667-308699 308701-308713 308715-308747 308749-308790 308792-308825 308827-388970 308972- 308989 308991 308993-309294 309296-309509 309511-309842 309844- 310083 310085-310095 310098-310101 310104-310105 310108-310111 310128-310175 310177-310222 310224-310225 310227-310248 310251- 310307 310309-310329 310335-310337 310341-310387 310389-310409 310411-310943 310945-311423 311425-312590 312592-312815 312817- 313201 313203-314612 Ventak Prizm Vr He Model 1852: 100000-100507 Ventak Prizm Dr He Model 1853 300005-300011 300013-300014 300017 300019-300020 300022 300031- 300033 300035 300037-300038 300045-300063 300065-300066 300068- 300150 300152 300154-300280 300282-300286 300288-300317 300319- 300324 300326-301611 Ventak Prizm Vr He Model 1857 500000-500123 Ventak Prizm Dr He Model 1858 600000-600129 | Manufacturer | Guidant Corporation Cardiac Pacemakers St. Paul Mn | April 23, 2001 | Some of the defibrillators have automatically switched to an integrated safety mode because of a rare interaction between the device and a specific memory component. | 13 833 defibrillators | NATIONWIDE AND WORLDWIDE
2001-8-08 | Devices | II | z-0738-1 | Seal-away Coronary Sinus Introducer Kit Reorder Numbers 407508 & 407510 Lot Number And Expiration Date: Reorder Number 407508: Lot Number Expiration Date 00bg78 5/2003 00cb68 7/2003 00cc67 7/2003 00cp20 9/2003 00cz26 10/2003 99by99 9/2002 99cp40 11/2002 99cp41 12/2002 99cp42 12/2002 Reorder Number 407510: Lot Number Expiration Date 01bb96 3/2004 00ay18 4/2003 00cd87 8/2003 00cp77 9/2003 99cu58 12/2002 | Manufacturer | St. Jude Medical Inc. Daig Division Minnetonka Mn | June 22, 2001 | It is possible for the seal-away cs sheath to split upon insertion | 2303 units 1889 units of product 407508 and 414 units of product 407510 | NATIONWIDE; UNITED KINGDOM AND IRELAND
2001-8-08 | Devices | II | z-0740-1 | Medtronic Gem Implantable Cardioverter Defibrillators Model 7227 With Interchangeable Connector Model 5227 | Manufacturer | Medtronic Inc. Minneapolis Mn | December 20, 2000 | Even though the devices will continue to provide therapy, the physician is led to believe that a lead failure has occurred as a result, lead replacement would probably be chosen in some cases when it is unnecessary. | 1352 devices | NATIONWIDE AND WORLDWIDE
2001-8-08 | Devices | II | z-0742-1 | Silhouette Spinal Fixation System Torque-limiting T-handle Driver Catalog Number: 7010-0019-00 The Torque-limiting T-handle Drivers Were Each Distributed In A Case Of Instruments Labeled "silhouette Screw Instrument Generic Case Complete Set: 7050-0000-00". Code: All Lots | Manufacturer | Beeve Precision Racine Wi | October 30, 2000 | The calibration of the device can be affected if the adjustment screws are altered. | 371 devices | ABOUT 300 OF THE INSTRUMENT KITS ARE IN DISTRIBUTION IN THE UNITED STATES (OWNED BY THE FIRMS SALES REPS.) ONE INSTRUMENT KIT HAS BEEN SOLD TO A HOSPITAL IN LACROSSE, WI. THERE ARE DISTRIBUTORS OF THE INSTRUMENT KITS IN AUSTRALIA, CHINA, SOUTH KOREA AND SWITZERLAND. 51 OF THE KITS WERE SOLD TO CONSIGNEES IN THESE COUNTRIES.
2001-8-08 | Devices | II | z-0746-1 | Myotherm Cardioplegia Delivery System Xp 4:1 (catalog Number 61399404996) And Xp 4:1b (catalog Number 61399405331) The Xp 4:1b Differs From The Xp 4:1 By Having A Bridge Connection Which The Xp 4:1 Does Not Have. Myotherm Xp 4:1 (catalog Number 61399404996): Lot Number 0006013298 Z0747-1 Myotherm Xp 4:1b (catalog Number 61399405331): Lot Number 0006014173 | Medtronic Perfusion Systems | Medtronic Inc. Minneapolis Mn | September 20, 2000 | Some of the devices are mislabeled as to whether they have a bridge connection. | 290 cardioplegia delivery systems end of enforcement report for aug 8 2001 | NATIONWIDE