## 2001-9-12
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2001-9-12 | Biologics | II | b-1333-1 | Red Blood Cells Unit Fg40549 | Manufacturer | Healthcare Provider Services Inc. Dba Rhode Island Blood Center Providence Ri | January 5, 2001 | Blood product, collected from a donor whose hemoglobin/hematocrit was not documented, was distributed. | 1 unit | RI
2001-9-12 | Biologics | II | b-1661-1 | Red Blood Cells Washed Unit 9523595 | Manufacturer | Medic Regional Blood Center Knoxville Tn | July 8, 1999 | Blood product, collected from a donor taking the drug lupron, was distributed | 1 unit | TN
2001-9-12 | Biologics | II | b-1833-1 | Red Blood Cells Unit Fg38350 | Manufacturer | Healthcare Provider Services Inc. Dba Rhode Island Blood Center Providence Ri | March 1, 2001 | Blood product, collected from a donor who reported travel to an area designated as endemic for malaria, was distributed | 1 unit | R.I.
2001-9-12 | Biologics | II | b-1834-1 | Corneas Tissue Numbers 01-0641-od 01-0641-os | Manufacturer | Northwest Lions Eye Bank Seattle Wa | May 21, 2001 | Corneas, from a donor who tested repeatedly reactive for the antibody to the hepatitis b core antigen (anti-hbc), were distributed | 2 units | CA
2001-9-12 | Biologics | II | b-1835-1 | Red Blood Cells Unit Y28379 | Manufacturer | Aurora Area Blood Bank Heartland Blood Centers Aurora Il | June 6, 2001 | Blood product, collected from a donor who reported travel to an area designated as endemic for malaria, was distributed | 1 unit | IL
2001-9-12 | Biologics | II | b-1837-1 | Platelets Pheresis Unit 03p23061 | Manufacturer | American Red Cross Blood Services Southern Region Atlanta Ga | January 8, 2000 | Blood product, collected in a manner that compromises the sterility of the unit, was distributed | 1 unit | GA
2001-9-12 | Biologics | II | b-1839-1 | Platelets Pheresis Units 06kc39962 (parts A And B) 06kc38918 06kc37933 | The Firm | American National Red Cross Southern California Region Santa Ana Ca | April 18, 2000 | Blood products, collected from a donor with a history of jaundice and having tested positive for hepatitis a, were distributed | 4 units | CA
2001-9-12 | Biologics | II | b-1840-1 | Platelets Pheresis Unit 3975474 | Manufacturer | Gulf Coast Regional Blood Center Houston Tx | 2000-12-11 | Blood product, collected in a manner that may have compromised the sterility of the unit, was distributed | 1 unit | TX
2001-9-12 | Biologics | II | b-1841-1 | Red Blood Cells Leukoreduced Unit 3791496 Platelets Unit 3791496 | Manufacturer | Gulf Coast Regional Blood Center Houston Tx | February 5, 2001 | Blood products, collected from a donor who had traveled to an area designated as endemic for malaria, were distributed | 2 units | TX
2001-9-12 | Biologics | II | b-1843-1 | Platelets Unit 3980141 | Manufacturer | Gulf Coast Regional Blood Center Houston Tx | December 19, 2000 | Blood product, collected from a donor whose body temperature had not been documented, was distributed | 1 unit | TX
2001-9-12 | Biologics | II | b-1844-1 | Source Plasma Units 8yt139 8yt429 | Manufacturer | Aventis Bio-services Inc. Oklahoma City Ok | November 20, 2000 | Blood products, collected from a donor who had body piercing within twelve months of donation, were distributed | 2 units | IL
2001-9-12 | Biologics | II | b-1845-1 | Red Blood Cells Luekoreduced Unit 15009-9950 | Blood Systems | Manufacturer: Blood Systems Inc. Midland Tx | March 20, 2001 | Blood product, collected from a donor who reported travel to an area designated as endemic for malaria, was distributed | 1 unit | TEXAS
2001-9-12 | Biologics | II | b-1847-1 | Red Blood Cells Leukoreduced Unit 17194-2343 | Blood Systems | Manufacturer: Blood Systems Inc. San Angelo Tx | March 8, 2001 | Blood product prepared from an overweight whole blood unit, was distributed | 1 unit | TEXAS
2001-9-12 | Biologics | III | b-1836-1 | Red Blood Cells Irradiated Unit C36469 | Manufacturer | Aurora Area Blood Bank Aurora Il | May 29, 2001 | Blood product, which was stored at unacceptable temperatures, was distributed. | 1 unit | IL
2001-9-12 | Biologics | III | b-1838-1 | Red Blood Cells Leukoreduced Irradiated Units 03l18545 03fj63625 03fx24288 03fj63613 03fx24334 03fx24346 | Manufacturer | American Red Cross Blood Services Southern Region Atlanta Ga | October 6, 2000 | Blood products, which were stored at unacceptable temperatures, were distributed | 6 units | GA
2001-9-12 | Biologics | III | b-1846-1 | Platelets Pheresis Leukoreduced (unit 2 Of A Split Unit) Unit 17194-0530 | Blood Systems | Manufacturer: United Blood Services Lubbock Center Lubbock Tx | June 4, 2001 | Blood product, that had been lost in shipment prior to return to the blood center, was redistributed | 1 unit | TEXAS
2001-9-12 | Devices | I | z-1082-1 | Sterile Product Is Packaged In A White Tyvek Pouch Labeled In Part macropore Instrument | Manufacturer | Macropore Inc. San Diego Ca | 2000-09-05 | False perception of sterility on part of users. | 62 | TN
2001-9-12 | Devices | II | z-647-1 | Laser Product/custom Gaging System; Model Name And Number: Custom Gaging System. | Manufacturer | Kurt Manufacturing Company Minneapolis Mn | November 30, 2001 | The products did not comply with the warning logotype, aperture label, identification and certification label requirements. | 5 units | NATIONWIDE
2001-9-12 | Devices | II | z-0844-1 | Dynarad Model Hf-110a Mobile X-ray System; Codes: Model Hf-110a Serial Numbers 0101 Through 1085 | Del Medical Imaging Corp. | Dynarad Corp Deer Park Ny. | 2001-06-15 | Cracks may occur in the yoke supporting the generator | 662 units | NATIONWIDE, AND INTERNATIONAL.
2001-9-12 | Devices | II | z-0845-1 | - Multi-therapy Ambulatory Infusion Pumps Sold Under The Following Labels: A) Sabratek 6060 Homerun Infusion Pump Product Codes 606000-40 (english) 606000-40l (loaner Pump) 606000-40i (international) 606000-41 (spanish) 606000-42 (portugal) 606000-43 (france) 606000-44 (jms) 606000-45 (sweden) 606000-46 (dutch) And 606000-47 (german) B) Baxter 6060 Multi-therapy Ambulatory Infusion Pump Product Code 2m9832 Codes: All Serial Numbers With Installed Software V206.5 And Lower Or V2.10.3 And Lower (international Version). | Baxter Healthcare Corp. | Sabratek Corp. Skokie Il. | 2001-05-10 | The infusion pump may overinfuse in the pca mode of operation. | 2000 4000 pumps | NATIONWIDE AND INTERNATIONAL
2001-9-12 | Devices | II | z-0847-1 | And Colleague Single Channel Volumetric Infusion Pumps Product Code 2m8151 And 2m8151r (refurbished); For Continuous Or Intermittent Fluid Delivery Through Clinically Acceptable Routes Of Administration Such As Intravenous Intra-arterial Subcutaneous Epidural Or Irrigation Of Fluid Spaces Applications; Made In Singapore Codes: Product Code 2m8151 And 2m8151r (refurbished) All Units | Baxter Healthcare Corp. | Baxter Healthcare Pte Ltd. Singapore Sn | 2001-04-24 | Damaged power cord may result in arcing and potential burning | 80 000 pumps | NATIONWIDE
2001-9-12 | Devices | II | z-0849-1 | Medela Bilibed Phototherapy Lamp Model 0383009; Used For The Treatment Of Newborns With Neonatal Jaundice (hyperbilirubinemia); Codes: Models 0383009 All Serial Numbers Included In The Ranges Of 970933 Through 972184 And 1000569 Through 1004473 | Medela | Medela A.g. Ch-6340 Baar Sz | 2001-05-11 | Failure of the internal housing fan allows temperature to rise around infant | 575 lamps | NATIONWIDE, CANADA AND MEXICO.
2001-9-12 | Devices | II | z-0850-1 | Freshlook (phemfilcon A) Toric For Astigmatism Soft Contact Lenses With Handling Tint; The Soft Contact Lenses Are Individually Packaged In Sterile Foil-sealed Plastic Packages 6 Packs Per Box Codes: Lot 127945 Expiration 2003-08 | Manufacturer | Wesley Jessen Corporation Des Plaines Il | 2001-02-07 | Mislabeled for corrective power, cylinder & axis | 119 6 packs | NATIONWIDE, CANADA, AUSTRALIA AND ENGLAND.
2001-9-12 | Devices | II | z-0851-1 | Icon Profile Processing Software Used On The Icon P Workstations Designed For Use With Ecam Gamma Camera Systems To Conduct Cardiac Tomo And Spect Applications; 60195-5203. Codes: All E.cam Gamma Cameras With The Profile Option With Icon-p Workstations And Icon Software Revision 8.1 Or Greater | Manufacturer | Siemens Medical Systems Inc. Hoffman Estates Il | February 8, 2000 | Artifacts on images from profile scans | 125 units | NATIONAL AND INTERNATIONAL
2001-9-12 | Devices | II | z-0852-1 | Cellulose Diacetate Hemodialyzers; A Single Use Sterile Device For Hemodialysis Of Patients With Acute Or Chronic Renal Failure; 12 Units Per Case; Marketed Under The Following Brand Names: A) Mera Meltra Nova 110 Hemodialyzer Cellulose Diacetate-n Membrane Cat #277-451g B) Altra Nova 170 Cellulose Acetate-n Hemodialyzer Cat. #201-472 C) Altra Nova 200 Cellulose Acetate-n Hemodialyzer Cat. #211-484g Manufactured By Althin Medical Ab 37221 Ronneby Sweden D) Althin A-15 Althane Capillary Dialyzer Cat. #237-015 Codes: Meltra Nova Model 110 Product Code 277-451g Lot 451-980911c Altra Nova Model 170 Product Code 201-472 Lots 472-980825a 472-980923e 472-981113b Model 200 Product Code 211-484g Lots 484-981009a 484- 981009c 484-981012b 484-990224b 484-990311a 484-990318c A Series Althane Model 1.5 Product Code 237-015 Lots 1998m02r 1998m02r1 1998m02z | Baxter Healthcare Corp. Round Lake | Manufactured By Althin Medical Inc. Miami Lakes Fl | May 24, 2001 | Iritis patient reactions | 37 901 | NATIONWIDE AND INTERNATIONAL.
2001-9-12 | Devices | II | z-0855-1 | Ecam Emission Imaging Computed Tomography Systems Used For All Common Nuclear Medicine Procedures; Codes: A) E.cam Dual Head Variable System Gantry Part #4280221 Serial #0005 To 1215 5242826 Serial #1001 To 3079 B) E.cam Single Head Camera Gantry Part #4380213 Serial #0001 To 3023 | Manufacturer | Siemens Medical Systems Inc. Hoffman Estates Il | 2001-07-05 | Potential loss of engagement in radial drives. | 541 units | NATIONWIDE, AND INTERNATIONAL.
2001-9-12 | Devices | II | z-0857-1 | Radworks Software Version 51 With Software Patch 5 Or 7 And Radworks Webviewer Software Verion 5.1 Running On Radworks 5.1 Software Patch 5 Or 7; Picture Archival And Communications System; Applicare Medical Imaging B.v. Zeist The Netherlands Codes: Radworks Software Version 5.1 With Software Patch 5 Or 7 And Radworks Webviewer Software 5.1 Running On Radworks 5.1 Software Patch 5 Or 7 | Ge Medical Systems Information Technologies | Applicare Medical Imaging B.v. Zeist | 2001-03-08 | Software anomaly causes image to be associated with wrong dicom header | 3319 radworks 5 | NATIONWIDE THROUGH NINE DISTRIBUTORS IN NEW JERSEY, WISCONSIN, NEBRASKA, TEXAS, ILLINOIS, COLORADO AND OHIO.
2001-9-12 | Devices | II | z-866-1 | Raven Prospore2 Biological Indicator Intended For Steam Sterilization (121 Degrees C) Contains Bacillus Stearothermophilus Spores Packaged 50 Tests Per Box; And Raven Prospore Ii Biological Indicators (same Product) Packaged 10- Tests Per Box (note: The Label For The 10-test Boxes Is An Old Label Which Was In Use For This Lot.). Code: Lot No. 455 Exp. 9/2002 | Manufacturer | Raven Biological Laboratories Inc. Omaha Ne | 2001-06-15 | Inappropriate color change. | 615 50 pack boxes and 40 10 pack boxes | CA, FL, TX, NJ, TN, MD, MI AND FRANCE, GERMANY, TURKEY, SWEDEN, ITALY, BRAZIL, JAPAN, ARGENTINA, CROATIA, PERU, SPAIN, AND THE NETHERLANDS.
2001-9-12 | Devices | II | z-867-1 | Vdrl Test Control Serum Set Catalog No. 235201 Lot Nos. 149027la And 149484la; | Manufacturer | Becton Dickinson Microbiology Systems Sparks Md. | 2001-06-12 | The vdrl weakly reactive serum control demonstrates reactivity comparable to or stronger than the vdrl reactive control serum. the unexpected reactivity of the control invalidates the assay and the users cannot qualify the antigen present in the sample. | 1374 sets | NATIONWIDE, PRR, SINGAPORE, THAILAND, KOREA, INDIA, PARAGUAY, BELGIUM AND FIRM AFFILIATES.
2001-9-12 | Devices | II | z-0872-1 | Ash Split Catheter Bio-flex Continuous/cavh Duo-flow Xtp Hemo-cath Soft Line And Tesio Hemodialysis And Apheresis Catheters These Products Are Hemodialysis Catheters; The Three Types Affected Are: Long Term (chronic) Short Term (acute) And Femoral (hemofiltration) Catheters. Codes: Long Term Catheters: Ash Split Cath Long Term Hemodialysis Catheter (10fr X 18cm) - Catalog Number Aspc18p - All Lots; Ash Split Cath Long Term Hemodialysis Catheter (10fr X 24cm) - Catalog Number Aspc24p - All Lots; Bio-flex Tesio Long Term Hemodialysis Catheter (7fr) - Catalog Number Pbf - All Lots; Tesio Long Term Hemodialysis Catheter (7fr) - Catalog Number Mctc730k - All Lots; Hemo-cath Long Term Silicone Double Lumen Hemodialysis Catheter (8fr X 18cm) - Catalog Numbers Sl18p And Mcdltsl18p - All Lots; And Hemo-cath Long Term Silicone Double Lumen Hemodialysis Catheter (8fr X 24cm) - Catalog Numbers Sl24p And Mcdltsl24p - All Lots. Short Term Catheters: Duo-flow Xtp Short Term Double Lumen Hemodialysis Catheter (9fr X 12cm) - Catalog Numbers Xtp94ct And Xtp94mt - All Lots; Duo-flow Xtp Short Term Double Lumen Hemodialysis Catheter (9fr X 15cm) - Catalog Numbers Xtp96ct And Xtp96mt - All Lots; Hemo-cath Short Term Silicone Double Lumen Hemodialysis Catheter (8fr X 12cm) - Catalog Number Sl12p - All Lots; Soft-line Short Term Double Lumen Hemodialysis Catheter (7fr X 10cm) - Catalog Number T74m - All Lots; Soft-line Short Term Double Lumen Hemodialysis Catheter (9fr X 12cm) - Catalog Numbers T94c And T94m - All Lots; Soft-line Short Term Double Lumen Hemodialysis Catheter (9fr X 15cm) - Catalog Numbers T96c And T96m - All Lots; And Soft-line Short Term Double Lumen Hemodialysis Catheter (9fr X 20cm) - Catalog Numbers T98c And T98m - All Lots. Femoral Catheter: Continuous/cavh Hemodialysi Catheter (5fr X 7.6cm) - Catalog Number Mc5cavh3 - All Lots. | Manufacturer | Medical Components Inc. Harleysville Pa. | 2000-04-27 | Unapproved for pediatric use as stated in literature. | unknown | NATIONWIDE, AND CANADA.
2001-9-12 | Devices | II | z-899-1 | Ivac Medsystem Iii Infusion Pump: - Model No 2860 (110v); - Model No. 2863 (110v); - Model No. 2865 (220v); - Model No. 2866 (220v); - Minimed Mmt 9500 (110v). | Manufacturer | Alaris Medical Systems Inc. San Diego Ca | 2001-04-20 | The motor drive is subject to premature wear which can cause alarms and error notices which may affect fluid delivery. | undetermined | NATIONWIDE AND INTERNATIONAL.
2001-9-12 | Devices | II | z-904-1 | Touch-proof Leadwires Black And Red Wire Micro-z Neuromuscular Stimulators: Black Wire Part No 0-24-ml Wbl Lot No. 99h007 Red Wire Part No. 0-24-ml Wre Lot No. 99h008. | Manufacturer | Prizm Medical Inc. Duluth Ga | NOT_FOUND | A design flaw (untapered pins) may cause an intermittent failure to conduct electrical energy from the stimulator to the electrode. | 214 | NATIONWIDE & ISRAEL & CHENNAL.
2001-9-12 | Devices | II | z-0906-1 | Behring Coagulation System (bcs) Software Codes: Model Ovio03 Version 22 | Dade Behring | Dade Behring Marburg Gmbh Marburg | NOT_FOUND | Leak of piston pump valve introduces air bubbles. | 3 units | NY, IL,AND MI
2001-9-12 | Devices | II | z-0907-1 | Dimension Rxl Integrated Chemistry System Prostate Specific Antigen (psa) Flex Reagent Cartridge. Codes: Catalog Number Rf450. Lots: Js1284 Exp. 10/11/01 Ip1265 Exp. 9/22/01 Ir1265 Exp. 9/22/01 Hn1240 8/28/01 Ua1207 Exp. 7/26/01 Ub1194 Exp. 7/13/01 Tc1174 Exp. 6/23/01 Fn1156 Exp. 6/5/01 Sa1125 Exp. 5/5/01 Dp1102 Exp. 4/12/01 Pc1087 Exp. 3/28/01 Cp1068 Exp. 3/9/01 Bm1045 Exp. 2/14/01 Ar1010 Exp. 1/10/01 Ls0344 Exp. 12/9/00 And Km0327 Exp. 11/22/00. | Manufacturer | Dade Behring Inc. Newark De. | 2000-11-20 | False positive results - increased number. | 10 327 cartons | NATIONWIDE AND TO THE FOLLOWING FOREIGN COUNTRIES: VENEZUELA, DENMARK, BRAZIL, AUSTRAILIA, GUAM, CANADA, HONG KONG, BELGIUM, AND CHINA.
2001-9-12 | Devices | II | z-0931-1 | Medex Bifurcated Set With Smartsite Valve 25 Sets Per Case Codes: Lot Number: 31a2255849 Cat Number: Mx20498 | Medex | Medex Inc. Hilliard Oh | 3/7/2001 | The device is labeled as latex free, however it actually contains latex. | 9 cases 225 sets | MI
2001-9-12 | Devices | II | z-0939-1 | Flexilab Laboratory Information System Versions 523 And 5.3 With Microbiology Module. | Manufacturer | Sunquest Information Systens Inc. Tucson Az | March 01, 2001 | Incorrect printing of lab test results. | undetemined | NATIONWIDE AND DENMARK.
2001-9-12 | Devices | II | z-0941-1 | Flexilab Codes: V 5.23 And 5.3 | Manufacture | Sunquest Information Systems Inc. Tucson Az | April 01, 2001 | Incorrect data is filed to patient file. | undetermined | NATIONWIDE AND UNITED KINGDOM, AND DENMARK.
2001-9-12 | Devices | II | z-0943-01 | Vidamed Transurethral Needle Ablation (tuna) System Vts Provu Ground Pad Model Number(s): 7002 Codes: 510283 515179 519471 520314 | Manufacturer | Vidamed Inc. Fremont Ca | May 3, 2000 | Potential burn of a return electrode following a tuna procedure | 8 037 units | NATIONWIDE AND INTERNATIONAL
2001-9-12 | Devices | II | z-0944-01 | Fluidsense Fs-01 Infusion Pump Codes: Serial Numbers: 100302-102393 (not Inclusive) | Fluidsense Corp Newburyport | Mack Technologies Westford Ma | 4/10/2001 | Keyboard may malfunction with stuck keys or provide no response to touch | 1109 | CA, FL, TN
2001-9-12 | Devices | II | z-0950-01 | Precision Pcx Blood Glucose Test Strips Codes: P/n 98757-01 Lot Number: 118545 | Abbott Laboratories | Medisense Uk Limited Abingdon | 2000-11-03 | Assigned high and normal control ranges are incorrect | 3226 | NATIONWIDE
2001-9-12 | Devices | II | z-0952-01 | Gem Premier 5300 Gem Premier Plus 5500 Codes: A) Gem Premier Model No 5300. All Serial Numbers B) Gem Premier Plus Model 5500. All Serial Numbers | Instrumentation Laboratory Co. Lexington | Instrumentation Laboratory Co. Ann Arbor Mi | 2000-08-23 | Inaccurate po2 reading | model 5300 400 units model 5500 222 units | NATIONWIDE
2001-9-12 | Devices | II | z-0954-01 | Symmetra I-125 Brachytherapy Sources Sealed Source Radionuclide Codes: Symmetra I-125 Brachytherapy Sources Lot # Labeled Activity Range Actual Activity Range B7012201033 220 - .238 Mci .239 - .258 Mci Implanted B701240103 .220 - .238 Mci .124 - .135 Mci Returned B7010301026 .305 - .330 Mci .259 - .280 Mci Implanted B712200001 .305 - .330 Mci .331 - .388 Mci Implanted B712210001 .305- .330 Mci .331 - .358 Mci Implanted B712220001 .305 - .330 Mci .259 - .280 Mci Implanted B712290001 .305 - .330 Mci .259 - .280 Mci Implanted B701230102 .331 - .358 Mci .281 - .304 Mci Returned B712190001 .331 - .358 Mci .359 - .388 Mci Implanted B712110003 .359 - .388 Mci .389 - .421 Mci Implanted B712110004 .359 - .388 Mci .389 - .421 Mci Implanted B701050102 .389 - .421 Mci .281 - .304 Mci Implanted B701050103 .389 - .421 Mci .281 - .304 Mci Implanted B701080101 .389 - .421 Mci .281 - .304 Mci Implanted B701120103 .389 - .421 Mci .220 - .238 Mci Implanted B701120105 .389- .421 Mci .220 - .238 Mci Implanted B712280001 .305 - .330 Mci .259 - .280 Mci Calibration Seed (disposed) | Uromed Corp. Norwood | Bebig Isotopentechnik Gmbh Berlin | 2001-01-30 | Labeled with wrong activity levels | 1208 seeds | NY, FL, TX
2001-9-12 | Devices | II | z-0955-01 | A) Agilent Model M3500b Heartstream Xlt Defibrillator Also Labeled As: Laerdal Heartstart 4000 Model M5500b Dibrillator/monitor B) Heartstream Xl Model M4735a Defibrillator/monitor Codes: A) S/n Range: Us00100100-us101521 B) S/n Range: Us00100100-us00100778 | Manufacturer | Agilent Technologies Inc Andover Ma | 2001-02-05 | Defibrillator may shut down or fail to power on | 1338 units heartstream xlt 566 heartstream xl | NATIONWIDE
2001-9-12 | Devices | II | z-0958-01 | Superview Speedband Multiple Band Ligator And Injection Superview Speedband Multiple Band Ligator Sterile | Boston Scientific/microvasive Endoscopy Div | Medsource Technologies Newton Ma | 2001-02-09 | Band ligator fails to deploy | 25 154 units | NATIONWIDE AND JAPAN, EUROPE
2001-9-12 | Devices | II | z-967-1 | Model Nos 501-4 501-5 501-6 Series Deluxe Laserstar 501-4002 Nd:yag Hi Performance Laserstar Model 501-4002hp And Standard Laserstar Model No. 501-4003 Nd:yag; Laser Welding Products Which Are Not Medical Devices: - Model No. 501-4xxx Series; - Model No. 501-5xxx Series; - Model No. 501-6xxx Series. | Manufacturer | Laserstar Technology Division Of Crafford Precision Products Company Riverside Ri | November 30, 2001 | The products failed to have a readily available remote interlock connector. | 395 units | NATIONWIDE AND INTERNATIONAL
2001-9-12 | Devices | II | z-0970-1 | Wako Lyophilized Chemistry 2 Product Code 7707a Lot 7707a01 Mfd Mar-00 Exp Date 31 Mar 2003; Wako Lyophilized Chemistry 1 Product Code 1104a Lot 7704a01 Mfd Mar-00 Exp Date 31 Mar 2003 | Manufacturer | Manufacturer Due To Positive For Anti-hcv. Bio-rad Laboratories Inc. Irvine Ca. | January 10, 2001 | Unit recalled by component manufacturer due to positive for anti-hcv. | unknown | JAPAN
2001-9-12 | Devices | II | z-0972-1 | Plum A+ Infusion Pump List No 11973 Plum A+ Peripheral Card List No. 12380-04-05/06 Codes: Abbott Part Number 11973 Abbott Part Number 12380-04-05/06 All Lot/serial Numners Are Involved. | Abbott Laboratories | Abbott Laboratories Abbott Park Il | 2001-04-02 | There is a potential for error in delivery if duration is changed while in titration mode. | 4 060 units | NATIONWIDE
2001-9-12 | Devices | II | z-0975-1 | Tosoh Aia-pack Brand Troponin I Immunoassay Test Cups Codes: Lot Numbers: A719706; A919707; B119708; B319709 | Manufacturer | Tosoh Medics Inc. South San Francisco Ca | July 25, 2001 | False positive and false negative results | 399 units | NATIONWIDE AND CANADA, CHILE AND MEXICO.
2001-9-12 | Devices | II | z-0979-1 | Tracheosoft 80mm Shiley Xlt Distal Extension Tracheostomy Tube And Tube Cuff. The Product Is An Extended Length Tracheostomy Tube That Has A Disposable Inner Cannula. It Is Available In Four Sizes V 5 6 7 And 8mm And Four Different Skus. There Are Cuffed And Uncuffed Versions And Proximal And Distal Versions Of The Above Sizes. Only The 8.0mm Shiley Tracheosoft Xlt With Distal Extension - Cuffed Tracheostomy Tube Is The Subject Of This Recall. Codes: Catalog Number: 73120-080 Lot Number: 2001-01-4470 | Nellcor Puritan Bennett | Mallinckrodt Medical Athlone Ireland | 2001-04-17 | Device components can become disconnected or dislodged, leading to ineffective ventilation. | 560 | U.S., CANADA, U.K., GERMANY, AUSTRIA, ITALY, SPAIN, IRELAND. AND FRANCE
2001-9-12 | Devices | II | z-0980-1 | Hamilton Disposable Precision Tips A Microlab At Series A Pipette Codes: Models: 235300 235400 | Manufacturer | Hamilton Co. Reno Nv. | 2001-03-08 | A defect in the molding of the tip barrel | 12 units | AZ, NC, AND NJ.
2001-9-12 | Devices | II | z-0982-1 | Dialysis Reverse Osmosis (ro) Water System A Water Treatment System Used In Hemodialysis Applications Codes: The Following Ro Serial Numbers Are Affected By This Recall: 97004 97005 97007 97009-97019 97021 97024-97033 97036 97038 97039 97041-97043 97045 97048-97055 97059 97060-97066 97069 97070- 97080 97082 97084-97086 97088 97089 97093 97095-97096 97100 97102 97106 97109 97112-97114 97117 97123 97124 97127-97129. | Manufacturer | Ameriwater Dayton Oh | 2/17/1999 | The fuse holder may fail prematurely, heat up, and result in a potential fire. | 85 units | NATIONWIDE
2001-9-12 | Devices | II | z-0983-1 | Freehand System Implantable Receiver-stimulator (irs) Electrodes For The Neurocontrol Freehand System The System Uses Electrical Muscle Stimulation Which Is Intended To Improve A Patient's Ability To Grasp Hold And Release Objects. Codes: Serial Numbers: The Five (5) Units Subject To Recall Were Identified With The Following Serial Numbers And Dates Of Manufacture: Serial #92 And Serial #94 Manufactured On 8/13/1996; And Serial Nos. 111 114 And 115 Manufactured On 1/29/1997. | Manufacturer | Neurocontrol Corp. Valleyview Oh | 11/1/2000 | The electrode device may fail to deliver proper stimulation to the patient. | 5 units not implanted | PA AND CA.
2001-9-12 | Devices | II | z-0984-1 | Steris 20 Sterilant Concentrate Used With The Steris System 1 Process Steris 20 Is Packaged In A Cup Consisting Of Two Parts: 35% Peracetic Acid Liquid And A Dry Powdered Formulation (sterilant Builders). 20 Cups Per Carton. Codes: Catalog # S2000. The Following 36 Lot Numbers Are Recalled: A424-01024 A426-01024 A427-01024 A427-01027 A431-01027 A432-01027 A435-01027 A436-01027 A437-01027 A439-01027 A440-01027 A440-01103 A441-01103 A446-01103 A447-01103 A448-01103 A450-01103 A451-01103 A452-01103 A454-01103 A455-01108 A456-01108 A458-01108 A464-01108 A466-01108 A468-01114 A469-01114 A470-01114 A471-01114 A472-01114 A473-01114 A474-01114 A475-01114 A477-01114 A479-01114 And A480-01114. | Firm Mailed Recall Letters | Steris Corp. Mentor Oh | January 16, 2001 | Metal particles may lodge in endoscope lumen and result in ineffective sterilization and/or may dislodge into patient during a surgical procedure. | 23748 cases 474 960 cups | NTIONWIDE AND CANADA
2001-9-12 | Devices | II | z-0985-1 | Endopath Non-bladed Obturator Trocar With Smooth Or Stability Sleeve Handled Or Non-handled Sizes: 5mm 10/11mm And 10/12mm. Lengths: 100mm And 75mm. The Defective Trocars Are Packaged As 6 Per Single Sales Unit Per Box Or 2 To 5 Units Per Procedure Kit/tray. Codes: All Finished Packaging Lot Numbers Are Recalled. The Lot Numbers Consist Of A 6-digit Number. 5mm Size: Distributed Between December 1997 And December 2000 With Expiration Dates Between December 2000 And November 2005. 10/11mm And 10/12mm Sizes: Distributed Between December 1997 And September 2000 With Expiration Dates Between December 2000 And August 2005. The Affected Catalogue Numbers [product Codes] Are As Follows: Disposable Single Sales Unit 5 Mm [length 75 Mm And 100 Mm]: 35ol 35hl 35os 35hs 35hst 35nst 35hlt And 35nlt. Disposable Single Sales Unit 10/11 Mm [length 100 Mm]: 511o 511h 511nt And 511ht. Disposable Single Sales Unit 10/12/mm [length 100 Mm]: 512on 512hn 512nt And 512ht. Resposable Single Sales Unit 5 Mm [length 100 Mm]: 355na And 35lna. Resposable Single Sales Unit 10/11 Mm [length 100 Mm]: 511ha And 511na. Resposable Single Sales Unit 10/12 Mm [length 100 Mm]: 512ha And 512na. Laparoscopic Cholecystectomy Trays: All Numbers Beginning With: Fd Fdo Fna Fnc Kdc Knc And Vnc. Laparoscopic Gastric Kits: All Numbers Beginning With: Kng And Fng. Laparoscopic Ob/gyn Trays: All Numbers Beginning With: Fno And Kn. Laparoscopic Hernia Trays: All Numbers Beginning With: Fnh And Knh. Laparoscopic Access/basic Trays: All Numbers Beginning With: Kna. Laparoscopic Bowel Trays: All Numbers Beginning With: Knb. | Ethicon Endo-surgery | Ethicon Endo-surgery Inc. Ciudad Juarez Chihuahua Mexico | 9/25/2000 | The lens tip of the trocar may separate from the obturator during surgery. | 1 022 411 units | NATIONWIDE AND WORLDWIDE
2001-9-12 | Devices | II | z-0997-1 | Product Name / Catalog Number / Lot Number: 1) Premier Cmv Igg; Cat # Cme100 Lots: Cme100003 Cme100.004 Cme100.005 2) Premier Cmv Igm; Cat # Cme150 Lots: Cme150.002 Cme150.003 Cme150.004 3) Premier Ebv Early Antigen Igg; Cat # Eai101 Lots: Eai101.005 Eai101.007 Eai101.008 4) Premier Ebv Vca Igg; Cat # Ebe100 Lots: Ebe100.004 Ebe100.005 Ebe100.008 Ebe100.009 Ebe100.010 5) Premier Ebv Vca Igg Semiquantitative; Cat # Ebe101 Lots: Ebe101.009 Ebe101.011 Ebe101.012 6) Premier Ebv Vca Igm; Cat # Ebe150 Lots: Ebe150.005 Ebe150.009 Ebe150.011 Ebe150.012 7) Premier Ebv Ebna-1 Igg; Cat # Ene102 Lots: Ene102.004 Ene102.007 Ene102.008 8) Premier Ebv Vca/ea Igm; Cat # Eve150 Lots: Eve150.005 Eve150.006 9) Premier Hsv Type 1 Igm; Cat # H1e150 Lots: H1e150.008 10) Premier Type Specific Hsv-1 Igg; Cat # H1i101 Lots: H1i101.008 H1i101.009 11) Premier Type Specific Hsv-1 Igg; Cat # H1s100 Lots: H1s100.007 H1s100.008 H1s100.009 12) Premier Hsv Type 2 Igm; Cat # H2e150 Lots: H2e150.004 H2e150.007 H2e150.008 H2e150.009 H2e150.010 13) Premier Type Specific Hsv-2 Igg; Cat # H2i101 Lots: H2i101.005 H2i101.007 H2i101.008 14) Premier Type Specific Hsv-2 Igg; Cat # H2s100 Lots: H2s100.005 H2s100.007 15) Premier Type Specific Hsv-1 & 2 Igg; Cat # H3i101 Lots: H3i101.002 H3i101.003 16) Premier Lyme Igm; Cat # Lde150 Lots: Lde150.004 Lde150.005 Lde150.006 17) Premier Rubeola Igg; Cat # Rbe100 Lots: Rbe100.003 Rbe100.004 18) Premier Rubeola Igm; Cat # Rbe150 Lots: Rbe150.004 Rbe150.005 19) Premier Rubella Igg; Cat # Rue100 Lots: Rue100.004 Rue100.005 20) Premier Rubella Igm; Cat # Rue150 Lots: Rue150.002 Rue150.003 21) Premier Rubella Igg; Cat # Rue101 Lots: Rue101.003 Rue101.004 22) Premier Toxoplasma Igg; Cat # Txe100 Lots: Txe100.002 Txe100.003 23) Premier Toxoplasma Igg; Cat # Txe101 Lots: Txe101.001 24) Premier Toxoplasma Igm; Cat # Txe150 Lots: Txe150.001 Txe150.002 25) Premier Vzv Igg; Cat # Vze101 Lots: Vze101.005 Vze101.006 Codes: All Lot Numbers Still Within Expiration Dates. | Manufacturer | Meridian Diagnostics Inc. Cincinnati Oh | 3/9/2001 | The kits are not properly validated, which may give variable or inaccurate test results. | 20 286 kits | NATIONWIDE AND ITALY, CANADA, COLUMBIA, MEXICO, NEW ZEALAND, PHILIPPINES, COSTA RICA, PANAMA, GERMANY, BELGIUM, WEST INDIES, AUSTRALIA, VENEZUELA, AND SWITZERLAND.
2001-9-12 | Devices | II | z-1022-1 | 24mm Locking Screws Component/accessory Of The Osteomed Rigid Fixation System - Mandibular Frature/reconstruction System. Codes: Recalled Accessory Is Not Coded On The Packaging. Part Number lot Number Qty 206-0206 994262 204 206-0208 884263 205 206-0210 994264 392 206-0212 994265 404 206-0214 994266 407 206-0218 994268 200 206-0216 994267 209 206-0220 994269 204 206-0222 994270 208 | Manufacturer | Osteomed Corp. Addison Tx | 2000-04-28 | The locking screw can fracture/break during surgical procedure. | 2434 | CANADA, NORWAY
2001-9-12 | Devices | II | z-1027-1 | A) Aaron Ball Electrode 5mm; B) Pss Ball Electrode 5mm; C) Sklar Ball Electrode 5mm; D) Apple Medical Ball Electrode 5 Mm Codes: A) Cat. Number Es07 Lot Numbers 2000-11-09 2000-11-30 And 2000-12-14; B) Cat Number 465 Lot Numbers 1100-b 1200-b And 0101-b C) Catalog Number 96-1045 Lot Number 0101-a D) Catalog Number 900-163 Lot Numbers 1000-d 1100-d And 0101-b. | Manufacturer | Aaron Medical Industries St. Petersburg Fl | 2001-02-26 | Electrode fell apart during use. | 4 249 | NATIONWIDE, AND CANADA, NEW ZEALAND, AND SPAIN
2001-9-12 | Devices | II | z-1031-1 | Clinitron At-home Air Fluidized Therapy Codes: Model Cs (also Identified As Model #c-6) - All Serial Numbers | Manufacturer | Hill-rom Inc. Charleston Sc | NOT_FOUND | Power cords overheating, smoking, or melting during normal operations | 2873 units 1799 in patient homes 1074 in service centers | NATIONWIDE
2001-9-12 | Devices | II | z-1033-1 | Vasoseal Vhd Device Bascular Hemostasis Device Catalog Number 75304 Codes: Vasoseal Vhd Device Kit #4 Device Listing: A063825 Catalog Number 75304 Manufacturing Lot Number:03051172 | Manufacturer | Datascope Corp. Collagen Products Division Mahwah Nj | March 19, 2001 | Portion of vasoseal vhd lot shipped prior to receipt of complete pyrogen testing | 180 units | NATIONWIDE
2001-9-12 | Devices | II | z-1034-1 | Datascope's Percor Stat-dl And True Sheathless 95 Fr.intra-aortic Balloon Catheter For Optional Sheathless Insertion. Codes: Product Numbers: 0684-00-0255-0x 0884-00-4031-0x 0684-00-0256-0x 0684-00-0270-0x; 0884-00-3431-0x 0684-00-0343-0x 0784-00-0138-0x 0884-00-2513-0x Lot Identification: 995 996 997 997a | Manufacturer | Datascope Corp. Fairfield Nj. | April 30, 2001 | Defect in the y-fitting component which could cause slow gas leak. | 590 units | NATIONAL AND INTERNATIONAL
2001-9-12 | Devices | II | z-1042-1 | Valleylab Ligasure Vessel Sealing System Codes: Catalog Number: Ls1000 Lot Anh000503 | Manufacturer | Valleylab Inc. Boulder Co | 05/04/2001 | Previously recalled product, not released for distribution, was distributed. | 18 units | CA, CO, AND PA
2001-9-12 | Devices | II | z-1043-1 | All Products Bearing The Hydrocath Trademark Products Manufactured From 1996 Until 1998 Were Labeled As Ohmeda Hydrocath Central Venous Catheters. In 1998 Bd Acquired Ohmeda And Labeling Will Indicate Bd Hydrocath Central Venous Catheters. Codes: Becton Dickinson Reference Numbers 681173 Thru 681222 681275 Thru 681278. All Catheters Labeled As Bd Hydrocath Or Ohmeda Hydrocath. | Becton Dickinson Infusion Therapy Systems | Bd Critical Care Systems Pte Ltd Singapore | 5/9/2001 | Immediate-type hypersensitivity reactions, primarily in pediatric/infant patient | approximately 2 135 000 units | NATIONWIDE AND MEXICO, JAPAN, AND OTHER EUROPEAN COUNTRIES NOT YET FURNISHED.
2001-9-12 | Devices | II | z-1044-1 | A) Kendall Scd Clear Sequel/scd Response Tubing Assembly Used With Model 6325 And 7325; B) Kendall Scd Blue Quick-lock Tubing Assembly Used With Models 5320 And 5325 Codes: A) Product Code: 6328 Lot Numbers: 118761 118762 118763 119574 B) Product Code: 5378a Lot Number: 119571 | The Kendall Co. Lp Mansfield | The Kendall Co. Lp Argyle Ny | 2001-06-19 | Tubing assemblies assembled incorrectly and compression sleeves may not inflate properly | 6328 590 eaches 5378 7 eaches | NATIONWIDE
2001-9-12 | Devices | II | z-1046-1 | Lifescan Brand One Touch Hospital Blood Glucose Test Strips 50-count Test Strips In A Package Codes: Lot 009894a Exp. Date: 09/02 | Manufacturer | Lifescan Inc Milpitas Ca | May 31, 2001 | The product was assigned an incorrect calibration code (calcode). | 2224 units | NATIONWIDE
2001-9-12 | Devices | II | z-1048-1 | Medusa 2000 Med20sp Link Software Versions 12 And 1.3 The Software Medusa 2000 Is An Interface Link To The Ortho Summit Processor (osp) Which Is A Mass Processing Device For Microplate Based Assays [tests For Viral Markers By Elisa]. The Software Is Responsible For Conveting Osp Files Into A Format For Use By Medusa 2000. Codes: Medusa 2000 Med20sp Link Software Versions 1.2 And 1.3 | Sanguin Intl. | Sanguin Intl. Inc. Staffordshire De 13 8ax | 2001-06-12 | Software may process result instead of invalidating the plate | 2 | AL AND TN
2001-9-12 | Devices | II | z-1049-1 | Acuity Central Monitoring Stations With Software Versions 403.00 4.03.01 4.03.02 4.03.03 4.03.04 And 4.03.05 When Connected To Vhf/uhf Telemetry Units Codes: Software Versions 4.03.00 4.03.01 4.03.02 4.03.03 4.03.04 And 4.03.05 | Manufacturer | Welch Allyn Protocol Inc. Beaverton Or | March 13, 2001 | Incorrect visual display | 198 | NATIONWIDE AND NETHERLANDS, FRANCE, AND CANADA
2001-9-12 | Devices | II | z-1050-1 | Autosuture [single Use Staplers]as Follows: Codes: A) Ila* 75-3 8 Order Code 4914 Affected Lot Numbers: P0m456 P1a104 P1a132 P1a199 P1b246 P1b247 P1c382 P1c592 P1c615 P1c680 P1e96 P1b248r B) Ila* 75-4.8 Order Code 4916 Affected Lot Numbers: P1a166 P1a273 P1d66 C) Ilan* 75-4.8 (non Anastomotic) Order Code 4917 Affected Lot Number: P1a390 | United States Surgical Corp. North Haven | Ussc Puerto Rico Inc. Mercedita Pr | 2001-07-12 | Stapler may fire without the staples being completely formed into the tissue | 7967 | NATIONWIDE AND CANADA, JAPAN, KOREA, SINGAPORE, SWITZERLAND, AUSTRIA.
2001-9-12 | Devices | II | z-1053-1 | Maquet Alphamaxx Surgical Tables Model 1133 Codes: Serial Numbers 11 12 14 16 17 18 | Getinge/castle | Maquet Aktiengesellschaft Rastatt Germany | July 25, 2001 | Table did not elevate when the table-up function was activated | 13 tables | CA, CO AND IL.
2001-9-12 | Devices | II | z-1054-1 | Maquet Surgical Table Model C-max Codes: Ar001011 Ar001012 Ar001013 Ar001014 Ar001015 Ar001016 Ar001017 Ar001018 Ar001019 Ar001020 Ar001021 Ar001022 Ar001024 Ar001026 Ar001027 Ar001028 Ar001029 Ar001030 Ar001031 Ar001032 Ar001033 Ar001034 Ar001035 Ar001036 Ar001037 Ar001038 | Getinge/castle | Alm Orleans Cedex 2 France | 2001-07-25 | There is a potential of allowing the patient's head to drop | 26 tablets | GA, MD, PA, TN, TX & WA
2001-9-12 | Devices | II | z-1056-1 | Respironics Noninvasive Extrathoracic Ventilator Nev-100 Codes: Nev-100(noninvasive Extrathoracic Ventilators) All Serial Numbers Manufactured Between 4/1992 And 2/1999 | Manufacturer | Respironics Colorado Inc. Westminster Co | 5/24/1999 | Faulty rfi filter may cause device to stop, reset and/or exhibit a smoky odor. | 448 units | NATIONWIDE AND AUSTRALIA, BRAZIL, CANADA, CHINA, EGYPT, FRANCE, GERMANY, GREECE, INDIA, ITALY, JAPAN, KOREA, MEXICO, AND TAIWAN.
2001-9-12 | Devices | II | z-1057-1 | Acuity Central (monitoring) Station Codes: Fw03140982 Through Fw04330603 And Tw03049094 Through Tw03049286 | Manufacturer | Welch Allyn Protocol Inc. Beaverton Or | 2001-06-01 | System crashes and lock-up | 43 | AZ, CA, DE, IN, KY, NC, NJ, OH, PA, AND TX. SINGAPORE, BELGIUM, EGYPT, POLAND, NEW ZEALAND
2001-9-12 | Devices | II | z-1058-1 | Siemens Compressor Compact 115v/60hz Codes: Part Number: 61 50 440 Eh81e Serial Numbers: 20001-20962 T | Siemens Medical Systems | Siemens Elema Ab/electromedical Division Solna | 2001-06-28 | Defective clutch in the compressor may result in low pressure alarm or noisy units | 854 units clutch replacement 972 units for f 3 fuse | NATIONWIDE
2001-9-12 | Devices | II | z-1061-1 | Catheter Innovations Pasv Implantable Port (plastic) Single Or Dual Port Codes: Catalog No's: Prtc66p Prtc96p Prtd10p Prtc66a Prtc96a Prtd10a. All Lots. | Manufacturer | Catheter Innovations Inc. Salt Lake City Ut | 2001-02-02 | Implantable plastic catheter ports may leak due to cracking. | 180 units | NATIONWIDE AND BELGIUM, CANADA, ITALY, UK, AND TURKEY.
2001-9-12 | Devices | II | z-1067-1 | Enteral Feeding Tube Preassembled With Stylet Size 10 French 45 Inch (114 Cm) Non-sterile 10 Feeding Tube Units Per Case Codes: Lot Numbers: 59233zu01 60273zu01 62020zu01. Ross List Number: 55041. | Ross Products Division | Abbott Laboratories Inc. Laurinburg Nc | 3/27/2001 | Stylet may extend beyond the tip of the tube and cause tissue damage. | 303 cases | NATIONWIDE
2001-9-12 | Devices | II | z-1068-1 | Bard Access Opti-flow Pre-curved Dual Lumen Catheters And Bard Access Opti-flow Straight Chronic Dual Lumen Catheters Codes: All Of The Following Are "opti-flow" Dual Lumen Catheters Trays 5636192 "pre-curved" 19 Cm Insertion Length With Vitacuff Lots 36hk0035 36ik0077 36kk0065 5636232 "pre-curved" 23 Cm Insertion Length With Vitacuff Lot 36lj0066 Kits 5634150 "pre-curved" 15 Cm Insertion Length Lot 22jka184 5634152 "pre-curved" 15 Cm Insertion Length With Vitacuff Lots 22bla627 22jka179 5634190 "pre-curved" 19 Cm Insertion Length Lots 22ala621 22dka129 5634192 "pre-curved" 19 Cm Insertion Length With Vitacuff Lots 22akm021 22akm022 22ala617 22ljm005 22dka125 22dka131 22fka139 22gka146 22gka147 22hka162 22hka165 22jka178 22akm024. 5634230 "pre-curved" 23 Cm Insertion Length Lots 22fky005 22fky006 22hka159 22hka163 22jka194. 5634232 "pre-curved" 23 Cm Insertion Length With Vitacuff Lots 22bly030 22eka132 22eka134 22fky003 22gka140 22lka609. 5634270 "pre-curved" 27 Cm Insertion Length Lots 22jka188 22kka199. 5634272 "pre-curved" 27 Cm Insertion Length With Vitacuff Lot 22ika169. Catheters Only 5632150 "pre-curved" 15 Cm Insertion Length Lot 22jka183. 5632190 "pre-curved" 19 Cm Insertion Length Lots 22hka158 22dka128 22gky009. 5632192 "pre-curved" 19 Cm Insertion Length With Vitacuff Lot 22hka161. 5632230 "pre-curved" 23 Cm Insertion Length Lot 22ljm010. 5632232 "pre-curved" 23 Cm Insertion Length With Vitacuff Lot 22ljm012. 5632270 "pre-curved" 27 Cm Insertion Length Lot 22ajk189. Trays 5635692 "straight" 19 Cm Insertion Length With Vitacuff Lots 36ako036 36hko036 36iko070. 5635732 "straight" 23 Cm Insertion Length With Vitacuff Lots 36blo051 36ljo048 36jko064. Kits 5633150 "straight" 15 Cm Insertion Length Lots 22ala127 22jka181. 5633152 "straight" 15 Cm Insertion Length With Vitacuff Lot 22jka180. 5633270 "straight" 27 Cm Insertion Length Lots 22bla629 22jka191 22kka603. 5633272 "straight" 27 Cm Insertion Length With Vitacuff Lot 22jka192. 5633690 "straight" 19 Cm Insertion Length Lots 22eka135 22ljm006 22fky004. 5633692 "straight" 19 Cm Insertion Length With Vitacuff Lots 22kjm002 22eka202 22dka126 22eky002 22fka137 22gk3439 22gk3440 22hjm707 22hjm708 22hka152 22ika171. 5633730 "straight" 23 Cm Insertion Length Lots 22ala620 22dka123 22ijm726 22ljm007. 5633732 "straight" 23 Cm Insertion Length With Vitacuff Lots 22bla631 22ljm017 22dka127 22eka200 22eky001 22fka136 22fka138 22hka156 22ijm734 22ika167 22ika174 22ljm009 22ljm016. Catheters Only 5631550 "straight" 15 Cm Insertion Length Lot 22jka182. 5631690 "straight" 19 Cm Insertion Length 22dka124. 5631692 "straight" 19 Cm Insertion Length With Vitacuff Lot 22eka201 22ljm011. 5631730 "straight" 23 Cm Insertion Length Lots 22gk3454 22hka154. 5631732 "straight" 23 Cm Insertion Length With Vitacuff Lot Ijm733. 5631770 "straight" 27 Cm Insertion Length Lots 22jka190 22gky007 22gky008. 5631850 "straight" 35 Cm Insertion Length Lots 22jka185 22cka111 22eka133 22kka602. | Bard Access Systems | Medron Inc. Salt Lake City Ut | 3/27/2001 | Catheter tips may separate during use. | 47 757 units | NATIONWIDE TO ALL STATES EXCEPT ME AND VT. FOREIGN DISTRIBUTION TO CANADA AND AUSTRALIA.
2001-9-12 | Devices | II | z-1070-1 | Medex 60-inch Low-vol Extension Set With Female Luer Lock Male Luer Lock And Non-removable Slide Clamp The Product Is Packaged As 50 Units Per Case And Labeled In Part ' ** Medex - A Furon Company Hilliard Oh 43026 Usa ** Product 536035 ** 60in/152cm Ext. W/m/fll Clamp Apv 1.0 Ml ** Latex Free ** Sterile ** ' Codes: Lot Number: 31a290143 | Medex | Medex Inc. Hilliard Oh | 6/12/2001 | The immediate container is labeled with the incorrect product number/priming volume. | 200 cases 10 000 units | NATIONWIDE
2001-9-12 | Devices | II | z-1071-1 | Amsco Reliance 444 Washer-disinfector Single-chamber Codes: Serial Numbers: 3601900003 3601900004 3604100008 3605901035 And 3609401004. | Steris Corp. Mentor | Steris Canada Corp. Beauport Quebec | 7/12/2001 | An electrical shock hazard may exist due to improper ground wiring. | 5 units | NY, PA, NJ, AND DE.
2001-9-12 | Devices | II | z-1073-1 | Autodose Pump Model P4120 An External Infusion Pump Codes: The Firm Provided A List Of Serial Numbers Affected But They Are Nonsequentially Assigned To Various Consignees | Manufacturer | Tandem Medical San Diego Ca | July 24, 2001 | Rollers in pump may pinch fingers of caregiver. | 249 | NATIONWIDE
2001-9-12 | Devices | II | z-1074-1 | Fluidsense Sterile Administration Sets As Follows: The Sets Are Used With The Fluidsense Fluid Delivery System [fs-01] Codes: Es-o5 Secondary Administration Set -p/n 100324 Es-06 Large Volume Extension Set- P/n 100325 Es-07 Large Volume Administration Set- P/n 100326 Es-08 Low Contain Volume (pedatric) Adminstration P/n 102191 All Lots | Fluidsense Corp. Newburyport | Elcam Paltics Merom Hagali Israel | 2001-05-31 | Core y-site may separate from plastic housing and dislodge | 19 840 | CA, FL, TN,
2001-9-12 | Devices | II | z-1078-1 | Clinical Information Center Software The Brand Name Was Marquette When The Product Was Initially Distributed. Codes: All Devices With V.2 And Later Revisions Of The Software. | Manufacturer | Ge Medical Systems Information Technologies Milwaukee Wi | June 7, 2001 | Device can improperly restart resulting in no alarms or information at the central station for 2 minutes. | 645 units | NATIONWIDE AND WORLDWIDE.
2001-9-12 | Devices | II | z-1082-1 | Starburst Screw Driver This Medical Device Is A Screwdriver Designed For Use With The Firm�s Macropore System. The Macropore System Consists Of Resorbable Implants And Accessories For Bone Healing Applications. The Catalog Numbers Affected Are 02090. The Devices From This Catalog Number Were Sold In Sterile And Non-sterile Forms. Only The Sterile Units Were Subject To The Removal. | Manufacturer | Macropore Inc. San Diego Ca | 2000-09-05 | False perception of sterility on part of users. | 62 | TN
2001-9-12 | Devices | II | z-1083-1 | Allograft Heart Valve Codes: Model No Av05 - Serial Number 3877299 Model No. Pv05 - Serial Number 3871398 | Manufacturer | Cryolife Inc. Kennesaw Ga | 2000-06-23 | Failure to meet curent guidelines regarding serodilution of plasma. | 2 units | MD AND OK
2001-9-12 | Devices | II | z-1086-1 | Polysynthane Hemodialyzers; 24 Units Per Case; The Products Were Distributed Under Both The Baxter Label: Baxter Healthcare Corporation Renal Division Deerfield Il 60015 And The Gambro Label: The Following Models Are Affected: A) Model Psn-170 17 M2 Surface Area X 229 Mm Length Product Code 5m1817 - Baxter Label Global Multi-language 5q6123 - Baxter Japanese Label 5m4117 - Gambro Label B) Model Psn-210 2.1 M2 Surface Area X 229 Mm Length Product Code 5m1818 - Baxter Label Global Multi-language 5q6124 - Baxter Japanese Label 5m4118 - Gambro Label Codes: All Lots Of The Psn 170 And Psn 210 Dialyzers A) Model Psn-170 1.7 M2 Surface Area X 229 Mm Length Product Code 5m1817 - Baxter Label Global Multi-language 5q6123 - Baxter Japanese Label 5m4117 - Gambro Label B) Model Psn-210 2.1 M2 Surface Area X 229 Mm Length Product Code 5m1818 - Baxter Label Global Multi-language 5q6124 - Baxter Japanese Label 5m4118 - Gambro Label | Baxter Healthcare Corp. Deerfield | Baxter Healthcare Corp. Mountain Home Ar | 2001-04-04 | Fiber blood leaks | 1 239 047 units | NATIONWIDE AND CANADA, ECUADOR, GREECE, VENEZUELA, COLOMBIA, BELGIUM, SWEDEN, MEXICO, AUSTRALIA, ARGENTINA, SHANGHAI AND GERMANY
2001-9-12 | Devices | II | z-1088-1 | Medtronic Activa Tremor Control Systems Also Called Medtronic Activa Systems For Deep Brain Stimulation (dbs) Each Consists Of A Neurostimulator Or Pulse Generator An Extension And A Lead Which Are Used For The Treatment Of Tremor Due To Parkinson's Disease And Essential Tremor. Identified Below Are The Specific Pulse Generators Extensions And Leads That Can Be Used: Medtronic Generators Itrel I Ii And 3 Implantable Pulse Generators Models 7420 7421 7424 7425. Medtronic Soletra Quadripolar Neurostimulator For Deep Brain Stimulation Model 7426 Medtronic Model 7495 Dbs Extension For Stimulation Of The Brain Codes: All Lots And Serial Numbers | Manufacturer | Medtronic Inc. Minneapolis Mn | 5/16/2001 | Using diathermy to treat patients with neurostimulation devices can cause injury | an estimated 65 000 patients 6500 dbs patients have medtronic neurostimulation devices | NATIONWIDE AND WORLDWIDE
2001-9-12 | Devices | II | z-1093-1 | Becton Dickinson Saf-t-intima Iv Catheter Catalog No. 383323 Lot 101322 And Catalog No. 383336 Lot 101328 And 101329. Codes: Catalog Number 383323 Lot 101322. Catalog Number 383336 Lot 101328 101329 | Manufacturer | Becton Dickinson Infusion Therapy Systems Inc. Sandy Ut | 3/16/2001 | The telescoping needle shield would not function as designed due to improper epoxy application during manufacture. as a needle is withdrawn, the needle shield is supposed to telescope over the needle to prevent the possibility for needle sticks. | 9 200 units | NATIONWIDE
2001-9-12 | Devices | II | z-1095-1 | A) Codman Siphonguard Csf Control Device S/n 883944 B) Codmanhakim Programmable Valve In-line Reservoir Separable Distal Catheter With Siphonguard Device C) Codmanhakim Programmable Valve With Right Angle Reservoir Separable Distal Catheter With Siphonguard Device D) Codmanhakim Programmable Valve In-line Reservoir Unitized Distal Catheter With Siphonguard Device E) Codmanhakim Programmable Valve With Right Angle Reservoir Unitized Distal Catheter With Siphonguard Device Codes: A) Catalog # 82-3090 [stand-alone] B) Catalog # 82-3132 Lot Numbers: Beginnning With Pp Pn C) Catalog # 82-3136 Lot Numbers: Beginnning With Pp Pn D) Catalog # 82-3142 Lot Numbers: Beginnning With Pp Pn E) Catalog 3 82-3146 Items B-d Are Serialized All Serial Numbers Begin With Pp Or Pn | Codman & Shurtleff Inc Raynham | Sarl Codman Lelocle Switzerland | 2001-05-08 | Device may activate at lower than intended flow rates | 215 | NATIONWIDE AND AUSTRALIA, EGYPT, NEW ZEALAND, SPAIN, UAE, ENGLAND
2001-9-12 | Devices | II | z-1100-1 | Brand Name: Dall Miles Vitallium Cable Crimp Sleeve Common Name:cable Crimp Sleeve Classification Name:appliance Fixation Nail/blade/plate Combination Multiple Component Codes: Part Number Description 6704-0-410 Small Vitallium Cable Sleeve Plus 16mm Cable Lot # Ilux01 Iluy01 Iluz01 Ilva01 Ilvb01 Ilvc01 Ilvd01 Imdmo1 Imdn01 Imdo01 Imdp01 Imdr01 Imds01 6704-0-420 Small Vitallium Cable Sleeve Plus 1.6mm Beaded Cable Lot # Ilup01 Ilur01 Ilus01 Ilut01 Iluu01 Iluv01 Iluw01 Imaf01 Imag01 Imah01 Imai01 6704-0-510 Medium Vitallium Cable Sleeve Plus 2.0mm Cable Lot # Ilpo01 Ilpp01 Ilrf01 Ijma01 Ijmb01 Ijmc01 Ijmd01 Ijme01 Illw01 Ilnu01 Ilnv01 Ilnw01 Ilnx01 Ilny01 Ilnz01 Iloa01 Ilpj01 Ilpk01 Ilpl01 Ilpm01 Ilpn01 Ilrg01 Ilrh01 Ilri01 Ilrj01 Ilrk01 Ilrl01 Ilrz01 Ilsa01a Ilsb01 Ilsc01 Ilsd01 Ilse01 Ilsf01 Ilsv01 Ilswo1 Ilsx01 Ilsy01 Ilsz01 Ilta01 Iltb01 Ilua01 Ilub01 Iluc01 Ilud01 Ilue01 Iluf01 Ilug01 Ilws01 Ilwt01 Ilwu01 Ilww01 Ilwx01 Ilwy01 Ilxa01 Ilxb01 Ilxc01 Ilxd01 Ilxe01 Ilxf01 Ilxg01 Ilyn01 Ilyo01 Ilyp01 Ilyr01 Ilys01 Ilyt01 Ilyu01 Ilyv01 Ilyw01 Ilyx01 Ilyy01 Ilyz01 Ilza01 Ilzb01 Ilzr01 Ilzs01 Ilzt01 Ilzu01 Ilzv01 Ilzw01 Ilzx01 Imbe01 Imbf01 Imbg01 Imbh01 Imbi01 Imbj01 Imbk01 Imbt01 Imbu01 Imbv01 Imbw01 Imbx01 Imby01 Imbz01 Imdf01 Imdg01 Imdh01 Imdi01 Imdj01 Imdk01 Imdl01 Imeo01 Imep01 Imer01 Imes01 Imet01 Imeu01 Imev01 Imfd01 Imfe01 Imff01 Imfg01 Imfh01 Imfi01 Imfj01 Imhc01 Imhd01 Imhe01 Imhj01 Imhk01 Imhl01 Imhr01 Imhs01 Imht01 Imhu01 Imhv01 Imhw01 Imhx01 Imji01 Imjj01 Imjk01 Imjl01 Imjm01 Imjn01 Imjo01 6704-0-520 Medium Vitallium Cable Sleeve Plus 2.0mm Beaded Cable Lot # Illn01 Illo01 Illr01 Ills01 Illt01 Illu01 Ilnm01 Ilnn01 Ilno01 Ilnp01 Ilnr01 Ilns01 Ilnt01 Ilpr01 Ilps01 Ilpt01 Ilpu01 Ilpv01 Ilpw01 Ilrs01 Ilrt01 Ilru01 Ilrv01 Ilrw01 Iltx01 Ilry01 Iltc01 Iltd01 Ilte01 Iltf01 Iltg01 Ilth01 Ilti01 Ilui01 Iluj01 Iluk01 Ilul01 Ilum01 Ilun01 Ilup01 Ilxh01 Ilxi01 Ulxj01 Ilxk01 Ilxl01 Ilxm01 Ilxn01 Ilzy01 Ilzz01 Imaa01 Imab01 Imac01 Imad01 Imae01 Imbl01 Imbm01 Imbn01 Imbo01 Imbp01 Imbr01 Imbs01 Imca01 Imcc01 Imcd01 Imce01 Imcf01 Imcg01 Imew01 Imex01 Imey01 Imwz01 Imdw01 Imdx01 Imdy01 Imfk01 Imfl01 Imfm01 Imfn01 Imfo01 Imfp01 Imfr01 Imhf01 Imhg01 Imhh01 Imhi01 Imhm01 Imhn01 Imho01 Imhp01 Imiu01 Imiv01 Imiw01 Imix01 Imiy01 Imiz01 Imija01 6704-4-016 Small Cable Sleeve 1.6mm Lot # Ccaebh 6704-4-020 Medium Cable Sleeve 2.0mm Lot# Cauuf Cauuh Cauui Cauuj Cauuk Cauum Cauun Cauuo Cauug Cauup Cauur Cauus Cauut Cauuu Ccaeta Ccaetj Ccaetb Ccaetc Ccaetd Ccaete Ccaetf Ccaetg Ccaeth Ccaeti Ccaeya Ccaeyj Ccaeyb Ccaeyc Ccaeyd Ccaeye Ccaeyf Ccaeyg Ccaeyh Ccaeyi Ccafce Ccafcn Ccafcf Ccafcg Ccafch Ccafci Ccafck Ccafcl Ccafcm Ccafhg Ccafhh Ccafhi Ccafhj Ccafhk Ccafhl Ccafhm Ccafjv Ccafjw Ccafjx Ccafjy Ccafjz Ccafnk Ccafnu Ccafnl Ccafnm Ccafnn Ccafno Ccafnp Ccafnr Ccafns Ccafnt Ccafru Ccafrv Ccafrw Ccafrx Ccafry Ccafrz Ccafup Ccafur Ccafus Ccafut Ccafuu Ccafuz Ccafuw Ccafux Ccafuy Ccafzc Ccafzl Ccafzd Ccafze Ccafzf Ccafzg Ccafzh Ccafzi Ccafzk Ccagda Ccagdb Ccagdc Ccagdd Ccagdj Ccagde Ccagdf Ccagdg Ccagdh Ccagdi | Manufacturer | Howmedica Osteonics Corp. Rutherford Nj | June 18, 2001 | Cable crimp sleeves not heat treated which can cause fracture during crimping | 8914 | NATIONWIDE AND AUSTRALIA, SWEDEN, GERMANY, CANADA, CHILE, CHINA, HOLLAND, FRANCE, SPAIN, ITALY, JAPAN, NEW ZEALAND, AND UNITED KINGDOM.
2001-9-12 | Devices | II | z-1105-1 | Programmable Multi-axis Controller (pmac 2 Lite) Circuit Board Installed In Ecam Emission Imaging Computed Tomography Systems Used For All Common Nuclear Medicine Procedures Codes: A) Model 4380213 - E.cam Gantry Single Head Serial Numbers 0001 Thru 2016 B) Model 4380221 - E.cam Gantry Dual Head Serial Numbers 0005 Thru 2038 And 31827 Model 5242826 - E.cam Gantry Dual Head Serial Numbers 1001 Thru 2012 | Manufacturer | Siemens Medical Systems Inc. Hoffman Estates Il | 2098-12-04 | Resistor packs installed backwards cause software errors | 229 units | NATIONWIDE AND INTERNATIONAL
2001-9-12 | Devices | II | z-1109-1 | Mac Two Lumen Central Venous Access Kit/set Codes:catalog #ak-11142 - Lots: Rf1020751 Rf1031739 Rf1031850 Rf1033089 Rf1043328 And Rf1044374. Catalog #si-11142 - Lots: Rf0126277 Rf1031741 And Rf1043329. | Manufacturer | Arrow Intl. Inc. Reading Pa | 2001-07-23 | Potential for leakage of fluid or air from hemostasis valve w/obturator in place | 4710 kits | NATIONWIDE AND GERMANY, AUCKLAND, ENGLAND, ATHENS, SOUTH AFRICA, JAPAN, ENGLAND, CARACAS.
2001-9-12 | Devices | II | z-1111-1 | "reli On" Insulin Syringe 3/10 Cc 30 Gauge 5/16" (8mm) Needle (sterile)labeled: "ultra Comfort Short Needle Insulin Syringes Reli On U-100 Insulin For 30 Units Or Less***3/10cc***". Packed In Boxes Of 100 Single Use Syringes Codes: Lot Number: 374317 Exp. Date: 4/06 | Kendall/ A Division Of Tyco Healthcare Mansfield | Manufacturer: Kendall/div. Of Tyco Healthcare Group Lp Norfolk Ne | 2001-07-18 | Insulin syringes mislabeled as 3/10cc, 30 unit instead of 1/2cc, 50 unit | 400 200 syringes | NATIONWIDE.
2001-9-12 | Devices | II | z-1112-1 | Olympus Uteromat Fluid Control Model A4058 Designed For Infusion Of Low Viscosity Distension Media During Hysteroscopic Procedures To Distend The Cavum Uteri (uterine Cavity). Device Provides Constant Monitoring And Display Of Inflow Fluid Volume And Fluid Loss Permanent Measuring Of Fluid Consumption Automatic Calculation Of The Total Amount Of Fluid Loss Additional Warning For Rapid Absorption. Codes: Serial Numbers: 0006cm268 - 0006cm272 0011cm286 � 0011cm295 0101cm027 � 0101cm031 0101cm476 � 0101cm480 9606ce087 � 9606ce104 9607ce336 � 9607ce345 9701ce081 � 9701ce084 9703ce061 � 9703ce070 9709ce416 � 9709ce425 9903cm294 � 9903cm303 9904cm400 � 9904cm409 9909cm059 � 9909cm064 9909cm156 � 9909cm169. There Are An Additional 11 Units With Serial Numbers That Do Not Exist In The Olympus' Old Computer System (not Available In Bpcs). | Olympus America | Manufacturer: World Of Medicine Gmbh Ludwigsstadt | 2001-04-30 | Software malfunction. | 88 units | NATIONWIDE, AND BRAZIL.
2001-9-12 | Devices | II | z-1113-1 | Human Heart Valves Processed And Frozen For Transplantation Codes: Aortic Valves Id #98-0266hv-01 And Id #98-0271hv-01; Pulmonary Valve Id #98-0266hv-02 | Manufacturer | Lifenet Virginia Beach Va | 2001-02-12 | Sera from donor of human tissues were tested with unapproved method | 3 valves | PA AND NC
2001-9-12 | Devices | III | z-0861-1 | Lmx Glycated Hemoglobin Calibrators; List 1a86-01; An In Vitro Diagnostic For Calibration Of The Imx Analyzer When Used For The Determination Of Glycated Hemoglobin In Human Anticoagulated Whole Blood; Each Kit Consists Of 6 Vials Calibrators A - F 0 -2.4 Ghb; Codes: List 1a86-01 Lots 68577m200 And 68577m201 | Manufacturer | Abbott Laboratories Inc. Abbott Park Il | 2001-02-28 | Elevated low control values | 1925 | NATIONWIDE AND INTERNATIONAL
2001-9-12 | Devices | III | z-0863-01 | Steri-oss Hl Threaded Implant Ha-coated 45d X 10mm Endosseous Implant Codes: Part Number 4610hl; Lot Number 321814 | Manufacturer | Nobel Biocare Usa Inc. Yorba Linda Ca | June 29, 2001 | Label on cap does not match labels on inner and outer vials. | 237 end of enforcement report for september 12 2001 | NATIONWIDE AND GERMANY, CHILE, ARGENTINA, KOREA, HONG KONG, JAPAN.