## 2002-1-30
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2002-1-30 | Drugs | II | d-084-2 | Genteal Lubricant Eye Drops 0.3% Hydroxypropyl Methylcellulose 0.845 Fl.oz. (25ml) Bottles Recall # D-084-2. | Novartis Ophthalmics Inc. Duluth Ga | Novartis Ophthalmics Inc. Duluth Ga | Sept. 25, 2001 | Non-sterile-contamination with penicillum sp. | 22 272 units | Nationwide
2002-1-30 | Drugs | II | d-085-2 | A) Humalog Injection Kits Insulin Lispro Injection (rdna Origin) 3 Ml Disposable Insulin Delivery Device Recall # D-085-2; B) Humacart 3/7 Kits Humalog Pen 30 Ml Disposable Insulin Delivery Device (70% Human Insulin Isophane Suspension 30% Human Insulin Injection (rdna Origin)) 100 Units Per Ml. Recall # D-086-2; C) Humacart R Kits Humalog Pen (pre-filled) Disposable Insulin Delivery Device Recall # D-087-2. | Eli Lilly And Co. Indianapolis In | Eli Lilly And Co. Indianapolis In | Dec. 3, 2001 | Subpotency (last dose may deliver less insulin than expected due to breakage of pen internal parts). | approx 115 000 pens | Japan
2002-1-30 | Drugs | II | d-088-2 | Anectine (succinylcholine Chloride) Injection 200 Mg/10ml (20mg/ml) 10 Ml Multiple Dose Vial Rx Only Recall # D-088-2; Retrovir (zidovudine) Iv Infusion Sterile 10 Ml/ml 20 Ml Single Use Vial Tray Of 10 Vials Rx Only Recall # D-089-2 | Glaxosmithkline Zebulon Nc | Dsm Catalytica Pharmaceuticals Greenville Nc. | Nov. 5, 2001 | Lack of assurance of sterility (glassware may exhibit cracks). | anectine 8 162 units and retrovir 1 062 units | Nationwide
2002-1-30 | Biologics | II | b-0474-2 | Source Plasma. Recall # B-0474-2. | Alpha Therapeutic Corporation Los Angeles Ca | Alpha Therapeutic Corporation Fontana Ca. | July 13, 2000 | Blood products, which tested negative for hepatitis b surface antigen (hbsag), but were collected from a donor who previously tested reactive for hbsag, were distributed. | 29 units | CA VA Spain Germany and Italy
2002-1-30 | Biologics | II | b-0543-2 | A) Red Blood Cells Recall # B-0543-2; B) Red Blood Cells Leukocytes Removed Recall # B-0544-2 | American Red Cross portland Or | American Red Cross portland Or | Dec. 20, 2000 | Blood products, collected from a donor who reported travel to an area designated as endemic for malaria, were distributed. | 2 units | CA
2002-1-30 | Biologics | II | b-0545-2 | A) Red Blood Cells Recall # B-0545-2; B) Platelets Pooled Recall # B-0546-2 | Puget Sound Blood Center And Program Seattle Wa | Puget Sound Blood Center And Program Seattle Wa | April 11, 2001 | Blood products, collected from a donor who reported travel to an area designated as endemic for malaria, were distributed. | 2 units | WA
2002-1-30 | Biologics | II | b-0547-2 | A) Red Blood Cells Recall # B-0547-2; B) Platelets Pooled Recall # B-0548-2 | Puget Sound Blood Center And Program Seattle Wa | Puget Sound Blood Center And Program Seattle Wa | April 20, 2001 | Blood products, collected from a donor who reported travel to an area designated as endemic for malaria, were distributed. | 2 units | WA
2002-1-30 | Biologics | II | b-0549-2 | A) Red Blood Cells Recall # B-0549-2; B) Platelets Recall # B-0550-2 | Community Blood Center (cbc) Dayton Oh | Community Blood Center (cbc) Dayton Oh | Nov. 9, 2001 | Blood products, not tested for cmv antibodies and labeled cmv negative, were distributed. | 3 units | OH and IN
2002-1-30 | Biologics | II | b-0551-2 | A) Red Blood Cells Recall # B-0551-2; B) Platelets Recall # B-0552-2; C) Fresh Frozen Plasma Recall B-0553-2 | Lifesource Blood Services Glenview Il | Lifesource Blood Services Glenview Il | May 15, 2001 | Blood products, collected from a donor who took the drug proscar, were distributed. | 3 units | IL
2002-1-30 | Biologics | II | b-0554-2 | Red Blood Cells Recall # B-0554-2 | American Red Cross Portland Or | American Red Cross Portland Or | May 3, 2001 | Blood product, collected from a donor who reported having lived in area designated as endemic for malaria, was distributed. | 1 unit | WA
2002-1-30 | Biologics | II | b-0555-2 | Platelet Recall # B-0555-2 | Central Kentucky Blood Center Lexington Ky | Central Kentucky Blood Center Lexington Ky | Sept. 6, 2001 | Platelets, which were prepared from a unit collected from a donor who had taken aspirin within three days of donation, was distributed. | 1 unit | KY
2002-1-30 | Biologics | II | b-0556-2 | Recovered Plasma Recall # B-0556-2 | Blood Bank Of San Bernardino And Riverside Counties San Bernardino Ca | Blood Bank Of San Bernardino And Riverside Counties San Bernardino Ca | July 31, 2000 | Blood products, not tested for viral markers, were distributed. | 2 units | CA
2002-1-30 | Biologics | II | b-0592-2 | A) Red Blood Cells Recall # B-0592-2; B) Platelets Recall # B-0593-2; C) Recovered Plasma B-0594-2 | Michigan Community Blood Center Grand Rapids Mi | Michigan Community Blood Center Grand Rapids Mi | May 15, 2001 | Blood products, collected from an ineligible donor due to risk of infection with group o type human immunodeficiency virus (hiv), were distributed. | 3 units | MI and Switzerland
2002-1-30 | Biologics | II | b-0597-2 | Red Blood Cells Recall # B-0597-2 | Blood Systems Inc. Scottsdale Az | Blood Systems Inc. Las Vegas Nv. | Dec. 21, 2000 | Blood product, collected from an unsuitable donor based on living in an area considered endemic for malaria, was distributed. | 1 unit | NV
2002-1-30 | Biologics | II | b-0598-2 | A) Platelets Pheresis; B) Leukocytes Reduced Recall # B-0598-2. | Blood Systems Inc. Scottsdale Az | Blood Systems Inc. Las Vegas Nv. | Dec. 22, 2000 | Platelets with an elevated platelet count were distributed. | 2 units | NV
2002-1-30 | Biologics | II | b-0599-2 | Source Plasma Recall # B-0599-2 | Nabi Miami Fl | Nabi Miami Fl | March 20, 2000 | Blood products, that tested initially reactive for either hepatitis b surface antigen (hbsag), the antibody to hepatitis c virus (anti-hcv), or the antibodies to human immunodeficiency virus, types 1 and 2 (anti-hiv- 1/2), and were not correctly retested in duplicate, were distributed. | 7 units | NC NY TN CA and Germany
2002-1-30 | Biologics | II | b-0651-2 | Red Blood Cells Recall # B-0651-2 | American Red Cross portland Or | American Red Cross portland Or | June 13, 2001 | Blood product, collected from a donor who reported travel to an area designated as endemic for malaria, was distributed. | 1 unit | OR
2002-1-30 | Biologics | II | b-0716-2 | Red Blood Cells Recall # B-0716-2 | American Red Cross Blood Services cleveland Oh | American Red Cross Blood Services cleveland Oh | Oct. 18, 2001 | Blood product, not quarantined after receiving information concerning post donation illness, was distributed. | 1 unit | OH
2002-1-30 | Biologics | II | b-0717-2 | Platelets Recall # B-0717-2 | Central Kentucky Blood Center Lexington Ky | Central Kentucky Blood Center Lexington Ky | Nov. 27, 2001 | Platelets, prepared from a donor that had ingested aspirin within 36 hours, were distributed. | 1 unit | KY
2002-1-30 | Biologics | II | b-0720-2 | Platelets Recall # B-0720-2 | Central Kentucky Blood Center Lexington Ky | Central Kentucky Blood Center Lexington Ky | Nov. 27, 2001 | Platelets, prepared from a donor that had ingested aspirin within 36 hours, were distributed. | 1 unit | KY
2002-1-30 | Biologics | III | b-0581-2 | Red Blood Cells Leukocytes Reduced Recall # B-0581-2. | American Red Cross Blood Services cleveland Oh | American Red Cross Blood Services cleveland Oh | Oct. 9, 2001 | Blood product, that failed red cell recovery ratio, was distributed. | 1 unit | OH
2002-1-30 | Biologics | III | b-0582-2 | Platelets Pheresis Recall # B-0582-2 | Northern California Community Blood Bank Eureka Ca | Northern California Community Blood Bank Eureka Ca | March 30, 1998 | Blood product, collected from an ineligible donor who recently had surgery for an arm wound, was distributed. | 1 unit | CA
2002-1-30 | Biologics | III | b-0583-2 | A) Red Blood Cells Recall # B-0583-2; B) Platelets Recall # B-0584-2; C) Cryoprecipitated Ahf Pooled Recall # B-0585-2 | Hoxworth Blood Center Cincinnati Oh | Hoxworth Blood Center Cincinnati Oh | Nov. 20, 2000 | Blood products, collected from ineligible donor due to a history of herpes simplex, were distributed. | 3 units | OH
2002-1-30 | Biologics | III | b-0577-2 | Fresh Frozen Plasma Recall # B-0577-2 | Gulf Coast Regional Blood Center houston Tx | Gulf Coast Regional Blood Center houston Tx | April 26, 2001 | Blood products, collected with expired needles, were distributed. | 184 units | TX
2002-1-30 | Biologics | III | b-0618-2 | Red Blood Cells Leukocytes Reduced Recall # B-0618-2 | Blood Systems Inc. Scottsdale Az | Manufacturer: blood Systems Inc. Las Vegas Nv. | Jan. 31, 2001 | Blood products that were out of controlled storage for more than 30 minutes were distributed. | 2 units | NV
2002-1-30 | Biologics | III | b-0626-2 | Hemocare Blood Bank Data Management System Software Recall # B-0626-2 | Mediware Information Systems Inc. Melville Ny | Mediware Information Systems Inc. Melville Ny | May 29, 2001 | Computer software that could allow the assignment of an extended expiration date to blood products was distributed. | 4 versions | Nationwide and Canada
2002-1-30 | Devices | II | z-0433-02 | Dimension Clinical Chemical Analyzer Xl/rxl/arx With Software Revision 5.2 Recall # Z-0433-02. | Dade Behring Inc. Newark De | Dade Behring Inc. Brookfield Ct. | Nov. 11, 2001 | Instructions to software revision are missing a step. | 256 sets | Nationwide
2002-1-30 | Devices | II | z-0490-02 | Ballard Cytology Brush Disposable Cat No. 60311 1.8mm X 120 Cm Catheter 2.0 Mm Bristle Diameter Recall # Z-0490-02; Cat. No. 60312 1.8mm X 120 Cm Catheter 3.0 Mm Bristle Diameter Recall # Z-0491-02; Cat. No. 60313 1.8mm X 160 Cm Catheter 2.0 Mm Bristle Diameter Recall # Z-0492-02; Cat. No. 60314 1.8mm X 160 Cm Catheter 3.0 Mm Bristle Diameter Recall # Z-0493-02. | Ballard Medical Products Draper Ut | Ballard Medical Products Pocatello Id. | Dec. 5, 2000 | Radiopaque distal tip may detach from the cytology brush. | 33 802 units | Nationwide and Internationally
2002-1-30 | Devices | II | z-0494-02 | Iti Dental Implant System Handpiece Adapters Recall # Z-0494-02/z-0495- 02 | Straumann Usa. Waltham Ma | Institut Strauman Ag Waldenburg Switzerland. | Dec. 7, 2001 | Dental handpiece adapter fails specification and may remain lodged in the unit. | 83 units a 78 units b 5 units | Nationwide
2002-1-30 | Devices | II | z- 0496-02 | Adac Brand Forte Gamma Camera System An Scintillation Gamma Camera Tomography Computed Emission Recall # Z- 0496-02 | Adac Laboratories Milpitas Ca | Adac Laboratories Milpitas Ca | Nov. 1, 2000 | Collimator drawer could drop to the floor causing injury to the user/patient. | 125 units | Nationwide and Internationally
2002-1-30 | Devices | II | z-0497-02 | Therapeutic Plasma Exchange Set Recall # Z-0497-02 | Fresenius Hemocare Inc. Redmond Wa | Fresenius Hemocare Gmbh The Netherlands. | Dec. 14, 2001 | Return line of tubing set smaller than normal. | 1905 sets | Nationwide
2002-1-30 | Devices | II | z-0498-02 | Lubricated Latex Condoms Model Number 9030 Recall # Z-0498-02 | Alatech Healthcare Llc Slocomb Al | Alatech Healthcare Llc Slocomb Al | Dec. 11, 2001 | Failed fda leak testing. | 109 cases of 1000 | Nationwide and Canada
2002-1-30 | Devices | II | z-0499-02 | Apligraf(graftskin) Recall # Z-0499-02 | Organogenesis Inc. Canton Ma | Organogenesis Inc. Canton Ma | Dec. 7, 2001 | Product is contaminated with staphlococcus cohnii. | 107 units | Nationwide
2002-1-30 | Devices | II | product adac brand forte gamma camera system an scintillation gamma camera, tomography, computed emission, recall # z- 0500-02 | Adac Brand Forte Gamma Camera System An Scintillation Gamma Camera Tomography Computed Emission Recall # Z- 0500-02 | Adac Laboratories Milpitas Ca | Adac Laboratories Milpitas Ca | March 20, 2000 | A sensor may not activate if proper contact is not made. | 125 units | Nationwide and Internationally
2002-1-30 | Devices | II | z-0501-02 | Polarus Broach Instrument Belongs To The Polarus Humeral Rod System Product Line Which Is A System Of Rods And Screws For The Fixation Of Humeral Fractures And Their Accompanying Instrumention. The Broach Is Reusable And Provided Non-sterile Recall # Z-0501-02. | Acumed Inc. Beaverton Or | Acumed Inc. Beaverton Or | Nov. 9, 2001 | The word "lateral" was etched on the medial side of the broach. | 27 | United Kingdom Finland Spain and the Netherlands
2002-1-30 | Devices | II | z-0502-02 | Axsym Troponin-i Calibrators List 3c29-01;6 Bottles Of Calibrators A-f; Abbott Laboratories Diagnostics Division Abbott Park Il 60064 Recall # Z-0502-02 | Abbott Laboratories Inc. Abbott Park Il | Abbott Laboratories Inc. Abbott Park Il | Nov. 12, 2001 | Incorrect high control readout due to stability failures of the calibrators. | 5 414 kits | Nationwide and Internationally
2002-1-30 | Devices | II | z-0505-02 | Medivators Brand Rapicide High-level Disinfectant And Sterilant Active Ingredient: Glutaldehyde Recall # Z-0505-02. | Ecolab Inc. Huntington In | Ecolab Inc. Huntington In | November 20, 2001 | Leaking bottles. | approx 3 000 cases | MN
2002-1-30 | Devices | II | z- 0508-02 | Symmetry Aortic Connector System Model Numbers Can-4550 Recall # Z- 0508-02 | St. Jude Medical Atg Inc. Maple Grove Mn | St. Jude Medical Atg Inc. Maple Grove Mn | Oct. 6, 2001 | The tubeset was not securely held within the handle of the delivery system on some units. | 228 units | Nationwide and France Netherlands Finland and Australia
2002-1-30 | Devices | III | z-0437-02 | Immulite Cat Specific Ige; Radioallergosorbent Immunological Test System. 100 Test Kit Id# Lke11 115 Recall # Z-0437-02. | Diagnostic Products Corp. Los Angeles Ca | Diagnostic Products Corp. Los Angeles Ca | Oct. 31, 2001 | Packaging equipment failure, missing bead component. | 40 kits | Internationally
2002-1-30 | Devices | III | z-0503-02 | Axsym Rea Ethanol Reagent Distributed Under The Following Brand: Axsym Abbott Laboratories Usa North Recall # Z-0503-02. | Abbott Health Products Inc. Barceloneta Puerto Rico | Abbott Health Products Inc. Barceloneta Puerto Rico | 11/8/01 | Failure/inability to obtain a valid calibration curve | 12 776 units | Internationally
2002-1-30 | Devices | III | z-0504-02 | Roche Glucl Cobas Integra Glucose Hk Liquid Catalog # 2055651 Recall # Z-0504-02 | Roche Diagnostics Corp. Indianapolis In | Roche Diagnostics Mannheim Germany. | Nov. 13, 2001 | Reduced linearity/does not meet linearity range in directions for use. | 1620 cassettes | Nationwide and Puerto Rico
2002-1-30 | Devices | III | z-0506-02 | Localisa Intracardiac Navigation System Model Numbers 9670000 9670025 Recall # Z-0506-02 | Medtronic Inc. Minneapolis Mn | Medtronic Inc. Minneapolis Mn | Sept. 6, 2001 | A read only cd drive was installed in the system in place of a read-write cd drive. | 7 units | FL IA and Internationally
2002-1-30 | Devices | III | z-0507-02 | Medgraphics Pulmonary Function Gas Reference Gas 21% O2 Bal N2 Recall # Z-0507-02 | Scott Medical Products Plumsteadville Pa | Scott Medical Products Plumsteadville Pa | Sept. 28, 2001 | Concentration of oxygen is less than value stated on label. | 23 cylinders | Nationwide
2002-1-30 | Devices | III | z- 0509-02 | Pepsin 1:3000 Nf Xii Powder Packaged 500g In Plastic Bottles 27mg In 2ml Plastic Vials And 6 000g Bulk Bags Inside Plastic Pails Recall # Z- 0509-02 | Amresco Inc. Solon Oh | Amresco Inc. Solon Oh | May 15, 2001 | The product is contaminated with salmonella bacteria. | 12 046 g 26 5 lbs | MA IL NJ and Canada and China end OF Enforcement Report for January 30 2002 fda News Page fda Home Page Office OF Public Affairs Hypertext Uploaded BY TG 2002 jan 30